**SPILL PRIORITY LIST - September 1 through no later than March 31.**

The Spill Priority List defines the project priority order for lack-of-load spill in order to manage TDG on a system-wide basis.

|  |  |  |  |
| --- | --- | --- | --- |
| **Level** | **Priority** | **Project** | **Example** **Spill Cap (kcfs)** |
| **LEVEL 1** **State TDG Standard [[1]](#footnote-1)****≤ 110%** | 1 | BON | 70 |
| 2 | TDA | 45 |
| 3 | JDA | 20 |
| 4 | MCN | 48 |
| 5 | IHR | 25 |
| 6 | LMN | 18 |
| 7 | LGS | 18 |
| 8 | LWG | 20 |
| 9 | DWR | 35% of total flow |
| 10 | CHJ | 25 |
| 11 | GCL | 0 (OT) or 5 (DG) 2 |
| **LEVEL 2****≤ 115%** | 12 | BON | 100 |
| 13 | TDA | 60 |
| 14 | JDA | 80 |
| 15 | MCN | 80 |
| 16 | IHR | 35 |
| 17 | LMN | 23 |
| 18 | LGS | 23 |
| 19 | LWG | 30 |
| 20 | CHJ | 61 |
| 21 | GCL | 5 (OT) or 10 (DG)[[2]](#footnote-2) |
| **LEVEL 3****≤ 120%** | 22 | BON | 140 |
| 23 | TDA | 135 |
| 24 | JDA | 144 |
| 25 | MCN | 140 |
| 26 | IHR | 75 |
| 27 | LMN | 44 |
| 28 | LGS | 52 |
| 29 | LWG | 45 |
| 30 | CHJ | 150 |
| 31 | GCL | 10 (OT) or 15 (DG) |
| **LEVELS 4-7 (125%, 127%, 130%, 135% TDG)**: same project Priority Order as Levels 2 and 3. |

1. Sep 1-Mar 31: State TDG standard for all projects is 110%. [↑](#footnote-ref-1)
2. GCL spill is either via outlet tubes (OT) or drum gates (DG), depending on reservoir elevation (transition to DG at elevation 1267-1270 ft). OT spill produces more TDG. [↑](#footnote-ref-2)