### CENWP-OP-B																			12 March 2002

MEMORANDUM FOR:	 FPOM MEMBERS

SUBJECT: Bonneville Lock and Dam Fishway and Construction Activities Report for March FPOM meeting.

- CONSTRUCTION STATUS.

  - DSM2: Floor gratings raised.  New Add-in screen installed.

  - B2 Follow on: SMF to bypass on 21 March for wedge wire work.  Returned to sample on 22 March.  Humming began shortly after water up.

  - PH2 Corner Collector: no activities to report.

  - Spillway deflector installation completed.  Hoist work to be completed by 30 March.

  - Adult Pit-tag detector installations completed in Bradford Island and Cascades Island ladder.

- OPERATION SUMMARY.

  - The first powerhouse ice and trash sluiceway is open to skim trash.  The second powerhouse sluiceway is closed.

  - Fish unit 1 returned to service on 13 March.

  - Fish unit 2 returned to service on 28 February

  - Units currently out of service:

    - Unit 5 OOS for turbine rehab.

    - Unit 17 OOS for VBS slot modifications.

    - Unit 10 is OOS for five year overhaul.

    - Units out for brief time for transducer installation and STS installations.

  - Spillbays 1 and 18 are closed to facilitate spillway deflector installation.   Hoists are supposed to be ready by 30 March.

  - Cascade Island ladder returned to service on 08 March.

- RESEARCH.

  - WDFW Fish Counting.  WDFW is video counting 24 hours per day at Bradford Island ladder.

  - PSMFC Adult Pit.  Waiting on office building.  All in water work is completed.

  - WDFW Winter Steelhead tagging. trapping ongoing.

  - NMFS Lamprey.  Tracking continues.  Plans for a trap in FV3-9 AWS channel.  Lamprey plates installed in Washington shore.

  - WES Hydroacoustics. WES equipment installations beginning.

  - USGS Juvenile Radiotelemetry.  Equipment installations in progress.

- OTHER ITEMS.