2005 Fish Passage Plan comments, BPA

1.4 These are not the current spill triggers in the Snake.

1.10.2.1 BPA should be included as one of the action agencies.

1.10.2.7 Remove RPA references.   Are we still coordinating with NOAA as stated?

      - The action agencies do not “ask” TMT for permission. It should state that TMT would be asked for recommendations.

Table 4 BON Peak Winter steelhead passage is not that broad.

2.2.1.2  Do we really plan on regional agreement.

    - Spill “will start” should be replaced with planning dates are.

Is 50 kcfs the actual minimum or is 36 kcfs the appropriate number?

References to the 2000 biop should be removed.

    - Should modify to add the word adult. When 10 adult Sockeye

2.2.31  Spill from one bay

    - There may not be several tailwater stations to use as monitoring stations.

BON table 15 Will this need to be modified with new gate calibrations?

LGS 14 c.2 orifice lights should be turned off (Dec 14th)? The fish passage season ends on the 15th. The intent of the statement is to turn the lights off the day before.

LWG-table 8. Should insert the year the tables were last modified. It explains how there were derived but not when.

LWG 17  The RSW will be used to spill when fish numbers exceed 750,000 in low flow years. Is there additional justification for this action? How long is the RSW left on? Nighttime only? As long as the collection numbers remain over 750,000?

LWG 36. Minimum spill requirement. Is there additional justification for this new requirement?

BON 1.2 spill  April 10 is a planning date. Spill may not start on that date. The document reads that it will start on April 10th.

SPO BON 2.7. Is this going to occur in 2005? It is written for the evaluation of gatewells in 2004.

TDA’s spill 1.1. April 10th is a planning date. Spill may not start on that date.

JDA spill 1.1 . April 10th is a planning date. Spill may not start on that date

# MCN 12 vs. 24 hours test. Keep track of schedule

B6 1 top of the page. Should be April 20th.