Adult Fish Passage Facilities – 2009-10 Winter Maintenance Schedule

U. S.  Army Corps of Engineers

Walla Walla District

MCNARY DAM - Washington Shore Fishway

- Dewater the WA fish ladder from December 7 to December 14 for maintenance.  Complete winter maintenance according to the Fish Passage Plan, Section 2.3.2.1.

- Inspect diffuser gratings with video camera.  If voids are found, divers will be summoned to repair.

- Perform annual maintenance on the WASCO small hydro project, bypass and auxiliary water supply system.

- Maintain adult PIT tag system as required.  Coordinate with PSMFC.

- Maintain half-duplex PIT (lamprey) antennas.  Coordinate with University of Idaho.

- Resume normal operation of the ladder and small hydro/auxiliary water system by December 14.

MCNARY DAM - Oregon Shore Fishway

- Shut down AWS pumps 1, 2, and 3 at sundown on December 31 and place ladder on orifice flow.

- Dewater the fish ladder from January 4 to February 28 for extensive maintenance on fish pumps, auxiliary intake traveling screens at ladder exit, and installation of fish exit stop log guides and lamprey passage improvements.

- Complete winter maintenance according to the Fish Passage Plan, Section 2.3.2.1.

- Inspect the collection channel by a combination of underwater video or diving. 1

- Perform routine winter maintenance on all three AWS fish pumps, and dewater fish pump number 1 for inspection and maintenance.

- Maintain adult PIT tag system as required.  Coordinate with PSMFC.

- Resume normal ladder flow and  pump operation on February 28.