AGENDA

Fish Passage Operation and Maintenance (FPOM) Team meeting

December 9, 2010 (0900-1500)

St. Helens Room- NOAA Fisheries 10th Floor

Conference line: 888-675-2535		FPOM code: 4849586

- Review Agenda and approve November minutes (Klatte)

- LMN turbine survival test.  (Dykstra/B. Johnson)

- Action Items

  - [Oct 10] NWW sockeye handwritten notes.  ACTION: NWW will draft an email to send to IDFG giving them an opportunity to provide comments on the proposal to drop length and condition.

  - [Nov 10] Cooling water strainer inspections.  ACTION:  Dykstra will be observing the inspections at LWG.  He’ll report back at the December FPOM as to how those inspections differ from MCN.

  - [Nov 10] Cooling water strainer inspections.  ACTION:  USACE will compile a one-page fact sheet on what the cooling water strainer is and how the inspections are performed.

  - [Nov 10] Clipped v unclipped sockeye counts.  ACTION:  Moody will talk with IDFG about the need for clipped v unclipped sockeye.  Until IDFG requests it, counts will continue as they have.

  - [Nov 10] Lamprey counts.  ACTION:  Lorz will ask his lamprey guys about keeping the LPS counts separate and get back to FPOM.

  - [Oct 10] Bass studies.  ACTION:  Cordie will provide the results to M. Mesa.  STATUS:  completed.  Working on one-pager.

  - [Nov 10] Shad task group.  ACTION: Mackey will send the summary to FPOM.  STATUS: completed and attached to this agenda.

  - [Nov 10] FFU one-pager.  ACTION: FFU will trim down the one-pager and bring it back to FPOM in December.  STATUS: to be discussed under updates.

  - [Nov 10] LGS ERDC trip.  ACTION: FPOM will have comments for finalizing the ERDC agenda by 03 December.  STATUS: to be discussed under updates.

- Updates

  - FFU shad counting one-pager.

  - BON Tanner Creek tailrace gauge replacement.

  - NWW Turbine cooling water strainer monthly update.

  - MCN replacement fish screens at the OR shore ladder exit.

  - MCN emergency bypass operation.

  - LGS ERDC trip dates- 31 January.

  - LGS adult fishway entrance update.

  - Storage of deceased juvenile lamprey.

  - Dworshak Fish Hatchery November fish mortality update.

  - Navlock outages –

    - NWP 10 December – 18 March.

    - NWW 10 December – 13 March.

  - Research/FFDRWG updates.

  - RCC update.

- Coordination/Notification forms. (Mackey)

  - JDA tainter gate notification on 24 November 2010.

- BON AWS debris booms.  (PDF with photos sent in same email as the agenda) (Hausmann/Mackey).  BON is looking to replace their log booms with tuff boom.  At the AWS entrances, they intend to install booms with 2’ debris screens.  At the fishway exits, they would like to install booms with debris screens as well.  What depth of screen would FPOM be willing to allow, if any, at the fishway exits?

- Foul-release coating experiment.  (proposal sent in email with the agenda) (Zyndol/Wells/Sytsma)  Steve Wells (PSU- Center for Lakes and Reservoirs, ESM) requests FPOM approval for an experiment to evaluate effective service life of foul-release coatings.

- Task Group Updates.

  - Shad Fishery.  Cordie summarized the fallback data.  The task group will meet again in March to discuss the 2011 Shad Fishery season.

  - AFF update.  List of potential improvements attached.  The task group will meet after the 9 December FPOM to review the list of potential modifications, discuss those doable in FY11 and potential funding sources.  Fredricks said NOAA is seeing lower conversion rates from BON to MCN for fish tagged at BON v those tagged prior to BON.  NOAA may submit a change form recommending ceasing sampling at a lower temperature.  FPOM will be the venue for determining the temperature limitations for NOAA permits.

  - BON Slow Roll.  All tasks completed.  This task group may be dissolved.

- 2011 FPP Change Forms ready for review.  www.nwd-wc.usace.army.mil/tmt/documents/fpp/2011/changes/

  - 11OVE001-Min Generation

  - 11BON007- 1.2.1.1 removing DSM1.

  - 11BON008- 2.4.2.2.a removing TIES.

  - 11BON009- VBS cleaning protocols.

  - 11BON010- 2.4.2.5.a JMF hydrocannon.

  - 11BON011- 2.5.1.1.m ITS chain gate update.

  - 11TDA004- 2.1.3 12-hour trend data

  - 11TDA005- 2.4.1.2.a unit raking mid-season.

  - 11TDA006- 2.5.1.2.a.8 count window crowder.

  - 11TDA007- Table TDA-4 unit 8 priority.

  - 11TDA008- 4.2.1.2 maint. on priority units.

  - 11TDA009- 4.3.2.1.a closing S1 before adjusting east weirs.

  - 11TDA010- ITS winter ops

  - 11TDA011- 2.5.1.1 and 2.5.1.3 combined

  - 11JDA001- Table JDA-5 unit priority.

  - 11JDA002- 1.1.3 SMF dewater date.

  - 11LGS002- Little Goose 30%to constant rate

  - 11LGS003- Forebay Elevation

  - 11LMN001- Unit priority

  - 11LMN002- unit priority.

  - 11LMN003- Spill change for NAV safety

  - 11LWG001-Nav Spill Operations

  - 11LWG002- Forebay Debris Removal

  - 11AppGBON003- brail pool operation.

  - 11AppJ002- JMF hydrocannon dates.

- Potential change forms.

  - AFF temperature restrictions from NOAA.

  - Higher MOP at Snake River projects to allow for safe and timely loading of barges.

- Upcoming meetings

  - FPOM.  09 December 2010 at NOAA.

  - AFF Task group.  09 December 2010 at NOAA.  After FPOM.

  - NWP FFDRWG.  10 December 2010.

  - FPP change forms from Region due 20 December 2010.

  - FPP review meeting.  21 January 2011 at NOAA.  Starting 0830.

☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺

OFFICIAL COORDINATION REQUEST FOR

NON-ROUTINE OPERATIONS AND MAINTENANCE

☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺

NOTIFICATION DATE-  24 November 2010

PROJECT-  John Day Dam Smolt Monitoring Facility

RESPONSE DATE- No response required, but comments are always welcome.

Description of the problem- JDA Control Room called M. Zyndol at approximately 0130 hrs on 24 November, informing him of water overflowing from the SMF elevated chute and flooding the powerhouse parking lot.  Zyndol arrived at JDA at 0200 hrs; at that time CR had the flooding situation under control; it was evident that the cause of it was the JBS tainter gate’s failure.

The tainter gate control system failed, resulting in the tainter gate opening, which resulted in excessive flow of water from the JBS collection channel into the SMF elevated chute and some considerable amount spilled over its walls.

The Control Room informed Zyndol that the tainter gate couldn’t be moved since the controls burnt up; Mr. Henry had taken an appropriate corrective action and momentarily closed all MUs gatewells fish orifices to stop the flooding.  By the time Zyndol arrived at the dam, Mr. Henry reopened some of the orifices to provide for an optimal flow through the SMF system, but due to inoperable tainter gate only a limited number of them could be opened.

The forebay to JBS collection channel differential was over 8’ while the FPP criteria calls for 4.0’ - 5.0’, but without the tainter gate in service, there is no way to change it.

Type of outage required- The tainter valve and gatewell orifices were out of FPP criteria until 1130 on 24 November.

Impact on facility operation- JDA Operations continued normal STSs operation as required by FPP, which means that all units in service will be screened, but due to tainter gate failure not all fish orifices in operating MUs can be open all the time (more than 50 % of them can) and Operations will rotate the open/ closed orifices on hourly basis instead.  The hourly rotation of open orifices will provide for an acceptable egress of fish which could be accumulating in the gatewells with closed orifices.

Length of time for repairs-  The JDA Electrical crew was able fix the tainter gate control system and JBS with SMF returned back to regular service by 1130 hrs on 24 November.

The electric relay failure was cold weather related.  It was caused indirectly by a failed control panel heater.  Without the working heater, moisture had increased inside of the enclosing box and the relay had shorted out.  Why this resulted in the tainter gate opening all the way up isn’t clear yet.  JDA Maintenance will try to design some limits to the tainter gate movement which would kick in under a similar failure of the control system; the idea here is to keep the gate from traveling too far outside of its regular operational range.

Expected impacts on fish passage- The impact on passing fish is difficult to determine; there should be very few migrating smolts through JDA as we are almost at the end of juvenile passage season, ending on 30 November.  However, JDA is required by FFP to leave the STSs in regular operation through 15 December for kelts and adult fallback.  The impact from increased differential on the adult steelhead is impossible to determine, but they should be faring much better than juveniles.

Zyndol hadn’t seen any evidence of fish casualties, but it was hard to assess on a cold night.

Comments from agencies

-----Original Message-----
From: Gary Fredricks [mailto:Gary.Fredricks@noaa.gov] 
Sent: Wednesday, November 24, 2010 8:42 AM
Subject: Re: Fw: JD tainter gate failure - overflow from SMF elevated chute into the tailrace powerhouse parking lot (UNCLASSIFIED)

This isn't good.  The main purpose of keeping the bypass in operation this late is for fallback adult steelhead (not kelts), a species we seem bound and determined to kill as many of as possible this year.  Eight feet of head can't be good for any fish passing through those orifices and especially for adults.  The McNary studies in the early 90's showed ~40 injury rates for fish falling back through the bypass under optimal head conditions.  Based on what we know, turbine passage is worse.  A few questions:

Can the tainter be operated with a crane?  If so, you could open the crest gate to run the flow through the old bypass while maintaining some mid-level dogged off setting on the tainter.  The orifices could be cycled to maintain the channel elevation and the pool would need to be held fairly constant.

How long for repairs?  What was the reason for the failure and was this weather related?

Another alternative (best for fish) is to just close the bypass, pull the screens and run one of the TSW's for adult fallback passage through the Dec 15 end point.

Thanks,  Gary

-----Original Message-----
From: Stephenson, Ann E (DFW) [mailto:Ann.Stephenson@dfw.wa.gov] 
Sent: Wednesday, November 24, 2010 10:27 AM
Subject: RE: JD tainter gate failure - overflow from SMF elevated chute into the tailrace powerhouse parking lot (UNCLASSIFIED)

Thank you for the quick notification.  I hope something can be resolved soon.  Ann

Ann E. Stephenson

Fish and Wildlife Biologist

Portland District Adult Fish Counting

Washington Dept. of Fish and Wildlife

(360) 600-8274

stephaes@dfw.wa.gov <mailto:stephaes@dfw.wa.gov>

-----Original Message-----

From: Stocks, Dennis C NWP

Sent: Wednesday, November 24, 2010 10:22 AM

Subject: RE: JD tainter gate failure - overflow from SMF elevated chute into the tailrace powerhouse parking lot (UNCLASSIFIED)

Classification: UNCLASSIFIED

Caveats: FOUO

Thanks Miro, it was hard to determine what the problem was when I was talking with Weyman last night.  When we first started talking I thought he was saying the last parking places in the parking lot (meaning closest to the PH) and I thought this was meaning water coming from the bypass via excess water from makeup line (blue pipe).  After further discussions I then discovered that it was from the tainter valve being open excessively.

I thought the system (elevated chute) was designed against this type of failure by having the excess overflow pipes near the dewatering structure.

Weyman and crew did respond appropriately once the issue was determined.

We might want to consider a test to discover what is too much water by way of tainter gate full openings and install a limiter that would prevent the gate from full opening.  Just a thought...

Thanks for responding early this AM

Dennis

-----Original Message-----

From: Zyndol, Miroslaw A NWP

Sent: Wednesday, November 24, 2010 1:27 PM

Subject: RE: JD tainter gate failure - overflow from SMF elevated chute into the tailrace powerhouse parking lot (UNCLASSIFIED)

Dennis,

Your thoughts pertaining to the emergency overflow scenarios are reflecting my own... This overflow from the SMF elevated chute was not supposed to happen since any access water was to be drained through the specially designed emergency overflow section, located just upstream of the PDS.  I have no idea why it didn't happen according to the plan and we had water in the parking lot...

I could not see much evidence of any substantial overflow by looking at the emergency overflow weirs and tanks when I arrived at the dam at 0200 hrs. In fact, there is one old, long time dead, dried out  steelhead carcass in the overflow tank, which should have been flushed by the overflow...and it didn't ? Also, we did not get high water alarm on SCADA for the SMF PDS channel ...?  However, there was an emergency overflow alarm on SCADA which meaning is not entirely clear to me ... this is the first time in 12 years of SMF operations that it had occurred.

On another hand, the section of elevated chute closer to the powerhouse, where the water was overflowing into the parking lot was easily identifiable by the complete lack of snow (which was cleaned by flowing water), it was a section approximately 20 feet in length starting where the freeboard of the elevated chute wall steps down (there are metal steps immediately upstream from it.) Sounds like good questions for the hydraulic engineers who may be able to shed some light on this strange case of unexpected flooding.

Thanks for the help and Happy Holiday !

Miroslaw A. Zyndol

Chief of Fisheries

John Day/ Willow Creek Project

541-506-7860

BB: 541- 980-9958

-----Original Message-----
From: Schlenker, Stephen J NWP 
Sent: Friday, November 26, 2010 9:15 AM
Subject: RE: JD Tainter gate failure - overflow from SMF elevated chute into the tailrace powerhouse parking lot (UNCLASSIFIED)

I would have thought the overflow spillway would work, but I was not directly involved with sizing it (Raytheon design with HD oversight). As I am most familiar with system from HD, I can I can investigate When I return in early December.

Is the system in bass pass mode (assume not Smolt monitoring operation)?

If so, if the invert gate raised up to divert fish into large bypass conduit? (if so then the overflow crest isn't relevant because all flow should be directed into bypass conduit--unless invert gate is undersized for maximum possible flow from full open Tainter gate.)

If flow is still being directed into dewatering system, are the dewatering weirs raised up as closed?

Is there any way to find out how high the Tainter Gate rose?

There is a 6-foot diameter pipeline with a valve draining the spillway catchment basin.  Is the valve open?

Thanks

Steve S.    (503)-808-4881

-----Original Message-----
From: Gary Fredricks [mailto:Gary.Fredricks@noaa.gov] 
Sent: Wednesday, November 24, 2010 2:06 PM
Subject: Re: Fw: JD JBS and SMF are back in normal service and fully meeting FPP criteria (UNCLASSIFIED)

Wow!, the project deserves and atta(person) for this quick turnaround, especially given the frigid temps out there.  Thanks,  Gary

-----Original Message-----
From: David_Wills@fws.gov [mailto:David_Wills@fws.gov] 
Sent: Wednesday, November 24, 2010 1:49 PM
Subject: Re: Fw: JD JBS and SMF are back in normal service and fully meeting FPP criteria (UNCLASSIFIED)

Thanks to the JD crew.  Happy Thanksgiving.

David Wills

U.S. Fish & Wildlife Service

Columbia River Fisheries Program Office

1211 SE Cardinal Court, Suite 100

Vancouver, Washington  98683-9684

Final results-  The tainter gate problem was a control relay failure, which caused  the gate to become wide open.  The JDA maintenance crews had the tainter gate back in operation by 1130 on 24 November.

From; Bob Cordie, November 2010

Re; Shad Fishery Task Group - Summarized Data Discussion

A tribal shad harvest has occurred at The Dalles east fishladder exit intermittently for approximately 17 years. Fish counting in the fishladder is done 6 weirs downstream from the exit area where the shad fishery activity occurs. Early years fish counts did not record up and down passage numbers. Raw data collected only net upstream passage.  When up and down data was recorded, analysis was done to determine if shad fishing activity deterred salmonid passage. A summary of past Chinook passage data and previous radio-telemetry analysis, related to the time period of tribal shad fishing, was requested through FPOM task group. The following is a summary of the results. There were several years of fishing activity in the 90s when data was not collected.

1996 shad fishing

- Fish count fallback data not available

- University of Idaho conducted radio-telemetry analysis

- Uof I used 62 tagged Chinook prior to the fishery and 53 tagged Chinook during the fishery

- U of I found no difference in median times for passage through the exit

- U of I noted 3 Chinook of the 53 during the fishery  took noticeably longer to pass during fishery

2002 shad fishing

- 3 days of fishing for total of 36 hours

- Baseline fallback rate 2.3%

- Hourly fallback during fishing 6.2%

- Total 10 hours exceeding 10% fallback rate

- University of Idaho conducted radio-telemetry  analysis

- U of I  used 60 tagged Chinook prior to the fishery and 33 tagged Chinook during the fishery

- U of I found median passage time prior to fishery significantly shorter than during fishery

- U of I noted 2 Chinook of the 33 took 2 – 4 hours longer to pass during the fishery

2003 shad fishing

- Data incomplete due to unknown dates and time of fishing activity

- Total 13 days fallback data during and around fishing period

2007 shad fishing

- 6 days of fishing for total of 52 hours

- Baseline fallback rate 1.6%

- Hourly fallback rate during fishing 13.1%

- Total 21 hours exceeding 10% fallback rate

2010 shad fishing

- 2 days fishing for total of 14 hours

- Baseline fallback rate for month of May 2.4%

- First day fishing fallback average 18.2%

- Second day fishing fallback average 37%

ESA ‘take’?

In an FPOM task group meeting, it was suggested that if Chinook mortality numbers could be determined, they can be applied to the allotted tribal harvest.  NOAA defines harassment as ‘take’. If ESA ‘take’ defined numbers for 2010 were  applied to harvest, the following would have occurred;

- Total up passage during fishing activity 406 chinook

- Expected fallback during fishing activity period per May average should be ~10 chinook

- Actual fallback during fishing activity was 110 chinook

- ‘Take’ that can theoretically removed from the tribal Chinook harvest would have been ~100 if these fish are considered mortalities.

AFF mods list from the 17 August 2009 AFF meeting.

Small issues that could be dealt with in the near future-

- Do we still need the lamprey flume?  It was suggested the flume may have outlived it’s usefulness at the AFF.  Clugston will look into the need or lack of and possibility of removing it.

- The anesthetic tank has a small drain on the east side.  Could that be replaced so the tank drains faster?  USACE recommended attaching a hose to the larger west drain and running it to the wall drain.  This would be easier and cheaper than trying to get the tank re-plumbed.

- The wall drain drains slowly.  USACE reported that mechanics and plumbers have looked at that drain.  No one seems to be able to determine the problem but they will look at it again this winter and call in a professional to snake it.

- The brail pool has a gap between the exit gate and the floor.  The gap allows steelhead to get under the brail.  The team looked at the gap.  It may require major modifications to the brail pool.

- Check on environmental permits for clove oil (100% eugenol).  This was discussed but it was decided that it may not be worth poking around at this issue just yet.

- Rubber flat at end of ramp to anesthesia tank needs modification for all sizes/species of fish that enter.  The team looked at this.  USACE committed to looking at different weights of neoprene, but the researchers may need to prepare to manually lift the flap when sampling smaller fish.

- Reduced flow to the AFF.  USACE will request the Riggers clean the FERL intake screen (located just north of the fish units, in the forebay).

Larger and long term issues-

- CRITFC requested a facility at the count windows.  Due to the space limitations there, it would be very difficult to get a handling facility in the fish viewing window area of the visitor center.

- NOAA Fisheries suggested razing the building and starting over.  They would also like to see reduced reliance on the AFF.

- Need to assemble a task force to look at the future need; the need for sorting, handling, properly sizing tanks and providing enough water.

- Need to meet with TAC-Harvest to discuss future use.

- There may be a group working on the Basin-wide sampling/tagging.  It was suggested the AFF team find this group and see if efforts could be coordinated, especially when it comes to tagging fish needed by CRITFC for harvest management.  Also find the PIT tag group working on tag analyses; find out status

☻☻☻☻☻☻☻☻☻☻☻☻☻☻Fish Passage Change Forms☻☻☻☻☻☻☻☻☻☻☻☻

☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻

Change Request Number: 11OVE001_Addition of Project’s Minimum Generation

Date:  April 19, 2010

Proposed by:Laura Hamilton – NWD RCC– Water Quality

(FPP Change form, adds the minimum generation ranges for the Lower Columbia Projects (BON – MCN)

Proposed Change (underlined):  1.5.  Minimum Generation Ranges.

During low flows, there may not be enough river flow to meet this generation requirement flow and required minimum spill.  Under these circumstances the power generation requirement flow will take precedence over the minimum spill requirement.  The Corps has identified minimum generation flow values derived from actual generation records when turbines were operating within ±1% of best efficiency (Table 1).  Values stated in Table 1 are approximations and do not account for varying head or other small adjustments in turbine unit operation that may result in variations from the reported minimum generation flow and spill amount.  Minimum generation flow ranges at McNary, John Day, and The Dalles are 50-60 kcfs; and 30-40 kcfs at Bonneville as shown in Table OV-1.

Table OV-1.— Minimum generation ranges for turbine units at the four lower Snake and four lower Columbia River dams.

| Minimum Generation Table |  |  |
| --- | --- | --- |
| Project | Units | Minimum Generation Requirement flows kcfs* |
| Lower Granite | units 1-3 | 11.3 - 13.1 |
|  | units 4 - 6 | 13.5 - 14.5 |
| Little Goose | units 1-3 | 11.3 - 13.1 |
|  | units 4 - 6 | 13.5 - 14.5 |
| Lower Monumental | unit 1 | 16.5 - 19.5 |
|  | units 2-3 | 11.3 - 13.1 |
|  | units 4 - 6 | 13.5 - 14.5 |
| Ice Harbor | units 1 & 3 | 8.5 - 10.3 |
|  | units 2 | 11.3 - 13.1 |
|  | units 4 - 6 | 8.5 - 10.3 |
| McNary | N/A | 50 - 60 |
| John Day | N/A | 50 - 60 |
| The Dalles | N/A | 50 - 60 |
| Bonneville | N/A | 30 - 40 |
| *these minimum generation flows are based on actual data from the projects. Throughout the FPP there are 1% efficiency range tables for all the projects identified above that provide the theoretical operational ranges. The theoretical tables and the actual tables are slightly different because of operational variables such as head, |  |  |

Reason for Change:  Currently, there is no minimum generation ranges provided in the Bonneville, The Dalles; John Day and McNary individual sections like we do with the lower Snake River projects. We need to make sure that the minimum generation ranges in the FOP are the same as the FPP individual sections.

Comments from others:  Ice Harbor Unit 2 has blades welded in 2008, therefore the minimum generation requirement flow changed.

Record of Final Action:

☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻

Change Request Number: 11BON007

Date:  11/04/2010

Proposed by: BON Fisheries

Location of Change:  BON section 1.2.1.1.

Proposed Change:  Remove DSM language.

- 1.2.1.1.  The Powerhouse One collection channel and A-branch ladder join the south spillway entrance and B-branch ladder at the junction pool at the Bradford Island ladder to form the Bradford Island fishway.  The Ice and Trash Sluiceway (ITS) is also used for adult passage throughout the year.  The system consists of three automated chain gates and 27 manual chain gates.

Reason for Change:  PH1 DSM wall was removed winter 09/10, and the ITS was modified and is used as a fish passage route.

Comments from others:

Record of Final Action:

☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻

Change Request Number: 11BON008

Date:  11/4/2010

Proposed by: BON Fisheries

Location of Change:  BON section 2.4.2.2.

Proposed Change:  Update TIE language, make consistent with BON 2.4.2.1.i.

a.  Juvenile fish protection devices (STS, etc.) will be in place prior to the juvenile fish passage season.  Screens (STSs and VBSs) will remain in operation through December 15 to prevent adult salmonids from falling back through turbine units.

Reason for Change:  FPOM task group members agreed to pulling and possibly scrapping TIES at the 04 November 2010 FPOM task group meeting.  Final approval will be requested at the 17 November FPOM.

Comments from others:

Record of Final Action:

☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻

Change Request Number: 11BON009

Date:  11/4/2010

Proposed by: BON Fisheries

Location of Change:  BON section 2.4.2.2.j.1.A&B.

Proposed Change:  Remove “swing it over the forebay”.

1. TIE Crane in Service

A.  VBSs will be cleaned by installing the spare VBS in the back slot, pulling the main VBS up and spray it off with a fire hose, then replace back in slot and pull spare (reverse order).

B.  If the VBS drawdown criteria of <1.1’ CANNOT be maintained during the day due to debris, the spare VBS will not be installed in the back slot and gatewells will not be dipped.  The Project will pull the main screen,  spray it off with a fire hose, then re-install.

Reason for Change: Maintenance crews no longer clean VBSs over the forebay do to safety concerns.  VBSs will be cleaned in the gatewell.

Comments from others:

Record of Final Action:

☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻

Change Request Number: 11BON010

Date:  11/3/10

Proposed by: BON Fisheries

Location of Change:  BON 2.4.2.5.a.5.

Proposed Change:

5.  Operate the outfall avian cannons from March 1 through November 1.    The cannons will be operated 24 hours/day during fish passage season.

Reason for Change:  Cormorants and gulls have repeatedly moved into the JMF outfall area when the hyrdocannon has been shut off in September or October.  Fisheries would like to keep it operating until smolt monitoring and truck releases from upriver have concluded for the year.

Comments from others:

Record of Final Action:

☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻

Change Request Number: 11BON011

Date:  11/4/2010

Proposed by: BON Fisheries

Location of Change:  BON section 2.5.1.1.m.

Proposed Change:

- m.  At PH1, 1A, 1B and 10B should remain open from December 01 through the end of February.  This operation is intended to facilitate steelhead kelt passage.

Reason for Change:  Correct manual chain gate openings for Winter Maintenance Operations.  Chain gates 1A and 1B set at 71’ and 73’ msl, respectively, are the open chain gates over Unit 1.

Comments from others:

Record of Final Action:

☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻

Change Request Number: 11TDA004

Date:  11/2/10

Proposed by:  TDA Fisheries

Location of Change:  2.1.3

Proposed Change:  2.1.3.  All fish passage related equipment and operation will be inspected twice daily.  Additionally, a 12-hour trend for entrance differential and weir depth will be monitored daily from the data logging system to track operational changes.  Results will be reported in the weekly status report.

Reason for Change: The new system has been implemented, providing better inspection coverage.  This is in addition to the two daily fishway inspections already required.

Comments from others:

Record of Final Action:

☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻

Change Request Number: 11TDA005

Date:  11/2/10

Proposed by:  TDA Fisheries

Location of Change:  2.4.1.2.a

Proposed Change:  a.  Measure gatewell drawdown a minimum of once per week, and more frequently, three times per week or more, as needed during high debris periods.  Clean trashracks as flow conditions dictate, or when drawdown in gatewell slots exceeds 1.5’'.  All trashracks can be raked using the Hammerhead crane.

Reason for Change: Unit intakes are inspected via ROV prior to season start.  There has historically not been enough debris to require raking.  If there are abnormal debris load increases, they will be rakes/ROV throughout the season as needed.  This raking would also interfere with the required unit operation priority.

Comments from others:

Record of Final Action:

☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻

Change Request Number: 11TDA006

Date:  11/2/10

Proposed by:  TDA Fisheries

Location of Change:  2.5.1.2.a.8

Proposed Change:  8.  Count station crowders shall remain in the maximum width while visual counting and/or video-taping is being conducted.  The crowder shall not be closed to less than 18" width.  If passage is impaired by this condition, the count slot may be widened until proper passage conditions are achieved, even though count accuracy may be compromised to some degree.  Project biologists, FFU, and fish counters shall coordinate to achieve optimum count slot passage and/or count accuracy conditions.

Reason for Change: Primary objective at the count stationis to assure no impact to fish passage; secondary objective is to count fish.  If it’s confirmed having the crowder space does not interfere with passage during counting, it should not interfere with passage during the non-counting hours.

Comments from others:

Record of Final Action:

☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻

Change Request Number: 11TDA007

Date:  11/2/10

Proposed by:  TDA Fisheries

Location of Change:  Table TDA-4

Proposed Change:

Table TDA-4  Turbine unit operating priorities for The Dalles Dam.

| PERIOD | PRIORITY |
| --- | --- |
| Fish Passage Season (April 1 through November 30) | 1 and/or 2, 3 and/or 4, 8, 18* |
| If more units are needed operate one unit from each block moving west to east | block 5-8, block 9-12, block 13-16, block 17-22 |
| If additional units are still needed operate one unit from each block moving west to east. | block 5-8, block 9-12, block 13-16, block 17-22 |
| December 1 through March 31 | 1-22 in any order |

*During fish passage season- Unit 1 and/or 2, Unit 3 or 4, Units under open sluice gates 1,8,18

Reason for Change: Unit 8 now has the operating sluicegate and should be a higher priority than unit 5.

Comments from others:

Record of Final Action:

☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻

Change Request Number: 11TDA008

Date:  11/2/10

Proposed by:  TDA Fisheries

Location of Change:  4.2.1.2.

Proposed Change:  4.2.1.2.  Turbines and Spillways.  Maintenance and routine repair of project turbines and spillways are a regular and recurring process which require that units be shut down for extended periods (see section 6. Dewatering Plans.)  …  Units which should receive low priority for scheduling maintenance during the fish passage season are F1, F2, 1, 2, 3, 4 8, and 18 (during ice and trash sluiceway operation).

Reason for Change: Unit 8 now has the operating sluicegate and should be a higher priority than unit 5.

Comments from others:

Record of Final Action:

☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻

Change Request Number: 11TDA009

Date:  11/2/10

Proposed by:  TDA Fisheries

Location of Change:  4.3.2.1.a.

Proposed Change:  a.  Powerhouse.  If one of the two fishway auxiliary water turbines fails or malfunctions for eight hours or longer, use the following sequential procedure until a fishway entrance head of 1' is achieved:

1.  Increase discharge of remaining operating fish unit to maximum operating capacity.

2.   Close entrance weir S1.

3.  Raise entrance weir E2 and E3 to 8’ depth.

4.  Close entrance weir S2 in 1’ increments.

5.  Close entrance weir W2 in 1’ increments.

6.  Close entrance weir W1 in 1’ increments.

7.  Differentials for open entrances should be checked between each of the above steps.

Reason for Change: South entrance uses the most water.  One of the south entrance weirs should be closed before adjusting weirs on the east where our majority passage occurs.

Comments from others:

Record of Final Action:

☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻

Change Request Number:	11TDA010

Date: 	30 November 2010

Proposed by: 	USACE Portland District - Tackley

Location of Change- 2.4.1.1, 2.4.1.2, 2.5.1.1, 2.5.1.2, 5.1.

Proposed Change (1):

2.4.1.1.  December 1 through March 31 (Winter Maintenance Period)

f.  December 1 through December 15, see 2.5.1.1.g and 2.5.1.1.h for Ice and Trash Sluiceway (ITS) operations for adult fallback and steelhead kelts.

g.  December 16 through February 28, discontinue operation of the ITS on a 24 hour basis.  Close endgate, and open sluice gates 1-1 and 17-3 to allow fish egress from the ITS when equalized with the forebay.

2.4.1.2.  April 1 through November 30 (Fish Passage Season).

e.  Open ice and trash sluiceway (ITS) gates 1-1, 1-2, and 1-3 over operating Main Unit-1, sluiceway gate 8-3 over Main Unit 8, 18-2, and 18-3 over operating Main Unit 18. If either of these main units is out of service, operate the next available main unit and associated gates adjacent to these units, (i.e. operate MU-2 w/gates if MU-1 is OOS, and operate MU-17 w/gates or MU-19 w/gates if MU-18 is OOS).  The ice and trash sluiceway will be operated on a 24-hour basis April 1 through November.

2.5.  Adult Fish Passage Facilities.

2.5.1.  Operating Criteria.

2.5.1.1. December 1 through February   (Winter Maintenance Period).

g.  December 1 through December 15, Open Ice and Trash Sluiceway (ITS) gates 1-2, and 1-3 over operating Main Unit-1, and gates 18-1 and 18-2 over operating Main Unit 18. If either of these main units is out of service, operate the next available main unit and associated gates adjacent to these units, (i.e. operate MU-2 w/gates if MU-1 is OOS, and operate MU-17 w/gates or MU-19 w/gates if MU-18 is OOS).  The ice and trash sluiceway will be operated on a 24-hour basis December 1 through December 15.

h.  December 16 through February 28, discontinue operation of the ITS on a 24 hour basis.  Close endgate, and open sluice gates 1-1 and 18-3 to allow fish egress from the ITS when equalized with the forebay.

2.5.1.2.  March 1 through November 30 (Fish Passage Season).

a.  All Adult Facilities.

9.  March 1 through March 31, Open Ice and Trash Sluiceway (ITS) gates 1-2, and 1-3 over operating Main Unit-1, and gates 18-1 and 18-2 over operating Main Unit 18. If either of these main units is out of service, operate the next available main unit and associated gates adjacent to these units, (i.e. operate MU-2 w/gates if MU-1 is OOS, and operate MU-17 w/gates or MU-19 w/gates if MU-18 is OOS).  The ice and trash sluiceway will be operated on a 24-hour basis March 1 through March 31.

Proposed Change (2):  5.1.  Through the juvenile fish passage season, April 1 through November 30, and from December 1 through December 15 to aid adult steelhead fallbacks, either turbine unit 1 or unit 2 or both units will operate during daylight hours unless specially coordinated with FPOM.  In order to provide favorable adult fish passage conditions while meeting transmission line needs, the main powerhouse turbine units will operate in the priority outlined in Table TDA-4 below.

Table TDA-4  Turbine unit operating priorities for The Dalles Dam.

| PERIOD | PRIORITY |
| --- | --- |
| Fish Passage Season (April 1 through November 30) | 1 and/or 2, 3 and/or 4, 5, 18* |
| If more units are needed operate one unit from each block moving west to east | block 5-8, block 9-12, block 13-16, block 17-22 |
| If additional units are still needed operate one unit from each block moving west to east. | block 5-8, block 9-12, block 13-16, block 17-22 |
| December 1 through December 15 | 1 and/or 2, 3 and/or 4, 5, 18† |
| December 1 through February 28 | 1-22 in any order |
| March 1 through March 31 | 1 and/or 2, 3 and/or 4, 5, 18† |

*During fish passage season- Unit 1 and/or 2, Unit 3 or 4, Units under open sluice gates 1,5,18
† During operation for adult steelhead fallbacks – Unit 1 and/or 2 and Unit 18 must be operated under at least 2 open sluice gates per unit

Reason for Change:  To provide alternative passage route for overwintering adult steelhead fallbacks.

Comments:

Record of final action:

☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻

Change Request Number: 11TDA011

Date:  11/30/2010

Proposed by:  NWP Fisheries

Location of Change:  2.5.1.1 and 2.5.1.3

Proposed Change:  2.5.1.1.  December 1 through February   (Winter Maintenance Period).

e.  Only one of the two adult fish facilities may be out of service at any one time unless coordinated through FPOM.  The operating facility shall be operated at full fish passage season criteria unless specially coordinated.  Outage periods will be minimized to the extent practicable.

f.  Operate the powerhouse and north and south spillway adult fish passage facilities according to the fish passage period standards above.  The system may be dewatered or operated out of criteria for repair and maintenance.  Adjust the counting station fish crowder to full open and rotate picket leads to the open position at the counting station at the end of the counting season.

Reason for Change: 2.5.1.1 and 2.5.1.3 both address winter maintenance.  The two sections have been combined to reduce redundancy.

Comments from others:

Record of Final Action:

☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻

Change Request Number: 11JDA001

Date:  11/1/2010

Proposed by:  JDA Fisheries

Location of Change:  JDA 5. Turbine Unit Operation and Maintenance

Proposed Change:

5.  Turbine Unit Operation and Maintenance.  Unit operating priority is shown in Table JDA-5, including that time when synchronous condensing occurs.  Unit maintenance schedules will be reviewed by project and district biologists for fish impacts.

Table JDA-5.  Turbine unit operating priority for John Day Dam.

| Season | Time of Day | Unit Operating Priority |
| --- | --- | --- |
| March 1 through April 9 | 24 hours/day | 1-4 in any order then 5-16 in any order. |
| April 10 through July 20 | 24 hours/ day | 5,1,3,16,14,12,10,8,15,2,11,7,4,13,9,6 |
| July 21 through November 30 | 24 hours/ day | 1-4 in any order then 5-16 in any order. |
| December 1 through February | 24 hours/day | any unit |

*When a main unit isn’t available, the paired “sister unit” will be used to comply with the requested priority.

Reason for Change: The purpose for JD unit priority without TSWs is solely for adult attraction to the JD SE-1 entrance and therefore it calls for the south end units, MU1-4 first.

The purpose for JD unit priority with TWSs is dual; it starts with providing adult attraction to JD SE-1 with MUs 5,1,3 first and then jumps over to MUs 16,14,12,10,8 for a delivery of juveniles to TSWs located at spillway bays 19 & 18.

Comments from others:

Record of Final Action:

☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻

Change Request Number: 11JDA002

Date:  11/30/2010

Proposed by:  JDA Fisheries

Location of Change:  1.1.3. Juvenile Migration Timing.

Proposed Change:  1.1.3. Juvenile Migration Timing.  Juvenile passage timing has been determined by past gatewell and SMF sampling at John Day Dam (Table JDA-2.)…PIT interrogation will continue through November 15, weather permitting…

Reason for Change: SMF was not designed for operations in freezing temperatures and its vulnerable components need to be dewatered and winterized well before the wintry weather arrives.   In 2010 the freezing temperatures arrived early, and some of the flushing system's valves were damaged. The damage to the flushing valves resulted in them being unavailable and exposed fish to increased risk of stress and death during the dewatering operations.  For example, five adult lamprey were found dead/frozen inside the transport flume in the switch gate area, a day after dewatering, on 11/30; they most likely came at night out of the adult drain pipe (white,12 inch) which was lacking flushing water. With flushing water available, the lamprey could have survived and would be rescued.

Comments from others:

Record of Final Action:

☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻

Change Request Number: 11LGS002_30% to a Constant Spill Rate

Date:  October 28, 2010

Proposed by:  Doug Baus, Corps, NWD

Location of Change:  On page LGS-6 add a new section titled: “2.1.4 – Change from 30% Spill to a Constant Spill Rate”

Proposed Change:  2.1.4 – Change from 30% Spill to a Constant Spill Rate.  When forecast daily average inflows at Little Goose Dam (LGS) are 33 kcfs or less, for three consecutive days, and indicating a continued downward trend, change the 30% spill operation to spilling at a constant rate.  The constant rate would be approximately 11.2, 9.3, or 7.5 kcfs.  The rate selected should be the rate that will result in the daily spill average closest to 30%.  These consistent spill levels are approximate and may vary depending on changing inflow, forebay and tailwater elevations, and other operational demands.

It is difficult for LGS to achieving 30% spill when inflows are less than 38 kcfs because it requires switching frequently between one and two unit operations.  This operation is incompatible with the more constant discharge upstream at Lower Granite Dam (18 kcfs - 2010 Summer FOP Spill Operation) and downstream at Lower Monumental Dam (17 kcfs – 2010 Summer FOP).  This causes both spillway and turbine discharge to vary considerably to maintain 30% spill within the 1‐foot operating range, as total discharge must either be approximately 25 or 38 kcfs to meet 30% spill.  It is also difficult to achieve the FOP prescribed spill level downstream at Lower Monumental Dam and maintain MOP operations at LGS.

Reason for Change:  NOAA Fisheries’ 2008 Biological Opinion Reasonable and Prudent Alternative Number 29 (Table 2. Initial Voluntary Spill Operations at Columbia and Snake River Dams) identifies the LGS Summer Operation (day/night) as 30%/30%.  FOP’s from 2008, 2009, and 2010 have all included 30% spill levels at LGS.  In 2008, 2009, and 2010 (Attachment 1) the Corps struggled to achieve the 30% spill requirement at LGS during low flow periods because of the need to maintain MOP at LWG and LMN in addition to meeting FOP spill requirements at LGS and LMN.  The difficulty in achieving the 30% spill during this low flow period is cause by switching between one unit (approximately 17 kcfs) and a two unit (approximately 25 kcfs) operation (Attachment 2).  The differential of approximately 8 kcfs discharge between the two operations is significant because it may represent up to approximately 30% of LGW inflows and attempting to manage this significant rate of flow while maintaining a 1 foot operating range and meeting spill requirement is difficult.

The following excerpt is how the issue was described in the 2010 Summer FOP (http://www.nwd-wc.usace.army.mil/tmt/agendas/2010/2010_Summer_Ops_Fish.pdf):

At Little Goose Dam, when daily average flows in the lower Snake River are ≤ 32 kcfs as a daily average, achieving 30% spill requires switching turbine operations between operating 2 units at the low end of the ±1% of best efficiency range to operating one unit at the high end of the ±1% of best efficiency range. This operation is incompatible with the more constant discharge upstream at Lower Granite Dam. It is also often difficult to achieve the FOP prescribed spill level downstream at Lower Monumental Dam and maintain MOP operations. In 2009, through coordination with TMT during low flow periods, Little Goose spill operations changed from 30% to a flat spill level of approximately 7-11 kcfs to smooth out Little Goose discharges, meet Lower Monumental spill levels, and maintain the MOP operating range at Little Goose.  For 2010, the Fish Passage Operations and Maintenance Team (FPOM) recommended removing the spillway weir from service for the season when river discharge is forecasted to drop below 32 kcfs for three days. Weir removal allows allow finer control of spill discharge during periods of low river discharge. If necessary in 2010, additional operational adjustments at Little Goose may be implemented during low flow periods after coordination with FPOM/TMT.

The Corps proposed to include this change in the 2011 FPP because: 1) It is consistent with low flow operations that were regionally coordinated and supported 2009, and 2010; 2) low flows at LGS occur annually and implementing this change will avoid unnecessary regional coordination to make these operational changes in the future, 3) improves the Corps ability to achieve multiple requirements (Lower Snake Spill and MOP) during low flow conditions when achieving these numerous objectives is difficult.

Additional Information Supporting the Change Form: Attachment 2: Little Goose Dam Hourly Flow Data from 18-31 August 2010, provides the background data that supports this change form.  The full month of data may be found at:

http://www.nwd-wc.usace.army.mil/ftppub/water_quality/spill/html/201008.html

Note the following key points discussed in this change form:

1) “Switching” between a one (approx 17K) and two unit (approx 25K) operation may be observed in the “Gen Flow kcfs” column from 08/18 0100 hours to 08/20 1200 hours.

2) Constant spill rates selected in 2010 proposed to be included in the 2011 FPP occurred on: 1) 08/20, 1300 hours, 11.2 kcfs; 2) 08/23, 1200 hours, 9.3 kcfs, and; 3) 08/28, 1400 hours, 7.5 kcfs.

Approximately 8 kcfs represents a rate of flow that is reallocated via spill or generation as a result of switching from between a one and two unit operation and vice versa.  During low flow periods this rate of flow may represent up to approximately 30% of inflow at LGS.  On an hourly basis the Corps is unable to manage such a significant percentage of change in total river discharge while attempting to meet multiple objectives (FOP prescribed spill and MOP) at multiple projects (LWG, LGS, LMN, IHR).  Managing flow at LGS during low flow situations is imperative because it impounds the largest reservoir on the Lower Snake River (KSFSH: LWG, 108; LGS, 120; LMN 83; IHR, 96).  If the Corps is unable to mange flow at LGS then it takes significant changes on the entire Lower Snake River as occurred in 2009 (spill curtailment at IHR and LWG) to revert back to FOP and MOP operations at all Lower Snake Projects.

Comments from others:

FPOM 12 August 2010 Meeting Notes:

- LGS spill pattern 4.00.00.  Wills asked for clarification on the operation at LGS, based on the FPP tables.  He said he doesn’t see a constant spill in the tables. Dykstra said correct, because it is in the Summer FOP, the “flat spill pattern” should really read “constant volume of spill”.  Dykstra said it is likely LGS will transition out of 30% spill into the constant spill volume.  Wills, Hevlin, Lorz, Kruger, BPA agreed with transitioning from 30% to a constant spill volume.

TMT 20 August Official Coordination Email (Attachment 2):

TMT members did not object to this operation.

FPOM may consider several low flow (between 30 and 40 kcfs) LGS operational changes (SW operation, LGS FBE increase of +0.5 ft from 633.0 – 634.0’ to 633.5 - 634.5’, Constant Spill vs. 30%) in the 2011 Fish Passage Plan (FPP).  These operations are interrelated because they all converge on operational changes that may occur when flows are between 30 and 40 kcfs.  Ensure the interrelated effects of all these actions are considered during the planning process so FPOM selects the best low flow operation for LGS in 2011.  Doug Baus - Corps.

Record of Final Action:

Attachment 1:  TMT Coordination RE: Little Goose 30% Spill to a Constant Rate in 2010

From: Barton, Steven B NWD

Sent: Friday, August 20, 2010 11:44 AM

To: Allgood, Tiffany; Barquin, Billy; Baus, Douglas M NWD; Brandt, Scott; Denny, Lytle;

Hovenkotter, Joe; Kiefer, Russ; Kruger, Rick; LeFleur, Cindy; Litchfield, Jim; Lorz, Tom;

Lovtang, Jens; Marotz, Brian; Norris, Tony; Ogan, John; Pavlik-Kunkel, Deanne; Roche,

John; Rose, Bob; Sears, Sheri; Spurgin, Pat; Statler, Dave; Sue Ireland; Wagner, Paul; Wills,

Dave; Bettin, Scott; Boyce, Ron; Dittmer, Kyle; Domingue, Rich; Haeseker, Steve; Haller,

Greg; Hassemer, Pete; MacKay, Robyn; Mellema, Mary; Steve Smith

Cc: Kanbergs, Karlis NWD; English, Scott E NWD; Barton, James D NWD; Lear, Gayle N NWD;

Peters, Rock D NWD; Feil, Dan H NWD; Dykstra, Timothy A NWW; Robin Gumpert; Erin

Halton; Donna Silverberg

Subject: Official TMT Coordination: LGS Spill

TMT Members and Alternates:

The current spill operation at Little Goose follows the patterns within the 2010 Fish Passage Plan, within unit availability and subject to varying head. Total discharge at the project (approx 28 to 32 kcfs, day average) is within the range where units are switching frequently between one‐ and two‐unit operations. This causes both spillway and turbine discharge to vary considerably to maintain 30% spill within the 1‐foot operating range, as total discharge must either be approximately 25 or 37 kcfs to meet 30% spill.

The Action Agencies propose, similar to 2009, to move from 30% spill to a flat spill of approximately 11.2 kcfs. The spill rate may be adjusted downward as flows recede throughout the remainder of August as not to adversely impact adult passage.

TMT Members are requested to respond with any questions, comments, or objections to this proposed action by 15:00 Pacific, today (Aug 20).

________________________________

Steven B. Barton, P.E.

Chief, Reservoir Control Center

Northwestern Division

U.S. Army Corps of Engineers

Portland, Oregon

Phone: 503‐808‐3945

E‐mail: Steven.B.Barton@usace.army.mil

Attachment 2:  Little Goose Dam Hourly Flow Data from 18-31 August 2010

| Date LGS 2010 | % Spill | Generation Flow Kcfs (1 Unit approx 17K, 2 units approx 25K) | Spill Flow (kcfs) | Misc Flow (kcfs) | Total Flow (kcfs) | FB Elev (feet) |
| --- | --- | --- | --- | --- | --- | --- |
| 08/18 01 | 30.2 | 17 | 7.5 | 0.3 | 24.8 | 634.1 |
| 08/18 02 | 30.1 | 17 | 7.5 | 0.4 | 24.9 | 634.1 |
| 08/18 03 | 30.1 | 17 | 7.5 | 0.4 | 24.9 | 634.1 |
| 08/18 04 | 30.1 | 17 | 7.5 | 0.4 | 24.9 | 634.2 |
| 08/18 05 | 30 | 17.1 | 7.5 | 0.4 | 25 | 634.2 |
| 08/18 06 | 30 | 18 | 7.9 | 0.4 | 26.3 | 634.2 |
| 08/18 07 | 28.9 | 25.8 | 11.2 | 1.8 | 38.8 | 634.1 |
| 08/18 08 | 30.1 | 25.7 | 11.2 | 0.3 | 37.2 | 634.1 |
| 08/18 09 | 30.4 | 25.3 | 11.2 | 0.4 | 36.9 | 634 |
| 08/18 10 | 30.4 | 25.3 | 11.2 | 0.3 | 36.8 | 633.9 |
| 08/18 11 | 30.3 | 25.4 | 11.2 | 0.4 | 37 | 633.9 |
| 08/18 12 | 30.3 | 25.4 | 11.2 | 0.4 | 37 | 633.8 |
| 08/18 13 | 30.4 | 25.3 | 11.2 | 0.4 | 36.9 | 633.8 |
| 08/18 14 | 30.2 | 25.3 | 11.1 | 0.4 | 36.8 | 633.8 |
| 08/18 15 | 30.2 | 25.2 | 11.1 | 0.5 | 36.8 | 633.7 |
| 08/18 16 | 30.3 | 24.8 | 10.9 | 0.3 | 36 | 633.7 |
| 08/18 17 | 30 | 16.9 | 7.4 | 0.4 | 24.7 | 633.7 |
| 08/18 18 | 30.1 | 16.8 | 7.4 | 0.4 | 24.6 | 633.7 |
| 08/18 19 | 30.1 | 16.8 | 7.4 | 0.4 | 24.6 | 633.8 |
| 08/18 20 | 30.1 | 16.7 | 7.4 | 0.5 | 24.6 | 633.9 |
| 08/18 21 | 30 | 16.8 | 7.4 | 0.5 | 24.7 | 633.9 |
| 08/18 22 | 30.2 | 16.9 | 7.5 | 0.4 | 24.8 | 634 |
| 08/18 23 | 30.5 | 24.9 | 11.1 | 0.4 | 36.4 | 633.9 |
| 08/18 24 | 30.4 | 25.3 | 11.2 | 0.4 | 36.9 | 633.8 |
| 08/19 01 | 30.4 | 25.4 | 11.2 | 0.3 | 36.9 | 633.9 |
| 08/19 02 | 30.2 | 25.5 | 11.2 | 0.4 | 37.1 | 633.8 |
| 08/19 03 | 30.4 | 25.3 | 11.2 | 0.4 | 36.9 | 633.8 |
| 08/19 04 | 30.4 | 25.3 | 11.2 | 0.4 | 36.9 | 633.8 |
| 08/19 05 | 29.9 | 25.2 | 10.9 | 0.4 | 36.5 | 633.8 |
| 08/19 06 | 29.6 | 17.2 | 7.4 | 0.4 | 25 | 633.8 |
| 08/19 07 | 28 | 17.2 | 7.4 | 1.8 | 26.4 | 633.8 |
| 08/19 08 | 29.6 | 17.2 | 7.4 | 0.4 | 25 | 633.9 |
| 08/19 09 | 29.6 | 17.2 | 7.4 | 0.4 | 25 | 634 |
| 08/19 10 | 29.6 | 17.2 | 7.4 | 0.4 | 25 | 633.9 |
| 08/19 11 | 29.6 | 17.1 | 7.4 | 0.5 | 25 | 634 |
| 08/19 12 | 29.6 | 17.7 | 7.6 | 0.4 | 25.7 | 634 |
| 08/19 13 | 29.1 | 25.5 | 11.2 | 1.8 | 38.5 | 633.9 |
| 08/19 14 | 29.9 | 25.8 | 11.2 | 0.4 | 37.4 | 634 |
| 08/19 15 | 29.1 | 25.6 | 11.2 | 1.7 | 38.5 | 633.9 |
| 08/19 16 | 30.2 | 25.6 | 11.2 | 0.3 | 37.1 | 633.8 |
| 08/19 17 | 30.2 | 25.6 | 11.2 | 0.3 | 37.1 | 633.8 |
| 08/19 18 | 30 | 25.4 | 11.1 | 0.5 | 37 | 633.7 |
| 08/19 19 | 28.9 | 25.4 | 11.1 | 1.9 | 38.4 | 633.6 |
| 08/19 20 | 29 | 25.4 | 11.1 | 1.8 | 38.3 | 633.7 |
| 08/19 21 | 30 | 17.2 | 7.5 | 0.3 | 25 | 633.8 |
| 08/19 22 | 29.8 | 16.9 | 7.4 | 0.5 | 24.8 | 633.7 |
| 08/19 23 | 29.8 | 17 | 7.4 | 0.4 | 24.8 | 633.9 |
| 08/19 24 | 29.7 | 17.1 | 7.4 | 0.4 | 24.9 | 634 |
| 08/20 01 | 28.1 | 17 | 7.4 | 1.9 | 26.3 | 633.8 |
| 08/20 02 | 29.7 | 17.1 | 7.4 | 0.4 | 24.9 | 634 |
| 08/20 03 | 30.1 | 17 | 7.5 | 0.4 | 24.9 | 634.1 |
| 08/20 04 | 30 | 17.1 | 7.5 | 0.4 | 25 | 634.1 |
| 08/20 05 | 30.1 | 17 | 7.5 | 0.4 | 24.9 | 634.1 |
| 08/20 06 | 30 | 17.2 | 7.5 | 0.3 | 25 | 634.1 |
| 08/20 07 | 30 | 17.2 | 7.5 | 0.3 | 25 | 634.1 |
| 08/20 08 | 30 | 17.2 | 7.5 | 0.3 | 25 | 634.1 |
| 08/20 09 | 30 | 17.1 | 7.5 | 0.4 | 25 | 634.2 |
| 08/20 10 | 30.1 | 17 | 7.5 | 0.4 | 24.9 | 634.2 |
| 08/20 11 | 30 | 17.1 | 7.5 | 0.4 | 25 | 634.2 |
| 08/20 12 | 29.8 | 17.7 | 7.7 | 0.4 | 25.8 | 634.3 |
| 08/20 13 | 30.4 | 25.3 | 11.2 | 0.4 | 36.9 | 634.3 |
| 08/20 14 | 29.2 | 25.3 | 11.2 | 1.8 | 38.3 | 634.2 |
| 08/20 15 | 29.2 | 25.3 | 11.2 | 1.8 | 38.3 | 634.1 |
| 08/20 16 | 30.4 | 25.3 | 11.2 | 0.4 | 36.9 | 634.1 |
| 08/20 17 | 29.9 | 25.8 | 11.2 | 0.4 | 37.4 | 634.1 |
| 08/20 18 | 30.6 | 25 | 11.2 | 0.4 | 36.6 | 634.1 |
| 08/20 19 | 39.2 | 17.1 | 11.2 | 0.3 | 28.6 | 634.3 |
| 08/20 20 | 38.5 | 17.5 | 11.2 | 0.4 | 29.1 | 634.1 |
| 08/20 21 | 38.5 | 17.6 | 11.2 | 0.3 | 29.1 | 634.2 |
| 08/20 22 | 38.6 | 17.4 | 11.2 | 0.4 | 29 | 634.2 |
| 08/20 23 | 36.7 | 17.5 | 11.2 | 1.8 | 30.5 | 634.1 |
| 08/20 24 | 38.6 | 17.4 | 11.2 | 0.4 | 29 | 634.2 |
| 08/21 01 | 38.6 | 17.4 | 11.2 | 0.4 | 29 | 634.2 |
| 08/21 02 | 38.6 | 17.4 | 11.2 | 0.4 | 29 | 634.2 |
| 08/21 03 | 39.2 | 17 | 11.2 | 0.4 | 28.6 | 634.3 |
| 08/21 04 | 39.2 | 17 | 11.2 | 0.4 | 28.6 | 634.2 |
| 08/21 05 | 39.2 | 17 | 11.2 | 0.4 | 28.6 | 634.3 |
| 08/21 06 | 32.8 | 22.5 | 11.2 | 0.4 | 34.1 | 634.3 |
| 08/21 07 | 30.9 | 24.7 | 11.2 | 0.4 | 36.3 | 634.2 |
| 08/21 08 | 30.8 | 24.8 | 11.2 | 0.4 | 36.4 | 634.3 |
| 08/21 09 | 29.6 | 24.9 | 11.2 | 1.8 | 37.9 | 634.2 |
| 08/21 10 | 30.8 | 24.8 | 11.2 | 0.4 | 36.4 | 634.1 |
| 08/21 11 | 30.8 | 24.8 | 11.2 | 0.4 | 36.4 | 634.1 |
| 08/21 12 | 30.8 | 24.9 | 11.2 | 0.3 | 36.4 | 634 |
| 08/21 13 | 30.9 | 24.8 | 11.2 | 0.3 | 36.3 | 633.9 |
| 08/21 14 | 31 | 24.5 | 11.2 | 0.4 | 36.1 | 633.9 |
| 08/21 15 | 31.8 | 23.6 | 11.2 | 0.4 | 35.2 | 633.9 |
| 08/21 16 | 32.1 | 23.3 | 11.2 | 0.4 | 34.9 | 633.8 |
| 08/21 17 | 30.9 | 23.2 | 11.2 | 1.8 | 36.2 | 633.8 |
| 08/21 18 | 32.5 | 22.9 | 11.2 | 0.4 | 34.5 | 633.8 |
| 08/21 19 | 32.2 | 22.9 | 11.1 | 0.5 | 34.5 | 633.8 |
| 08/21 20 | 32.1 | 23 | 11.1 | 0.5 | 34.6 | 633.7 |
| 08/21 21 | 32.2 | 23 | 11.1 | 0.4 | 34.5 | 633.7 |
| 08/21 22 | 36.9 | 18.6 | 11.1 | 0.4 | 30.1 | 633.8 |
| 08/21 23 | 38.1 | 17.6 | 11.1 | 0.4 | 29.1 | 633.7 |
| 08/21 24 | 38.4 | 17.4 | 11.1 | 0.4 | 28.9 | 633.7 |
| 08/22 01 | 38.3 | 17.4 | 11.1 | 0.5 | 29 | 633.7 |
| 08/22 02 | 38.3 | 17.4 | 11.1 | 0.5 | 29 | 633.6 |
| 08/22 03 | 38.3 | 17.5 | 11.1 | 0.4 | 29 | 633.6 |
| 08/22 04 | 44.6 | 13.4 | 11.1 | 0.4 | 24.9 | 633.6 |
| 08/22 05 | 45.9 | 12.7 | 11.1 | 0.4 | 24.2 | 633.6 |
| 08/22 06 | 45.9 | 12.7 | 11.1 | 0.4 | 24.2 | 633.7 |
| 08/22 07 | 45.9 | 12.7 | 11.1 | 0.4 | 24.2 | 633.7 |
| 08/22 08 | 45.5 | 12.8 | 11.1 | 0.5 | 24.4 | 633.7 |
| 08/22 09 | 45.5 | 12.8 | 11.1 | 0.5 | 24.4 | 633.7 |
| 08/22 10 | 45.7 | 12.8 | 11.1 | 0.4 | 24.3 | 633.7 |
| 08/22 11 | 45.9 | 12.6 | 11.1 | 0.5 | 24.2 | 634 |
| 08/22 12 | 43.2 | 14.1 | 11.1 | 0.5 | 25.7 | 633.8 |
| 08/22 13 | 42.9 | 14.3 | 11.1 | 0.5 | 25.9 | 633.8 |
| 08/22 14 | 40.7 | 14.3 | 11.1 | 1.9 | 27.3 | 633.8 |
| 08/22 15 | 43.2 | 14.3 | 11.2 | 0.4 | 25.9 | 633.8 |
| 08/22 16 | 42.9 | 14.3 | 11.1 | 0.5 | 25.9 | 633.7 |
| 08/22 17 | 43.4 | 14.3 | 11.2 | 0.3 | 25.8 | 633.9 |
| 08/22 18 | 43.4 | 14.3 | 11.2 | 0.3 | 25.8 | 633.8 |
| 08/22 19 | 43 | 14.3 | 11.1 | 0.4 | 25.8 | 633.7 |
| 08/22 20 | 41.2 | 14.3 | 11.2 | 1.7 | 27.2 | 633.9 |
| 08/22 21 | 43.2 | 14.3 | 11.2 | 0.4 | 25.9 | 633.8 |
| 08/22 22 | 43 | 14.2 | 11.1 | 0.5 | 25.8 | 633.8 |
| 08/22 23 | 43.6 | 14.1 | 11.2 | 0.4 | 25.7 | 633.9 |
| 08/22 24 | 41.3 | 14.1 | 11.2 | 1.8 | 27.1 | 633.8 |
| 08/23 01 | 43.7 | 14.1 | 11.2 | 0.3 | 25.6 | 633.8 |
| 08/23 02 | 43.6 | 14.1 | 11.2 | 0.4 | 25.7 | 633.9 |
| 08/23 03 | 43.7 | 14.1 | 11.2 | 0.3 | 25.6 | 633.9 |
| 08/23 04 | 43.6 | 14.1 | 11.2 | 0.4 | 25.7 | 633.9 |
| 08/23 05 | 43.6 | 14.1 | 11.2 | 0.4 | 25.7 | 633.9 |
| 08/23 06 | 43.6 | 14.1 | 11.2 | 0.4 | 25.7 | 633.9 |
| 08/23 07 | 43.7 | 14.1 | 11.2 | 0.3 | 25.6 | 633.9 |
| 08/23 08 | 43.7 | 14.1 | 11.2 | 0.3 | 25.6 | 634 |
| 08/23 09 | 43.6 | 14.1 | 11.2 | 0.4 | 25.7 | 634.2 |
| 08/23 10 | 43.1 | 14.4 | 11.2 | 0.4 | 26 | 634.3 |
| 08/23 11 | 39.4 | 16.8 | 11.2 | 0.4 | 28.4 | 634.3 |
| 08/23 12 | 33.9 | 17.9 | 9.4 | 0.4 | 27.7 | 634.2 |
| 08/23 13 | 28.7 | 22.7 | 9.3 | 0.4 | 32.4 | 634.2 |
| 08/23 14 | 27.8 | 23.6 | 9.3 | 0.5 | 33.4 | 634.4 |
| 08/23 15 | 28.1 | 23.3 | 9.3 | 0.5 | 33.1 | 634.2 |
| 08/23 16 | 28 | 23.4 | 9.3 | 0.5 | 33.2 | 634.1 |
| 08/23 17 | 28 | 23.5 | 9.3 | 0.4 | 33.2 | 634.2 |
| 08/23 18 | 28.1 | 23.4 | 9.3 | 0.4 | 33.1 | 634 |
| 08/23 19 | 27.4 | 22.9 | 9.3 | 1.8 | 34 | 634.1 |
| 08/23 20 | 33.8 | 17.8 | 9.3 | 0.4 | 27.5 | 634.1 |
| 08/23 21 | 33.8 | 17.8 | 9.3 | 0.4 | 27.5 | 633.9 |
| 08/23 22 | 32.2 | 17.8 | 9.3 | 1.8 | 28.9 | 634.1 |
| 08/23 23 | 33.8 | 17.8 | 9.3 | 0.4 | 27.5 | 634 |
| 08/23 24 | 33.8 | 17.8 | 9.3 | 0.4 | 27.5 | 634 |
| 08/24 01 | 32.2 | 17.8 | 9.3 | 1.8 | 28.9 | 634.1 |
| 08/24 02 | 33.7 | 17.9 | 9.3 | 0.4 | 27.6 | 634 |
| 08/24 03 | 33.8 | 17.8 | 9.3 | 0.4 | 27.5 | 634 |
| 08/24 04 | 33.8 | 17.8 | 9.3 | 0.4 | 27.5 | 634.1 |
| 08/24 05 | 33.8 | 17.8 | 9.3 | 0.4 | 27.5 | 634.1 |
| 08/24 06 | 33.8 | 17.7 | 9.3 | 0.5 | 27.5 | 634 |
| 08/24 07 | 34.1 | 17.6 | 9.3 | 0.4 | 27.3 | 634.1 |
| 08/24 08 | 34.1 | 17.6 | 9.3 | 0.4 | 27.3 | 634 |
| 08/24 09 | 34.1 | 17.6 | 9.3 | 0.4 | 27.3 | 634 |
| 08/24 10 | 34.1 | 17.6 | 9.3 | 0.4 | 27.3 | 634 |
| 08/24 11 | 32.4 | 17.6 | 9.3 | 1.8 | 28.7 | 634.3 |
| 08/24 12 | 33.9 | 17.7 | 9.3 | 0.4 | 27.4 | 634 |
| 08/24 13 | 34.1 | 17.6 | 9.3 | 0.4 | 27.3 | 634.1 |
| 08/24 14 | 33.9 | 17.7 | 9.3 | 0.4 | 27.4 | 634.2 |
| 08/24 15 | 32.3 | 17.7 | 9.3 | 1.8 | 28.8 | 634.1 |
| 08/24 16 | 34.1 | 17.6 | 9.3 | 0.4 | 27.3 | 634.1 |
| 08/24 17 | 33.9 | 17.6 | 9.3 | 0.5 | 27.4 | 634.1 |
| 08/24 18 | 34.1 | 17.6 | 9.3 | 0.4 | 27.3 | 634.1 |
| 08/24 19 | 34.1 | 17.6 | 9.3 | 0.4 | 27.3 | 634.1 |
| 08/24 20 | 33.9 | 17.6 | 9.3 | 0.5 | 27.4 | 634.1 |
| 08/24 21 | 33.9 | 17.7 | 9.3 | 0.4 | 27.4 | 634.1 |
| 08/24 22 | 34.1 | 17.6 | 9.3 | 0.4 | 27.3 | 634.1 |
| 08/24 23 | 32.4 | 17.6 | 9.3 | 1.8 | 28.7 | 634.2 |
| 08/24 24 | 32.4 | 17.6 | 9.3 | 1.8 | 28.7 | 634.1 |
| 08/25 01 | 34.1 | 17.6 | 9.3 | 0.4 | 27.3 | 634.2 |
| 08/25 02 | 33.9 | 17.6 | 9.3 | 0.5 | 27.4 | 634.2 |
| 08/25 03 | 34.1 | 17.6 | 9.3 | 0.4 | 27.3 | 634.1 |
| 08/25 04 | 33.9 | 17.7 | 9.3 | 0.4 | 27.4 | 634.2 |
| 08/25 05 | 33.9 | 17.6 | 9.3 | 0.5 | 27.4 | 634.2 |
| 08/25 06 | 33.9 | 17.7 | 9.3 | 0.4 | 27.4 | 634.1 |
| 08/25 07 | 34.1 | 17.6 | 9.3 | 0.4 | 27.3 | 634.2 |
| 08/25 08 | 33.9 | 17.7 | 9.3 | 0.4 | 27.4 | 634.2 |
| 08/25 09 | 33.9 | 17.6 | 9.3 | 0.5 | 27.4 | 634.2 |
| 08/25 10 | 32.4 | 17.6 | 9.3 | 1.8 | 28.7 | 634.2 |
| 08/25 11 | 34.1 | 17.5 | 9.3 | 0.5 | 27.3 | 634.2 |
| 08/25 12 | 34.8 | 17 | 9.3 | 0.4 | 26.7 | 634.2 |
| 08/25 13 | 34.6 | 17.2 | 9.3 | 0.4 | 26.9 | 634.2 |
| 08/25 14 | 34.3 | 17.4 | 9.3 | 0.4 | 27.1 | 634.3 |
| 08/25 15 | 34.6 | 17.1 | 9.3 | 0.5 | 26.9 | 634.3 |
| 08/25 16 | 32.9 | 17.1 | 9.3 | 1.9 | 28.3 | 634.2 |
| 08/25 17 | 34.7 | 17.1 | 9.3 | 0.4 | 26.8 | 634.1 |
| 08/25 18 | 33 | 17 | 9.3 | 1.9 | 28.2 | 634.3 |
| 08/25 19 | 34.8 | 17 | 9.3 | 0.4 | 26.7 | 634.2 |
| 08/25 20 | 34.7 | 17.1 | 9.3 | 0.4 | 26.8 | 634.2 |
| 08/25 21 | 34.7 | 17 | 9.3 | 0.5 | 26.8 | 634.2 |
| 08/25 22 | 33 | 17.1 | 9.3 | 1.8 | 28.2 | 634.2 |
| 08/25 23 | 34.7 | 17 | 9.3 | 0.5 | 26.8 | 634.2 |
| 08/25 24 | 34.7 | 17.1 | 9.3 | 0.4 | 26.8 | 634.2 |
| 08/26 01 | 34.7 | 17.1 | 9.3 | 0.4 | 26.8 | 634.2 |
| 08/26 02 | 34.7 | 17.1 | 9.3 | 0.4 | 26.8 | 634.2 |
| 08/26 03 | 34.7 | 17.1 | 9.3 | 0.4 | 26.8 | 634.2 |
| 08/26 04 | 34.6 | 17.1 | 9.3 | 0.5 | 26.9 | 634.2 |
| 08/26 05 | 34.6 | 17.1 | 9.3 | 0.5 | 26.9 | 634.2 |
| 08/26 06 | 34.4 | 17.2 | 9.3 | 0.5 | 27 | 634.2 |
| 08/26 07 | 34.6 | 17.2 | 9.3 | 0.4 | 26.9 | 634.2 |
| 08/26 08 | 34.4 | 17.2 | 9.3 | 0.5 | 27 | 634.1 |
| 08/26 09 | 34.6 | 17.2 | 9.3 | 0.4 | 26.9 | 634.2 |
| 08/26 10 | 34.6 | 17.2 | 9.3 | 0.4 | 26.9 | 634.1 |
| 08/26 11 | 34.6 | 17.1 | 9.3 | 0.5 | 26.9 | 634.2 |
| 08/26 12 | 33 | 17.1 | 9.3 | 1.8 | 28.2 | 634.2 |
| 08/26 13 | 34.7 | 17.1 | 9.3 | 0.4 | 26.8 | 634.1 |
| 08/26 14 | 34.7 | 17.1 | 9.3 | 0.4 | 26.8 | 634 |
| 08/26 15 | 34.7 | 17.1 | 9.3 | 0.4 | 26.8 | 634 |
| 08/26 16 | 34.7 | 17.1 | 9.3 | 0.4 | 26.8 | 634 |
| 08/26 17 | 34.8 | 17 | 9.3 | 0.4 | 26.7 | 634 |
| 08/26 18 | 34.8 | 17 | 9.3 | 0.4 | 26.7 | 634 |
| 08/26 19 | 33.1 | 17 | 9.3 | 1.8 | 28.1 | 634 |
| 08/26 20 | 34.7 | 17.1 | 9.3 | 0.4 | 26.8 | 634 |
| 08/26 21 | 34.7 | 17.1 | 9.3 | 0.4 | 26.8 | 634 |
| 08/26 22 | 34.7 | 17.1 | 9.3 | 0.4 | 26.8 | 634 |
| 08/26 23 | 34.7 | 17 | 9.3 | 0.5 | 26.8 | 634 |
| 08/26 24 | 34.7 | 17.1 | 9.3 | 0.4 | 26.8 | 633.9 |
| 08/27 01 | 34.6 | 17.1 | 9.3 | 0.5 | 26.9 | 634.1 |
| 08/27 02 | 34.6 | 17.1 | 9.3 | 0.5 | 26.9 | 634 |
| 08/27 03 | 34.6 | 17.1 | 9.3 | 0.5 | 26.9 | 634 |
| 08/27 04 | 34.6 | 17.2 | 9.3 | 0.4 | 26.9 | 634 |
| 08/27 05 | 34.6 | 17.2 | 9.3 | 0.4 | 26.9 | 634 |
| 08/27 06 | 34.7 | 17.1 | 9.3 | 0.4 | 26.8 | 634 |
| 08/27 07 | 33 | 17.1 | 9.3 | 1.8 | 28.2 | 634 |
| 08/27 08 | 34.6 | 17.2 | 9.3 | 0.4 | 26.9 | 634 |
| 08/27 09 | 34.6 | 17.2 | 9.3 | 0.4 | 26.9 | 634 |
| 08/27 10 | 34.6 | 17.1 | 9.3 | 0.5 | 26.9 | 634 |
| 08/27 11 | 34.7 | 17.1 | 9.3 | 0.4 | 26.8 | 634 |
| 08/27 12 | 34.8 | 17 | 9.3 | 0.4 | 26.7 | 633.9 |
| 08/27 13 | 38.8 | 14.3 | 9.3 | 0.4 | 24 | 634 |
| 08/27 14 | 39.1 | 14.1 | 9.3 | 0.4 | 23.8 | 634 |
| 08/27 15 | 39.6 | 13.8 | 9.3 | 0.4 | 23.5 | 634 |
| 08/27 16 | 39.7 | 13.7 | 9.3 | 0.4 | 23.4 | 634 |
| 08/27 17 | 39.7 | 13.7 | 9.3 | 0.4 | 23.4 | 634 |
| 08/27 18 | 39.7 | 13.7 | 9.3 | 0.4 | 23.4 | 634 |
| 08/27 19 | 39.7 | 13.7 | 9.3 | 0.4 | 23.4 | 634 |
| 08/27 20 | 39.7 | 13.7 | 9.3 | 0.4 | 23.4 | 634 |
| 08/27 21 | 39.6 | 13.8 | 9.3 | 0.4 | 23.5 | 634 |
| 08/27 22 | 39.6 | 13.8 | 9.3 | 0.4 | 23.5 | 634 |
| 08/27 23 | 37.5 | 13.7 | 9.3 | 1.8 | 24.8 | 634 |
| 08/27 24 | 39.6 | 13.8 | 9.3 | 0.4 | 23.5 | 634 |
| 08/28 01 | 39.6 | 13.8 | 9.3 | 0.4 | 23.5 | 634 |
| 08/28 02 | 39.4 | 13.9 | 9.3 | 0.4 | 23.6 | 634 |
| 08/28 03 | 39.4 | 13.8 | 9.3 | 0.5 | 23.6 | 634.1 |
| 08/28 04 | 39.6 | 13.8 | 9.3 | 0.4 | 23.5 | 634.1 |
| 08/28 05 | 39.6 | 13.8 | 9.3 | 0.4 | 23.5 | 634.1 |
| 08/28 06 | 37.3 | 13.8 | 9.3 | 1.8 | 24.9 | 634.1 |
| 08/28 07 | 39.4 | 13.8 | 9.3 | 0.5 | 23.6 | 634.1 |
| 08/28 08 | 39.6 | 13.8 | 9.3 | 0.4 | 23.5 | 634.1 |
| 08/28 09 | 39.6 | 13.8 | 9.3 | 0.4 | 23.5 | 634.1 |
| 08/28 10 | 39.6 | 13.8 | 9.3 | 0.4 | 23.5 | 634.1 |
| 08/28 11 | 39.4 | 13.9 | 9.3 | 0.4 | 23.6 | 634.1 |
| 08/28 12 | 37.2 | 13.8 | 9.3 | 1.9 | 25 | 634.1 |
| 08/28 13 | 37.5 | 14.1 | 8.7 | 0.4 | 23.2 | 634.1 |
| 08/28 14 | 32.1 | 15.6 | 7.5 | 0.3 | 23.4 | 634.1 |
| 08/28 15 | 31.8 | 15.8 | 7.5 | 0.3 | 23.6 | 634.2 |
| 08/28 16 | 30 | 15.8 | 7.5 | 1.7 | 25 | 634.2 |
| 08/28 17 | 31.8 | 15.8 | 7.5 | 0.3 | 23.6 | 634.1 |
| 08/28 18 | 31.8 | 15.7 | 7.5 | 0.4 | 23.6 | 634.2 |
| 08/28 19 | 31.8 | 15.8 | 7.5 | 0.3 | 23.6 | 634.2 |
| 08/28 20 | 31.6 | 15.8 | 7.5 | 0.4 | 23.7 | 634.2 |
| 08/28 21 | 31.8 | 15.7 | 7.5 | 0.4 | 23.6 | 634.2 |
| 08/28 22 | 31.8 | 15.7 | 7.5 | 0.4 | 23.6 | 634.2 |
| 08/28 23 | 31.8 | 15.7 | 7.5 | 0.4 | 23.6 | 634.2 |
| 08/28 24 | 31.8 | 15.7 | 7.5 | 0.4 | 23.6 | 634.2 |
| 08/29 01 | 31.8 | 15.7 | 7.5 | 0.4 | 23.6 | 634.2 |
| 08/29 02 | 31.8 | 15.7 | 7.5 | 0.4 | 23.6 | 634.2 |
| 08/29 03 | 31.8 | 15.7 | 7.5 | 0.4 | 23.6 | 634.2 |
| 08/29 04 | 31.9 | 15.7 | 7.5 | 0.3 | 23.5 | 634.2 |
| 08/29 05 | 31.8 | 15.7 | 7.5 | 0.4 | 23.6 | 634.2 |
| 08/29 06 | 31.8 | 15.7 | 7.5 | 0.4 | 23.6 | 634.2 |
| 08/29 07 | 31.8 | 15.7 | 7.5 | 0.4 | 23.6 | 634.2 |
| 08/29 08 | 31.8 | 15.7 | 7.5 | 0.4 | 23.6 | 634.2 |
| 08/29 09 | 31.8 | 15.7 | 7.5 | 0.4 | 23.6 | 634.2 |
| 08/29 10 | 31.9 | 15.7 | 7.5 | 0.3 | 23.5 | 634.2 |
| 08/29 11 | 31.8 | 15.7 | 7.5 | 0.4 | 23.6 | 634.2 |
| 08/29 12 | 31.9 | 15.7 | 7.5 | 0.3 | 23.5 | 634.2 |
| 08/29 13 | 31.9 | 15.7 | 7.5 | 0.3 | 23.5 | 634.2 |
| 08/29 14 | 31.8 | 15.7 | 7.5 | 0.4 | 23.6 | 634.2 |
| 08/29 15 | 31.8 | 15.7 | 7.5 | 0.4 | 23.6 | 634.3 |
| 08/29 16 | 31.8 | 15.7 | 7.5 | 0.4 | 23.6 | 634.2 |
| 08/29 17 | 31.8 | 15.7 | 7.5 | 0.4 | 23.6 | 634.5 |
| 08/29 18 | 30.1 | 15.7 | 7.5 | 1.7 | 24.9 | 634.2 |
| 08/29 19 | 30.1 | 15.7 | 7.5 | 1.7 | 24.9 | 634.3 |
| 08/29 20 | 31.8 | 15.7 | 7.5 | 0.4 | 23.6 | 634.3 |
| 08/29 21 | 31.8 | 15.7 | 7.5 | 0.4 | 23.6 | 634.3 |
| 08/29 22 | 30.2 | 15.6 | 7.5 | 1.7 | 24.8 | 634.2 |
| 08/29 23 | 32.1 | 15.5 | 7.5 | 0.4 | 23.4 | 634.3 |
| 08/29 24 | 32.2 | 15.5 | 7.5 | 0.3 | 23.3 | 634.3 |
| 08/30 01 | 32.2 | 15.5 | 7.5 | 0.3 | 23.3 | 634.4 |
| 08/30 02 | 32.1 | 15.5 | 7.5 | 0.4 | 23.4 | 634.3 |
| 08/30 03 | 30.9 | 16.4 | 7.5 | 0.4 | 24.3 | 634.3 |
| 08/30 04 | 30.7 | 16.6 | 7.5 | 0.3 | 24.4 | 634.4 |
| 08/30 05 | 30.6 | 16.6 | 7.5 | 0.4 | 24.5 | 634.3 |
| 08/30 06 | 30.6 | 16.6 | 7.5 | 0.4 | 24.5 | 634.3 |
| 08/30 07 | 30.4 | 16.9 | 7.5 | 0.3 | 24.7 | 634.4 |
| 08/30 08 | 30.1 | 17.1 | 7.5 | 0.3 | 24.9 | 634.3 |
| 08/30 09 | 30.1 | 17 | 7.5 | 0.4 | 24.9 | 634.3 |
| 08/30 10 | 30.1 | 17 | 7.5 | 0.4 | 24.9 | 634.3 |
| 08/30 11 | 30.1 | 17 | 7.5 | 0.4 | 24.9 | 634.3 |
| 08/30 12 | 30.2 | 17 | 7.5 | 0.3 | 24.8 | 634.3 |
| 08/30 13 | 30.2 | 17 | 7.5 | 0.3 | 24.8 | 634.3 |
| 08/30 14 | 30.2 | 16.9 | 7.5 | 0.4 | 24.8 | 634.3 |
| 08/30 15 | 30.2 | 16.9 | 7.5 | 0.4 | 24.8 | 634.3 |
| 08/30 16 | 28.6 | 16.9 | 7.5 | 1.8 | 26.2 | 634.3 |
| 08/30 17 | 30.2 | 16.9 | 7.5 | 0.4 | 24.8 | 634.3 |
| 08/30 18 | 30.4 | 16.9 | 7.5 | 0.3 | 24.7 | 634.3 |
| 08/30 19 | 28.7 | 16.9 | 7.5 | 1.7 | 26.1 | 634.2 |
| 08/30 20 | 30.2 | 17 | 7.5 | 0.3 | 24.8 | 634.3 |
| 08/30 21 | 30.2 | 16.9 | 7.5 | 0.4 | 24.8 | 634.3 |
| 08/30 22 | 30.4 | 16.9 | 7.5 | 0.3 | 24.7 | 634.3 |
| 08/30 23 | 30.4 | 16.8 | 7.5 | 0.4 | 24.7 | 634.2 |
| 08/30 24 | 28.7 | 16.9 | 7.5 | 1.7 | 26.1 | 634.2 |
| 08/31 01 | 30.7 | 16.5 | 7.5 | 0.4 | 24.4 | 634.2 |
| 08/31 02 | 28.8 | 16.7 | 7.5 | 1.8 | 26 | 634.2 |
| 08/31 03 | 31 | 16.3 | 7.5 | 0.4 | 24.2 | 634.2 |
| 08/31 04 | 31.1 | 16.3 | 7.5 | 0.3 | 24.1 | 634.2 |
| 08/31 05 | 31 | 16.3 | 7.5 | 0.4 | 24.2 | 634.2 |
| 08/31 06 | 31 | 16.4 | 7.5 | 0.3 | 24.2 | 634.2 |
| 08/31 07 | 30.4 | 16.8 | 7.5 | 0.4 | 24.7 | 634.3 |
| 08/31 08 | 30.6 | 16.6 | 7.5 | 0.4 | 24.5 | 634.2 |
| 08/31 09 | 29 | 16.6 | 7.5 | 1.8 | 25.9 | 634.2 |
| 08/31 10 | 31.4 | 16 | 7.5 | 0.4 | 23.9 | 634.2 |
| 08/31 11 | 30.6 | 16.7 | 7.5 | 0.3 | 24.5 | 634.2 |
| 08/31 12 | 30.2 | 16.9 | 7.5 | 0.4 | 24.8 | 634.2 |
| 08/31 13 | 30.4 | 16.9 | 7.5 | 0.3 | 24.7 | 634.2 |
| 08/31 14 | 30.2 | 16.9 | 7.5 | 0.4 | 24.8 | 634.2 |
| 08/31 15 | 30.2 | 16.9 | 7.5 | 0.4 | 24.8 | 634.1 |
| 08/31 16 | 30.2 | 16.9 | 7.5 | 0.4 | 24.8 | 634.2 |
| 08/31 17 | 30.4 | 16.8 | 7.5 | 0.4 | 24.7 | 634.2 |
| 08/31 18 | 28.7 | 16.9 | 7.5 | 1.7 | 26.1 | 634.2 |
| 08/31 19 | 30.2 | 16.9 | 7.5 | 0.4 | 24.8 | 634.2 |
| 08/31 20 | 30.2 | 16.9 | 7.5 | 0.4 | 24.8 | 634.2 |
| 08/31 21 | 30.2 | 16.9 | 7.5 | 0.4 | 24.8 | 634.2 |
| 08/31 22 | 30.4 | 16.8 | 7.5 | 0.4 | 24.7 | 634.1 |
| 08/31 23 | 31.2 | 14.7 | 7.5 | 1.8 | 24 | 634.2 |
| 08/31 24 | M | M | M | M | M | M |

☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻

Change Request Number: 11LGS003_Forebay Elevation of 633.5 to 634.5 feet for Navigation Safety

Date:  October 28, 2010

Proposed by:  Doug Baus, Corps, NWD

Location of Change:  On page LGS-6 add a new section titled: “2.4 – Forebay Elevation of 633.5 to 634.5 feet for Navigation Safety”

Proposed Change:  “2.4 – Forebay Elevation of 633.5 to 634.5 feet for Navigation Safety”

During low flow conditions (daily average 30 kcfs or less) operate Minimum Operating Pool (MOP) at 633.5 to 634.5 ft.  At these low flow conditions (30 kcfs or less) the Corps is unable to maintain the 15 ft. depth requirement at the sill to the Lower Granite Dam navigation lock for safety under normal MOP operations (633.0 to 634.0 ft.).  Inadequate depth at the sill during low flows is caused by unit operations (switching on and off) and localized hydraulics caused by eddies.

Reason for Change:  In 2010 in coordination with TMT/FPOM the Corps increase MOP at LGS to 633.5-634.5 ft (Attachment 1) in order to provide safe navigation at the sill of the LWG navigation lock.  The Corps provided LGS with operational instructions to modify minimum operating pool from 633.0 – 634.0 feet to 633.5 to 634.5 feet on August 5, 2010 and the Corps maintained this modified operation through August 31, 2010.  Insufficient depth at the LWG navigation lock (Attachment 2) during low flow results from a wave cause by LGS operations and localized hydraulic effects in the LWG tailwater.  It is likely navigation safety concerns will again occur at Little Goose Dam in 2011 when flows drop below 30kcfs.

Switching units on and off during low flow conditions can create waves because turbine flow represents such a significant portion of overall total river flow.  For example, on August 14, 2010, 1200 hours: total flow was 31.9 kcfs, generation was 22.3 (2 units) kcfs, and spill was 9.2 kcfs (misc. flows 0.4).  At 1300 hours: generation was 16.9 kcfs (1 unit), spill 7.4 kcfs, (1.8 misc) and river flow was 26.1 kcfs.  When the two to one unit switch occurred, the 5.4 kcfs running through a turbine abruptly stopped.  This sudden stoppage of 5.4 kcfs creates a wave that travels upstream because it represents such a significant component (20.6 %) of overall river flow.  The observed wave at LWG navigation lock may cause the sill depth at the LWG navigation lock to drop down to 13.5 ft.  Due to the 0.5 ft wave caused by LGS project operations and the navigation safety concerns this wave creates at LWG, the Corps increases MOP 0.5 ft.

Operations at LWG during low flow conditions creates hydraulic conditions (eddies) that form at the sill to the LWG navigation lock.  These eddies create depressions in the water surface elevation and contribute to a depth of less than 14 ft at the sill.  Based on the combination of these factors the Corps is unable to provide safe navigation over the sill.

Comments from others:

12 August 2010 FPOM Meeting Notes:

6.1.	Wills commented that with the extra ½’ MOP at LGS, which was discussed at TMT, there were no problems in the LGS pool, but experienced problems in the LMN pool.  He understood some TMT members saying the extra ½’ at LGS could solve the problems forever.  He did not want that to be the final decision and wanted to make sure that is NOT what was being agreed to right now.  Dykstra confirmed FPOM was comfortable with the plan he laid out for 2010 but not as a long term solution.  A longer term solution will be discussed in FFDRWG.

FPOM may consider several low flow (between 30 and 40 kcfs) LGS operational changes (SW operation, LGS FBE increase of +0.5 ft from 633.0 – 634.0’ to 633.5 - 634.5’, Constant Spill vs. 30%) in the 2011 Fish Passage Plan (FPP).  These operations are interrelated because they all converge on operational changes that may occur when flows are between 30 and 40 kcfs.  Ensure the interrelated effects of all these actions are considered during the planning process so FPOM selects the best operation for 2011.  Doug Baus - Corps.

Record of Final Action:

Attachment 1:  2010 TMT Notification Regarding LGS MOP Operation

From: Barton, Steven B NWD

Sent: Thursday, August 05, 2010 12:45 PM

To: Allgood, Tiffany; Barquin, Billy; Baus, Douglas M NWD; Brandt, Scott; Denny, Lytle;

Hovenkotter, Joe; Kiefer, Russ; Kruger, Rick; 'LeFleur, Cindy'; Litchfield, Jim; Lorz, Tom;

Lovtang, Jens; Marotz, Brian; Norris, Tony; Ogan, John; Pavlik-Kunkel, Deanne; Roche,

John; Rose, Bob; Sears, Sheri; Spurgin, Pat; Statler, Dave; Sue Ireland; Paul Wagner; Wills,

Dave; BPA Scott Bettin; Boyce, Ron; Dittmer, Kyle; Domingue, Rich; Haeseker, Steve; Haller,

Greg; Hassemer, Pete; BPA Robyn MacKay; Mellema, Mary; Steve Smith

Cc: Lear, Gayle N NWD; Peters, Rock D NWD; Feil, Dan H NWD; Johnson, Kimberly O NWD;

Kanbergs, Karlis NWD; English, Scott E NWD; Dykstra, Timothy A NWW; Barton, James D

NWD; Hall, Stephen C NWW; 'Erin Halton'; Robin Gumpert; Donna Silverberg

Subject: Official TMT Coordination: LGS MOP Operation

TMT Members and Alternates:

The possibility of raising the Little Goose (LGS) pool elevation above MOP for safe navigation was discussed at the July 28 TMT meeting. Flows in the Lower Snake are dropping and approaching 30 kcfs. These lower flow conditions, in conjunction with MOP operations set up waves and other local hydraulic effects that can impede safe navigation lock transit. As

provided in the 2010 Summer Fish Operations Plan (FOP) “...adjustments to pool elevation in the Little Goose pool of up to 1.0 ft. above the MOP operating range may be necessary to accommodate safe entrance to the navigation lock...” To ensure safe navigation and meet minimum tailwater elevations at the Lower Granite (LWG) navigation lock, the Corps intends to operate the LGS forebay in a 1‐foot range between 633.5 ft and 634.5 ft, effective this afternoon and likely for the remainder of August.

The forebay issues at LGS might be exacerbated by the variable LGS spill (30%). As in 2009, through FPOM and TMT discussions, during the latter part of August, LGS reverted to a fixed spill. That change allowed smoother turbine operations and may have been beneficial to allow

LGS to stay in MOP last year. The 2010 Summer FOP includes provisions for further spill adjustments at LGS through the FPOM/TMT process and we anticipate similar discussions this year.  Please feel free to contact me if you have questions, comments, or concerns regarding this

operation.

________________________________

Steven B. Barton, P.E.

Chief, Reservoir Control Center

Northwestern Division

U.S. Army Corps of Engineers

Portland, Oregon

Phone: 503‐808‐3945

E‐mail: Steven.B.Barton@usace.army.mil

Attachment 2:  Snake River between Lower Granite and Little Goose Dams

☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻

Change Request Number:  11LMN001 Unit Priority

Date: 10/04/10

Proposed by: CRITFC

Location of Change- Table LMN-5

Table LMN-5.  Turbine Unit Operating Priority for Lower Monumental Dam.

| Season | River Flow | Spill Level | Unit Priority |
| --- | --- | --- | --- |
| Mar 1 – Nov 30 | Less than 100 kcfs | Bulk Spill Gas Cap | 2, 3,5*, 4, 6 then 1 |
|  | Over 100 kcfs | Bulk Spill Gas Cap | 1**, 5*, 2, 3, 4, then 6 |
|  | Any River Flow | No Spill | 2, 3, 4, 5, 6 then 1*** |
| Dec 1 – Feb 28 | Any River Flow | Any Spill Level, Including No spill | Any Order |

*If U5 is OOS, run U4.  **If U1 is OOS, run U2.  ***If no spill is occurring, U1 may be operated at any priority level at the discretion of project personnel.  NOTE:  U1 has fixed-pitch blades and can operate only at about 130 megawatts.

Reason for Change:  To better insure that in low flows we can meet 17 kcfs during the summer.  Last year unit 2 was out and we had to use unit 5 some.  Until 1 is no longer a fixed blade unit we would propose this modification.  We went to this operation late this year to better hit the 17 kcfs.

Comments from others:

Record of Final Action:

☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻

Change Request Number: 11LMN002_Unit Priority Change to Increase Spill

Date:  October 28, 2010

Proposed by:  Doug Baus, Corps, NWD

Location of Change:  This change form is a change to a change form (Change Request Number: 10LMN001) that was not published in the 2010 FPP.  It may be found online at:

http://www.nwd-wc.usace.army.mil/tmt/documents/fpp/2011/changes/10LMN001_LMN_Turbine_Priority_Clarifications_3.pdf

Proposed Change:  Table LMN-5.  Turbine Unit Operating Priority for Lower Monumental Dam.

| Season | River Flow | Spill Level | Unit Priority |
| --- | --- | --- | --- |
| Mar 1 – Nov 30 | Less than 70 kcfs | Bulk Spill Gas Cap | 2, 3, 4, 5*, 6 then 1 |
|  | Over 70 kcfs | Bulk Spill Gas Cap | 1**, 5*, 2, 3, 4, then 6 |
|  | Any River Flow | No Spill | 2, 3, 4, 5, 6 then 1*** |
| Dec 1 – Feb 28 | Any River Flow | Any Spill Level, Including No spill | Any Order |

*If U5 is OOS, run U4. **If U1 is OOS, run U2. ***If no spill is occurring, U1 may be operated at any priority level at the discretion of project personnel.

NOTE: U1 has fixed-pitch blades and can operate only at about 130 megawatts.

Turbine Unit 1 was the Fish Priority unit prior to the failure of blade linkages.  Temporary repairs included blades being welded in fixed positions.  Operating turbine unit 1 improves juvenile fish passage by eliminating the eddy at the fish loading dock.  Tubine unit 1 operation is also preferred as operation attracts adult fish to the North fish ladder.  Since this turbine unit has fixed blades and a narrow operation window, starts and stops can cause excessive wear and tear.  Turbine unit 1 should be turned on and left on for extended periods to minimize starting and stopping the unit.  The operation of turbine unit 1 in first priority position should be initiated when flows are in an increasing trend, and flows are over 70kcfs.  Turbine unit 1 may be turned off at the power plant operator’s discretion, when the flows are between 55kcfs-70kcfs.

Reason for Change:  Unit 5 exacerbates the tailrace eddy during low flows and needs to be lower in the priority as specified in the FPP and the FPP change form proposed by CRITFC.  From a two dimensional view it appears having unit 5 on would counteract the tailrace eddy but in real time low flow operations the channel bathymetry creates three dimensional hydraulics that exacerbate the eddy.  Initially the 2010 less than 70 kcfs priority was 2,5,3,4,6,1.  Unit 2 was out of service therefore FPOM/TMT (Attachment 1) made an effort to increase spill by modifying the unit priority to 2,3,5,4,6,1 and the ensuing FPP change form by CRITFC embraced this priority for inclusion in the 2011 FPP.  After the post operation review of the 2010 modified priority operation (2,3,5,4,6,1) the Corps still has concerns that unit 5 operation during low flow conditions is still problematic and needs to be lower in the priority.  Two dimensional maps suggest unit 5 would counteract the tailrace unfortunately the Corps finds the operation of unit 5 during low flow conditions exacerbates the tailrace eddy and subsequently creates: 1) Navigation safety issues that require spill modifications and/or curtailments, 2) adverse conditions for adults at NSE 1 and 2, and; 3) adverse conditions for juveniles at the outfall of the bypass flume.  Therefore the Corps proposed 2,3,4,5,6,1 because it will provide the increased spill as requested but it keeps unit 5 lower in the unit priority.

Summary of 2010 Operation

On August 13, the Corps modified the turbine unit priority as specified in the 2010 FPP at LMN in an effort to achieve the 17 kcfs spill levels specified in the 2010 Summer FOP (Attachment 1).  During the August 11 meeting the Corps informed TMT that LMN turbine unit 2 was out of service and consistent with the turbine unit priority list (2,5,3,4,6,1) specified in the 2010 FPP, the Corps was operating unit 5 which was the next highest unit on the priority list.  Unit 5 discharges approximately 14.4 kcfs whereas unit 3 discharges approximately 11.5 kcfs at minimum generation.  If unit 3 was higher on the unit priority list than unit 5, then the approximate 3 kcfs differential of discharge between these two units would represent rate of spill that would result in an additional 3 kcfs of spill rather than passing through a turbine.  During the August 11 meeting, TMT recommended FPOM discuss this during the August 12 FPOM meeting and FPOM’s subsequent recommendation was changing the Lower Monumental Dam unit priority to 2,3,5,4,6,1.  On August 13, the Corps notified TMT and FPOM the Corps would change unit priority to 2,3,5,4,6,1, and FPOM and TMT members either supported or did not object to this operation.

Comments from others:

12 August 2010 FPOM Meeting

20.	Lorz brought up the LMN unit priority with Unit 1 being a fixed blade, Unit 2 out of service, and Unit 5 has a higher loading so maintaining 17kcfs is difficult.  Should Unit 3 be on instead of Unit 5?  ACTION:  Lorz will draft a change form for operating a single unit.  If adults were the concern, Lorz suggested Unit 6 would be on instead of Unit 5.  ACTION:  Baus will draft a teletype stating unit priority would be 2,3,5,4,6,1.  Bettin is ok with the changes.  FPOM is in agreement with the changes in the unit priority.

Record of Final Action:

Attachment 1:  Official TMT Coordination Changing LMN Unit Priority

From: Barton, Steven B NWD

Sent: Friday, August 13, 2010 10:12 AM

To: Allgood, Tiffany; Barquin, Billy; Baus, Douglas M NWD; Brandt, Scott; Denny, Lytle;

Hovenkotter, Joe; Kiefer, Russ; Kruger, Rick; LeFleur, Cindy; Litchfield, Jim; Lorz, Tom;

Lovtang, Jens; Marotz, Brian; Norris, Tony; Ogan, John; Pavlik-Kunkel, Deanne; Roche,

John; Rose, Bob; Sears, Sheri; Spurgin, Pat; Statler, Dave; Sue Ireland; Wagner, Paul; Wills,

Dave; Bettin, Scott; Boyce, Ron; Dittmer, Kyle; Domingue, Rich; Haeseker, Steve; Haller,

Greg; Hassemer, Pete; MacKay, Robyn; Mellema, Mary; Steve Smith

Cc: Lear, Gayle N NWD; Peters, Rock D NWD; Feil, Dan H NWD; Kanbergs, Karlis NWD;

English, Scott E NWD; Dykstra, Timothy A NWW; Donna Silverberg; Erin Halton; Robin

Gumpert; Dave Benner

Subject: Official TMT Coordination: LMN Unit Priority

TMT Members and Alternates:

It was noted at the August 11 TMT meeting that Lower Monumental Powerhouse Unit 2 is out of service. Consistent with the unit priority in the 2010 Fish Passage Plan, unit 5 has been running to provide minimum generation, but discharges approximately 14.4 kcfs at minimum generation within 1% peak efficiency. The project

In an effort to provide spill levels closer to those specified in the 2010 Summer Fish Operations Plan, and as coordinated and recommended through FPOM, the Corps intends to change the unit priority at Lower Monumental to 2,3,5,4,6,1 effective today. This results in allowing unit 3 to run instead of unit 5, and a lower discharge at minimum generation within

1% peak efficiency (approximately 11.5 kcfs).

This will be mentioned during the TMT Conference Call today at 11:00 Pacific. Those TMT Members unable to participate in the call are requested to respond with any questions, objections, or comments on this operation by 16:00 Pacific, August 13, 2010.

________________________________

Steven B. Barton, P.E.

Chief, Reservoir Control Center

Northwestern Division

U.S. Army Corps of Engineers

Portland, Oregon

Phone: 503‐808‐3945

E‐mail: Steven.B.Barton@usace.army.mil

☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻

Change Request Number: 11LMN003_Spill Change for Navigation Safety

Date: October 28, 2010

Proposed by: Doug Baus, Corps, NWD

Location of Change: Delete the following section 1.4 Navigation found in Appendix A - Lower Monumental – Page SPO-LMN-1:

1.4 Navigation. Tailrace Transit – Fish Transportation Barge. Transit across the Lower Monumental tailrace, docking at and disembarking from the fish collection facility requires some degree of flow control depending on tug/barge size and power, wind, pilot experience, current and other factors. Spill needs to be reduced to the level needed for safe passage. Towboat captain may request zero spill during this transit. During juvenile fish loading operations, spill is typically reduced to 15 kcfs, but can be reduced further if needed for safety reasons. Loading periods can take up to 3.5 hours. Because of the time needed to complete loading, the Little Goose Project Biologist notifies the Little Goose Operator when the fish barge departs. BPA scheduling is then provided advance notice for spill control at Lower Monumental Dam. Reducing spill may cause Lower Monumental project to briefly operate outside of MOP conditions.

Revise it and add it to new section 2.4 Navigation Spill Operations on page LMN-14.

2.4 Navigation Spill Operations. Short-term adjustments in spill are required for navigation safety. This may include changes in spill patterns, reduction in spill discharges rates, or short-term spill stoppages. These operations take approximately 1 hour but under some situations may take up to 3.5 hours. Listed below are two examples of the types of navigation situations that may occur that require short-term spill adjustments. Actual operations will vary due to conditions such as spill patterns, turbine unit operations, wind, experience of boat captains, etc. The Corps will make short-term adjustment in spill as appropriate in real-time to provide safe navigation conditions.

2.4.1. Fish Barge Transit Across the Tailrace Spill may create hydraulic conditions that are unsafe for fish barges crossing the tailrace and/or while moored at fish loading facilities. If a tug boat operator determines hydraulic conditions are unsafe they will contact the Lower Monumental Dam (LMN) control room and the project operator will reduce or stop spill temporarily when fish transport barges approach or leave the barge dock or are moored at loading facilities. Spill reductions will utilize the existing spill pattern.  If conditions warrant a spill adjustment, the MOP elevation range at Lower Monumental may be exceeded temporarily to enable the barge to exit the tailrace safely. The LGS operator will attempt to minimize MOP exceedances at LMN by contacting BPA real time when a fish barge leaves LGS. Contacting BPA real time when a fish barge leaves LGS will provide BPA will sufficient time to stage the LMN forebay elevation at an adequate elevation in the event a short term spill curtailment is needed at LMN.

2.4.2. All Navigation (fish barges, commercial, non-commercial, etc.) Entering and Exiting the Tailrace Navigation Lock   When flows are less than 32 kcfs spill at LMN can create hydraulic conditions (eddies) that cause navigation safety concerns. Eddies cause boat and/or barge collisions with the guide wall as boats enter and or exit the tailrace navigation lock. Non-fish barge navigation does not involve traversing the tailrace, but eddies still cause collisions with the guide wall. If a boat captain has a navigation safety concern they will contact the LMN operator and request a short-term adjustment in spill. This will occur when boats are traveling upstream to, or departing from, the tailrace navigation lock. The operator will shut off spill at the RSW and redistribute all scheduled spill evenly through the remaining bays. The operator will implement this operation for the shortest period of time necessary to allow safe navigation. After boats have safely passed the project the project will reverts back to normal spill operation.

Reason for Change: The navigation discussion in the FPP does not address non-fish barge navigation and the FPP needs a discussion on both fish barge and non-fish barge navigation. The navigation discussion needs to be moved from Appendix A to the main narrative section of the FPP because adjusting spill is a frequent and reoccurring operation throughout the transportation season. It would be easier for FPP readers to locate the navigation discussion if it was found in the narrative portion of the FPP rather than Appendix A. In 2010 there were numerous navigation safety concerns involving non fish barge collisions (Attachment 3) with the LMN tailrace navigation guide wall. In response to the collisions that occurred in 2010, FPOM made navigation spill recommendations to provide safe navigation conditions in the LMN tailrace. The Corps would like to adopt these recommendations in the 2011 FPP to improve navigation safety.

Due to navigation (non fish barge) safety concerns (see Attachment 1), on August 13, the Corps modified the spill patterns at Lower Monumental. This was continued through the end of spill season (August 31). Consistent with the 2010 Summer FOP, the Corps presented the navigation safety concerns to TMT on August 11 and informed TMT that spill patterns may temporarily be adjusted in order to provide safe conditions for navigation. TMT members recommended that the Corps coordinate this operation with FPOM at the August 12 meeting. FPOM recommended temporarily closing the SW at Lower Monumental and redistributing the spill pattern across the remaining open spillbays. Following FPOM’s recommendation, the Corps implemented this operation. The Corps further coordinated this operation with TMT on August 13 and TMT members either supported or did not object to this operation.

Comments from others:

12 August 2010 FPOM Meeting

3.6. FPOM agreed that the tow boaters can make the call to request spill be shut off if needed while entering or exiting the navlock at LWG or LMN. This is a short-term solution. Kruger asked how long it takes the hydraulic conditions to settle out. Fletcher said the captains typically call when they are about 20 minutes out so by the time they get there, the flows should be settled.

LMN Operator- Nearly all commercial tug boats passing after 12 August requested the modified spill operation. This amounted to approximately 133 (19 days with approximately 7 spill modifications per day on average) short term spill modifications (closure of the SW and spilling in a uniform pattern. Operators are concerned that the number modified spill operations for commercial barge traffic is excessive. LMN operators suggest additional communication between the Corps and the commercial barge companies is necessary to determine level of short term spill modifications that are necessary that will satisfy LMN Operators and the commercial tug operators.

Record of Final Action:

Attachment 1: Lower Monumental Lock and Dam

Attachment 2: Technical Management Team 2010 Coordination Regarding Lower Granite and Lower Monumental Spill Adjustment for Navigation

From: Barton, Steven B NWD

Sent: Friday, August 13, 2010 9:53 AM

To: Allgood, Tiffany; Barquin, Billy; Baus, Douglas M NWD; Brandt, Scott; Denny, Lytle;

Hovenkotter, Joe; Kiefer, Russ; Kruger, Rick; LeFleur, Cindy; Litchfield, Jim; Lorz, Tom;

Lovtang, Jens; Marotz, Brian; Norris, Tony; Ogan, John; Pavlik-Kunkel, Deanne; Roche,

John; Rose, Bob; Sears, Sheri; Spurgin, Pat; Statler, Dave; Sue Ireland; Wagner, Paul; Wills,

Dave; Bettin, Scott; Boyce, Ron; Dittmer, Kyle; Domingue, Rich; Haeseker, Steve; Haller,

Greg; Hassemer, Pete; MacKay, Robyn; Mellema, Mary; Steve Smith

Cc: Lear, Gayle N NWD; Peters, Rock D NWD; Feil, Dan H NWD; Kanbergs, Karlis NWD;

English, Scott E NWD; Dykstra, Timothy A NWW; Donna Silverberg; Erin Halton; Robin

Gumpert

Subject: Official TMT Coordination: LWG & LMN Spill Pattern Adjustments for Navigation

TMT Members and Alternates:

The Corps stated their concern over recent navigation safety issues in the Lower Snake River during the August 11 TMT meeting. The Corps also stated that, consistent with the 2010 Summer Fish Operations Plan, spill may be adjusted for the time it takes to allow for safe passage. The FPOM recommended a preferred adjustment to spill if this becomes necessary. If

needed for safe entrance to the navigation locks at Lower Monumental and Lower Granite Dams, FPOM members recommended spill be adjusted such that the RSW will be shut off and spill will be distributed flat across the spillway for the duration needed.

The Corps endorses this recommendation and issued guidance stating at the request of a tow boat Captain or other large vessel captain traveling upbound to the Lower Granite or Lower Monumental lock, or downbound departing the Lower Granite Lock, the project operator is authorized to shut off spill a the RSW and to increase spill evenly through all remaining bays to approximately maintain scheduled spill. The operation is to be done for the shortest period of time necessary to allow safe passage. After safe passage, the project should revert back to normal spill patterns.

TMT Members are encourages to respond with feedback, comments or concerns regarding this operation at their earliest convenience.

________________________________

Steven B. Barton, P.E.

Chief, Reservoir Control Center

Northwestern Division

U.S. Army Corps of Engineers

Portland, Oregon

Phone: 503‐808‐3945

E‐mail: Steven.B.Barton@usace.army.mil

☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻

Change Request Number: 11LWG001_Navigation Spill Operations

Date:  October 22, 2010

Proposed by:  Doug Baus, Corps, NWD

Location of Change:  Delete Appendix A Lower Granite (SPO-LWG-1) section “1.3 Navigation at Lower Granite Dam” that currently reads:

1.3  Navigation at Lower Granite Dam.  When spill at Lower Granite Dam is greater than 60 kcfs, there is a danger of having the fish barge being pushed upstream into the dam, causing a hazardous situation.  Under these conditions, spill is reduced to 60 kcfs when fish transport barges approach or leave the barge dock.  This reduction should be limited to no more than 1 hour.  The project biologist will notify the control room prior to a barge leaving the loading dock so that spill can be reduced.

Proposed Change:  Move Appendix A 1.3 Navigation at Lower Granite Dam (as stated above) to a new section titled “2.4 Navigation Spill Operations” and place it in the LWG narrative portion of the 2011 Fish Passage Plan (FPP).  Spill adjustments for navigation happen frequently and this information is easier for readers to find in the narrative section rather than Appendix A.  The new section (2.4 Navigation Spill Operations) should include some of the existing information included in “1.3 Navigation at Lower Granite” but it will also include additional details regarding spill adjustments that occurred in 2010 for navigation safety.

2.4 Navigation Spill Operations.  Short-term adjustments in spill are required for navigation safety.  This may include changes in spill patterns, reduction in spill discharges rates, or short-term spill stoppages.  These adjustments take approximately an hour but under some situations may take up to three hours.  Listed below are two examples of the types of navigation situations that may occur that require short-term spill adjustments.  Actual operations will vary due to conditions such as spill patterns, turbine unit operations, experience of boat captains, etc.  The Corps will make short-term adjustment in spill as appropriate in real-time to provide safe navigation conditions.

2.4.1. Fish Barge Transit Across the Tailrace

Spill may create hydraulic conditions that are unsafe for fish barges: crossing the tailrace, moorage at fish loading facilities, and navigation in and out of the barge storage area.  If a tug boat operator determines hydraulic conditions are unsafe they will contact the Lower Granite Dam (LWG) control room and the project operator will reduce or stop spill temporarily when fish transport barges approach or leave the barge dock or are moored at loading facilities.  If conditions warrant a spill adjustment, the Minimum Operating Pool (MOP) elevation range at Lower Granite may be exceeded temporarily to enable the barge to exit the tailrace safely.  Spill reductions will utilize the existing spill pattern.

2.4.2. All Navigation (fish barges, commercial, non-commercial, etc.) Entering and Exiting the Tailrace Navigation Lock

When flows are less than 32 kcfs spill at Lower Granite Dam can create hydraulic conditions (eddies) that cause navigation safety concerns.  Eddies cause boat and/or barge collisions with the guide wall as boats enter and or exit the tailrace navigation lock.  Non-fish barge navigation does not involve traversing the tailrace, but eddies still cause collisions with the guide wall.  If a boat captain has a navigation safety concern they will contact the Lower Granite operator and request a short-term adjustment in spill.  This will occur when boats are traveling upstream to, or departing from, the tailrace navigation lock.  The operator will shut off spill at the RSW and redistribute all scheduled spill evenly through the remaining bays.  The operator will implement this operation for the shortest period of time necessary to allow safe navigation.  After boats have safely passed the project the project will reverts back to normal spill operation.

Reason for Change: The Corps would like to prevent navigation guide wall collisions in 2011.  In 2010 a fish barge collided with the navigation guide wall (Attachment 1).  Navigators also expressed navigation safety concerns at Lower Granite in 2006 (Attachment 2).  The Corps presented the navigation safety concern to TMT (Attachment 3) and FPOM resulting from the collisions that occurred in 2010 (Attachment 4).  In coordination with the region the Corps developed and implemented a modified spill operation (temporarily shutting off spillway weir and spilling in a uniform pattern) to provide safe navigation conditions in the LWG tailrace.  No additional collisions with the guide wall occurred after the Corps implemented the modified spill operation for navigation safety.  To avoid collisions in the future the Corps would like to include the modified spill operation implemented in 2010 in the FPP.  This change form updates the existing fish barge navigation discussion by adding additional details to clarify operations associated with navigation.

Additional Information Regarding Navigation Spill Adjustments:

Due to navigation (non fish barge) safety concerns (see Attachment 1), on August 12, the Corps modified the spill patterns at Lower Granite.  This was continued through the end of spill season (August 31). Consistent with the 2010 Summer FOP, the Corps presented the navigation safety concerns to TMT on August 11 and informed TMT that spill patterns may temporarily be adjusted in order to provide safe conditions for navigation.  TMT members recommended that the Corps coordinate this operation with FPOM at the August 12 meeting.  FPOM recommended temporarily closing the RSW at Lower Granite and redistributing the spill pattern across the remaining open spillbays.  Following FPOM’s recommendation, the Corps implemented this operation.  The Corps further coordinated this operation with TMT on August 13 and TMT members either supported or did not object to this operation.  At the request of boat captains the Corps implementing this special operation approximately 10 times at Lower Granite Dam between August 12 and August 31.

Comments from others: Lower Granite Chief of Ops Rich Hilt and Operator Brian Badgewell provided the following comments on Sept 28, 2010.  If the intent of the operational change authorized on August 13 (temporary shutting off the SW and spilling a uniform pattern) was to improve navigation safety then additional steps may need to be taken in order to achieve this desired outcome.  Additional coordination between the Corps and tow boaters may be needed.  The operators expectation was the skipper would provide the operator with an accurate arrival time and at least 30 minutes prior to arrival.  It takes 30 minutes for the operator to shut off the SW, change to a uniform pattern, have tailrace hydraulics adjust to the new spill operation, and walk down to the control room to operate the navigation lock.

Due to topography radio contact is limited between the tug and LWG therefore a skipper must contact LWG at least 1 hour prior to arrival or approximately 10 minutes before arrival.  The lack of ability for a skipper to radio LWG and provide a more accurate estimated arrival time creates a significant challenge to implement this operation.  Frequently a skipper would contact the control room with an expected arrival time.  If a skipper had not arrived in within 30 minutes of the expected arrival time then the project operator would revert back to the normal spill operation.  If the operator had reverted back to the normal spill operation by the time the tug had arrived the tug operator would have to wait an additional 30 minutes for the operator to implement the modified spill operation.

Generally, the skipper would be unwilling to wait 30 minutes and would proceed to lock the vessel without the modified spill operation.  Generally, if this situation transpired then skippers would not wait the 30 minutes for the tailrace hydraulics to adjust.

If this operation continues in 2011 LWG Operators would prefer to shut the gates and leave RSW open.  This would be a quicker operation.

On August 12, 2010, FPOM recommended shutting down the RSW temporarily and going to a uniform pattern to provide safe navigation conditions as necessary.

Attachment 1: Lower Granite Lock and Dam

Attachment 2:  System Operation Request Regarding Lower Granite Spillway Operations

SYSTEM OPERATIONAL REQUEST: #2006-06

The following Navigation Interests have participated in the preparation and support this

SOR: Columbia River Towboat Association,

TO:

Brigadier General Gregg F. Martin COE-NWD

James D. Barton COE-Water Management

Cathy Hlebechuk COE-RCC

Witt Anderson COE-PDD

LTC Randy L. Glaeser COE-Walla Walla District

J. William McDonald USBR-Boise Regional Director

Stephen J. Wright BPA-Administrator

Steve Oliver BPA-PG

FROM: John Pigott, Columbia River Towboat Association

DATE: April 17, 2006

SUBJECT: Lower Granite Spillway Operations for April through August

Navigation Objectives

The objective of this SOR is to provide spill relief at Lower Granite Dam for departing

down bound vessel traffic during the period of time when pool levels are required to kept

at MOP, for the juvenile salmonid outmigration, and stream flows exceed 75KCFS.

Specifications

This SOR recommends that the special operation of the Lower Granite spillways, to

accommodate outmigrating salmonids, be modified to allow for a more navigation

friendly spill pattern and the reduction or cessation of spill, for the period of time it takes

a vessel to depart the lock and clear the obstructing point of land, on the north shore,

approximately one half mile below the dam. This is estimated to be approximately twenty

minutes.

Justification

We find ourselves facing a problematic set of circumstances with mandated MOP’s for

all the Snake River pools and a water year that is producing threateningly high stream

flows. This combination of events has now created an unacceptably high safety risk for

river system navigators. The low pools have reduced under keel clearances to one foot

over the lower sill (sill height is 15 feet at MOP) at Lower Granite Dam. This combined

with shallow water in the lower basin acts to retard acceleration out of the lock. This

delay in reaching optimum speed out of the lock chamber now means the vessel will have

to spend more time trying to cross the adverse spillway current. This current is actively

trying to push the vessel onto the point of land, on the north shore, just below the dam.

Currently Q, through Lower Granite, is in the 150KCFS range with spill in the high

60KCFS range. Expectations are that Q will certainly increase and should be expected to

top 200KCFS. Barge tows are currently leaving half their tow back in Wilma and are

only locking through with two barges. Even with this modified configuration we are

getting perilously close to the shore as vessels depart Lower Granite down bound. Our

concern is that without a spill modification protocol in place rising stream flows will

eventually surprise a tow causing a wreck. We also feel that the infrequent nature of this

requirement (perhaps 4-6 times a week), and the brief duration of the spill modification

(approx 20 minutes), argues for your approval of this request to protect human life, the

environment and the safety of cargo and equipment.

Near miss reports from Tidewater Barge Lines, and Foss Maritime have driven this

request. Boat operators report they are just getting by with reduced tow sizes, but fear

that even with those modifications in place, safety margins are being whittled away by a

continually rising river. Our concern is that without a safety intervention some vessel

trying to get by will eventually be overwhelmed. Thank you for your kind consideration

of this request.

John Pigott

Chairman

Columbia River Towboat Association

☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻

Change Request Number: 11LWG002_Forebay Debris Removal

Date:  October 28, 2010

Proposed by:  Doug Baus, Corps, NWD

Location of Change: Section “5. Forebay Debris Removal” revise this section for all NWW projects: Lower Granite (LWG-24), Little Goose (LGS-28), Lower Monumental (LMN-26), Ice Harbor (IHR-24), and McNary (MCN-23).

Proposed Change: 5. Forebay Debris Removal.  Debris at projects can impact fish passage conditions. Debris can plug or block trashracks, VBSs, gatewell orifices, dewatering screens, separators, and facility piping resulting in impingement, injuries, and descaling of fish. Removing debris at its source in the forebay is sometimes necessary to maintain safe and efficient fish passage conditions, navigation, and other project activities.  Debris can be removed from the forebay by: physically encircling the debris with log booms and pulling it to shore with boats where it can be removed with a crane, removing the debris from the top of the dam using a crane and scoop, or passing the debris through the spillway with special powerhouse operations and spill.  The preferred option is to remove debris at each project when possible to avoid passing a debris problem on to the next project downstream.  This is not always possible at each project, as some projects do not have forebay debris removal capability.  In this case, the only viable alternative is to spill to pass the debris.  Normally, the project shall contact CENWW-OD-T at least two workdays prior to the day the special operation is required.  Using information provided by the project, CENWW-OD-T will notify FPOM and RCC will issue a teletype detailing the special operations.

Reason for Change: CENWD-PDW-RC provides guidance to projects to handle debris spills.  NWW and NWP handle debris spills differently in the FPP.  The Corps proposes to change NWW project language regarding debris spills so it is consistent with NWP debris spill language (coordination “as appropriate” and not requiring “approval”).  The Corps proposal to implement this change is based on the following: 1) Debris spill are short in duration (approximately 1 hour); 2) seasonally they are predictable in timing, generally during the freshet or high flow events, and; 3) the operation is routine and predictable on the Snake River, a debris spill occurs at LWG and approximately two to three days later at LGS.  If a debris spill operation fell outside the scope of the routine debris spill operation then CENWP-OD or CENWW-OD-T would coordinate with FPOM as appropriate.

Comments from others: 10 June 2010 FPOM Meeting

Debris spill.  Dykstra requested some tightening of inconsistencies in the FPP.  LWG has debris spill language, but LGS and LMN require FPOM coordination.  Dykstra would like to know if all the debris spills need to be coordinated or if NWW could just report out at FPOM that a debris spill occurred.  Hevlin stated he likes the coordination.  Baus clarified that the inconsistency is that LWG has permission in the FPP.  He would like to see “approval” removed from the other two projects.  He has no issue coordinating, but waiting for approval could be problematic, due to the time sensitivity in getting debris through the spillway.  Lorz suggested sending out a message and suggesting that if there are no responses then the Project proceeds.  Mackey stressed that lack of response is not an approval.  Fredricks agreed that would be a slippery slope to start down.

From: Baus, Douglas M NWD

Sent: Friday, June 11, 2010 8:25 AM

To: 'Bill Hevlin'

Cc: Moody, Gregory P NWW; Dykstra, Timothy A NWW; 'Kiefer,Russell'; Paul Wagner; Bailey,

John C NWW; 'Ballinger, Dean'; Barton, Steven B NWD; Dave Benner; BPA Scott Bettin;

heib_critf.org; 'Bob Rose (brose@yakama.com)'; Buchholz, Robert J NWP; 'Chris Caudill

(caudill@uidaho.edu)'; Clugston, David A NWD; Cordie, Robert P NWP; Eby, Brad W NWW;

Eppard, Matthew B NWP; Faulkner, Donald L NWD; Feil, Dan H NWD; 'Fredricks, Gary';

Fryer, Derek S NWW; 'Haeseker, Steve'; Halter, Mike J NWW; Hausmann, Ben J NWP;

'Hevlin, Bill'; 'Jerry McCann'; 'Kiefer,Russell'; Klatte, Bernard A NWP; 'Kovalchuk, Greg';

'Kruger, Rick'; Langeslay, Mike J NWP; Lee, Randall T NWP; 'lgrsmolt@hughes.net'; 'Lorz,

Tom'; Mackey, Tammy M NWP; 'Martinson, Rick'; McCune, Kyle C NWP; Melanson, George

W NWW; 'Meyer, Ed'; 'Morrill, Charles'; Ocker, Paul A NWD; Plummer, Mark F NWW;

Rerecich, Jonathan G NWP; Richards, Natalie A NWP; 'Richards, Steve'; 'Richards, Steven P

(DFW)'; 'Rosanna Tudor'; Schwartz, Dennis E NWP; 'Scott, Shane'; Setter, Ann L NWW;

Shutters, Marvin K NWW; Spurgeon, William F NWW; Stansell, Robert J NWP; 'Stephenson,

Ann'; 'Sweet, Jason'; 'Swenson, Larry'; Tackley, Sean C NWP; 'Volkman, Eric'; 'Whiteaker,

John'; 'Wills, David'; Zyndol, Miroslaw A NWP; Mackey, Tammy M NWP; Weis, Richard W

NWW

Subject: Details Regarding the 10 June Little Goose Dam Debris Spill Operation

Signed By: douglas.m.baus@us.army.mil

Bill,

As we discussed at yesterday's FPOM meeting, here are some additional

details regarding the forebay debris removal operation at Little Goose Dam

(LGS).  At 1350 hours the operator started adjusting gates for the debris

spill operation.  The operation concluded at 1515 and LGS reverted back to

normal operation.  Spill occurred out of bay 4. LGS spilled approximately 2 acres of debris.

Snake River projects prefer to pass debris as soon as possible since debris at projects can adversely impact fish passage conditions.  Debris can plug or block trashracks, VBSs, gatewell orifices, dewatering screens, separators, and facility piping resulting in impingement, injuries, and descaling of fish.

The current process for implementing debris removal operations for the Corps is overly time consuming because it requires "FPOM approval." I would like to see if we could remove the "approval" language from the FPP, but still keep FPOM informed of these actions via another mechanism (e.g. update at the subsequent FPOM meeting, or any other notification recommendations you may have) to expedite this process for the Corps.

Currently, the FPP states:

Pg. LGS‐29 . 5.1. All special spills (other than normal spill patterns for

ongoing spill operations) and project operations for passing debris will be coordinated prior to the operations taking place.  Each project shall

contact CENWW‐OD‐T at least two workdays prior to the day they want the

special project operations for spilling to pass debris CENWW‐OD‐T shall

coordinate the special operations with RCC, NOAA Fisheries, and other FPOM

participants.  Project personnel shall provide CENWW‐OD‐T the reason for the debris spill request including an explanation of project facilities being impacted by the debris, the date and time of the requested spill, and any special powerhouse or other operations required to move the debris to the spillway.  When a debris spill is coordinated and approved, RCC shall issue a teletype detailing the specifics of the special operations.

I would propose section 5.1 so it reads as follows:

5.1 Prior to the operation taking place, Little Goose Dam will coordinate

all special spills (other than normal spill patterns for ongoing spill

operations) and project operations for passing debris with CENWW‐OD‐T, and

RCC.  LGS shall contact CENWW‐OD‐T, and RCC, at least two workdays prior to the day they want the special project operations for spilling to pass

debris.  Project personnel shall provide CENWW‐OD‐T, and RCC, the reason for the debris spill request including an explanation of project facilities being impacted by the debris, the date and time of the requested spill, and any special powerhouse or other operations required to move the debris to the spillway.  RCC will issue a teletype for the special spill operation.  At the subsequent FPOM meeting following the operation CENWW‐OD‐T and RCC will provide FPOM with an update on the operation.

I propose this change for the following reasons: 1) Debris removal

operations are short in duration (approximately 1.5 hours), 2) passing

debris quickly prevents other debris related problems at the project, 3)

these operations are predictable with high flow events and the amount of

time needed to coordinate and acquire FPOM approval as currently worded in

the FPP is not commensurate with the scope of the impact, and; 4) the Corps plans on coordinating these actions with FPOM but considers a verbal

notification at FPOM as sufficient.

I would like to hear any comments you may have on this issue so we could

potentially modify to the FPP.  Thank you for your consideration.

doug

Doug Baus

US Army Corps of Engineers

Northwestern Division

Phone: (503) 808‐3995

Douglas.M.Baus@usace.army.mil

From: Bill.Hevlin@noaa.gov

Sent: Friday, June 11, 2010 8:53 AM

To: Baus, Douglas M NWD

Cc: Moody, Gregory P NWW; Dykstra, Timothy A NWW; Kiefer,Russell; Paul Wagner; Bailey,

John C NWW; Ballinger, Dean; Barton, Steven B NWD; Dave Benner; BPA Scott Bettin;

heib_critf.org; brose@yakama.com; Buchholz, Robert J NWP; caudill@uidaho.edu; Clugston,

David A NWD; Cordie, Robert P NWP; Eby, Brad W NWW; Eppard, Matthew B NWP;

Faulkner, Donald L NWD; Feil, Dan H NWD; Fredricks, Gary; Fryer, Derek S NWW;

Haeseker, Steve; Halter, Mike J NWW; Hausmann, Ben J NWP; Jerry McCann; Klatte,

Bernard A NWP; Kovalchuk, Greg; Kruger, Rick; Langeslay, Mike J NWP; Lee, Randall T

NWP; lgrsmolt@hughes.net; Lorz, Tom; Mackey, Tammy M NWP; Martinson, Rick; McCune,

Kyle C NWP; Melanson, George W NWW; Meyer, Ed; Morrill, Charles; Ocker, Paul A NWD;

Plummer, Mark F NWW; Rerecich, Jonathan G NWP; Richards, Natalie A NWP; Richards,

Steve; Richards, Steven P (DFW); Rosanna Tudor; Schwartz, Dennis E NWP; Scott, Shane;

Setter, Ann L NWW; Shutters, Marvin K NWW; Spurgeon, William F NWW; Stansell, Robert J

NWP; Stephenson, Ann; Sweet, Jason; Swenson, Larry; Tackley, Sean C NWP; Volkman,

Eric; Whiteaker, John; Wills, David; Zyndol, Miroslaw A NWP; Weis, Richard W NWW

Subject: Re: Details Regarding the 10 June Little Goose Dam Debris Spill Operation

Attachments: ATT856071.txt

Thanks Doug,

There seemed to be nothing wrong with the process we have used for years to plan and implement debris spills at the Lower Snake dams. But I don't have a problem with seeing if the process can be steamlined as long as it does not increase the potential risk to migrants.  IN the past, I was familiar with a Walla Walla District biologist coordinating the request

through FPAC and NOAA a day or two before needed, through e‐mail or the phone, approval was never an issue because we always reached agreement on the plan. It did take me by surprise yesterday at the FPOM meeting being first informed about the immediate need for the debris spill and then launching into arguments to change the FPP process.

bill hevlin

Record of Final Action:

☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻

Change Request Number: 11AppG003

Date:  11/3/2010

Proposed by: BON Fisheries

Location of Change:  Appendix G 1.1.9

Proposed Change:

Remove language.

1.9

Reason for Change: Maintenance crews will be fixing the seal problem during the 2010/11 winter maintenance period that allowed steelhead to get under the brail pool.  The brail pool needs to be raised and lowered during the sampling season for proper operation of the AFF.

Comments from others:

Record of Final Action:

☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻

Change Request Number: 11AppJ002

Date:  11/3/10

Proposed by: BON Fisheries

Location of Change:  Appendix J 1.14.

Proposed Change:

2.14  Avian cannons will be operated 24 hours a day from March 1 through November .

2.14.1.  Project operators and mechanics are responsible for starting up and shutting down the avian cannons.

Reason for Change:  Cormorants and gulls have repeatedly moved into the JMF outfall area when the hyrdocannon has been shut off in September or October.  Fisheries would like to keep it operating until smolt monitoring and truck releases from upriver have concluded for the year.

Comments from others:

Record of Final Action:

☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻