AGENDA

Fish Passage Plan meeting

January 13, 2010 (0900-1300)

St. Helens Room, NOAA Fisheries, Portland, OR

Conference line: 888-830-6260		FPOM code: 960904		Dykstra code: 855808

- Draft documents may be found at http://www.nwd-wc.usace.army.mil/tmt/documents/fpp/2010/

- 2010 FPP change forms to be approved or rejected.  (Baus)

  - 10JDA004 2.5.1.2.d.2.

  - 10MCN001 TSW location.

  - 10MCN002 Winter maintenance dates

  - 10MCN003 2.3.1.2.b.1 Delay of ESBS installation.

  - 10MCN007 2.3.1.2.h. TSW Operation

  - 10LMN003 spill table.

  - 10LGS003 2.1.2 low flow

  - 10LGS004 2.1.2

  - 10AppB002- 4.g.6 temperature gradient.

- Potential 2010 FPP changes (change forms not yet drafted).

  - BON ITS operation details for section 2.4.1.1.e, 2.4.1.2.d, 2.5.1.1.n

  - BON B2CC opening date.

- Change forms approved or rejected.

  - 10BON001 2.5.2 tables.  Approved in May.

  - 10BON002 Table BON 14.  Approved in May.

  - 10BON003- 2.1.2 split flows - minimum flow requirements. Approved in Nov.

  - 10BON004- 5.8 high head unit ops. Approved in November.

  - 10BON005- removal of DSM1 language. Approved in November.

  - 10BON006- 4.2.2.2.e PH1 JBS language.  Approved in November.

  - 10BON007 Table 3.  Approved in December.

  - 10TDA001 TDA unit priority.  Approved in June.

  - 10TDA002 2.5 shad.  Approved in June.

  - 10TDA003- 5.7 fish unit loading during tail log installation.  Approved in Nov.

  - 10TDA004 Table 1 Approved in December.

  - 10JDA001 2.5 shad.  Approved in June.

  - 10JDA002- 4.2.2.3 spillbay 2 closure.  Approved in November.

  - 10JDA003 Table 3 Approved in December.

  - 10MCN004 4.1 Turbine priority at elevated temperature.  Approved in Nov.

  - 10MCN0005 Trash rack cleaning frequency  Approved in Dec., with changes

  - 10MCN006 updated Table MCN-1 Approved in December.

  - 10IHR001 Unit Priority.  Approved in August.

  - 10LMN001 Turbine Priority Clarification.  Approved in May.

  - 10LMN002 4.3.1 Turbine headgate and cylinder removal.  Approved in October.

  - 10LMN004 updated Table LMN-1 Approved in December.

  - 10LGS001 2.3.1.2 SSW.  Approved in December.

  - 10LGS002 updated Table LGC-1 Approved in December.

  - 10LWG001 Table LGR 12 summer spill. Approved in November.

  - 10AppB001- section 3.  Approved in November.

  - 10AppJ001- BON high temp sampling.  Approved in November.

  - 10AppK001- JDA high temp sampling.  Approved in November.

November 24, 2008                 F/NWO3

FILE MEMORANDUM

FROM:            Gary Fredricks

SUBJECT:  	Delayed Installation of ESBS’s at McNary Dam in 2010

Background : Before the 2009 passage season, the region was asked to consider a delayed installation of guidance screens (ESBS) at McNary Dam.  Normally, these screens would be deployed per the Fish Passage Plan (FPP) guidance on or before April 1.  This issue (apparently part of the Fish Accords) came before the Fish Passage Operation and Maintenance Team for discussion at the November 2008, meeting as a way to reduce loss of juvenile lamprey during one of the last good outmigration years.  The rationale was fairly simple, juvenile lamprey typically have an early peak in outmigration a week or so before the spring juvenile salmon migration begins to sharply rise.  Leaving the screens out for the first week or two of April might help improve lamprey survival (which are known to suffer significant mortality on the intake screen systems)  while not impacting too many salmon smolts.  After several discussions over the winter months, the start of screen installation was delayed until April 7 with the installation completed by April 14.  The Corps was also tasked with putting together a change form for the 2010 FPP that would provide for future delayed installation of these screens at McNary.

This issue next came up for a more in-depth discussion during the October, 2009,  meeting.  The Walla Walla District had the change form completed as was looking for approval from the committee.  The new language read:

Section 2.3.1.2.b.1.  Operate ESBSs with flow vanes attached to the screen.  Installation of the ESBSs will not start before the first Monday of April and will be completed within the following two weeks.

According to this language, over the next several years the screen installation would be completed as early as April 12 and as late as April 18, depending on the year and if the full two work weeks were used to finish screen installation.  The change form did not include any assessment of the benefits and impacts to either lamprey or salmon.  Tim Dykstra,  Walla Walla District Crops, presented some smolt passage data from the 2009 outmigration.  I indicated that NOAA was not ready to make a choice on dates and needed to see a more comprehensive analysis that included more years of data and an assessment of smolt loss due to the delayed installation action.  After the meeting I put together the data in Tables 1 and 2 below.  These were presented to the FPOM at the November, 2009, meeting.  Again, no decision was reached but now the team had a more comprehensive assessment of the actions potential impacts to migrating salmon.

Analysis:  Attachment Tables 1 and 2, present yearling Chinook and steelhead smolt monitoring collection data for the past ten years (source: Fish Passage Center).  The collection data were used since these data represent an estimate of what actually passed through the bypass system on a particular date.  These are the fish that would pass through the turbines if the intake screens were not in place.  There were a couple of large passage events early in the season that were probably related to hatchery releases.  These were left in the analysis since they were what actually happened.

To calculate the potential mortality of chinook and steelhead if the intake screens were not in place, it was necessary to determine the difference between bypass and turbine survival at McNary Dam.  Paired release survival estimates were used from the most recent USGS survival studies conducted under operating conditions similar to what may happen in the near future at this project.  For years where there were more than one treatment, the result for each treatment was used if that treatment simulated possible current operating conditions.  For yearling chinook, there were six replicates from tests done in 2006 through 2009 and for steelhead there were two replicates for tests in 2008 and 2009 (see Table 1).  The differences calculated from the averages of all the survival estimate replicates for yearling chinook and steelhead were 8.8% and 16.5%, respectively.

| Table 1. McNary Dam turbine vs. bypass survival for paired release tests conducted under operational conditions similar to anticipated 2010 conditions. NT= not tested that year. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Yearling Chinook Survival |  |  | Steelhead Survival |  |
| Year | Turbine | Bypass | Turbine | Bypass |
| 2006 | 0.925 | 0.971 | NT | NT |
| 2006 | 0.786 | 0.963 | NT | NT |
| 2007 | 0.847 | 0.921 | NT | NT |
| 2007 | 0.816 | 0.928 | NT | NT |
| 2008 | 0.924 | 0.962 | 0.82 | 1 |
| 2009 | 0.916 | 0.998 | 0.85 | 1 |
| Average | 0.869 | 0.957 | 0.835 | 1 |
| Difference = 0.088 |  |  | Difference = 0.165 |  |
| Data Source: USGS |  |  |  |  |

Attachment Tables 1 and 2 also present the potential mortality of yearling chinook and steelhead if the ESBSs were on in place through each day in April.  The running sum column on the far right in each table indicate the potential total mortality each day the  installation is delayed.  To get a more accurate estimation of the potential mortality if the screens were installed over a two week installation period, as proposed in the Corps’ FPP change form, a stepped mortality analysis was needed.  Using 2010 as an example, Attachment Tables 4 and 5 present the analysis where installation of screens was assumed to start on Monday, April 5, 2010, and be completed on Wednesday, April 14, 2010.  It was assumed that two units (six screens) would be completed each working day.

Results:  Using the 10 year smolt passage data, this analysis estimates that approximately 1,300 smolts of each species would be lost due to delayed screen installation as proposed by the Corps’ change form.  This number would be about 40 and 50 percent less for chinook and steelhead, respectively, if no large hatchery releases passed during the two week period (based on using average collection in place of the large hatchery passage events).

To put this loss into perspective, during the first 14 days of April, a cumulative fish passage estimate of approximately 47,000 and 22,000 fish was made for yearling chinook and steelhead, respectively.  These numbers were arrived at by expanding the collection estimates by the average fish guidance efficiency estimates and, from April 10th on, by the average spill efficiency estimates from the 2007-2009 (with TSW) USGS active tag studies (Table 2).

| Table 2. McNary Dam Passage efficiency with TSWs in place. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| FGE |  |  | SPE |  |  |
|  | Yr. Chin | Steelhead |  | Yr. Chin | Steelhead |
| 2007 | 0.635 | 0.792 | 2007 | 0.595 | 0.805 |
| 2007 | 0.697 | 0.782 | 2007 | 0.546 | 0.76 |
| 2008 | 0.639 | 0.747 | 2008 | 0.654 | 0.768 |
| 2009 | 0.701 | 0.795 | 2009 | 0.544 | 0.695 |
| Ave. | 0.668 | 0.779 | Ave. | 0.585 | 0.757 |

The 1,300 smolts per species mortality estimate comprises about 3 and 6 percent of the cumulative population of yearling chinook and steelhead, respectively, that pass the dam from April 1 through 14.  Dropping the hatchery groups out of the population has little effect on this result since both sides of the equation are changed.  The resulting estimates are approximately 2 and 7 percent for yearling chinook and steelhead, respectively.

This analysis and the significance of the results can be discussed at the next FPOM meeting in December.

| Table 1. Yearling Chinook, McNary Dam FPC Data. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Date | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | Average | Running Sum | Running Potential Mortality@ 8.8% Difference in Survival |
| 1-Apr | 540 |  |  |  |  |  |  |  |  |  | 540 | 540 | 48 |
| 2-Apr | 462 | 50 |  |  |  |  |  |  |  |  | 256 | 796 | 70 |
| 3-Apr | 624 | 112 | 180 | 575 | 320 | 1120 | 90 |  | 80 |  | 388 | 1184 | 104 |
| 4-Apr | 1635 | 100 | 532 |  |  |  |  |  |  |  | 756 | 1939 | 171 |
| 5-Apr | 2112 | 156 | 591 | 733 | 500 | 870 | 110 |  | 270 |  | 668 | 2607 | 230 |
| 6-Apr | 3432 | 180 | 584 |  |  |  |  |  |  |  | 1399 | 4006 | 353 |
| 7-Apr | 2258 | 76 | 672 | 838 | 525 | 1045 | 125 | 20 | 56750 |  | 6923 | 10929 | 964 |
| 8-Apr | 2202 | 152 | 1152 |  |  |  |  |  |  |  | 1169 | 12098 | 1067 |
| 9-Apr | 3144 | 224 | 1578 | 940 | 647 | 1725 | 155 | 250 | 18800 | 200 | 2766 | 14864 | 1311 |
| 10-Apr | 2388 | 218 | 1352 |  |  |  |  |  |  |  | 1319 | 16183 | 1427 |
| 11-Apr | 3559 | 252 | 1120 | 1354 | 1085 | 843 | 1858 | 1032 | 2820 | 518 | 1444 | 17627 | 1554 |
| 12-Apr | 3870 | 316 | 1433 |  |  |  |  |  |  |  | 1873 | 19500 | 1719 |
| 13-Apr | 4890 | 420 | 1756 | 4973 | 1923 | 1820 | 3560 | 4533 | 3000 | 858 | 2773 | 22274 | 1964 |
| 14-Apr | 3376 | 580 | 2632 |  |  |  |  |  |  |  | 2196 | 24470 | 2157 |
| 15-Apr | 3480 | 1180 | 2699 | 5296 | 2160 | 1268 | 7868 | 9050 | 1122 | 3030 | 3715 | 28185 | 2485 |
| 16-Apr | 2780 | 748 | 2885 |  |  |  |  |  |  |  | 2138 | 30323 | 2673 |
| 17-Apr | 3260 | 1010 | 4590 | 4190 | 4114 | 1710 | 13530 | 7948 | 2875 | 4273 | 4750 | 35073 | 3092 |
| 18-Apr | 2702 | 1352 | 5690 |  |  |  |  |  |  |  | 3248 | 38321 | 3379 |
| 19-Apr | 3990 | 2196 | 6959 | 9508 | 6168 | 1817 | 9800 | 8565 | 2022 | 5980 | 5701 | 44021 | 3881 |
| 20-Apr | 4430 | 1982 | 12823 |  |  |  |  |  |  |  | 6412 | 50433 | 4446 |
| 21-Apr | 5757 | 1422 | 11900 | 3651 | 12755 | 3570 | 76692 | 4861 | 3335 | 7243 | 13119 | 63551 | 5603 |
| 22-Apr | 6120 | 1476 | 12000 |  |  |  |  |  |  |  | 6532 | 70083 | 6179 |
| 23-Apr | 6600 | 1512 | 13802 | 7600 | 7087 | 3088 | 37200 | 8008 | 3130 | 13552 | 10158 | 80241 | 7075 |
| 24-Apr | 7180 | 3247 | 11900 |  |  |  |  |  |  |  | 7442 | 87684 | 7731 |
| 25-Apr | 7504 | 3120 | 13400 | 13476 | 21840 | 6005 | 22149 | 14480 | 2069 | 15427 | 11947 | 99631 | 8784 |
| 26-Apr | 8360 | 3810 | 21025 |  |  |  |  |  |  |  | 11065 | 110696 | 9760 |
| 27-Apr | 10020 | 2978 | 13200 | 29400 | 25794 | 5865 | 24250 | 24644 | 3528 | 22117 | 16180 | 126875 | 11186 |
| 28-Apr | 11940 | 2960 | 11950 |  |  |  |  |  |  |  | 8950 | 135825 | 11975 |
| 29-Apr | 13150 | 3885 | 15585 | 34395 | 43500 | 6866 | 34285 | 36904 | 3484 | 20251 | 21231 | 157056 | 13847 |
| 30-Apr | 15550 | 6180 | 15867 |  |  |  |  |  |  |  | 12532 | 169588 | 14952 |

| Table 2. Steelhead Passage, McNary Dam FPC Data. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Date | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | Average | Running Sum | Running Potential Mortality @ 16.5% Difference in Survival |
| 1-Apr | 260 |  |  |  |  |  |  |  |  |  | 260 | 260 | 43 |
| 2-Apr | 114 | 10 |  |  |  |  |  |  |  |  | 62 | 322 | 53 |
| 3-Apr | 180 | 48 | 330 | 595 | 170 | 430 | 150 |  | 70 |  | 247 | 569 | 94 |
| 4-Apr | 272 | 108 | 548 |  |  |  |  |  |  |  | 309 | 878 | 145 |
| 5-Apr | 306 | 148 | 572 | 607 | 145 | 310 | 190 |  | 70 |  | 294 | 1171 | 193 |
| 6-Apr | 462 | 160 | 344 |  |  |  |  |  |  |  | 322 | 1493 | 246 |
| 7-Apr | 487 | 244 | 308 | 1200 | 80 | 405 | 205 | 130 | 100 |  | 351 | 1844 | 304 |
| 8-Apr | 672 | 176 | 296 |  |  |  |  |  |  |  | 381 | 2226 | 367 |
| 9-Apr | 1380 | 232 | 594 | 747 | 170 | 1120 | 350 | 400 |  | 141 | 570 | 2796 | 461 |
| 10-Apr | 5736 | 271 | 788 |  |  |  |  |  |  |  | 2265 | 5061 | 835 |
| 11-Apr | 25330 | 300 | 524 | 440 | 115 | 1707 | 592 | 576 | 40 | 527 | 3015 | 8076 | 1333 |
| 12-Apr | 9780 | 244 | 284 |  |  |  |  |  |  |  | 3436 | 11512 | 1900 |
| 13-Apr | 3630 | 362 | 308 | 1020 | 244 | 1530 | 1120 | 666 | 20 | 538 | 944 | 12456 | 2055 |
| 14-Apr | 1731 | 532 | 556 |  |  |  |  |  |  |  | 940 | 13396 | 2210 |
| 15-Apr | 1230 | 1228 | 633 | 574 | 320 | 1292 | 2122 | 495 | 61 | 1120 | 908 | 14303 | 2360 |
| 16-Apr | 1420 | 668 | 1417 |  |  |  |  |  |  |  | 1168 | 15472 | 2553 |
| 17-Apr | 1170 | 659 | 3390 | 680 | 576 | 1820 | 2730 | 595 | 445 | 808 | 1287 | 16759 | 2765 |
| 18-Apr | 1666 | 632 | 4800 |  |  |  |  |  |  |  | 2366 | 19125 | 3156 |
| 19-Apr | 1750 | 1552 | 4183 | 2502 | 1384 | 2998 | 1600 | 690 | 883 | 1162 | 1870 | 20995 | 3464 |
| 20-Apr | 2200 | 1484 | 9490 |  |  |  |  |  |  |  | 4391 | 25387 | 4189 |
| 21-Apr | 4328 | 2280 | 14300 | 724 | 3175 | 3020 | 8208 | 2619 | 2135 | 1967 | 4276 | 29662 | 4894 |
| 22-Apr | 5700 | 2070 | 11150 |  |  |  |  |  |  |  | 6307 | 35969 | 5935 |
| 23-Apr | 4920 | 2556 | 9248 | 2520 | 1747 | 1302 | 32200 | 2632 | 1899 | 7011 | 6604 | 42572 | 7024 |
| 24-Apr | 4940 | 9699 | 6000 |  |  |  |  |  |  |  | 6880 | 49452 | 8160 |
| 25-Apr | 5491 | 12520 | 5250 | 2484 | 4080 | 940 | 24751 | 3740 | 1510 | 19253 | 8002 | 57454 | 9480 |
| 26-Apr | 4060 | 11220 | 6975 |  |  |  |  |  |  |  | 7418 | 64872 | 10704 |
| 27-Apr | 8430 | 11000 | 4750 | 1850 | 2056 | 1500 | 18400 | 5425 | 4340 | 39692 | 9744 | 74617 | 12312 |
| 28-Apr | 4710 | 5660 | 3600 |  |  |  |  |  |  |  | 4657 | 79273 | 13080 |
| 29-Apr | 5170 | 4365 | 3843 | 1805 | 2900 | 1954 | 12715 | 13382 | 5246 | 27113 | 7849 | 87123 | 14375 |
| 30-Apr | 6800 | 4875 | 5493 |  |  |  |  |  |  |  | 5723 | 92845 | 15319 |

Table 4.  Yearling Chinook.  Potential mortality with two week install of ESBS’s at two units per day for work days starting April 5 and ending April 15, 2010.

| Date | 10 year Average Collection | Running Sum | Potential Mortality @ 8.8% Difference in Survival | Average Bypass Passage w/Install | Average Turbine Passage w/ Install | Running Sum Turbine Passage | Running Sum Mortality w/Screen Install |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1-Apr | 540 | 540 | 48 | 0 | 540 | 540 | 48 |
| 2-Apr | 256 | 796 | 70 | 0 | 256 | 796 | 70 |
| 3-Apr | 388 | 1184 | 104 | 0 | 388 | 1184 | 104 |
| 4-Apr | 756 | 1939 | 171 | 0 | 756 | 1939 | 171 |
| 5-Apr | 668 | 2607 | 230 | 0 | 668 | 2607 | 230 |
| 6-Apr | 1399 | 4006 | 353 | 200 | 1199 | 3806 | 336 |
| 7-Apr | 6923 | 10929 | 964 | 1978 | 4945 | 8751 | 772 |
| 8-Apr | 1169 | 12098 | 1067 | 501 | 668 | 9419 | 830 |
| 9-Apr | 2766 | 14864 | 1311 | 395 | 2371 | 11790 | 1039 |
| 10-Apr | 1319 | 16183 | 1427 | 188 | 1131 | 12921 | 1139 |
| 11-Apr | 1444 | 17627 | 1554 | 206 | 1238 | 14159 | 1248 |
| 12-Apr | 1873 | 19500 | 1719 | 1338 | 535 | 14694 | 1296 |
| 13-Apr | 2773 | 22274 | 1964 | 2377 | 396 | 15090 | 1330 |
| 14-Apr | 2196 | 24470 | 2157 | 2039 | 157 | 15247 | 1344 |
| 15-Apr | 3715 | 28185 | 2485 | 3715 | 0 | 15247 | 1344 |

Table 5.  Steelhead.  Potential mortality with two week install of ESBS’s at two units per day for work days starting April 5 and ending April 15, 2010.

| Date | 10 year Average Collection | Running Sum | Potential Mortality @ 16.5% Difference in Survival | Average Bypass Passage w/Install | Average Turbine Passage w/Install | Running Sum Turbine Passage | Running Sum Mortality w/ Screen Install |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1-Apr | 260 | 260 | 43 | 0 | 260 | 260 | 43 |
| 2-Apr | 62 | 322 | 53 | 0 | 62 | 322 | 53 |
| 3-Apr | 247 | 569 | 94 | 0 | 247 | 569 | 94 |
| 4-Apr | 309 | 878 | 145 | 0 | 309 | 878 | 145 |
| 5-Apr | 294 | 1171 | 193 | 0 | 294 | 1171 | 193 |
| 6-Apr | 322 | 1493 | 246 | 46 | 276 | 1447 | 239 |
| 7-Apr | 351 | 1844 | 304 | 100 | 251 | 1698 | 280 |
| 8-Apr | 381 | 2226 | 367 | 163 | 218 | 1916 | 316 |
| 9-Apr | 570 | 2796 | 461 | 81 | 489 | 2405 | 397 |
| 10-Apr | 2265 | 5061 | 835 | 324 | 1941 | 4346 | 717 |
| 11-Apr | 3015 | 8076 | 1333 | 431 | 2584 | 6931 | 1144 |
| 12-Apr | 3436 | 11512 | 1900 | 2454 | 982 | 7913 | 1306 |
| 13-Apr | 944 | 12456 | 2055 | 809 | 135 | 8047 | 1328 |
| 14-Apr | 940 | 13396 | 2210 | 873 | 67 | 8114 | 1339 |
| 15-Apr | 908 | 14303 | 2360 | 908 | 0 | 8114 | 1339 |

# FPP Change Forms

☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺

Change Request Number: 10JDA004

Date:  13 November 2009

Proposed by:  NWP

Location of Change:  2.5.1.2.d.2

Proposed Change:

d. Powerhouse.

1.  Operate entrances NE-1 and NE-2.

2.  Operate four powerhouse floating orifices (1, 2, 18, and 19) and open associated auxiliary water diffusers.  (See also 2.5.1.2.a.4.).

Reason for Change:  Old information.  Needs to be updated.

Comments from others:

Record of Final Action:

☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺

Change Request Number: 10MCN001

Date:	June 16, 2009

Proposed by: CENWW -

Proposed Change: A regional decision has been made to move the TSW in bay 4 back to bay 19

and operate two TSWs (in bays 19 and 20).  The desire is to have the TSWs in bays 19 and 20 by COB on June 18.

The procedure will be as follows:

1.	Bay 11 will first shutdown. Spill adjust table MCN-8

2.	Then bay 19 is shut down. Spill adjust table MCN-8a.

3.	Crane that was over bay 11 will move hoist from 19 to 11.

4.	Bay 11 will open with new hoist. Spill adjust table MCN-8b.

5.	Bay 4 will close. Spill adjust table MCN-8c.

6.	TSW1 remove and transport to spill bay 19.

7.	Bay 4 then back in service. Spill adjust table MCN-8b and substitute 6 stops in bay 4.

8.	TSW1 installed in 19.  Spillway then operated with 2008 Table MCN-7.

The spill levels during the TSW relocation must remain at levels described in the 2009 Spring FOP at 40%.  Spill tables are attached.

Reason for Change:  June 12 on McNary summer operations.  During the call, agency representatives from NOAA, USFWS, IDFG and ODFW stated that their preference for McNary 2009 summer operations (evaluation) was to have both TSWs in operation in bays 19

and 20, with 50% spill, but that they would not object if the Corps decided on a 40% spill.  Both these operations were preferred over the operation outlined in the FOP (split TSW configuration).  CRITFC representative agreed with other agencies in a separate phone discussion.

Comments from others:

Record of Final Action:  TSW was moved as described above for the summer spill season.

☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺

Change Request Number:  10MCN0002

Date:  8 Dec, 2010

Proposed by: Brad  Eby  McNary Project

Proposed Change: Section 2.3.2.1  page  MCN-12 :  Change Adult Fishways Winter Maintenance period to  5 December  through  28 February

Reason for Change: McNary’s aging fishways (58 years) are requiring increasing amounts of maintenance time to keep pumps, entrance gates, and water control structures serviceable.   A two month work window during the coldest months of the year fall far short of time required to perform the extensive  critical work now required of the system.   Adult salmonid travel times from John Day to McNary  (3 to 5 days, based on peak passage days)  does not seem commensurate with the thirty day delay of McNary’s  winter work period.

Comments from others:

Record of Final Action:

☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺

Change Request Number: 10MCN003

Date:	October 6, 2009

Proposed by: CENWW -

Proposed Change:  Change the following section of the 2010 Fish Passage Plan to reflect the delayed installation of the ESBS:

Section 2.3.1.2.b.1.  Operate ESBSs with flow vanes attached to the screen.  Installation of the ESBSs will not start before the first Monday of April and will be completed within the following two weeks.

Reason for Change: The 2008 Columbia Basin Fish Accords specify actions needed to be undertaken and considered to assist with Pacific Lamprey Passage.  Item #3 under juvenile actions to be taken says the Corps shall, “consider lifting extended length screens (primarily at McNary but also at Columbia and Snake River dams) in consultation with the NOAA and the Tribes.”

The delay of ESBS installation is designed to benefit a pulse of lamprey that tend to migrate downstream just before a larger number of juvenile salmon and steelhead arrive at MCN around the 20th of April.

Comments from others: NWW, NOAA and CRITFC all provided handouts with fish numbers.  Fredricks provided fish numbers and the estimated mortality related to not putting screens in.  He mentioned that this may need to result in re-opening of the consultation for the incidental take.  More information is needed before a decision could be made.

Record of Final Action:

☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺

Change Request Number: 10MCN0005 Trash rack cleaning frequency

Date:  November 4, 2009

Proposed by:  NWW – Operations.

Proposed Change:  MCN 2.3.1.2. Fish Passage Period (April 1 through December 15)

a. Forebay Area and Intakes.

- Remove debris from forebay and trashracks as required to minimize impacts on fish condition.  Generally this will result in removing debris from trashracks at least four times per year - just prior to the fish passage season and, monthly for the first three months Additional raking may be required when heavy debris loads are present in the river.  Fish quality and trash rack differential may also be an indicator of debris buildup on the trashracks.  Project biologist shall determine when additional trash raking is required.

Reason for Change: This change was discussed and recommended at FFDRWG.

Comments from others:

Record of Final Action:

☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺

Change Request Number: 10MCN0007

Date: January 11, 2010

Proposed by: A. Setter

Proposed Change:   NEW SECTION  2.3.1.2  h. TSW Operation.

TSW will start the fish passages period with both TSW’s in spillbays 19 and 20.  Both TSW’s will be removed from spillbays 19, 20 on or around June 1.  Finalized date will be coordinated with the regional fishery managers. Spill will similar to the 2008 spill season.  However, the tables will be modified and developed in February at ERDC.

Reason for Change: Regional fishery managers (NOAA, USFWS, IDFG, ODFW,CRITFC, WDFW, Yakima tribe), BPA, and the Corps agree that summer passage survival at McNary would be higher with 50% spill and no TSW's in place.  TSW's would remain in place for the spring fish passage season to benefit steelhead.

Comments from others:

Record of Final Action:

☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺

Change Request Number: 10LMN003

Date: January 11, 2010

Proposed by: A. Setter

Proposed Change: Consolidate spill table to use single bulk spill pattern for both spring and summer during 2010.

Reason for Change: Testing results from 2009 confirmed that the bulk spill pattern performs better for highest dam survival.  This is planned to be reevaluated after a new outfall is in place.

Comments from others:

Record of Final Action:

☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺

Change Request Number: 10LGS003 Low Flow Little Goose

Date:  Jan 11,2010

Proposed by:  CENWW-OD-T

Proposed Change: Add to section 2.1.2

At Little Goose Dam, when day average flows in the lower Snake River are below about 40 kcfs, achieving 30% spill requires changing turbine operations between 2 units at the low end of the 1% of best efficiency range and one unit at the high end of the 1% range. This operation is incompatible with the more constant discharge upstream at Lower Granite Dam. It is also difficult to meet the constant FOP spill level downstream at Lower Monumental Dam. The unsteady flow at Little Goose also impacts that project’s reservoir operation and can cause inadequate navigation depths at the downstream sill of the Lower Granite navigation lock. When the river flows are below 40 kcfs, the spill volume will need to be changed from the 30% level to a flat spill pattern to smooth out Little Goose discharges, meet Lower Monumental spill levels, and maintain the MOP operating range at Little Goose. This change will be coordinated with regional fishery managers.

Reason for Change:

Comments from others:

Record of Final Action:

☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺

Change Request Number:  10LGS004

Date:  Jan 11, 2010

Proposed by:  CENWW-OD-T

Proposed Change: Section 2.1.2.

Involuntary spill at Little Goose is the result of river flow exceeding powerhouse capacity, insufficient generation loads to pass the river flow, turbine unit outages (forced or scheduled), or the failure of a key component of the juvenile fish passage facility which forces the project to spill to provide juvenile fish passage.  Spill at Little Goose shall be distributed in accordance with the spill patterns included at the end of this section, Table LGS-10, 11, and 12.  Special spills for juvenile fish passage will be provided as detailed in Appendices A and E.

Reason for Change:Updating the section.

Comments from others:

Record of Final Action:

☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺

Change Request Number:  10AppB002

Date:  October 30, 2009

Proposed by: Tom Lorz (CRITFC) sent to Greg Moody (USACE)

Proposed Change: Add a section 4. Operating Criteria-(G)-6(new) under Appendix B Corps of Engineers Juvenile Fish Transportations Plan or it could be added to 3. Program Duration (D) of Appendix B.

Add language…”If a temperature gradient is observed in real time or predicted from temperature modeling at McNary from the forebay to the gatewells or the gatewells to the sampling/raceway facilities that exceeds 6 degree Fahrenheit, and/or collection mortality increases to 6 percent of daily collection for any 3 days in a rolling 5 day period or if daily collection mortality exceeds 10,000 fish, the project will immediately alter turbine operations to reduce mortality and temperature where possible. If turbine operations are already optimized for temperature then additional spill will be provided so long as the spill levels do not exceed the gas cap.  Operations will be coordinated as soon as possible with FPOM/TMT but are not required prior to modifying operations.

Reason for Change:  During the 2009 fish migration passage season the 6 percent mortality criteria mentioned above in section 3 – d of Appendix B of the FPP was triggered in August.  It also corresponded to temperature differences in the facility that exceeded 6 degrees F and got as high as 11 degrees F.  Spill was increased for several days to help reduce the number of fish using the bypass facility during these extreme temperature gradients as well as to try to reduce flow for areas of warm water to the powerhouse.  Mortality did drop after the operations were started.  It would be prudent to have language in the FPP to deal with such situations in advance then to have to wait for coordination and the discussion at a meeting between FPOM/TMT to begin altering operations that will likely reduce facility mortality.

Comments from others:  FPOM is concerned about six percent mortality and 10,000 fish prior to notification.  Assume the turbine actions will be done.

Record of Final Action:  Lorz will re-write and re-submit.

☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺