## 2009 Lamprey Data
Turbine Unit Strainer Inspections 2009 -2010
Location | Date | Turbine Units | Lamprey |  | Notes
|  |  | Mortality | Live
MCN | 10 - 16 Apr | Not Checked | --- | ---
MCN | 17 - 23 Apr | Not Checked | --- | ---
MCN | 24 -30 Apr | Not Checked | --- | ---
MCN | 1 -7 May | Not Checked | --- | ---
MCN | 12 -13 May | All | 15 | 59 | Live fish all in turbine unit 1, 0-15 morts removed from each of the rest. 14 Chinook morts removed from 1, 11 and 14
MCN | 15 -21 May | Not Checked | --- | ---
MCN | 22-28 May | Not Checked | --- | ---
MCN | 29 May - 4 Jun | Not Checked | --- | ---
MCN | 4 -11 Jun | Not Checked | --- | ---
MCN | 15, 17 Jun | 1-4, 6, 8-14 | 30 | 1 | Hatches on turbine units 5 and 7 could not be opened
MCN | 19 -25 Jun | Not Checked | --- | ---
MCN | 26 Jun - 2 Jul | Not Checked | --- | ---
MCN | 3 -9 Jul | Not Checked | --- | ---
MCN | 10 -16 Jul | Not Checked | --- | ---
MCN | 17 -23 Jul | Not Checked | --- | ---
MCN | 24 -30 Jul | Not Checked | --- | ---
MCN | 31 Jul - 6 Aug | Not Checked | --- | ---
MCN | 7 -13 Aug | Not Checked | --- | ---
MCN | 8 -20 Aug | Not Checked | --- | ---
MCN | 14 -20 Aug | Not Checked | --- | ---
MCN | 21 -27 Aug | Not Checked | --- | ---
MCN | 28 May - 3 Sep | Not Checked | --- | ---
MCN | 4 -10 Sep | Not Checked | --- | ---
MCN | 11 -17 Sep | Not Checked | --- | ---
MCN | 18 -24 Sep | Not Checked | --- | ---
MCN | 25 Sep - 1 Oct | Not Checked | --- | ---
MCN | 2 -8 Oct | Not Checked | --- | ---
MCN | 9 -15 Oct | Not Checked | --- | ---
MCN | 16-22 Oct | Not Checked | --- | ---
MCN | 23 -29 Oct | Not Checked | --- | ---
MCN | 30 Oct - 5 Nov | Not Checked | --- | ---
MCN | 6 -19 Nov | Not Checked | --- | ---
MCN | 7 -12 Nov | Not Checked | --- | ---
MCN | 20 -26 Nov | Not Checked | --- | ---
MCN | 21 -26 Nov | Not Checked | --- | ---
MCN | 27 Nov - 3 Dec | Not Checked | --- | ---
MCN | 4 -10 Dec | Not Checked | --- | ---
MCN | 11 -17 Dec | Not Checked | --- | ---
MCN | 18 -24 Dec | Not Checked | --- | ---
MCN | 25 -31 Dec | Not Checked | --- | ---
ICH | 2010-02-02 | 1 | 300 | 0 | 400 lamprey reported in strainers by email, no tally of live fish and mortalities.
ICH | 10 -16 Apr | Not Checked | --- | ---
ICH | 20 -22 Apr | All | --- | --- | Pressure differential check - no direct inspection
ICH | 17 -23 Apr | All | --- | --- | Pressure differential check - no direct inspection
ICH | 24 -30 Apr | All | --- | --- | Pressure differential check - no direct inspection
ICH | 5 -7 May | All | --- | --- | Pressure differential check - no direct inspection
ICH | 15 -21 May | All | --- | --- | Pressure differential check - no direct inspection
ICH | 22-28 May | All | --- | --- | Pressure differential check - no direct inspection
ICH | 4 -11 Jun | All | --- | --- | Pressure differential check - no direct inspection
ICH | 12 -18 Jun | All | --- | --- | Pressure differential check - no direct inspection
ICH | 19 -25 Jun | All | 8 | 0 | Direct Inspections done Strainers cleaned concurrently with STS inspections.
ICH | 26 Jun - 2 Jul | All | --- | --- | Pressure differential check - no direct inspection
ICH | 3 -9 Jul | All | --- | --- | Pressure differential check - no direct inspection
ICH | 10 -16 Jul | 1, 3 - 6 | 0 | 0 | Direct Inspections done Strainers cleaned concurrently with STS inspections, turbine unit 2 out of service.
ICH | 17 -23 Jul | All | --- | --- | Pressure differential check - no direct inspection
ICH | 24 -30 Jul | All | --- | --- | Pressure differential check - no direct inspection
ICH | 2010-08-03 | 5, 6 | 3 | 0 | Direct Inspections done Strainers cleaned concurrently with STS inspections.
ICH | 7 -13 Aug | All | --- | --- | Pressure differential check - no direct inspection
ICH | 17, 18 Aug | 1, 2, 4 | 1 | 0 | Lamprey mortality found in turbine unit 2, unidentified mortality found in turbine unit 4.
ICH | 2010-08-25 | 5 | 0 | 0
ICH | 28 May - 3 Sep | All | --- | --- | Pressure differential check - no direct inspection
ICH | 2010-09-09 | 2, 3, 4, 5, 6 | 0 | 0 | Other mortalities included 7 shad, 2 clam shells, 11 Siberian Prawns, 1 crayfish and 7 unidentified fish.
ICH | 11 -17 Sep | All | --- | --- | Pressure differential check - no direct inspection
ICH | 2010-09-23 | 1 | 0 | 0
ICH | 25 Sep - 1 Oct | All | --- | --- | Pressure differential check - no direct inspection
ICH | 2 -8 Oct | All | --- | --- | Pressure differential check - no direct inspection
ICH | 9 -15 Oct | All | --- | --- | Pressure differential check - no direct inspection
ICH | 16-22 Oct | All | --- | --- | Pressure differential check - no direct inspection
ICH | 23 -29 Oct | All | --- | --- | Pressure differential check - no direct inspection
ICH | 2 -3 Nov | All | 0 | 0
ICH | 6 -12 Nov | All | --- | --- | Pressure differential check - no direct inspection
ICH | 18, 19 Nov | 2, 3, 4, 5 | 0 | 0 | Turbine units 2, 3, and 4 found plugged with shad, #5 was clear. Turbine 1 and 6 out of service.
ICH | 2010-11-23 | 3 | 0 | 0 | Turbine unit 3 found plugged with shad.
ICH | 2010-12-02 | 3, 5, 6 | 0 | 0 | Several shad mortalities found.
ICH | 4 -10 Dec | All | --- | --- | Pressure differential check - no direct inspection
ICH | 11 -17 Dec | All | --- | --- | Pressure differential check - no direct inspection
ICH | 18 -24 Dec | All | --- | --- | Pressure differential check - no direct inspection
ICH | 25 -31 Dec | All | --- | --- | Pressure differential check - no direct inspection
ICH | 2010-02-02 | All | 701 | 0
LMO | 1-5 Mar | Not Noted | 140 | 3 | Live lamprey released into tailrace
LMO | 2010-04-08 | Not Noted | 41 | 0
LMO | 17 - 23 Apr | Not Checked | --- | ---
LMO | 24 -30 Apr | Not Checked | --- | ---
LMO | 1 -7 May | Not Checked | --- | ---
LMO | 2010-05-13 | Not Noted | 0 | 35 | Other mortalities include 12 chinook, 5 steelhead and 31 unidentifiable fish.
LMO | 15 -21 May | Not Checked | --- | ---
LMO | 22-28 May | Not Checked | --- | ---
LMO | 29 May - 4 Jun | Not Checked | --- | ---
LMO | 2010-06-08 | All | 27 | 1 | Other mortalities include 15 Chinook, 3 steelhead and 45 unidentifiable fish.
LMO | 12 -18 Jun | Not Checked | --- | ---
LMO | 19 -25 Jun | Not Checked | --- | ---
LMO | 26 Jun - 2 Jul | Not Checked | --- | ---
LMO | 3 -9 Jul | Not Checked | --- | ---
LMO | 2010-07-13 | All | 0 | 15
LMO | 17 -23 Jul | Not Checked | --- | ---
LMO | 24 -30 Jul | Not Checked | --- | ---
LMO | 31 Jul - 6 Aug | Not Checked | --- | ---
LMO | 7 -13 Aug | Not Checked | --- | ---
LMO | 2010-08-19 | All | 0 | 0
LMO | 21 -27 Aug | Not Checked | --- | ---
LMO | 28 Aug - 3 Sep | Not Checked | --- | ---
LMO | 4 -10 Sep | Not Checked | --- | ---
LMO | 2010-09-16 | 1, 2, 3, 4, 5, 6 | 0 | 0
LMO | 2010-09-20 | 1, 2, 3, 4, 5, 6 | 0 | 0
LMO | 25 Sep - 1 Oct | Not Checked | --- | ---
LMO | 2 -8 Oct | Not Checked | --- | ---
LMO | 2010-10-13 | 1 | 0 | 0
LMO | 2010-10-20 | 2, 3, 4, 5, 6 | 0 | 0 | Other mortalities include 22 shad.
LMO | 23 -29 Oct | Not Checked | --- | ---
LMO | 2010-11-04 | 1, 2, 3, 4, 5, 6 | 0 | 0 | Other mortalities include 37 shad.
LMO | 6 -12 Nov | Not Checked | --- | ---
LMO | 7 -19 Nov | Not Checked | --- | ---
LMO | 20 -26 Nov | Not Checked | --- | ---
LMO | 2010-12-03 | 1, 2, 3, 4, 5, 6 | --- | --- | Strainers cleaned, no biologists present.
LMO | 4 -10 Dec | Not Checked | --- | ---
LMO | 11 -17 Dec | Not Checked | --- | ---
LMO | 18 -24 Dec | Not Checked | --- | ---
LMO | 25 -31 Dec | Not Checked | --- | ---
LMO | 2010-01-26 | 3, 5, 6 | 86 | 0 | 16 morts out of turbine unit 3, 27 out of turbine unit 5 and 43 out of turbine unit 6.
LGO | 17 -23 Apr | Not Checked | --- | ---
LGO | 24 -30 Apr | Not Checked | --- | ---
LGO | 1 -7 May | Not Checked | --- | ---
LGO | 8 -14 May | Not Checked | --- | ---
LGO | 15 -21 May | Not Checked | --- | ---
LGO | 22-28 May | Not Checked | --- | ---
LGO | 29 May - 4 Jun | Not Checked | --- | ---
LGO | 4 -11 Jun | Not Checked | --- | ---
LGO | 12 -18 Jun | Not Checked | --- | ---
LGO | 19 -25 Jun | Not Checked | --- | ---
LGO | 26 Jun - 2 Jul | Not Checked | --- | ---
LGO | 2010-07-08 | 4 | 0 | 0
LGO | 10 -16 Jul | Not Checked | --- | ---
LGO | 17 -23 Jul | Not Checked | --- | ---
LGO | 24 -30 Jul | Not Checked | --- | ---
LGO | 31 Jul - 6 Aug | Not Checked | --- | ---
LGO | 2010-08-10 | 1, 2, 4, 5, 6 | 0 | 0
LGO | 2010-08-20 | 1, 2, 4, 5, 6 | 0 | 0
LGO | 2010-08-27 | 6 | 0 | 0
LGO | 28 Aug - 3 Sep | Not Checked | --- | ---
LGO | 2010-09-08 | 1, 2, 3, 4, 5, 6 | 0 | 0
LGO | 11 -17 Sep | Not Checked | --- | ---
LGO | 2010-09-22 | 1, 2, 3, 4, 5, 6 | 0 | 0
LGO | 2010-09-30 | 1, 2, 3, 4, 5, 7 | 0 | 0 | Other Mortalities - 1 Sand Roller in Turbine Unit 1.
LGO | 2010-10-06 | 1, 2, 3, 4, 5, 8 | 0 | 0
LGO | 9 -15 Oct | Not Checked | --- | ---
LGO | 2010-10-21 | 1, 2, 3, 4, 5, 8 | 0 | 0 | Other Mortalities - 1 unidentified fish.
LGO | 23 -29 Oct | Not Checked | --- | ---
LGO | 30 Oct - 5 Nov | Not Checked | --- | ---
LGO | 6 -12 Nov | Not Checked | --- | ---
LGO | 7 -19 Nov | Not Checked | --- | ---
LGO | 27 Nov - 3 Dec | Not Checked | --- | ---
LGO | 4 -10 Dec | Not Checked | --- | ---
LGO | 11 -17 Dec | Not Checked | --- | ---
LGO | 18 -24 Dec | Not Checked | --- | ---
LGO | 25 -31 Dec | Not Checked | --- | ---
LGO | 2010-02-08 | All | 17 | 0 | Mortality distribution: 3 in #2, 13 in #3 and 1 in #5.
LGR | 10 -16 Apr | Not Checked | --- | ---
LGR | 17 -23 Apr | Not Checked | --- | ---
LGR | 24 -30 Apr | Not Checked | --- | ---
LGR | 1 -7 May | Not Checked | --- | ---
LGR | 8 -14 May | Not Checked | --- | ---
LGR | 15 -21 May | Not Checked | --- | ---
LGR | 22-28 May | Not Checked | --- | ---
LGR | 29 May - 4 Jun | Not Checked | --- | ---
LGR | 4 -11 Jun | Not Checked | --- | ---
LGR | 12 -18 Jun | Not Checked | --- | ---
LGR | 19 -25 Jun | Not Checked | --- | ---
LGR | 26 Jun - 2 Jul | Not Checked | --- | ---
LGR | 3 -9 Jul | Not Checked | --- | ---
LGR | 2010-07-14 | 4 | 3 | 1
LGR | 17 -23 Jul | Not Checked | --- | ---
LGR | 24 -30 Jul | Not Checked | --- | ---
LGR | 31 Jul - 6 Aug | Not Checked | --- | ---
LGR | 7 -13 Aug | Not Checked | --- | ---
LGR | 14 -20 Aug | Not Checked | --- | ---
LGR | 21 -27 Aug | Not Checked | --- | ---
LGR | 28 Aug - 3 Sep | Not Checked | --- | ---
LGR | 4 -10 Sep | Not Checked | --- | ---
LGR | 11 -17 Sep | Not Checked | --- | ---
LGR | 2010-09-23 | 5 | 0 | 0
LGR | 2010-09-28 | 3 | 0 | 0
LGR | 2 -8 Oct | Not Checked | --- | ---
LGR | 9 -15 Oct | Not Checked | --- | ---
LGR | 16-22 Oct | Not Checked | --- | ---
LGR | 23 -29 Oct | Not Checked | --- | ---
LGR | 30 Oct - 5 Nov | Not Checked | --- | ---
LGR | 6 -12 Nov | Not Checked | --- | ---
LGR | 7 -19 Nov | Not Checked | --- | ---
LGR | 27 Nov - 3 Dec | Not Checked | --- | ---
LGR | 4 -10 Dec | Not Checked | --- | ---
LGR | 11 -17 Dec | Not Checked | --- | ---
LGR | 18 -24 Dec | Not Checked | --- | ---
LGR | 25 -31 Dec | Not Checked | --- | ---

## 2010 Lamprey Data
Turbine Unit Strainer Inspections 2010
Location | Date | Turbine Units (Number Lamprey Found) | [14 empty] | Turbine Units (Hours Run Time)
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Totals | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Notes
MCN | 2010-03-02 | 3 | 1 | 2 | 6 | 0 | 11 | 10 | 3 | 0 | 3 | 0 | 0 | 1 | 2 | 42 | 8.5 months since last inspection |  |  |  | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | Includes 1 live lamprey found in turbine unit 3. Inspections done 3/1, 3/2 and 3/5
MCN | 2010-04-12 | 1 | 0 | 1 | 0 | 0 | 2 | 0 | 2 | 2 | 1 | 0 | 0 | 1 | 1 | 11 | 911 | 913 | 956 | 967 | 291 | 167 | 220 | 470 | 611 | 790 | 782 | 960 | 969 | 962 | Includes 1 live lamprey each found in turbine units 1 and 8.
MCN | 2010-05-24 | 3 | 1 | 4 | 0 | --- | 2 | 19 | 1 | --- | 8 | 8 | 4 | 6 | 3 | 59 | 984 | 526 | 1030 | 1032 | 1029 | 653 | 142 | 253 | 512 | 650 | 782 | 926 | 954 | 1015 | Smolts: 20 in #1, 6 in #7, 1 ea in #10 & #11, 6 in #14. 9 unidentified fish also found.
MCN | 2010-06-14 | 159 | 11 | 6 | 32 | 3 | 8 | 9 | 2 | 3 | 16 | 4 | 24 | 12 | 26 | 315 | 525.1 | 527 | 524.8 | 526.1 | 479 | 526 | 428.9 | 277.5 | 27 | 479.2 | 501.7 | 522.7 | 525.2 | 527 | Live lamprey: 21 in #1, 2 in #3, 1 in #4, 3 in #9. 6 smolts also found.
MCN | 2010-08-18 | --- | --- | --- | --- | --- | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | --- | --- | --- | --- | --- | 1112 | --- | --- | --- | --- | --- | --- | --- | --- | Turbine unit 6 only one checked. No fish recovered.
IHR | 2010-01-12 | --- | 3 | 5 | * | 1 | * | --- | --- | --- | --- | --- | --- | --- | --- | 9 | 2 months since last inspection |  |  |  | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | Includes 1 lamprey in turbine unit 2 and four in turbine unit 3 found alive
IHR | 2010-02-02 | --- | 1 | 200 | 415 | 75 | 10 | --- | --- | --- | --- | --- | --- | --- | --- | 701 | 0 | 453 | 311 | 146 | 306 | 6 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | No live lamprey found
IHR | 2010-02-09 | --- | 0 | 13 | 14 | 17 | 1 | --- | --- | --- | --- | --- | --- | --- | --- | 45 | 0 | 179.5 | 131.2 | 75.1 | 123.2 | 8 | --- | --- | --- | --- | --- | --- | --- | --- | Includes 1 lamprey each in turbine units 3 and 4 found alive.
IHR | 2010-02-16 | --- | 0 | 8 | 5 | 11 | 6 | --- | --- | --- | --- | --- | --- | --- | --- | 30 | 0 | 317.5 | 219.5 | 82.9 | 190.2 | 14 | --- | --- | --- | --- | --- | --- | --- | --- | No live lamprey found
IHR | 2010-03-02 | --- | 0 | 1 | 0 | 1 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 2 | 0 | 130.2 | 54.4 | 22.9 | 54.1 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | Includes 1 lamprey in turbine unit 3 found alive.
IHR | 2010-04-02 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 364 | 509 | 590 | 366 | 58 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | No fish found.
IHR | 2010-05-04 | 0 | 0 | 1 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1 | 688.3 | 94.6 | 118.2 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | No live fish found.
IHR | 2010-05-12 | --- | --- | --- | 15 | 8 | 8 | --- | --- | --- | --- | --- | --- | --- | --- | 31 | --- | --- | --- | 203.4 | 16.4 | 5.6 | --- | --- | --- | --- | --- | --- | --- | --- | No live fish found, 1 uncl unidentified juv in #5 and #4 (ea), cl juv st found in #4.
IHR | 2010-06-22 | --- | 0 | --- | 10 | 12 | 15 | --- | --- | --- | --- | --- | --- | --- | --- | 37 | --- | 495.7 | --- | 816.6 | 565.3 | 394.7 | --- | --- | --- | --- | --- | --- | --- | --- | No live fish found
IHR | 2010-06-23 | 0 | --- | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 1187.7 | --- | 871.2 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | No live fish found.
IHR | 2010-07-06 | --- | --- | --- | --- | --- | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | --- | --- | --- | --- | --- | 81 | --- | --- | --- | --- | --- | --- | --- | --- | No live fish found.
IHR | 2010-07-12 | --- | --- | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | 0 | --- | --- | 213 | 334.8 | 127.4 | --- | --- | --- | --- | --- | --- | --- | --- | --- | No live fish found.
IHR | 2010-07-14 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 534.7 | 218.4 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | No live fish found.
IHR | 2010-08-09 | --- | --- | --- | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | --- | --- | --- | 1.8 | 0.6 | 0.7 | --- | --- | --- | --- | --- | --- | --- | --- | Juv Shad found
IHR | 2010-08-11 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 681 | 0 | 5.2 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | Juv Shad found
IHR | 2010-09-13 | --- | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | --- | 67 | 496 | 188 | 26 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | Juv Shad found
IHR | 2010-09-15 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 404 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | Juv Shad found
IHR | 2010-10-14 | --- | --- | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 0 | --- | --- | 226 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | Juv Shad found
IHR | 2010-10-18 | --- | 0 | --- | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | --- | 81 | --- | 297 | 26 | 1 | --- | --- | --- | --- | --- | --- | --- | --- | Juv Shad found
IHR | 2010-10-19 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 815 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | Juv Shad found
IHR | 2010-11-15 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 625 | 165.7 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | ~50 Juvenile Shad mortalities found in each turbine unit (1 & 2).
IHR | 2010-11-17 | --- | --- | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | --- | --- | 0 | 245.9 | 87.5 | 20.1 | --- | --- | --- | --- | --- | --- | --- | --- | ~50 Juvenile Shad mortalities found in each turbine unit (4, 5 and 6).
IHR | 2010-12-06 | 0 | --- | --- | --- | --- | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 490 | --- | --- | --- | --- | 2 | --- | --- | --- | --- | --- | --- | --- | --- | ~100 Juvenile Shad mortalities found in #1, ~25 shad mortalities in # 6).
IHR | 2010-12-07 | --- | --- | 0 | --- | --- | ---- | --- | --- | --- | --- | --- | --- | --- | --- | 0 | --- | --- | 462 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | ~100 Juvenile Shad mortalities found in #3.
IHR | 2010-12-22 | 0 | 0 | 0 | --- | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 324 | 206 | 208 | --- | 276 | 96 | --- | --- | --- | --- | --- | --- | --- | --- | Lots of juvenile shad mortalities in all inspected orifices.
IHR | 2010-12-29 | 0 | 0 | 0 | --- | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 766 | 185 | 406 | --- | 276 | 98 | --- | --- | --- | --- | --- | --- | --- | --- | Juv shad mortalities: 10 in #1, 5 in #2, 20 in #3, 27 in #5, and 15 in #6.
IHR | 2011-01-11 | 22 | 0 | 24 | --- | 34 | 14 | --- | --- | --- | --- | --- | --- | --- | --- | 94 | 434 | 151 | 281 | --- | 320 | 40 | --- | --- | --- | --- | --- | --- | --- | --- | 16 live, 6 dead lamprey in #1, all other lamprey were dead. Juv shad: 69 - all dead.
LMN | 2010-01-26 | --- | --- | 63 | 11 | 86 | 47 | --- | --- | --- | --- | --- | --- | --- | --- | 207 | 2 months since last inspection |  |  |  | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | Includes 3 live lamprey each in turbine units 5 and 6
LMN | 2010-02-03 | --- | --- | 16 | --- | 27 | 43 | --- | --- | --- | --- | --- | --- | --- | --- | 86 | 0 | 0 | 211 | 0 | 124 | 37 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | No live lamprey found, cooling water runs 24/7.
LMN | 2010-03-31 | 1 | 0 | 3 | 0 | 9 | 1 | --- | --- | --- | --- | --- | --- | --- | --- | 14 | 1 | 1066 | 818 | 127 | 290 | 104 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | 1 S. Prawn in #1, 2 S. Prawn in #5, 2 S. Prawn & 1 Crappie in #6 all mortalities.
LMN | 2010-04-12 | 2 | 1 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 3 | 0 | 312 | 61 | 43 | 2 | 1 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | No live lampreys found. S. Prawn in #3, 1 S. Prawn in #4 and 1 S. Prawn in #5 all live.
LMN | 2010-05-12 | 1 | 22 | 0 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 33 | 6 | 744 | 87 | 7 | 299 | 0 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | 1 S. Prawn in #1, 3 S. Prawn in #2, 2 S. Prawn in #5 all mortalities.
LMN | 2010-06-07 | 34 | 44 | 61 | 66 | 100 | 121 | --- | --- | --- | --- | --- | --- | --- | --- | 426 | 648 | 291 | 646 | 461 | 184 | 595 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | Includes 4 live lamprey in#1 and 3 live in #3, 35 smolts and 6 S.prawn motalities found.
LMN | 2010-07-06 | 20 | 20 | 10 | 60 | 2 | 25 | --- | --- | --- | --- | --- | --- | --- | --- | 137 | 497 | 718 | 675 | 550 | 718 | 301 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | 6 salmon, 1 steelhead and 2 S. prawn found - all mortalities.
LMN | 2010-08-02 | 0 | 0 | 0 | 1 | 1 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 2 | 0 | 544 | 85 | 6 | 344 | 19 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | 1 steelhead and 18 S. prawn mortalities found.
LMN | 2010-09-01 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 0 | 9 | 565 | 101 | 152 | 0 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | 13 juvenile shad and 11 S. prawns mortalities recovered.
LMN | 2010-10-05 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 0 | 678 | 476 | 111 | 8 | 0 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | 4 S. Prawns Recovered
LMN | 2010-11-01 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 1 | 645 | 221 | 2 | 3 | 7 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | 20 S. Prawns, 600 Juvenile Shad Recovered
LMN | 2010-12-01 | --- | --- | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 0 | --- | --- | 206.9 | --- | --- | --- | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | 200 juvenile shad mortalities recovered
LMN | 2010-12-08 | 0 | 0 | --- | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 0 | 857 | --- | 42 | 76 | 34 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | 530 juvenile shad mortalities recovered.
LGS | 2010-02-08 | 0 | 0 | 3 | 13 | 1 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 17 | 4 months since last inspection
LGS | 2010-03-09 | 0 | 0 | 2 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 2 | 190 | 57 | 361 | 23 | 443 | 37 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | No live lamprey found
LGS | 2010-03-22 | 0 | 0 | 0 | 0 | 1 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 1 | 328 | 0 | 190 | 18 | 0 | 0 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | 1 lamprey, 2 siberian prawn motalities found in turbine unit 5.
LGS | 2010-04-08 | 0 | 0 | 0 | 0 | 2 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 2 | 401 | 220 | 86 | 11 | 5 | 1 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | Total includes 1 live lamprey in turbine unit 5.
LGS | 2010-05-07 | 0 | 1 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 1 | 699 | 470 | 128 | 87 | 7 | 6 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | No live fish found.
LGS | 2010-05-31 | 6 | 9 | 15 | 0 | 11 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 41 | 743 | 743 | 579 | 167 | 53 | 0 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | No live fish found. 2 smolt mortalities found in #3, probably yearling Chinook.
LGS | 2010-06-30 | 4 | 5 | 17 | 0 | 16 | 127 | --- | --- | --- | --- | --- | --- | --- | --- | 169 | 717 | 715 | 714 | 657 | 404 | 363 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | No live fish found. 1 subyearling Chinook mortality (ea) found in turbine units 5 & 6.
LGS | 2010-07-29 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 743 | 743 | 254 | 5 | 7 | 0 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | Backflushed and Inspected July 3, 9, 18 and 29. No lamprey found.
LGS | 2010-08-12 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 118 | 128 | 0 | 0 | 229 | 66 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | No live fish or fish mortalities found.
LGS | 2010-08-19 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 56 | 111 | 34 | 0 | 24 | 0 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | No live fish or fish mortalities found.
LGS | 2010-08-26 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 0 | 192 | 40 | 0 | 0 | 0 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | No live fish or fish mortalities found.
LGS | 2010-09-01 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 0 | 168 | 13 | 0 | 0 | 0 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | No live fish or fish mortalities found.
LGS | 2010-09-15 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 202 | 145 | 226 | 34 | 0 | 0 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | No live fish or fish mortalities found.
LGS | 2010-09-20 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 142 | 0 | 79 | 4 | 0 | 0 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | No live fish or fish mortalities found.
LGS | 2010-09-28 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 216 | 52 | 19 | 1 | 0 | 0 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | No live fish or fish mortalities found.
LGS | 2010-10-10 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 312 | 156 | 1 | 9 | 1 | 1 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | No live fish or fish mortalities found.
LGS | 2010-10-20 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 240 | 65 | 1 | 0 | 0 | 0 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | No live fish or fish mortalities found.
LGS | 2010-10-27 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 168 | 38 | 5 | 1 | 1 | 1 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | No live fish or fish mortalities found.
LGS | 2010-11-03 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 168 | 54 | 4 | 0 | 0 | 0 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | No live fish or fish mortalities found.
LGS | 2010-11-08 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 120 | 38 | 0 | 0 | 0 | 0 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | No live fish or fish mortalities found.
LGS | 2010-11-17 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 215 | 94 | 22 | 0 | 0 | 0 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | No live fish or fish mortalities found.
LGS | 2010-12-02 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 360 | 104 | 5 | 0 | 0 | 0 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | No live fish or fish mortalities found.
LGS | 2010-12-09 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 133 | 87 | 7 | 0 | 0 | 0 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | No live fish or fish mortalities found.
LGS | 2010-12-21 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 76 | 204 | 120 | 40 | 114 | 15 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | No live fish or fish mortalities found.
LGS | 2010-12-29 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 4 | 186 | 126 | 0 | 6 | 0 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | No live fish or fish mortalities found.
LWG | 2010-02-01 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 0 | Last inspections took place in turbine units 3 and 5 in September 2009 | [13 empty] | No lampreys found.
LWG | 2010-03-15 | 0 | 125 | 0 | 25 | 44 | 16 | --- | --- | --- | --- | --- | --- | --- | --- | 210 | 0 | 379 | 0 | 382 | 662 | 228 | (Turbine unit 1 not operated 2/1 to 3/15). |  |  |  | --- | --- | --- | --- | Turbine units 2 - 6 not inspected in the previous month.
LWG | 2010-04-15 | 5 | 3 | 0 | 3 | 2 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 13 | 694 | 353 | 0 | 77 | 72 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | All recovered lampreys were mortalities.
LWG | 2010-05-26 | 72 | 92 | 0 | 97 | 76 | 61 | --- | --- | --- | --- | --- | --- | --- | --- | 398 | 678 | 902 | 0 | 542 | 335 | 179 | --- | --- | --- | --- | --- | --- | --- | --- | All recovered lampreys were mortalities.
LWG | 2010-06-22 | 10 | 4 | 0 | 3 | 5 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 22 | 658 | 537.9 | 0 | 649.5 | 619.2 | 539.9 | --- | --- | --- | --- | --- | --- | --- | --- | All recovered lampreys were mortalities.
LWG | 2010-07-22 | 9 | 4 | 0 | 28 | 2 | 16 | --- | --- | --- | --- | --- | --- | --- | --- | 59 | 709.7 | 675 | 0 | 270.7 | 145.5 | 218.2 | --- | --- | --- | --- | --- | --- | --- | --- | All recovered lampreys were mortalities.
LWG | 2010-08-05 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 360 | 122 | 0 | 5 | 1 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | No lampreys found.
LWG | 2010-09-16 | 0 | 1 | --- | --- | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 1 | 923 | 325 | 0 | 0 | 43 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 1 juv lamprey&1 juv salmonid found in #2.
LWG | 2010-10-14 | 0 | --- | --- | --- | 0 | 2 | --- | --- | --- | --- | --- | --- | --- | --- | 2 | 672 | 211 | 0 | 0 | 132 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | All recovered lampreys were mortalities.
LWG | 2010-11-22 | 0 | 0 | --- | --- | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 412 | 564 | 0 | 0 | 283 | 19 | --- | --- | --- | --- | --- | --- | --- | --- | No lampreys found.
LWG | 2010-12-21 | 8 | 9 | --- | --- | 5 | --- | --- | --- | --- | --- | --- | --- | --- | --- | 22 | 316 | 526 | 0 | 20 | 229 | 2 | --- | --- | --- | --- | --- | --- | --- | --- | 17 lamprey mortalities and 5 live lampreys found (live 2 lin #1, 2 in #2 and 1 in #5)

## 2011 Lamprey Data
Turbine Unit Strainer Inspections 2011
Location | Date | Turbine Units (Number Lamprey Found) | [14 empty] | Turbine Units (Hours Run Time)
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Totals | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Notes
MCN | 2011-02-03 | 41 | --- | 7 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 48 | No recent data - turbine unit 6 6 last inspected 18Aug10, the rest last inspected 14Jun10. | [13 empty] | Includes 14 live lamprey in #1 and 4 live lamprey in #3.
MCN | 2011-02-09 | 34 | --- | 13 | 29 | 10 | 11 | --- | 10 | 11 | 26 | 5 | 11 | 2 | 4 | 166 | 140 | --- | 139 | Unit 6 last inspected on 18Aug10, Units 1 & 3 last inspect 03Feb11, rest last inspected 14Jun10. | [10 empty] | Includes 14 live lamprey in #1, 7 in #3, 2 in #5, 3 in #6, 1 in #12. 6 nonsalmonids found.
MCN | 2011-03-08 | 6 | 0 | 4 | 7 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | 17 | 641 | --- | 643 | 640 | 638 | --- | --- | --- | --- | --- | --- | --- | --- | --- | Includes 2 live lamprey in turbine unit 1. #2 out of service for month.
MCN | 2011-03-09 | --- | --- | --- | --- | --- | 5 | --- | 12 | 4 | 2 | --- | --- | --- | --- | 23 | --- | --- | --- | --- | --- | 670 | --- | 672 | 672 | 87 | --- | --- | --- | --- | #7 has been out of service for months.
MCN | 2011-03-10 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 5 | 4 | --- | --- | 9 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 696 | 694 | --- | --- | Includes 1 live juv lamprey in #12.
MCN | 2011-03-14 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1 | 7 | 8 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 243 | 607
MCN | 2011-04-13 | 60 | --- | 11 | 25 | 4 | 19 | --- | 5 | 9 | 11 | 2 | 11 | 6 | 19 | 182 | [14 empty] | Includes 44 live lamprey in #1, 2 in #5, 3 in #12, 5 in #14. 1 clp St in #1. Also 5 nonsals.
IHR | 2011-01-11 | 22 | 0 | 24 | --- | 34 | 14 | --- | --- | --- | --- | --- | --- | --- | --- | 94 | 290 | 117.6 | 216.2 | --- | 212.3 | 33.5 | --- | --- | --- | --- | --- | --- | --- | --- | 6 live lamprey in #1, 2 live in #3, all other lamprey were dead. Juv shad: 69 - all dead.
IHR | 2011-01-26 | 6 | 48 | 56 | --- | 68 | 38 | --- | --- | --- | --- | --- | --- | --- | --- | 216 | 331 | 278.2 | 295.7 | --- | 311.3 | 245.3 | --- | --- | --- | --- | --- | --- | --- | --- | 4,7,6 and 2 live lamprey respectively in #1, #2, #3 and 5, rest were dead. 7 dead shad.
IHR | 2011-02-08 | 18 | 0 | 358 | --- | 429 | 177 | --- | --- | --- | --- | --- | --- | --- | --- | 982 | 288 | 212.5 | 256.3 | --- | 263.3 | 131.7 | --- | --- | --- | --- | --- | --- | --- | --- | Lamprey numbers include 2 live lamprey in turbine #5 and1 live lamprey in turbine #6.
IHR | 2011-02-23 | 3 | 6 | 3 | --- | 7 | 2 | --- | --- | --- | --- | --- | --- | --- | --- | 21 | 344 | 242.4 | 306.9 | --- | 316.1 | 166 | --- | --- | --- | --- | --- | --- | --- | --- | No live fish recovered, turbine unit 4 remains out of service.
IHR | 2011-03-08 | 0 | 0 | 5 | --- | 6 | 2 | --- | --- | --- | --- | --- | --- | --- | --- | 13 | 287.5 | 250 | 287.1 | --- | 249.3 | 149.1 | --- | --- | --- | --- | --- | --- | --- | --- | No live fish recovered, 1 juv shad each found in #1, #2 and #5. Turbine unit #4 OOS
IHR | 2011-04-19 | 2 | 10 | 54 | --- | 41 | 22 | --- | --- | --- | --- | --- | --- | --- | --- | 129 | 924.8 | 860.8 | 904.6 | --- | 796.7 | 680 | --- | --- | --- | --- | --- | --- | --- | --- | 1 Adult lampry mortality in #1, 1 clipped juv steelhead (each) in #3 and #6. #4 OOS.
LMN | 2011-01-10 | 9 | 38 | 20 | 0 | 20 | 20 | --- | --- | --- | --- | --- | --- | --- | --- | 107 | 17 | 618 | 283 | 75 | 325 | 209 | --- | --- | --- | --- | --- | --- | --- | --- | Includes 1 live lamprey in #1, 2 live in #2, 144 dead Juv shad, Prawns: 1 live, 37 dead.
LMN | 2011-02-09 | 550 | 495 | 390 | 35 | 85 | 100 | --- | --- | --- | --- | --- | --- | --- | --- | 1655 | 214 | 597 | 516 | 253 | 519 | 399 | --- | --- | --- | --- | --- | --- | --- | --- | Includes 50 live lamprey in #1, 45 live in #2, and 40 live in #3.
LMN | 2011-03-03 | 6 | 8 | 10 | 3 | 11 | 5 | --- | --- | --- | --- | --- | --- | --- | --- | 43 | 339 | 22 | 141 | 320 | 257 | 371 | --- | --- | --- | --- | --- | --- | --- | --- | Includes 1 live lamprey in #1 and 1 in #3. 4 prawns recovered 1 in #1, 2 in #5 and 1 in #6
LMN | 2011-04-11 | Data incomplete - have totals | [5 empty] | --- | --- | --- | --- | --- | --- | --- | --- | 441 | Incomplete Data | [5 empty] | --- | --- | --- | --- | --- | --- | --- | --- | Includes 37 live lampreys. Morts include 404 juv lamprey, 35 smolts, 1 Siberian prawn.
LGS | 2011-01-06 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 19 | 273 | 117 | 6 | 64 | 5 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2011-01-13 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 38 | 107 | 104 | 2 | 91 | 0 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2011-01-25 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 173 | 225 | 212 | 140 | 166 | 37 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2011-01-31 | 0 | 0 | 11 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 11 | 124 | 144 | 99 | 25 | 118 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | Heads counted due to "mush". Deck wash valve serviced fish may have been in valve.
LGS | 2011-02-09 | 0 | 1 | 13 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 14 | 133 | 139 | 144 | 16 | 161 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | Bypass valve from cleaner checked only.
LGS | 2011-02-10 | 110 | 110 | 110 | 110 | 115 | --- | --- | --- | --- | --- | --- | --- | --- | --- | 555 | 0 | 24 | 16 | 6 | 19 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | Strainers torn apart in 2nd round of cleaning and inspections.
LGS | 2011-02-17 | 5 | 1 | 0 | 5 | 3 | 1 | --- | --- | --- | --- | --- | --- | --- | --- | 15 | 79 | 168 | 106 | 13 | 152 | 0 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2010-02-24 | 0 | 2 | 0 | 1 | 4 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 7 | 71 | 157 | 120 | 15 | 164 | 15 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2011-03-03 | 2 | 1 | 1 | 5 | 4 | 1 | --- | --- | --- | --- | --- | --- | --- | --- | 14 | 150 | 133 | 103 | 52 | 70 | 26 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2011-03-10 | 0 | 0 | 2 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 2 | 168 | 166 | 147 | 0 | 101 | 16 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2011-03-17 | 3 | 0 | 0 | 0 | 0 | 1 | --- | --- | --- | --- | --- | --- | --- | --- | 4 | 166 | 157 | 148 | 15 | 117 | 48 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2011-03-24 | 2 | 0 | 1 | 0 | 1 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 4 | 161 | 160 | 114 | 75 | 150 | 93 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2011-04-30 | 11 | 27 | 43 | 35 | 46 | 6 | --- | --- | --- | --- | --- | --- | --- | --- | 168 | 713 | 713 | 713 | 567 | 465 | 110 | --- | --- | --- | --- | --- | --- | --- | --- | 29 smolts mortalities also recovered - turbine units 1 - 6 in order: 7, 6, 6, 6, 3, 1.
LGR | 2011-01-25 | 190 | 95 | --- | 184 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 469 | 264.7 | 369.7 | 0 | 319.5 | 664.5 | 543.8 | Mechnical problem in #5, Operator not able to shut down #6 for inspection. | [7 empty] | Numbers include 2 live lamprey in #1 and 8 live lamprey, 1 juv salmonid in #2.
LGR | 2011-02-24 | 23 | 7 | --- | 10 | 1 | 72 | --- | --- | --- | --- | --- | --- | --- | --- | 113 | 208.3 | 206.9 | --- | 373.1 | 468.9 | 420.2 | --- | --- | --- | --- | --- | --- | --- | --- | 3 juv salmon, I sucker and 1 unkown fish recovered - all mortalities.
LGR | 2011-03-29 | 8 | 6 | --- | 3 | --- | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 17 | 703.3 | 692.3 | --- | 528.9 | 258.2 | 589.8 | #3 out of service, #5 tagged out of service. |  |  |  | --- | --- | --- | --- | 11 juv salmon also recovered: 5 in #1, 4 in #2 and 2 in #4.
LGR | 2011-04-25 | 17 | 26 | --- | 33 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 76 | 653.4 | 653.2 | --- | 653 | --- | --- | Turbines units 3&5 oos. |  |  | --- | --- | --- | --- | --- | 19 juv fish also recovered: 6 in #1, 7 in #2, and 6 in #4.
LGR | 2011-04-26 | --- | --- | --- | --- | --- | 31 | --- | --- | --- | --- | --- | --- | --- | --- | 31 | --- | --- | --- | --- | --- | 672.7 | --- | --- | --- | --- | --- | --- | --- | --- | 9 juv fish recovered from turbine unit 6.