HAPPY SPRING!

AGENDA

Fish Passage Operation and Maintenance (FPOM) Team meeting

April 11, 2013 (0900-1400)

CRITFC Celilo Room

Conference line: 888-675-2535	Accesss/Security code: 4849586

- Approve March 2013 FPOM minutes. (Klatte)

- Action Items

  - NWW Action Items

    - [Mar 13] MCN unit priority as per the FPP.  Setter reported NWW is looking at the data.  NWW is ok with the priority as written in the text.  ACTION: Setter will draft a FPP change form to delete the line from the table.

  - NWP Action Items

    - [Feb 13] BON AFF PIT tag detector.  ACTION: Fryer will have detailed drawings, an operating plan, and monitoring plan for FPOM review in October.

    - [Mar 13] BPA updates.  ACTION: Need to develop MOCs for those outages that take the Projects out of criteria (TDA Unit 18 and MCN).

    - [Mar 13] JMF and SMF condition sub-sampling data.  ACTION: Mackey will outline the data that will be lost by stopping sub-sampling information.

  - Action Items completed or to be discussed later in the agenda.

- Updates

  - NWP Updates

    - BON A-Branch/ FV3-7 leak investigation.  Next step is to isolate the domestic water line, bleed out all the HVAC water and pressure test the line.

    - BON B2CC leak.

    - BON Updated Dewatering Plans.

    - BON Fish counts between WS and BI.

    - TDA Unit 18 OOS for overhaul from 3 March – mid April.

# TDA spillbays.  Bay 9 v Bays 10/11.

  - NWW Updates

    - LGS spillway stop log testing (MOC 13LGS01)– future FPOM pending further discussions.  No update until contract details are available.

    - LGS erosion inspection (MFR 13LGS05)  (already sent out).

    - IH unit 2 RTS testing (MOC 13IH04) – final results

    - LWG ESBSs

    - LWG powerhouse roof repair update  (MOC 13LWG03 updated with comments received and plan of action to occur)

    - LWG ADCP data collection (MOC 13LWG01)

    - LWG gatewell overflow weir / enlarged orifice biological evaluation update

    - Current JFF operations

    - Dworshak Fish Hatchery juvenile steelhead outplanting

  - Critical Spare parts lists.

  - Research/FFDRWG updates.  Approval letters, permits, etc located at  www.nwd-wc.usace.army.mil/tmt/documents/FPOM/2010/NWP%20Research/Research.html

    - BON TRD.

    - AFF modifications.

      - University of Idaho trap operations.

  - RCC update.

| Project | Previous day average (kcfs) | 5 day forecast (kcfs) | 10 day forecast (kcfs) |
| --- | --- | --- | --- |
| LWG |  |  |  |
| MCN |  |  |  |
| BON |  |  |  |

  - Pinniped update.

  - Lamprey updates.

    - BON WS lamprey structure.

    - BON CI LPS mods.  NMFS Pasco should finish up by the end of March.

    - JDA Lamprey collection protocols.  Still need to work out:

(1) All parties need to agree on time of day and frequency of operation.  It is anticipated the tribes will be operating the trap daily from July – August and maybe into September.  (2) Need to make sure that any and all operators of the jib crane/hoist are properly trained and that appropriate safety requirements are met.

(3) How and where should JDAS trap ops be included in the 2013 FPP?

  - Avian.

    - Status update on lethal take of gulls at NWW dams.

    - LWG bird wire installation

    - LMN hydrocannon repair

    - TDA bent avian line pole.

  - BPA updates.

- Coordination/Notification forms (need concurrence).

  - 13TDA03 Unit 18 OOS

  - 13IHR05 Temporary unit priority change.

  - 13LMN01 Hydrocannon repair.

- 2013 FPP:  Final 2013 FPP has been posted to the website:  http://www.nwd-wc.usace.army.mil/tmt/documents/fpp/2013/index.html.  The 2013 FOP was filed with the court on March 28, and has been posted to the website.  This year’s FOP was not finalized in time to be printed for inclusion in the 2013 FPP hard copies.  There will be no significant changes from the previous year’s FOP.

  - Outstanding change forms.  Find the most current change forms and their status:  http://www.nwd-wc.usace.army.mil/tmt/documents/fpp/2013/changes/index.html

    - 13JDA009 Remove ESBS Language

    - 14BON001

    - 14AppG001 BON update with new observation tanks

    - 14AppG002 IHR updated Adult Trapping Operations

- Task Group Updates.

  - AFF mods (Rerecich).  Rerecich reported that the project is on schedule.

    - Near-term projects:

      - Install a new floor in the recovery pool area to hold up a new two stage recovery tank.  Extend the exit section of this new tank well upstream of the drain grizzly.

      - Evaluate potential to improve drain grizzly hydraulics to even out flow distribution.

      - Extend the return to ladder flume pipes out of the existing building (perhaps with another 90 degree bend around corner of the building).

  - BON unit operating range (Lorz).   Team members include Baus, Benner, Bettin, Chockley, Conder, Cooper, Fredricks, Hausmann, Hevlin, Lorz, Mackey, Meyer, Tackley, Rerecich, Wills.  Next meeting is scheduled for 1430 on 19 March 2013.

    - 29 January Task Group meeting at 1330 in CRITFC. Attendees included Kruger, Baus, Wills, Wright, Chockley, Lorz, McCann, Fredricks, and Mackey.

♣ACTION: USACE needs to confirm they can operate at the mid-point in local for the season and if this is operationally possible then additional coordination will occur prior to this operation being implemented.  .  This may be established via teletype or by modifying the GDACS settings to target the mid-range.  STATUS: yes, we can operate in local.  GDACS setting changes may occur as soon as this fall and likely by the end of the calendar year.

♣ACTION:  Need mid-point table for PH2.  Update on PNNL data mining.  Understand the juvenile number used in the ratios.  Look at day/night operation.  STATUS: mid point range added to BON Table 16.  See DRAFT FPP change form 14BON001.

    - 12 February 2013 Task Group meeting at 0930 in the CRITFC Sockeye Rm.  In attendance: Baus, Bettin, Conder, Ford, Fredricks, Hausmann, Kruger, Lorz, Mackey, Rerecich, Wills.

♣ACTION: Ford will find out how much the governors drift.  Mackey will draft a mid-range table for PH2 and draft a change form with the Task Group’s proposed operation.  STATUS: midpoint range added to BON Table 16.  See DRAFT FPP change form 14BON001.   Rerecich recommends a specific flow range at all heads rather than having it change as head changes.

  - BON VBS task group.  (Hausmann).  Team members include Baus, Bettin, Fredricks, Hausmann, Lorz, Mackey, Rerecich, and Wills.  Fredricks said the main purpose it to better clarify the FPP criteria for re-installing screens and how to keep screens in throughout the year.

    - Next meeting after the April FPOM.

    - VBS backer screen required bus line clearance.

    - Hausmann said he has taken a closer look at the reinstallation criteria.  In the field, the actually reinstallation was close to the recommended installation criteria.

  - Sturgeon task group (Van der Leeuw or Hausmann).

  - Fish counting task group (Setter).  Team members include Fredricks, Klatte, Mackey, Setter, Tackley, and Wills.

- Calendar items/ next FPOM agenda items.  (Check the CY13 on the website)

- Other

Memorandums of Coordination

☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺

COORDINATION TITLE- 13TDA03 Unit 18 OOS

COORDINATION DATE- 21 Feb 2013

PROJECT- The Dalles Lock and Dam

RESPONSE DATE-  28 Feb 2013

Description of the problem- Unit 18 is a fish priority unit due to its open sluicegates. Attempts were made to schedule it during the non fish passage season for overhaul maintenance, however due to various schedule complications it is now scheduled for Mar 3 to approx Apr 15 to accomplish necessary workload. Technically this is adhering to what the FPP states, however, we felt FPOM should still be notified of the change in operation.

Type of outage required- Unit 18 and associated sluicegates.

Impact on facility operation-Change to unit 19 as priority operating unit.

Length of time for repairs- 5-6 weeks

Expected impacts on fish passage- Minimal impacts expected. Per consultation with Fenton Khan and reviewing data, making unit 19 the replacement priority unit and opening its sluicegates, the same passage efficiency is expected.

Comments from agencies

Final results

☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺

COORDINATION TITLE- 13 IHR 05 Ice Harbor Temporary Unit Priority Change

COORDINATION DATE- 28 March 2013

PROJECT- Ice Harbor Dam

RESPONSE DATE- Responses are requested ASAP

Description of the problem- Main Turbine Unit #6 continued operation (based on recent oil analysis) is unreliable and will eventually trip off line due to governor issues associated with the oil.  On January 17, 2013 Main Unit #6 was put in service because of the trips on other units.  The unit has been being used to supplement generation and avoid spilling water over the spillway since 1/17/13.  The unit was out of service prior to 1/17/13 to determine the issue with the oil in the governor system.  Now that Units 2 and 3 are starting to be returned to service, it is the desire of the Project as to prevent further damage to unit 6, to run this unit last in priority until after spring run-off when the unit can be taken out of service.  This will avoid elevated gas levels in the river during spring runoff.

Type of outage required- It is requested that Main Turbine Unit 6 be operated last on in Turbine Priority.

Impact on facility operation- This work expected to begin between June 1 – July 30.  Unit #6 will be operated last on until repairs can be made.  The current main unit priority is 1,3,6,4,2,5 and the proposed main unit priority is 1,3,4,2,5, and 6.

Dates of impacts/repairs- Repairs are to be made when river flows reduce as to not requiring Main Turbine Unit 6 operation for lowering dissolved gases as opposed to increased spill due to exceeding Powerhouse capacity of 96 kcfs.

Length of time for repairs- Repairs to the unit governor are scheduled to occur while this unit is taken out of service for annual maintenance and possible blade cracking repairs.  Estimated time frame is 4 months.

Expected impacts on fish passage:

Reduced flow by the North Powerhouse Adult Fish Ladder should have minimal adult fish attraction effect due to the Project spilling for juvenile fish passage during this time period providing additional flow.   A change in the eddy at the juvenile fish bypass outfall (observed in the past) that is formed by spill and generation causes the outflow to travel upriver toward the powerhouse may affect juvenile fish resident time.  See below graphs for historical water discharge and fish passage during the proposed time period of the event.

Comments from agencies

Final results

☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺

COORDINATION TITLE- (filled in by NWP or NWW OD Bio)

COORDINATION DATE- April 9, 2013

PROJECT-   Lower Monumental Dam

RESPONSE DATE-

Description of the problem

As you are probably aware the suction line of the new bypass outfall bird sprinklers at LoMo has been freeze damaged.  I have been in contact with Shawn Nelson (the PM for the construction of the outfall last year) and money for replacement parts can be accessed through them but with pipes requiring shaping that is not likely to be real quick.  We have purchased PVC pipe and couplings that (hopefully) will work to get us through the season until we can deal with this in mid-June after bird numbers drop.  This work brings into play a notable problem...spill.

Type of outage required

This work must be largely done from a boat.  The tailrace during spill is anything but a stable work platform.  For safety sake, we will need the spill to be off while this work is done.  We believe that this work will take less than one work day. We would like to do this work early next week before flows get too high which may prevent being able to have all spillways closed.  The proposed day for this work is Tuesday April 16.

Impact on facility operation

Eight hours of not meeting spill criteria. Greater numbers of units operating to pass the river flow.

We have contracted for double shifts of bird hazing to run May 6 through June 2 (2 x 8 hour shifts approximately dawn to dusk) so if not doing this work is the desired alternative, hazing is covered throughout the historical juvenile fish peak passage period.

Once collection for transport begins, far fewer fish will be exposed at this location and those exposed will largely be PIT tagged in river passage groups.

Dates of impacts/repairs- April 16, 2013.

Length of time for repairs- Approximately one work day (9 hours).

Expected impacts on fish passage- 	The result of not doing this work would be increased fish mortality in typical hazing areas as the hazing effort was shifted to this area of far greater fish vulnerability.  As collection for transport begins, far fewer fish will be using the outfall and bird numbers will likely fall at this location. Total bird related mortality for the season would be higher than normal as the bypass outfall is far down river from the rest of the hazing areas making covering all zones far less effective.

Comments from agencies

Final results

☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺

☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺

☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺

☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺

☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺

☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺

FPP Change Forms

☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻

Change Request Number & Title: 13JDA009 Remove ESBS Language

Date Submitted:  04/02/2013

Project: JDA

Requester Name, Agency: COE-NWP

Location of Change - FPP Project and Section:

JDA Section 2.4.1.3.a.  Juvenile Fish Passage Facilities –Winter Maintenance Period

JDA Table JDA-6.  Turbine Operating Ranges within 1% of Peak Efficiency at John Day Dam.

JDA Table JDA-7.  Turbine Operating Ranges within 1% with No Screens Installed

Proposed Changes (in track changes to existing section):

Remove all references to ESBSs at JDA, since they are no longer in use at the project.

See Tables JDA-6 and JDA-7 on following pages with proposed changes.

- Table JDA-6 – deleted “With ESBSs Installed” values, and replaced with “No STSs Installed” values as provided in Table JDA-7 (combined Tables JDA-6 and JDA-7).

- Table JDA-7 – deleted table and inserted values into Table JDA-6.

2.4.1.3. December 1 through March 31 (Winter Maintenance Period).

a. Screens (STS,) will remain in place through December 15 to prevent adult salmonids from falling back through turbine units, thereby shortening some aspects of the winter maintenance period by two weeks.  To reduce adult fallback mortality, the juvenile bypass system (JBS) channel will operate from November 30 through December 15.  Priority units will be left screened during this period to the extent practicable (barring operational failure), and screens from non-priority units will only be removed when necessary to begin maintenance.  After December 15, all STSs may be removed.

Table JDA-6 – deleted “With ESBSs Installed” values, and replaced with “No STSs Installed” values as provided in Table JDA-7 (combined Tables JDA-6 and JDA-7).

Table JDA-6.  Turbine Operating Ranges Within 1% of Peak efficiency at John Day Dam.

| Head (feet) | With STSs Installed * |  |
| --- | --- | --- |
|  | 1% Lower Limit | 1% Upper Limit |  |  |
|  | (MW) | (cfs) | (MW) | (cfs) |  |  |  |  |
| 80 | 65.4 | 11,338 | 118.0 | 20,472 |  |  |  |  |
| 81 | 66.7 | 11,416 | 120.8 | 20,671 |  |  |  |  |
| 82 | 68.1 | 11,492 | 123.6 | 20,864 |  |  |  |  |
| 83 | 69.4 | 11,566 | 126.4 | 21,052 |  |  |  |  |
| 84 | 70.8 | 11,638 | 129.1 | 21,234 |  |  |  |  |
| 85 | 72.1 | 11,707 | 131.9 | 21,411 |  |  |  |  |
| 86 | 72.9 | 11,692 | 134.7 | 21,593 |  |  |  |  |
| 87 | 73.7 | 11,676 | 137.5 | 21,770 |  |  |  |  |
| 88 | 74.5 | 11,661 | 140.2 | 21,942 |  |  |  |  |
| 89 | 75.3 | 11,646 | 143.0 | 22,110 |  |  |  |  |
| 90 | 76.1 | 11,632 | 145.8 | 22,274 |  |  |  |  |
| 91 | 77.0 | 11,622 | 146.9 | 22,164 |  |  |  |  |
| 92 | 77.9 | 11,613 | 148.0 | 22,057 |  |  |  |  |
| 93 | 78.8 | 11,604 | 149.1 | 21,951 |  |  |  |  |
| 94 | 79.7 | 11,595 | 150.2 | 21,848 |  |  |  |  |
| 95 | 80.6 | 11,585 | 151.3 | 21,746 |  |  |  |  |
| 96 | 81.7 | 11,604 | 151.6 | 21,532 |  |  |  |  |
| 97 | 82.8 | 11,623 | 151.8 | 21,323 |  |  |  |  |
| 98 | 83.8 | 11,640 | 152.1 | 21,118 |  |  |  |  |
| 99 | 84.9 | 11,657 | 152.4 | 20,917 |  |  |  |  |
| 100 | 86.0 | 11,674 | 152.7 | 20,720 |  |  |  |  |
| 101 | 86.9 | 11,675 | 154.9 | 20,800 |  |  |  |  |
| 102 | 87.9 | 11,677 | 155.2 | 20,613 |  |  |  |  |
| 103 | 88.8 | 11,678 | 155.2 | 20,378 |  |  |  |  |
| 104 | 89.7 | 11,679 | 155.2 | 20,149 |  |  |  |  |
| 105 | 90.6 | 11,680 | 155.2 | 19,923 |  |  |  |  |
| 106 | 91.4 | 11,658 | 155.2 | 19,711 |  |  |  |  |
| 107 | 92.1 | 11,637 | 155.2 | 19,503 |  |  |  |  |
| 108 | 92.8 | 11,615 | 155.2 | 19,299 |  |  |  |  |
| 109 | 93.6 | 11,594 | 155.2 | 19,098 |  |  |  |  |
| 110 | 94.3 | 11,574 | 155.2 | 18,901 |  |  |  |  |

* The turbine efficiency table was revised to reflect information using a 2001 Unit 9 NS index test and a 1962 model test with STS adjustment Factor (Table JDA-6 revised 2005).  Table prepared by HDC dated November 2002.

Table JDA-7 – deleted table and inserted values into Table JDA-6.

Proposed updated Table JDA-6 (combines Tables JDA-6 and JDA-7) – deleted “ESBS” values and replaced with “No STSs” values.

Table JDA-6.  John Day Dam Turbine Unit Output (MW) and Discharge (cfs) at the Upper and Lower Limits of the 1% of Peak Efficiency Operating Range With and Without Submersible Traveling Screens (STSs) Installed.

| Head (feet) | With STSs Installed * | No STSs Installed * |
| --- | --- | --- |
|  | 1% Lower Limit | 1% Upper Limit | 1% Lower Limit | 1% Upper Limit |
|  | (MW) | (cfs) | (MW) | (cfs) | (MW) | (cfs) | (MW) | (cfs) |
| 80 | 65.4 | 11,338 | 118.0 | 20,472 | 71.7 | 12,305 | 122.8 | 21,074 |
| 81 | 66.7 | 11,416 | 120.8 | 20,671 | 73.2 | 12,391 | 125.7 | 21,290 |
| 82 | 68.1 | 11,492 | 123.6 | 20,864 | 74.7 | 12,473 | 128.7 | 21,500 |
| 83 | 69.4 | 11,566 | 126.4 | 21,052 | 76.1 | 12,554 | 131.6 | 21,703 |
| 84 | 70.8 | 11,638 | 129.1 | 21,234 | 77.6 | 12,631 | 134.6 | 21,901 |
| 85 | 72.1 | 11,707 | 131.9 | 21,411 | 79.1 | 12,707 | 137.5 | 22,093 |
| 86 | 72.9 | 11,692 | 134.7 | 21,593 | 80.0 | 12,690 | 140.1 | 22,223 |
| 87 | 73.7 | 11,676 | 137.5 | 21,770 | 80.9 | 12,674 | 142.6 | 22,349 |
| 88 | 74.5 | 11,661 | 140.2 | 21,942 | 81.7 | 12,657 | 145.1 | 22,471 |
| 89 | 75.3 | 11,646 | 143.0 | 22,110 | 82.6 | 12,641 | 147.6 | 22,591 |
| 90 | 76.1 | 11,632 | 145.8 | 22,274 | 83.5 | 12,625 | 150.2 | 22,707 |
| 91 | 77.0 | 11,622 | 146.9 | 22,164 | 84.5 | 12,616 | 151.7 | 22,656 |
| 92 | 77.9 | 11,613 | 148.0 | 22,057 | 85.5 | 12,606 | 153.2 | 22,606 |
| 93 | 78.8 | 11,604 | 149.1 | 21,951 | 86.4 | 12,596 | 154.8 | 22,556 |
| 94 | 79.7 | 11,595 | 150.2 | 21,848 | 87.4 | 12,586 | 155.1 | 22,321 |
| 95 | 80.6 | 11,585 | 151.3 | 21,746 | 88.4 | 12,576 | 155.2 | 22,062 |
| 96 | 81.7 | 11,604 | 151.6 | 21,532 | 89.6 | 12,597 | 155.2 | 21,797 |
| 97 | 82.8 | 11,623 | 151.8 | 21,323 | 90.8 | 12,617 | 155.2 | 21,538 |
| 98 | 83.8 | 11,640 | 152.1 | 21,118 | 92.0 | 12,636 | 155.2 | 21,284 |
| 99 | 84.9 | 11,657 | 152.4 | 20,917 | 93.1 | 12,655 | 155.2 | 21,035 |
| 100 | 86.0 | 11,674 | 152.7 | 20,720 | 94.3 | 12,673 | 155.2 | 20,792 |
| 101 | 86.9 | 11,675 | 154.9 | 20,800 | 95.3 | 12,675 | 155.2 | 20,554 |
| 102 | 87.9 | 11,677 | 155.2 | 20,613 | 96.4 | 12,676 | 155.2 | 20,321 |
| 103 | 88.8 | 11,678 | 155.2 | 20,378 | 97.4 | 12,678 | 155.2 | 20,092 |
| 104 | 89.7 | 11,679 | 155.2 | 20,149 | 98.4 | 12,679 | 155.2 | 19,868 |
| 105 | 90.6 | 11,680 | 155.2 | 19,923 | 99.4 | 12,680 | 155.2 | 19,649 |
| 106 | 91.4 | 11,658 | 155.2 | 19,711 | 100.2 | 12,656 | 155.2 | 19,442 |
| 107 | 92.1 | 11,637 | 155.2 | 19,503 | 101.0 | 12,633 | 155.2 | 19,239 |
| 108 | 92.8 | 11,615 | 155.2 | 19,299 | 101.8 | 12,610 | 155.2 | 19,040 |
| 109 | 93.6 | 11,594 | 155.2 | 19,098 | 102.6 | 12,587 | 155.2 | 18,845 |
| 110 | 94.3 | 11,574 | 155.2 | 18,901 | 103.5 | 12,565 | 155.2 | 18,653 |

* The turbine efficiency table was revised to reflect information using a 2001 Unit 9 NS index test and a 1962 model test with STS adjustment Factor (Table JDA-6 revised 2005).  Table prepared by HDC dated November 2002.

Justification for Change:

The three JDA ESBS prototypes were transferred to LGS in February 2013 and are no longer at JDA.

Comments from others:

Record of Final Action:

☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻

☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻