# FPP Change Request Form

Change Request Number: 14JDA004 Project Facts and Figures

Date Submitted:  8 August 2013

Project: JDA

Requester Name, Agency: NWP Fisheries

Location of Change:  Backside of Project Tab (new)

Proposed Change:

Facts and Figures

16-Generator Powerhouse

Length- 1,975 ft

Total generating capacity- 2,480,000 kw

Navigation Lock

Chamber length- 650 ft

Chamber width- 86 ft

Maximum lift- 113 ft

Lake Umatilla

Length- 76.4 mi

Forebay max/min

’ msl maximum

’ msl minimum

Tailrace rate of change

Summer rate of change limits

1’ per hour

4’ per day

Winter rate of change limits.

3’ per hour

7’ per day

Justification for Change:  This information is often asked for but not readily found in the FPP.

Comments from others (Date – Name – Comments):

Record of Final Action (Date – Action):