## 2009 Lamprey Data
Turbine Unit Strainer Inspections 2009 -2010
Location | Date | Turbine Units | Lamprey |  | Notes
|  |  | Mortality | Live
MCN | 10 - 16 Apr | Not Checked | --- | ---
MCN | 17 - 23 Apr | Not Checked | --- | ---
MCN | 24 -30 Apr | Not Checked | --- | ---
MCN | 1 -7 May | Not Checked | --- | ---
MCN | 12 -13 May | All | 15 | 59 | Live fish all in turbine unit 1, 0-15 morts removed from each of the rest. 14 Chinook morts removed from 1, 11 and 14
MCN | 15 -21 May | Not Checked | --- | ---
MCN | 22-28 May | Not Checked | --- | ---
MCN | 29 May - 4 Jun | Not Checked | --- | ---
MCN | 4 -11 Jun | Not Checked | --- | ---
MCN | 15, 17 Jun | 1-4, 6, 8-14 | 30 | 1 | Hatches on turbine units 5 and 7 could not be opened
MCN | 19 -25 Jun | Not Checked | --- | ---
MCN | 26 Jun - 2 Jul | Not Checked | --- | ---
MCN | 3 -9 Jul | Not Checked | --- | ---
MCN | 10 -16 Jul | Not Checked | --- | ---
MCN | 17 -23 Jul | Not Checked | --- | ---
MCN | 24 -30 Jul | Not Checked | --- | ---
MCN | 31 Jul - 6 Aug | Not Checked | --- | ---
MCN | 7 -13 Aug | Not Checked | --- | ---
MCN | 8 -20 Aug | Not Checked | --- | ---
MCN | 14 -20 Aug | Not Checked | --- | ---
MCN | 21 -27 Aug | Not Checked | --- | ---
MCN | 28 May - 3 Sep | Not Checked | --- | ---
MCN | 4 -10 Sep | Not Checked | --- | ---
MCN | 11 -17 Sep | Not Checked | --- | ---
MCN | 18 -24 Sep | Not Checked | --- | ---
MCN | 25 Sep - 1 Oct | Not Checked | --- | ---
MCN | 2 -8 Oct | Not Checked | --- | ---
MCN | 9 -15 Oct | Not Checked | --- | ---
MCN | 16-22 Oct | Not Checked | --- | ---
MCN | 23 -29 Oct | Not Checked | --- | ---
MCN | 30 Oct - 5 Nov | Not Checked | --- | ---
MCN | 6 -19 Nov | Not Checked | --- | ---
MCN | 7 -12 Nov | Not Checked | --- | ---
MCN | 20 -26 Nov | Not Checked | --- | ---
MCN | 21 -26 Nov | Not Checked | --- | ---
MCN | 27 Nov - 3 Dec | Not Checked | --- | ---
MCN | 4 -10 Dec | Not Checked | --- | ---
MCN | 11 -17 Dec | Not Checked | --- | ---
MCN | 18 -24 Dec | Not Checked | --- | ---
MCN | 25 -31 Dec | Not Checked | --- | ---
ICH | 2010-02-02 | 1 | 300 | 0 | 400 lamprey reported in strainers by email, no tally of live fish and mortalities.
ICH | 10 -16 Apr | Not Checked | --- | ---
ICH | 20 -22 Apr | All | --- | --- | Pressure differential check - no direct inspection
ICH | 17 -23 Apr | All | --- | --- | Pressure differential check - no direct inspection
ICH | 24 -30 Apr | All | --- | --- | Pressure differential check - no direct inspection
ICH | 5 -7 May | All | --- | --- | Pressure differential check - no direct inspection
ICH | 15 -21 May | All | --- | --- | Pressure differential check - no direct inspection
ICH | 22-28 May | All | --- | --- | Pressure differential check - no direct inspection
ICH | 4 -11 Jun | All | --- | --- | Pressure differential check - no direct inspection
ICH | 12 -18 Jun | All | --- | --- | Pressure differential check - no direct inspection
ICH | 19 -25 Jun | All | 8 | 0 | Direct Inspections done Strainers cleaned concurrently with STS inspections.
ICH | 26 Jun - 2 Jul | All | --- | --- | Pressure differential check - no direct inspection
ICH | 3 -9 Jul | All | --- | --- | Pressure differential check - no direct inspection
ICH | 10 -16 Jul | 1, 3 - 6 | 0 | 0 | Direct Inspections done Strainers cleaned concurrently with STS inspections, turbine unit 2 out of service.
ICH | 17 -23 Jul | All | --- | --- | Pressure differential check - no direct inspection
ICH | 24 -30 Jul | All | --- | --- | Pressure differential check - no direct inspection
ICH | 2010-08-03 | 5, 6 | 3 | 0 | Direct Inspections done Strainers cleaned concurrently with STS inspections.
ICH | 7 -13 Aug | All | --- | --- | Pressure differential check - no direct inspection
ICH | 17, 18 Aug | 1, 2, 4 | 1 | 0 | Lamprey mortality found in turbine unit 2, unidentified mortality found in turbine unit 4.
ICH | 2010-08-25 | 5 | 0 | 0
ICH | 28 May - 3 Sep | All | --- | --- | Pressure differential check - no direct inspection
ICH | 2010-09-09 | 2, 3, 4, 5, 6 | 0 | 0 | Other mortalities included 7 shad, 2 clam shells, 11 Siberian Prawns, 1 crayfish and 7 unidentified fish.
ICH | 11 -17 Sep | All | --- | --- | Pressure differential check - no direct inspection
ICH | 2010-09-23 | 1 | 0 | 0
ICH | 25 Sep - 1 Oct | All | --- | --- | Pressure differential check - no direct inspection
ICH | 2 -8 Oct | All | --- | --- | Pressure differential check - no direct inspection
ICH | 9 -15 Oct | All | --- | --- | Pressure differential check - no direct inspection
ICH | 16-22 Oct | All | --- | --- | Pressure differential check - no direct inspection
ICH | 23 -29 Oct | All | --- | --- | Pressure differential check - no direct inspection
ICH | 2 -3 Nov | All | 0 | 0
ICH | 6 -12 Nov | All | --- | --- | Pressure differential check - no direct inspection
ICH | 18, 19 Nov | 2, 3, 4, 5 | 0 | 0 | Turbine units 2, 3, and 4 found plugged with shad, #5 was clear. Turbine 1 and 6 out of service.
ICH | 2010-11-23 | 3 | 0 | 0 | Turbine unit 3 found plugged with shad.
ICH | 2010-12-02 | 3, 5, 6 | 0 | 0 | Several shad mortalities found.
ICH | 4 -10 Dec | All | --- | --- | Pressure differential check - no direct inspection
ICH | 11 -17 Dec | All | --- | --- | Pressure differential check - no direct inspection
ICH | 18 -24 Dec | All | --- | --- | Pressure differential check - no direct inspection
ICH | 25 -31 Dec | All | --- | --- | Pressure differential check - no direct inspection
ICH | 2010-02-02 | All | 701 | 0
LMO | 1-5 Mar | Not Noted | 140 | 3 | Live lamprey released into tailrace
LMO | 2010-04-08 | Not Noted | 41 | 0
LMO | 17 - 23 Apr | Not Checked | --- | ---
LMO | 24 -30 Apr | Not Checked | --- | ---
LMO | 1 -7 May | Not Checked | --- | ---
LMO | 2010-05-13 | Not Noted | 0 | 35 | Other mortalities include 12 chinook, 5 steelhead and 31 unidentifiable fish.
LMO | 15 -21 May | Not Checked | --- | ---
LMO | 22-28 May | Not Checked | --- | ---
LMO | 29 May - 4 Jun | Not Checked | --- | ---
LMO | 2010-06-08 | All | 27 | 1 | Other mortalities include 15 Chinook, 3 steelhead and 45 unidentifiable fish.
LMO | 12 -18 Jun | Not Checked | --- | ---
LMO | 19 -25 Jun | Not Checked | --- | ---
LMO | 26 Jun - 2 Jul | Not Checked | --- | ---
LMO | 3 -9 Jul | Not Checked | --- | ---
LMO | 2010-07-13 | All | 0 | 15
LMO | 17 -23 Jul | Not Checked | --- | ---
LMO | 24 -30 Jul | Not Checked | --- | ---
LMO | 31 Jul - 6 Aug | Not Checked | --- | ---
LMO | 7 -13 Aug | Not Checked | --- | ---
LMO | 2010-08-19 | All | 0 | 0
LMO | 21 -27 Aug | Not Checked | --- | ---
LMO | 28 Aug - 3 Sep | Not Checked | --- | ---
LMO | 4 -10 Sep | Not Checked | --- | ---
LMO | 2010-09-16 | 1, 2, 3, 4, 5, 6 | 0 | 0
LMO | 2010-09-20 | 1, 2, 3, 4, 5, 6 | 0 | 0
LMO | 25 Sep - 1 Oct | Not Checked | --- | ---
LMO | 2 -8 Oct | Not Checked | --- | ---
LMO | 2010-10-13 | 1 | 0 | 0
LMO | 2010-10-20 | 2, 3, 4, 5, 6 | 0 | 0 | Other mortalities include 22 shad.
LMO | 23 -29 Oct | Not Checked | --- | ---
LMO | 2010-11-04 | 1, 2, 3, 4, 5, 6 | 0 | 0 | Other mortalities include 37 shad.
LMO | 6 -12 Nov | Not Checked | --- | ---
LMO | 7 -19 Nov | Not Checked | --- | ---
LMO | 20 -26 Nov | Not Checked | --- | ---
LMO | 2010-12-03 | 1, 2, 3, 4, 5, 6 | --- | --- | Strainers cleaned, no biologists present.
LMO | 4 -10 Dec | Not Checked | --- | ---
LMO | 11 -17 Dec | Not Checked | --- | ---
LMO | 18 -24 Dec | Not Checked | --- | ---
LMO | 25 -31 Dec | Not Checked | --- | ---
LMO | 2010-01-26 | 3, 5, 6 | 86 | 0 | 16 morts out of turbine unit 3, 27 out of turbine unit 5 and 43 out of turbine unit 6.
LGO | 17 -23 Apr | Not Checked | --- | ---
LGO | 24 -30 Apr | Not Checked | --- | ---
LGO | 1 -7 May | Not Checked | --- | ---
LGO | 8 -14 May | Not Checked | --- | ---
LGO | 15 -21 May | Not Checked | --- | ---
LGO | 22-28 May | Not Checked | --- | ---
LGO | 29 May - 4 Jun | Not Checked | --- | ---
LGO | 4 -11 Jun | Not Checked | --- | ---
LGO | 12 -18 Jun | Not Checked | --- | ---
LGO | 19 -25 Jun | Not Checked | --- | ---
LGO | 26 Jun - 2 Jul | Not Checked | --- | ---
LGO | 2010-07-08 | 4 | 0 | 0
LGO | 10 -16 Jul | Not Checked | --- | ---
LGO | 17 -23 Jul | Not Checked | --- | ---
LGO | 24 -30 Jul | Not Checked | --- | ---
LGO | 31 Jul - 6 Aug | Not Checked | --- | ---
LGO | 2010-08-10 | 1, 2, 4, 5, 6 | 0 | 0
LGO | 2010-08-20 | 1, 2, 4, 5, 6 | 0 | 0
LGO | 2010-08-27 | 6 | 0 | 0
LGO | 28 Aug - 3 Sep | Not Checked | --- | ---
LGO | 2010-09-08 | 1, 2, 3, 4, 5, 6 | 0 | 0
LGO | 11 -17 Sep | Not Checked | --- | ---
LGO | 2010-09-22 | 1, 2, 3, 4, 5, 6 | 0 | 0
LGO | 2010-09-30 | 1, 2, 3, 4, 5, 7 | 0 | 0 | Other Mortalities - 1 Sand Roller in Turbine Unit 1.
LGO | 2010-10-06 | 1, 2, 3, 4, 5, 8 | 0 | 0
LGO | 9 -15 Oct | Not Checked | --- | ---
LGO | 2010-10-21 | 1, 2, 3, 4, 5, 8 | 0 | 0 | Other Mortalities - 1 unidentified fish.
LGO | 23 -29 Oct | Not Checked | --- | ---
LGO | 30 Oct - 5 Nov | Not Checked | --- | ---
LGO | 6 -12 Nov | Not Checked | --- | ---
LGO | 7 -19 Nov | Not Checked | --- | ---
LGO | 27 Nov - 3 Dec | Not Checked | --- | ---
LGO | 4 -10 Dec | Not Checked | --- | ---
LGO | 11 -17 Dec | Not Checked | --- | ---
LGO | 18 -24 Dec | Not Checked | --- | ---
LGO | 25 -31 Dec | Not Checked | --- | ---
LGO | 2010-02-08 | All | 17 | 0 | Mortality distribution: 3 in #2, 13 in #3 and 1 in #5.
LGR | 10 -16 Apr | Not Checked | --- | ---
LGR | 17 -23 Apr | Not Checked | --- | ---
LGR | 24 -30 Apr | Not Checked | --- | ---
LGR | 1 -7 May | Not Checked | --- | ---
LGR | 8 -14 May | Not Checked | --- | ---
LGR | 15 -21 May | Not Checked | --- | ---
LGR | 22-28 May | Not Checked | --- | ---
LGR | 29 May - 4 Jun | Not Checked | --- | ---
LGR | 4 -11 Jun | Not Checked | --- | ---
LGR | 12 -18 Jun | Not Checked | --- | ---
LGR | 19 -25 Jun | Not Checked | --- | ---
LGR | 26 Jun - 2 Jul | Not Checked | --- | ---
LGR | 3 -9 Jul | Not Checked | --- | ---
LGR | 2010-07-14 | 4 | 3 | 1
LGR | 17 -23 Jul | Not Checked | --- | ---
LGR | 24 -30 Jul | Not Checked | --- | ---
LGR | 31 Jul - 6 Aug | Not Checked | --- | ---
LGR | 7 -13 Aug | Not Checked | --- | ---
LGR | 14 -20 Aug | Not Checked | --- | ---
LGR | 21 -27 Aug | Not Checked | --- | ---
LGR | 28 Aug - 3 Sep | Not Checked | --- | ---
LGR | 4 -10 Sep | Not Checked | --- | ---
LGR | 11 -17 Sep | Not Checked | --- | ---
LGR | 2010-09-23 | 5 | 0 | 0
LGR | 2010-09-28 | 3 | 0 | 0
LGR | 2 -8 Oct | Not Checked | --- | ---
LGR | 9 -15 Oct | Not Checked | --- | ---
LGR | 16-22 Oct | Not Checked | --- | ---
LGR | 23 -29 Oct | Not Checked | --- | ---
LGR | 30 Oct - 5 Nov | Not Checked | --- | ---
LGR | 6 -12 Nov | Not Checked | --- | ---
LGR | 7 -19 Nov | Not Checked | --- | ---
LGR | 27 Nov - 3 Dec | Not Checked | --- | ---
LGR | 4 -10 Dec | Not Checked | --- | ---
LGR | 11 -17 Dec | Not Checked | --- | ---
LGR | 18 -24 Dec | Not Checked | --- | ---
LGR | 25 -31 Dec | Not Checked | --- | ---

## 2010 Lamprey Data
Turbine Unit Strainer Inspections 2010
Location | Date | Turbine Units (Number Lamprey Found) | [14 empty] | Turbine Units (Hours Run Time)
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Totals | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Notes
MCN | 2010-03-02 | 3 | 1 | 2 | 6 | 0 | 11 | 10 | 3 | 0 | 3 | 0 | 0 | 1 | 2 | 42 | 8.5 months since last inspection |  |  |  | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | Includes 1 live lamprey found in turbine unit 3. Inspections done 3/1, 3/2 and 3/5
MCN | 2010-04-12 | 1 | 0 | 1 | 0 | 0 | 2 | 0 | 2 | 2 | 1 | 0 | 0 | 1 | 1 | 11 | 911 | 913 | 956 | 967 | 291 | 167 | 220 | 470 | 611 | 790 | 782 | 960 | 969 | 962 | Includes 1 live lamprey each found in turbine units 1 and 8.
MCN | 2010-05-24 | 3 | 1 | 4 | 0 | --- | 2 | 19 | 1 | --- | 8 | 8 | 4 | 6 | 3 | 59 | 984 | 526 | 1030 | 1032 | 1029 | 653 | 142 | 253 | 512 | 650 | 782 | 926 | 954 | 1015 | Smolts: 20 in #1, 6 in #7, 1 ea in #10 & #11, 6 in #14. 9 unidentified fish also found.
MCN | 2010-06-14 | 159 | 11 | 6 | 32 | 3 | 8 | 9 | 2 | 3 | 16 | 4 | 24 | 12 | 26 | 315 | 525.1 | 527 | 524.8 | 526.1 | 479 | 526 | 428.9 | 277.5 | 27 | 479.2 | 501.7 | 522.7 | 525.2 | 527 | Live lamprey: 21 in #1, 2 in #3, 1 in #4, 3 in #9. 6 smolts also found.
MCN | 2010-08-18 | --- | --- | --- | --- | --- | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | --- | --- | --- | --- | --- | 1112 | --- | --- | --- | --- | --- | --- | --- | --- | Turbine unit 6 only one checked. No fish recovered.
IHR | 2010-01-12 | --- | 3 | 5 | * | 1 | * | --- | --- | --- | --- | --- | --- | --- | --- | 9 | 2 months since last inspection |  |  |  | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | Includes 1 lamprey in turbine unit 2 and four in turbine unit 3 found alive
IHR | 2010-02-02 | --- | 1 | 200 | 415 | 75 | 10 | --- | --- | --- | --- | --- | --- | --- | --- | 701 | 0 | 453 | 311 | 146 | 306 | 6 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | No live lamprey found
IHR | 2010-02-09 | --- | 0 | 13 | 14 | 17 | 1 | --- | --- | --- | --- | --- | --- | --- | --- | 45 | 0 | 179.5 | 131.2 | 75.1 | 123.2 | 8 | --- | --- | --- | --- | --- | --- | --- | --- | Includes 1 lamprey each in turbine units 3 and 4 found alive.
IHR | 2010-02-16 | --- | 0 | 8 | 5 | 11 | 6 | --- | --- | --- | --- | --- | --- | --- | --- | 30 | 0 | 317.5 | 219.5 | 82.9 | 190.2 | 14 | --- | --- | --- | --- | --- | --- | --- | --- | No live lamprey found
IHR | 2010-03-02 | --- | 0 | 1 | 0 | 1 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 2 | 0 | 130.2 | 54.4 | 22.9 | 54.1 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | Includes 1 lamprey in turbine unit 3 found alive.
IHR | 2010-04-02 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 364 | 509 | 590 | 366 | 58 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | No fish found.
IHR | 2010-05-04 | 0 | 0 | 1 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1 | 688.3 | 94.6 | 118.2 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | No live fish found.
IHR | 2010-05-12 | --- | --- | --- | 15 | 8 | 8 | --- | --- | --- | --- | --- | --- | --- | --- | 31 | --- | --- | --- | 203.4 | 16.4 | 5.6 | --- | --- | --- | --- | --- | --- | --- | --- | No live fish found, 1 uncl unidentified juv in #5 and #4 (ea), cl juv st found in #4.
IHR | 2010-06-22 | --- | 0 | --- | 10 | 12 | 15 | --- | --- | --- | --- | --- | --- | --- | --- | 37 | --- | 495.7 | --- | 816.6 | 565.3 | 394.7 | --- | --- | --- | --- | --- | --- | --- | --- | No live fish found
IHR | 2010-06-23 | 0 | --- | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 1187.7 | --- | 871.2 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | No live fish found.
IHR | 2010-07-06 | --- | --- | --- | --- | --- | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | --- | --- | --- | --- | --- | 81 | --- | --- | --- | --- | --- | --- | --- | --- | No live fish found.
IHR | 2010-07-12 | --- | --- | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | 0 | --- | --- | 213 | 334.8 | 127.4 | --- | --- | --- | --- | --- | --- | --- | --- | --- | No live fish found.
IHR | 2010-07-14 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 534.7 | 218.4 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | No live fish found.
IHR | 2010-08-09 | --- | --- | --- | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | --- | --- | --- | 1.8 | 0.6 | 0.7 | --- | --- | --- | --- | --- | --- | --- | --- | Juv Shad found
IHR | 2010-08-11 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 681 | 0 | 5.2 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | Juv Shad found
IHR | 2010-09-13 | --- | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | --- | 67 | 496 | 188 | 26 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | Juv Shad found
IHR | 2010-09-15 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 404 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | Juv Shad found
IHR | 2010-10-14 | --- | --- | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 0 | --- | --- | 226 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | Juv Shad found
IHR | 2010-10-18 | --- | 0 | --- | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | --- | 81 | --- | 297 | 26 | 1 | --- | --- | --- | --- | --- | --- | --- | --- | Juv Shad found
IHR | 2010-10-19 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 815 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | Juv Shad found
IHR | 2010-11-15 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 625 | 165.7 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | ~50 Juvenile Shad mortalities found in each turbine unit (1 & 2).
IHR | 2010-11-17 | --- | --- | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | --- | --- | 0 | 245.9 | 87.5 | 20.1 | --- | --- | --- | --- | --- | --- | --- | --- | ~50 Juvenile Shad mortalities found in each turbine unit (4, 5 and 6).
IHR | 2010-12-06 | 0 | --- | --- | --- | --- | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 490 | --- | --- | --- | --- | 2 | --- | --- | --- | --- | --- | --- | --- | --- | ~100 Juvenile Shad mortalities found in #1, ~25 shad mortalities in # 6).
IHR | 2010-12-07 | --- | --- | 0 | --- | --- | ---- | --- | --- | --- | --- | --- | --- | --- | --- | 0 | --- | --- | 462 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | ~100 Juvenile Shad mortalities found in #3.
IHR | 2010-12-22 | 0 | 0 | 0 | --- | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 324 | 206 | 208 | --- | 276 | 96 | --- | --- | --- | --- | --- | --- | --- | --- | Lots of juvenile shad mortalities in all inspected orifices.
IHR | 2010-12-29 | 0 | 0 | 0 | --- | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 766 | 185 | 406 | --- | 276 | 98 | --- | --- | --- | --- | --- | --- | --- | --- | Juv shad mortalities: 10 in #1, 5 in #2, 20 in #3, 27 in #5, and 15 in #6.
IHR | 2011-01-11 | 22 | 0 | 24 | --- | 34 | 14 | --- | --- | --- | --- | --- | --- | --- | --- | 94 | 434 | 151 | 281 | --- | 320 | 40 | --- | --- | --- | --- | --- | --- | --- | --- | 16 live, 6 dead lamprey in #1, all other lamprey were dead. Juv shad: 69 - all dead.
LMN | 2010-01-26 | --- | --- | 63 | 11 | 86 | 47 | --- | --- | --- | --- | --- | --- | --- | --- | 207 | 2 months since last inspection |  |  |  | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | Includes 3 live lamprey each in turbine units 5 and 6
LMN | 2010-02-03 | --- | --- | 16 | --- | 27 | 43 | --- | --- | --- | --- | --- | --- | --- | --- | 86 | 0 | 0 | 211 | 0 | 124 | 37 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | No live lamprey found, cooling water runs 24/7.
LMN | 2010-03-31 | 1 | 0 | 3 | 0 | 9 | 1 | --- | --- | --- | --- | --- | --- | --- | --- | 14 | 1 | 1066 | 818 | 127 | 290 | 104 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | 1 S. Prawn in #1, 2 S. Prawn in #5, 2 S. Prawn & 1 Crappie in #6 all mortalities.
LMN | 2010-04-12 | 2 | 1 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 3 | 0 | 312 | 61 | 43 | 2 | 1 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | No live lampreys found. S. Prawn in #3, 1 S. Prawn in #4 and 1 S. Prawn in #5 all live.
LMN | 2010-05-12 | 1 | 22 | 0 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 33 | 6 | 744 | 87 | 7 | 299 | 0 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | 1 S. Prawn in #1, 3 S. Prawn in #2, 2 S. Prawn in #5 all mortalities.
LMN | 2010-06-07 | 34 | 44 | 61 | 66 | 100 | 121 | --- | --- | --- | --- | --- | --- | --- | --- | 426 | 648 | 291 | 646 | 461 | 184 | 595 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | Includes 4 live lamprey in#1 and 3 live in #3, 35 smolts and 6 S.prawn motalities found.
LMN | 2010-07-06 | 20 | 20 | 10 | 60 | 2 | 25 | --- | --- | --- | --- | --- | --- | --- | --- | 137 | 497 | 718 | 675 | 550 | 718 | 301 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | 6 salmon, 1 steelhead and 2 S. prawn found - all mortalities.
LMN | 2010-08-02 | 0 | 0 | 0 | 1 | 1 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 2 | 0 | 544 | 85 | 6 | 344 | 19 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | 1 steelhead and 18 S. prawn mortalities found.
LMN | 2010-09-01 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 0 | 9 | 565 | 101 | 152 | 0 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | 13 juvenile shad and 11 S. prawns mortalities recovered.
LMN | 2010-10-05 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 0 | 678 | 476 | 111 | 8 | 0 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | 4 S. Prawns Recovered
LMN | 2010-11-01 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 1 | 645 | 221 | 2 | 3 | 7 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | 20 S. Prawns, 600 Juvenile Shad Recovered
LMN | 2010-12-01 | --- | --- | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 0 | --- | --- | 206.9 | --- | --- | --- | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | 200 juvenile shad mortalities recovered
LMN | 2010-12-08 | 0 | 0 | --- | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 0 | 857 | --- | 42 | 76 | 34 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | 530 juvenile shad mortalities recovered.
LGS | 2010-02-08 | 0 | 0 | 3 | 13 | 1 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 17 | 4 months since last inspection
LGS | 2010-03-09 | 0 | 0 | 2 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 2 | 190 | 57 | 361 | 23 | 443 | 37 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | No live lamprey found
LGS | 2010-03-22 | 0 | 0 | 0 | 0 | 1 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 1 | 328 | 0 | 190 | 18 | 0 | 0 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | 1 lamprey, 2 siberian prawn motalities found in turbine unit 5.
LGS | 2010-04-08 | 0 | 0 | 0 | 0 | 2 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 2 | 401 | 220 | 86 | 11 | 5 | 1 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | Total includes 1 live lamprey in turbine unit 5.
LGS | 2010-05-07 | 0 | 1 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 1 | 699 | 470 | 128 | 87 | 7 | 6 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | No live fish found.
LGS | 2010-05-31 | 6 | 9 | 15 | 0 | 11 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 41 | 743 | 743 | 579 | 167 | 53 | 0 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | No live fish found. 2 smolt mortalities found in #3, probably yearling Chinook.
LGS | 2010-06-30 | 4 | 5 | 17 | 0 | 16 | 127 | --- | --- | --- | --- | --- | --- | --- | --- | 169 | 717 | 715 | 714 | 657 | 404 | 363 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | No live fish found. 1 subyearling Chinook mortality (ea) found in turbine units 5 & 6.
LGS | 2010-07-29 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 743 | 743 | 254 | 5 | 7 | 0 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | Backflushed and Inspected July 3, 9, 18 and 29. No lamprey found.
LGS | 2010-08-12 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 118 | 128 | 0 | 0 | 229 | 66 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | No live fish or fish mortalities found.
LGS | 2010-08-19 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 56 | 111 | 34 | 0 | 24 | 0 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | No live fish or fish mortalities found.
LGS | 2010-08-26 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 0 | 192 | 40 | 0 | 0 | 0 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | No live fish or fish mortalities found.
LGS | 2010-09-01 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 0 | 168 | 13 | 0 | 0 | 0 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | No live fish or fish mortalities found.
LGS | 2010-09-15 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 202 | 145 | 226 | 34 | 0 | 0 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | No live fish or fish mortalities found.
LGS | 2010-09-20 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 142 | 0 | 79 | 4 | 0 | 0 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | No live fish or fish mortalities found.
LGS | 2010-09-28 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 216 | 52 | 19 | 1 | 0 | 0 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | No live fish or fish mortalities found.
LGS | 2010-10-10 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 312 | 156 | 1 | 9 | 1 | 1 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | No live fish or fish mortalities found.
LGS | 2010-10-20 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 240 | 65 | 1 | 0 | 0 | 0 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | No live fish or fish mortalities found.
LGS | 2010-10-27 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 168 | 38 | 5 | 1 | 1 | 1 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | No live fish or fish mortalities found.
LGS | 2010-11-03 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 168 | 54 | 4 | 0 | 0 | 0 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | No live fish or fish mortalities found.
LGS | 2010-11-08 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 120 | 38 | 0 | 0 | 0 | 0 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | No live fish or fish mortalities found.
LGS | 2010-11-17 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 215 | 94 | 22 | 0 | 0 | 0 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | No live fish or fish mortalities found.
LGS | 2010-12-02 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 360 | 104 | 5 | 0 | 0 | 0 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | No live fish or fish mortalities found.
LGS | 2010-12-09 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 133 | 87 | 7 | 0 | 0 | 0 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | No live fish or fish mortalities found.
LGS | 2010-12-21 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 76 | 204 | 120 | 40 | 114 | 15 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | No live fish or fish mortalities found.
LGS | 2010-12-29 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 4 | 186 | 126 | 0 | 6 | 0 | (Rough hand count of hours) |  |  | --- | --- | --- | --- | --- | No live fish or fish mortalities found.
LWG | 2010-02-01 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 0 | Last inspections took place in turbine units 3 and 5 in September 2009 | [13 empty] | No lampreys found.
LWG | 2010-03-15 | 0 | 125 | 0 | 25 | 44 | 16 | --- | --- | --- | --- | --- | --- | --- | --- | 210 | 0 | 379 | 0 | 382 | 662 | 228 | (Turbine unit 1 not operated 2/1 to 3/15). |  |  |  | --- | --- | --- | --- | Turbine units 2 - 6 not inspected in the previous month.
LWG | 2010-04-15 | 5 | 3 | 0 | 3 | 2 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 13 | 694 | 353 | 0 | 77 | 72 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | All recovered lampreys were mortalities.
LWG | 2010-05-26 | 72 | 92 | 0 | 97 | 76 | 61 | --- | --- | --- | --- | --- | --- | --- | --- | 398 | 678 | 902 | 0 | 542 | 335 | 179 | --- | --- | --- | --- | --- | --- | --- | --- | All recovered lampreys were mortalities.
LWG | 2010-06-22 | 10 | 4 | 0 | 3 | 5 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 22 | 658 | 537.9 | 0 | 649.5 | 619.2 | 539.9 | --- | --- | --- | --- | --- | --- | --- | --- | All recovered lampreys were mortalities.
LWG | 2010-07-22 | 9 | 4 | 0 | 28 | 2 | 16 | --- | --- | --- | --- | --- | --- | --- | --- | 59 | 709.7 | 675 | 0 | 270.7 | 145.5 | 218.2 | --- | --- | --- | --- | --- | --- | --- | --- | All recovered lampreys were mortalities.
LWG | 2010-08-05 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 360 | 122 | 0 | 5 | 1 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | No lampreys found.
LWG | 2010-09-16 | 0 | 1 | --- | --- | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 1 | 923 | 325 | 0 | 0 | 43 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 1 juv lamprey&1 juv salmonid found in #2.
LWG | 2010-10-14 | 0 | --- | --- | --- | 0 | 2 | --- | --- | --- | --- | --- | --- | --- | --- | 2 | 672 | 211 | 0 | 0 | 132 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | All recovered lampreys were mortalities.
LWG | 2010-11-22 | 0 | 0 | --- | --- | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 412 | 564 | 0 | 0 | 283 | 19 | --- | --- | --- | --- | --- | --- | --- | --- | No lampreys found.
LWG | 2010-12-21 | 8 | 9 | --- | --- | 5 | --- | --- | --- | --- | --- | --- | --- | --- | --- | 22 | 316 | 526 | 0 | 20 | 229 | 2 | --- | --- | --- | --- | --- | --- | --- | --- | 17 lamprey mortalities and 5 live lampreys found (live 2 lin #1, 2 in #2 and 1 in #5)

## 2011 Lamprey Data
Turbine Unit Strainer Inspections 2011
Location | Date | Turbine Units (Number Lamprey Found) | [14 empty] | Turbine Units (Hours Run Time)
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Totals | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Notes
MCN | 2011-02-03 | 41 | --- | 7 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 48 | No recent data - turbine unit 6 6 last inspected 18Aug10, the rest last inspected 14Jun10. | [13 empty] | Includes 14 live lamprey in #1 and 4 live lamprey in #3.
MCN | 2011-02-09 | 34 | --- | 13 | 29 | 10 | 11 | --- | 10 | 11 | 26 | 5 | 11 | 2 | 4 | 166 | 140 | --- | 139 | Unit 6 last inspected on 18Aug10, Units 1 & 3 last inspect 03Feb11, rest last inspected 14Jun10. | [10 empty] | Includes 14 live lamprey in #1, 7 in #3, 2 in #5, 3 in #6, 1 in #12. 6 nonsalmonids found.
MCN | 2011-03-08 | 6 | 0 | 4 | 7 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | 17 | 641 | --- | 643 | 640 | 638 | --- | --- | --- | --- | --- | --- | --- | --- | --- | Includes 2 live lamprey in turbine unit 1. #2 out of service for month.
MCN | 2011-03-09 | --- | --- | --- | --- | --- | 5 | --- | 12 | 4 | 2 | --- | --- | --- | --- | 23 | --- | --- | --- | --- | --- | 670 | --- | 672 | 672 | 87 | --- | --- | --- | --- | #7 has been out of service for months.
MCN | 2011-03-10 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 5 | 4 | --- | --- | 9 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 696 | 694 | --- | --- | Includes 1 live juv lamprey in #12.
MCN | 2011-03-14 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1 | 7 | 8 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 243 | 607
MCN | 2011-04-13 | 60 | --- | 11 | 25 | 4 | 19 | --- | 5 | 9 | 11 | 2 | 11 | 6 | 19 | 182 | 703 | 0 | 714 | 708 | 708 | 827 | --- | 833 | 833 | 333 | 808 | 789 | 554 | 720 | Includes 44 live lamprey in #1, 2 in #5, 3 in #12, 5 in #14. 1 clp St in #1. Also 5 nonsals.
MCN | 2011-05-16 | 8 | 0 | 3 | 0 | 0 | 0 | --- | 0 | 2 | 2 | 0 | 0 | 1 | 1 | 17 | 784 | 0 | 792 | 791 | 787 | 679 | --- | 791 | 791 | 791 | 790 | 772 | 776 | 772 | Includes 3 live lamprey in #1. 3 unclipped sockey/kokanee morts removed from #1.
MCN | 2011-06-21 | 27 | 2 | 4 | 3 | --- | 2 | 2 | 1 | 2 | 0 | 0 | 0 | 1 | 6 | 50 | 851 | 135 | 858 | 861 | --- | 841 | 318 | 863 | 863 | 864 | 863 | 864 | 863 | 861 | Includes 5 live lamprey in #1, 11 unclipped & 11 clipped juv Chin in #1, 1 crayfish in #2
MCN | 2011-08-02 | 0 | 1 | 3 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 10 | 197 | 869 | 801 | 866 | 963 | 945 | 712 | 826 | 980 | 7 | 1008 | 988 | 982 | 1005 | Includes 1 live juv lamprey in #2. Unclip Juv Ch morts include 1 in #8, 2 in #14
MCN | 2011-09-14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 909 | 778 | 540 | 756 | 672 | 843 | 821 | 1017 | 0 | 971 | 979 | 980 | 1020 | 2 live crayfish found in #2, 1 juv shad each in #4 & #5 and 2 juv shad mortalities in #9.
MCN | 2011-10-27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | --- | 1023 | 1024 | 1001 | 819 | 958 | 987 | 868 | 262 | --- | 882 | 987 | 763 | 963 | 240 juv shad mortalities recovered from units 3-9, 11-14.#1 & #10 not checked - OOS.
MCN | 2011-11-22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | --- | 614 | 609 | 610 | 553 | 547 | 239 | 612 | 128 | --- | 609 | 507 | 562 | 605 | 655 juv shad and 2 perch morts recovered from 2-6,7,8and 11-14.Units 1,7,10 are OOS.
MCN | 2011-12-20 | --- | 0 | 0 | 0 | 0 | 0 | --- | 0 | 0 | --- | 0 | 0 | 0 | 0 | 0 | --- | 648 | 649 | 650 | 552 | 563 | 0 | 620 | 647 | --- | 657 | 645 | 629 | 464 | 468 juv shad morts recovered from 1-6,8,9 and 11-14. 150 juv perch morts in #14.
IHR | 2011-01-11 | 22 | 0 | 24 | --- | 34 | 14 | --- | --- | --- | --- | --- | --- | --- | --- | 94 | 290 | 117.6 | 216.2 | --- | 212.3 | 33.5 | --- | --- | --- | --- | --- | --- | --- | --- | 6 live lamprey in #1, 2 live in #3, all other lamprey were dead. Juv shad: 69 - all dead.
IHR | 2011-01-26 | 6 | 48 | 56 | --- | 68 | 38 | --- | --- | --- | --- | --- | --- | --- | --- | 216 | 331 | 278.2 | 295.7 | --- | 311.3 | 245.3 | --- | --- | --- | --- | --- | --- | --- | --- | 4,7,6 and 2 live lamprey respectively in #1, #2, #3 and 5, rest were dead. 7 dead shad.
IHR | 2011-02-08 | 18 | 0 | 358 | --- | 429 | 177 | --- | --- | --- | --- | --- | --- | --- | --- | 982 | 288 | 212.5 | 256.3 | --- | 263.3 | 131.7 | --- | --- | --- | --- | --- | --- | --- | --- | Lamprey numbers include 2 live lamprey in turbine #5 and1 live lamprey in turbine #6.
IHR | 2011-02-23 | 3 | 6 | 3 | --- | 7 | 2 | --- | --- | --- | --- | --- | --- | --- | --- | 21 | 344 | 242.4 | 306.9 | --- | 316.1 | 166 | --- | --- | --- | --- | --- | --- | --- | --- | No live fish recovered, turbine unit 4 remains out of service.
IHR | 2011-03-08 | 0 | 0 | 5 | --- | 6 | 2 | --- | --- | --- | --- | --- | --- | --- | --- | 13 | 287.5 | 250 | 287.1 | --- | 249.3 | 149.1 | --- | --- | --- | --- | --- | --- | --- | --- | No live fish recovered, 1 juv shad each found in #1, #2 and #5. Turbine unit #4 OOS
IHR | 2011-04-19 | 2 | 10 | 54 | --- | 41 | 22 | --- | --- | --- | --- | --- | --- | --- | --- | 129 | 924.8 | 860.8 | 904.6 | --- | 796.7 | 680 | --- | --- | --- | --- | --- | --- | --- | --- | 1 Adult lampry mortality in #1, 1 clipped juv steelhead (each) in #3 and #6. #4 OOS.
IHR | 2011-05-24 | 4 | 3 | --- | 50 | 30 | 50 | --- | --- | --- | --- | --- | --- | --- | --- | 137 | 848.1 | 660.9 | --- | 268.3 | 618.6 | 560.1 | --- | --- | --- | --- | --- | --- | --- | --- | Other morts: 1 juv clipped Chinook in #5.
IHR | 2011-05-31 | --- | --- | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 0 | --- | --- | 926 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | High pressure or debris blocked strainer gate on May 24. Inspection delayed.
IHR | 2011-06-21 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 685 | 685 | 513.9 | 682.4 | 683.5 | 678.8 | --- | --- | --- | --- | --- | --- | --- | --- | Conducted during annual maintenance.
IHR | 2011-07-05 | --- | --- | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 0 | --- | --- | 339.8 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | ---
IHR | 2011-07-11 | 0 | 0 | --- | --- | 0 | 1 | --- | --- | --- | --- | --- | --- | --- | --- | 1 | 496.3 | 495.8 | --- | --- | 486.5 | 488.9 | --- | --- | --- | --- | --- | --- | --- | ---
IHR | 2011-07-13 | --- | --- | --- | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 0 | --- | --- | --- | 508.5 | --- | --- | --- | --- | --- | --- | --- | --- | --- | ---
IHR | 2011-08-16 | 0 | 0 | --- | 0 | 1 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 1 | 480 | 210.1 | --- | 7.5 | 172.8 | 98.1 | --- | --- | --- | --- | --- | --- | --- | --- | Ault lamprey mortality in #5, no other fish recovered. U3 to be inspected 8/29/11.
IHR | 2011-08-29 | --- | --- | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 0 | --- | --- | 581.6 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | ---
IHR | 2011-09-12 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 421.1 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1 juv shad mortality found in unit 1.
IHR | 2011-09-20 | --- | --- | 0 | --- | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | 0 | --- | --- | 255 | --- | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | 15 juv shad mortalities found in unit 5.
IHR | 2011-09-27 | --- | 0 | --- | 0 | --- | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | --- | 343.9 | --- | 484.7 | --- | 269.4 | --- | --- | --- | --- | --- | --- | --- | --- | 7 juv shad mortalities found in unit 4, 1 juv shad mortality found in unit 1.
IHR | 2011-10-17 | 0 | 0 | 0 | --- | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 592.4 | 0 | 0 | --- | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | 2 juv shad mortalities found in unit 1.
IHR | 2011-10-19 | --- | --- | --- | 0 | --- | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | --- | --- | --- | 444.2 | --- | 290.4 | --- | --- | --- | --- | --- | --- | --- | --- | 5 juv shad mortalities found in unit 4, 2 juv shad mortalities found in unit 6.
IHR | 2011-11-01 | --- | --- | --- | --- | --- | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | --- | --- | --- | --- | --- | 45 | --- | --- | --- | --- | --- | --- | --- | --- | 30 juv shad mortalities found in unit 6.
IHR | 2011-11-14 | --- | 0 | 0 | --- | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | 0 | --- | 183.4 | 0 | --- | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | 70 juv shad mortalities found in unit 2.
IHR | 2011-11-16 | 0 | --- | --- | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 725.7 | --- | --- | 476.3 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 100 juv shad mortalities found in unit 1, 120 juv shad mortalities found in unit 4.
IHR | 2011-12-13 | --- | --- | --- | --- | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 |  | --- | --- | --- | 0 | 29.3 | --- | --- | --- | --- | --- | --- | --- | --- | 30 juv shad mortalities found in unit 6.
IHR | 2011-12-19 | --- | 0 | 0 | 1 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1 | --- | 162.2 | 146.9 | 434.8 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 160 juv shad mortalities recovered, 20 in #2, 40 in #3 and 100 in #4.
IHR | 2011-12-20 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 765 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 40 juv shad mortalities found in unit 1.
LMN | 2011-01-10 | 9 | 38 | 20 | 0 | 20 | 20 | --- | --- | --- | --- | --- | --- | --- | --- | 107 | 17 | 618 | 283 | 75 | 325 | 209 | --- | --- | --- | --- | --- | --- | --- | --- | Includes 1 live lamprey in #1, 2 live in #2, 144 dead Juv shad, Prawns: 1 live, 37 dead.
LMN | 2011-02-09 | 550 | 495 | 390 | 35 | 85 | 100 | --- | --- | --- | --- | --- | --- | --- | --- | 1655 | 214 | 597 | 516 | 253 | 519 | 399 | --- | --- | --- | --- | --- | --- | --- | --- | Includes 50 live lamprey in #1, 45 live in #2, and 40 live in #3.
LMN | 2011-03-03 | 6 | 8 | 10 | 3 | 11 | 5 | --- | --- | --- | --- | --- | --- | --- | --- | 43 | 339 | 22 | 141 | 320 | 257 | 371 | --- | --- | --- | --- | --- | --- | --- | --- | Includes 1 live lamprey in #1 and 1 in #3. 4 prawns recovered 1 in #1, 2 in #5 and 1 in #6
LMN | 2011-04-11 | 49 | 94 | 81 | 77 | 89 | 51 | --- | --- | --- | --- | --- | --- | --- | --- | 441 | 710.5 | 713 | 679.8 | 361.7 | 715 | 194.2 | --- | --- | --- | --- | --- | --- | --- | --- | Includes live lampreys, 13 in #1, 18 in #2, 4 in #3, 2 in #5. Other morts: 35 smolts, 1 S. prawn.
LMN | 2011-05-03 | 9 | 14 | 18 | 0 | 12 | 7 | --- | --- | --- | --- | --- | --- | --- | --- | 60 | 726.5 | 741.7 | 678.5 | 547.3 | 737.8 | 433.1 | --- | --- | --- | --- | --- | --- | --- | --- | Includes 1 live lamprey in #1. Other morts: 107 juv CH, 26 juv ST, 5 Siberian Prawns.
LMN | 2011-06-01 | 0 | 0 | 0 | 1 | 0 | 1 | --- | --- | --- | --- | --- | --- | --- | --- | 2 | 692 | 696 | 659 | 562 | 693 | 462 | --- | --- | --- | --- | --- | --- | --- | --- | Other morts: 27 juv CH, 17 juv ST.
LMN | 2011-07-05 | 3 | 4 | 4 | 7 | 3 | 2 | --- | --- | --- | --- | --- | --- | --- | --- | 23 | 545.3 | 553 | 637 | 480.2 | 624.3 | 9.6 | --- | --- | --- | --- | --- | --- | --- | --- | Other morts: 0 juv salmonids or prawns, 11 non-samonid morts recovered.
LMN | 2011-08-09 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 451 | 442 | 709 | 538 | 516 | 12 | --- | --- | --- | --- | --- | --- | --- | --- | Other morts: 180 Siberian prawns recovered, 150 from unit 1, 30 from unit 2.
LMN | 2011-09-07 | 0 | 1 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 1 | 0 | 560 | 325 | 93 | 26 | 0 | --- | --- | --- | --- | --- | --- | --- | ---
LMN | 2011-10-05 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 17 | 652 | 433 | 95 | 227 | 70 | --- | --- | --- | --- | --- | --- | --- | --- | Other morts: 1 Siberian Prawn found in unit 1.
LMN | 2011-11-02 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 12.4 | 688.2 | 0 | 359.2 | 63.1 | 4.7 | --- | --- | --- | --- | --- | --- | --- | --- | Other morts: 12 juv shad (4 in U1,2 in U2,1 in U4,5 in U6) & 3 Prawns (1 in U2,2 in U4).
LMN | 2011-12-07 | 0 | 0 | 0 | 0 | 1 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 1 | 22.2 | 621.3 | 0 | 112.8 | 383.6 | 7.9 | --- | --- | --- | --- | --- | --- | --- | --- | Other morts: 24 juv shad (5 in U1,10 in U2,6 in U4,3 in U5) & 1 juv steelhead in U2.
LGS | 2011-01-06 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 19 | 273 | 117 | 6 | 64 | 5 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2011-01-13 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 38 | 107 | 104 | 2 | 91 | 0 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2011-01-25 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 173 | 225 | 212 | 140 | 166 | 37 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2011-01-31 | 0 | 0 | 11 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 11 | 124 | 144 | 99 | 25 | 118 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | Heads counted due to "mush". Deck wash valve serviced fish may have been in valve.
LGS | 2011-02-09 | 0 | 1 | 13 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 14 | 133 | 139 | 144 | 16 | 161 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | Bypass valve from cleaner checked only.
LGS | 2011-02-10 | 110 | 110 | 110 | 110 | 115 | --- | --- | --- | --- | --- | --- | --- | --- | --- | 555 | 0 | 24 | 16 | 6 | 19 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | Strainers torn apart in 2nd round of cleaning and inspections.
LGS | 2011-02-17 | 5 | 1 | 0 | 5 | 3 | 1 | --- | --- | --- | --- | --- | --- | --- | --- | 15 | 79 | 168 | 106 | 13 | 152 | 0 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2010-02-24 | 0 | 2 | 0 | 1 | 4 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 7 | 71 | 157 | 120 | 15 | 164 | 15 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2011-03-03 | 2 | 1 | 1 | 5 | 4 | 1 | --- | --- | --- | --- | --- | --- | --- | --- | 14 | 150 | 133 | 103 | 52 | 70 | 26 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2011-03-10 | 0 | 0 | 2 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 2 | 168 | 166 | 147 | 0 | 101 | 16 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2011-03-17 | 3 | 0 | 0 | 0 | 0 | 1 | --- | --- | --- | --- | --- | --- | --- | --- | 4 | 166 | 157 | 148 | 15 | 117 | 48 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2011-03-24 | 2 | 0 | 1 | 0 | 1 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 4 | 161 | 160 | 114 | 75 | 150 | 93 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2011-04-30 | 11 | 27 | 43 | 35 | 46 | 6 | --- | --- | --- | --- | --- | --- | --- | --- | 168 | 713 | 713 | 713 | 567 | 465 | 110 | --- | --- | --- | --- | --- | --- | --- | --- | 29 smolts mortalities also recovered - turbine units 1 - 6 in order: 7, 6, 6, 6, 3, 1.
LGS | 2011-05-03 | 0 | 0 | 1 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 1 | 72 | 72 | 72 | 0 | 64 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | Other morts: 5 smolts in #1, 1 smolt in #2.
LGS | 2011-05-19 | 3 | 7 | 21 | 6 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 37 | 379 | 380 | 380 | 254 | 135 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | Other morts: 4 smolts in #1, 1 smolt in #2.
LGS | 2011-05-25 | 2 | 0 | 5 | 4 | 5 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 16 | 93 | 92 | 92 | 92 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2011-06-04 | 1 | 4 | 2 | 1 | 4 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 12 | 82 | 82 | 81 | 81 | 80 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | One juvenile salmonid each found in turbine units 1, 2 and 4.
LGS | 2011-06-16 | 0 | 0 | 1 | 1 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 2 | 288 | 288 | 288 | 288 | 284 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | One juvenile salmonid found in turbine unit 1.
LGS | 2011-06-23 | 1 | 0 | 1 | 0 | 0 | 3 | --- | --- | --- | --- | --- | --- | --- | --- | 5 | 167 | 167 | 168 | 168 | 153 | 51 | --- | --- | --- | --- | --- | --- | --- | --- | Two juvenile salmonids found in turbine unit 1.
LGS | 2011-06-29 | 0 | 1 | 3 | 1 | 0 | 4 | --- | --- | --- | --- | --- | --- | --- | --- | 9 | 144 | 144 | 144 | 144 | 144 | 144 | --- | --- | --- | --- | --- | --- | --- | --- | One juvenile salmonid found in turbine unit 1, two juv. salmonids found in turbine unit 5.
LGS | 2011-07-07 | 1 | 3 | 2 | 0 | 0 | 7 | --- | --- | --- | --- | --- | --- | --- | --- | 13 | 192 | 192 | 192 | 192 | 137 | 192 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2011-07-13 | 0 | 1 | 0 | 2 | 2 | 1 | --- | --- | --- | --- | --- | --- | --- | --- | 6 | 144 | 144 | 144 | 144 | 0 | 45 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2011-07-22 | 1 | 1 | 3 | 1 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 6 | 216 | 216 | 216 | 216 | 0 | 3.5 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2011-07-27 | 0 | 2 | 1 | 0 | 0 | 1 | --- | --- | --- | --- | --- | --- | --- | --- | 4 | 192 | 192 | 180 | 0 | 6 | 0 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2011-08-04 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | [6 empty] | --- | --- | --- | --- | --- | --- | --- | --- | 1 smolt mortality found in turbine unit 1.
LGS | 2011-08-10 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | [6 empty] | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2011-08-16 | 1 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 1 | [6 empty] | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2011-08-23 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | [6 empty] | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2011-09-14 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | [6 empty] | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2011-09-22 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | [6 empty] | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2011-09-28 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | [6 empty] | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2011-10-06 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | [6 empty] | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2011-10-10 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | [6 empty] | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2011-10-20 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | [6 empty] | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2011-11-01 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | [6 empty] | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2011-11-08 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | [6 empty] | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2011-12-01 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | [6 empty] | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2011-12-08 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | [6 empty] | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2011-12-15 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | [6 empty] | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2011-12-22 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | [6 empty] | --- | --- | --- | --- | --- | --- | --- | ---
LGS | [22 empty] | --- | --- | --- | --- | --- | --- | --- | ---
LGR | 2011-01-25 | 190 | 95 | --- | 184 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 469 | 264.7 | 369.7 | 0 | 319.5 | 664.5 | 543.8 | Mechnical problem in #5, Operator not able to shut down #6 for inspection. | [7 empty] | Numbers include 2 live lamprey in #1 and 8 live lamprey, 1 juv salmonid in #2.
LGR | 2011-02-24 | 23 | 7 | --- | 10 | 1 | 72 | --- | --- | --- | --- | --- | --- | --- | --- | 113 | 208.3 | 206.9 | --- | 373.1 | 468.9 | 420.2 | --- | --- | --- | --- | --- | --- | --- | --- | 3 juv salmon, I sucker and 1 unkown fish recovered - all mortalities.
LGR | 2011-03-29 | 8 | 6 | --- | 3 | --- | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 17 | 703.3 | 692.3 | --- | 528.9 | 258.2 | 589.8 | #3 out of service, #5 tagged out of service. |  |  |  | --- | --- | --- | --- | 11 juv salmon also recovered: 5 in #1, 4 in #2 and 2 in #4.
LGR | 2011-04-25 | 17 | 26 | --- | 33 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 76 | 653.4 | 653.2 | --- | 653 | --- | --- | Turbines units 3&5 oos. |  |  | --- | --- | --- | --- | --- | 19 juv fish also recovered: 6 in #1, 7 in #2, and 6 in #4.
LGR | 2011-04-26 | --- | --- | --- | --- | --- | 31 | --- | --- | --- | --- | --- | --- | --- | --- | 31 | --- | --- | --- | --- | --- | 672.7 | --- | --- | --- | --- | --- | --- | --- | --- | 9 juv fish recovered from turbine unit 6.
LGR | 2011-05-23 | 18 | 46 | 0 | 39 | 36 | 44 | --- | --- | --- | --- | --- | --- | --- | --- | 183 | 679.9 | 679.9 | 92.2 | 675.9 | 357.2 | 652.4 | --- | --- | --- | --- | --- | --- | --- | ---
LGR | 2011-06-27 | 5 | 2 | 4 | 10 | 17 | --- | --- | --- | --- | --- | --- | --- | --- | --- | 38 | 719.9 | 822 | 812.7 | 822 | 822 | --- | --- | --- | --- | --- | --- | --- | --- | --- | Turbine unit needed to remain in service due to high flows, could not isolate strainer.
LGR | 2011-07-28 | 5 | 4 | 9 | 8 | 15 | --- | --- | --- | --- | --- | --- | --- | --- | --- | 41 | 731 | 731 | 717.5 | 574 | 482.3 | --- | --- | --- | --- | --- | --- | --- | --- | ---
LGR | 2011-08-29 | 1 | 0 | 0 | --- | 3 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 4 | 355.3 | 164.5 | 49.1 | --- | 183.3 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | Turbine units 3 strainers tagged out (safety restrictions). Unit 4 undergoing annual.
LGR | 2011-10-18 | 0 | 0 | --- | --- | --- | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 678 | 523.2 | --- | --- | --- | 58 | --- | --- | --- | --- | --- | --- | --- | --- | Turbine units 3,4 & 5 strainers tagged out (safety restrictions)
LGR | 2011-11-28 | 0 | 0 | --- | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 936.8 | --- | --- | 105.6 | 3.6 | 99.5 | --- | --- | --- | --- | --- | --- | --- | --- | Turbine units 2 and 3 are out of service.
LGR | 2011-12-19 | 3 | --- | --- | 2 | 1 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 6 | 438.9 | --- | --- | 78.1 | 141.2 | 52.6 | --- | --- | --- | --- | --- | --- | --- | --- | Turbine units 2 and 3 are out of service.

## 2012 Lamprey Data
Turbine Unit Strainer Inspections 2012
Location | Date | Turbine Units (Number Lamprey Found) | [14 empty] | Turbine Units (Hours Run Time)
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Totals | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Notes
MCN | 2012-01-25 | --- | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | --- | 1 | 1 | 0 | 3 | 7 | --- | 844 | 829 | 852 | 855 | 861 | 679 | 864 | 864 | --- | 863 | 853 | 851 | 827 | 1 of 7 juv lamprey recovered was live frm U14, live recoveries: 3 perch,1 - S. prawn, 1 crawfish
MCN | --- | Turbine Units (Number Lamprey Found) 1: Comments - - - - - - > | --- | [14 empty] | 25 Jan - Mortalities: 83 shad, 44 yellow perch, 1 S. prawn, 1 smallmouth Bass.
MCN | 2012-02-28 | 2 | 0 | 0 | 2 | 19 | 4 | 109 | 0 | 1 | 1 | 3 | 1 | 0 | 25 | 167 | 110 | 657 | 753 | 777 | 788 | 800 | 779 | 793 | 814 | 249 | 805 | 807 | 802 | 791 | Totals Include 1 live juv lamprey ea in u4, u6, u9, u12; 11 in u7, 2 in u11 & 15 in u14.
MCN | --- | Turbine Units (Number Lamprey Found) 1: Comments - - - - - - > | [15 empty] | 28 Feb: 14 Siberian Prawns recovered (2 were live), 15 Yellow Perch recovered (all mortalities).
MCN | 2012-03-20 | 0 | 7 | 2 | 8 | 4 | 26 | 21 | 4 | 2 | --- | 1 | 0 | 3 | 15 | 93 | 26 | 474 | 479 | 484 | 294 | 273 | 397 | 398 | 503 | --- | 503 | 503 | 500 | 428 | Totals Include live juv lamprey: 1 ea in u2, u8,2 in u4,11 in u6.Y Perch recovered 3 live, 15 morts
MCN | 2012-04-17 | 25 | 1 | 4 | 2 | 1 | 10 | 4 | 2 | 2 | 0 | 1 | 0 | 5 | 18 | 75 | 668 | 666 | 665 | 669 | 0 | 0 | 666 | 667 | 667 | 540 | 667 | 665 | 667 | 667 | Totals include 5 live lamprey in unit 1. Two Chinook smolts mortalities reocovered from Unit 14.
MCN | 2012-05-08 | 37 | 1 | 7 | 3 | 0 | 2 | 0 | 4 | 13 | 6 | 9 | 20 | 8 | 6 | 116 | 504 | 504 | 504 | 504 | 278 | 278 | 492 | 491 | 504 | 501 | 504 | 504 | 504 | 504 | Totals include 3 live lamprey in U1. 5 clipped and 1 unclipped Chinook morts found in U1.
MCN | 2012-06-05 | 11 | 1 | 0 | 0 | 1 | 0 | 0 | 2 | 4 | 0 | 2 | 3 | 0 | 1 | 25 | 670 | 650 | 632 | 671 | 672 | 667 | 672 | 672 | 672 | 672 | 672 | 672 | 672 | 669 | Totals include 1 live lamprey in U1. 3 smolt mortalities recovered in U1. U3 out of service.
MCN | 2012-07-03 | 25 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 2 | 23 | 6 | 4 | 1 | 8 | 73 | 672 | 668 | 0 | 668 | 672 | 662 | 665 | 129 | 672 | 409 | 578 | 579 | 590 | 549 | Live lamprey: include 4 in U1 &1 in U10.Tem smolt mortalities from U1. U3 & U8 out of service.
MCN | 2012-08-07 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 2 | 6 | 840 | 788 | 0 | 814 | 758 | 758 | 592 | 0 | 840 | 822 | 840 | 840 | 591 | 797 | 1 live lamprey in U11. Smolt mortalities: 4 in U1, 6 in U14. Units 3 & 8 out of service.
MCN | 2012-09-17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 578 | 794 | 0 | 781 | 886 | 899 | 975 | 0 | 978 | 829 | 655 | 637 | 980 | 30 | 3 smolt mortalities in U1. U3 & U8 out of service.
MCN | 2012-10-02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 272 | 343 | 0 | 285 | 359 | 357 | 360 | 0 | 360 | 319 | 0 | 0 | 360 | 33 | Smolt Mortalities: 2 in U1, 1 in U7, 2 in U14. Other mortalities: 56 juv shad, 2 crayfish.
MCN | 2012-11-06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | 0 | 822 | 631 | 0 | 725 | 709 | 824 | 837 | 0 | 633 | --- | --- | --- | --- | --- | Numerous Juv Shad Mortalities U 1 - 9
MCN | 2012-11-07 | --- | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | 805 | 139 | 137 | 818 | 0 | Numerous Juv Shad Mortalities U10 -14.
MCN | 2012-12-04 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 3 | 660 | 572 | 0 | 623 | 632 | 656 | 657 | 0 | 657 | 418 | 628 | 628 | 626 | 0 | Numerous Juv Shad Mortalities U1 -13. Unit 14 is out of service.
IHR | 2012-01-31 | 4 | 10 | 18 | 16 | 0 | 32 | --- | --- | --- | --- | --- | --- | --- | --- | 80 | 570.5 | 130.6 | 640.2 | 577.1 | 0 | 407 | --- | --- | --- | --- | --- | --- | --- | --- | Lamprey counts include 4 live juv in U2, 1 adult mort (ea) in U3,U4,U6. 1 juv catfish mort in U5.
IHR | 2012-02-14 | 0 | 13 | 43 | --- | 6 | 82 | --- | --- | --- | --- | --- | --- | --- | --- | 144 | 32.4 | 262.5 | 205.3 | 138.2 | 0 | 189.5 | --- | --- | --- | --- | --- | --- | --- | --- | Counts include 2 live juv (ea) in U2,U3 & 3 live juv in U5. 30 peamth, 1 catfish removed from U5.
IHR | 2012-03-14 | --- | --- | 10 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 10 | --- | --- | 1.1 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1 live and 9 juvenile lamprey mortalities recovered
IHR | 2012-03-20 | --- | --- | --- | 200 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 200 | --- | --- | --- | 753.9 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 200 juvenile lamprey mortalities recovered from U4 from in use and bypassed strainer.
IHR | 2012-03-21 | 0 | 91 | --- | --- | 0 | 43 | --- | --- | --- | --- | --- | --- | --- | --- | 134 | 844.9 | 242 | --- | --- | 0 | 769.9 | --- | --- | --- | --- | --- | --- | --- | --- | U1-no fish recovered. U2 & U6 all mortalities, U5: shad, catfish & peamouth recovered.
IHR | 2012-04-24 | --- | --- | --- | 10 | 1 | 15 | --- | --- | --- | --- | --- | --- | --- | --- | 26 | --- | --- | --- | 658.1 | 0 | 377.1 | --- | --- | --- | --- | --- | --- | --- | --- | One catfish found in U5 strainer.
IHR | 2012-04-26 | 0 | 1 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1 | 844.7 | 612 | 865.8 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | U1 strainers could not be isolated & checked. One juvenile steelhead found in U3
IHR | 2012-05-22 | --- | --- | --- | 10 | 0 | 10 | --- | --- | --- | --- | --- | --- | --- | --- | 20 | --- | --- | --- | 551.4 | 246.9 | 371.8 | --- | --- | --- | --- | --- | --- | --- | --- | Catfish found in U5 strainer.
IHR | 2012-05-23 | 1 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1 | 648 | 490.5 | 561.9 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | ---
IHR | 2012-06-19 | --- | 0 | --- | 0 | 2 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 2 | --- | 314.2 | --- | 384.6 | 250.3 | 139.2 | --- | --- | --- | --- | --- | --- | --- | ---
IHR | 2012-06-20 | 1 | --- | 1 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 2 | 678.7 | --- | 421.4 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | ---
IHR | 2012-07-16 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 668.8 | 291.1 | 179 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | ---
IHR | 2012-07-30 | --- | --- | --- | 1 | 1 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 2 | --- | --- | --- | 241.3 | 60.5 | 17.4 | --- | --- | --- | --- | --- | --- | --- | ---
IHR | 2012-08-20 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 845.6 | 7.9 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | U 4, 5 & 6 in Annual Maintenance. Siberian Prawn morts: 1 in U1, 3 in U2 and 1 in U 3.
IHR | 2012-09-24 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 837.6 | 174.6 | 333.8 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | U 4, 5 & 6 in Annual Maintenance. Juv shad mortalities: 4 in U1 and 3 in U 3.
IHR | 2012-10-22 | --- | --- | --- | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | --- | --- | --- | 0.4 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | U4: 2 Siberian Shrimp mortalities recovered.
IHR | 2012-10-24 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 714.1 | 64.3 | 306.9 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | Juvenile Shad mortalities: 140 in U1, 11 in U2 and 61 in U3.
IHR | 2012-11-14 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 504 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | Juvenile Shad mortalities: 500 in U1.
IHR | 2012-11-15 | --- | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 0 | --- | 115 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | Juvenile Shad mortalities: 500 in U2.
IHR | 2012-11-19 | --- | --- | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 0 | --- | --- | 185 | 185 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | Juvenile Shad mortalities: 500 in U3 and 200 in U4. Units 5 & 6 not inspected - OOS.
IHR | 2012-12-03 | 0 | --- | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 430 | --- | 228 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | Juvenile Shad mortalities: 300 in U1 and 253 in U3. Units 5 & 6 not inspected - OOS.
IHR | 2012-12-04 | --- | --- | --- | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 0 | --- | --- | --- | 172 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | Juvenile Shad mortalities: 199 in U4. Units 5 & 6 not inspected -OOS.
IHR | 2012-12-19 |  | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 379 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | Juvenile Shad mortalities: 300 in U1 and 253 in U3. Units 5 & 6 not inspected - OOS.
LMN | 2012-01-24 | 1 | 35 | 15 | 14 | 7 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 72 | 125.3 | 604.7 | 203.9 | 372.7 | 126.2 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | Lamprey counts include 12 live juv inU2, 2 live juv in U3, 1 smolt in U2 and 1 S prawn in U1.
LMN | 2012-02-16 | 7 | 78 | 54 | 5 | 22 | 25 | --- | --- | --- | --- | --- | --- | --- | --- | 191 | 128.8 | 466.2 | 519.2 | 0 | 264 | 183.6 | --- | --- | --- | --- | --- | --- | --- | --- | Counts include 2 live juv in U2 & U3-ea, 1 live juv in U5. Other: 1 smolt in U2 and 1 S prawn-U6.
LMN | 2012-03-06 | 4 | 26 | 37 | 0 | 22 | 25 | --- | --- | --- | --- | --- | --- | --- | --- | 114 | 58 | 407 | 391 | 0 | 219 | 110 | --- | --- | --- | --- | --- | --- | --- | --- | Counts include live lamprey as follows: U2: 8, U3: 3, U5: 2, and U6: 2.
LMN | 2012-04-02 | 100 | 220 | 150 | 200 | 0 | 100 | --- | --- | --- | --- | --- | --- | --- | --- | 770 | 473 | 636 | 623 | 395 | 7 | 511 | --- | --- | --- | --- | --- | --- | --- | --- | No live lamprey recovered. 1 Siberian Prawn mortality found in U3.
LMN | 2012-05-02 | 9 | 14 | 21 | 12 | 19 | 31 | --- | --- | --- | --- | --- | --- | --- | --- | 106 | 712 | 570 | 717 | 703 | 279 | 547 | --- | --- | --- | --- | --- | --- | --- | --- | Counts include 2 live lamprey in U1 and 4 in U2. Others foudn: 1 live smolt and 42 smolt morts.
LMN | 2012-06-04 | 0 | 14 | 12 | 15 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 41 | 757 | 770 | 761 | 546 | 293 | 346 | --- | --- | --- | --- | --- | --- | --- | --- | Also 2 smolt mortalities (ea) in U3 & U5, 1 smolt mort in U4, 1 S. prawn mortality in U3
LMN | 2012-07-12 | 0 | 2 | 0 | 6 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 8 | 0 | 722.8 | 440.4 | 161.4 | 26.5 | 0.3 | --- | --- | --- | --- | --- | --- | --- | --- | Other mortailities: 1 smolt in U3, 2 Siberian Prawn in U2.
LMN | 2012-08-08 | 0 | 1 | 2 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 3 | 0.1 | 709.4 | 36 | 0.8 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | Other mortailities: 2 Siberian Prawns in U2, 1 ea in U3 and U5. 1 uknown sp. (ea) in U2 & 3.
LMN | 2012-09-17 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 3.4 | 702.3 | 286 | 0 | 15.5 | 12.7 | --- | --- | --- | --- | --- | --- | --- | --- | Other mortalities: 2 Siberian Prawns in U1, 1 in U2; Unknown: 6 in U3, 1 ea in U1, 2 & 5.
LMN | 2012-10-02 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 0 | 739.5 | 229.1 | 0.2 | 0.1 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | Other mortalities: 1 unknow in U1, 4 Unkown in U2 and 4 Unknown in U3.
LMN | 2012-11-05 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 5 | 672.9 | 16.5 | 301 | 44.9 | 14.5 | --- | --- | --- | --- | --- | --- | --- | --- | Other mortalities: 52 juv shad.
LMN | 2012-12-03 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 5 | 610 | 14 | 342 | 55 | 20 | --- | --- | --- | --- | --- | --- | --- | --- | Other mortalities: 163 juv shad.
LGS | 2012-01-05 | 0 | 0 | 0 | 3 | 5 | 1 | --- | --- | --- | --- | --- | --- | --- | --- | 9 | 0 | 14 | 214 | 149 | 246 | 2 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2012-01-12 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 8 | 7 | 99 | 26 | 102 | 0 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2012-01-19 | 0 | 0 | 2 | 3 | 7 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 12 | 3 | 13 | 110 | 79 | 121 | 0 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2012-01-30 | 0 | 0 | 3 | 3 | 1 | 1 | --- | --- | --- | --- | --- | --- | --- | --- | 8 | 0 | 22 | 177 | 154 | 167 | 44 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2012-02-11 | 0 | 2 | 5 | 6 | 9 | 7 | --- | --- | --- | --- | --- | --- | --- | --- | 29 | 0 | 6 | 123 | 61 | 57 | 72 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2012-02-16 | 0 | 0 | 2 | 3 | 1 | 1 | --- | --- | --- | --- | --- | --- | --- | --- | 7 | 0 | 0 | 32 | 40 | 16 | 5 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2012-02-23 | 0 | 0 | 0 | 0 | 0 | 3 | --- | --- | --- | --- | --- | --- | --- | --- | 3 | 16 | 17 | 142 | 119 | 60 | 40 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2012-02-29 | 0 | 0 | 3 | 4 | 0 | 4 | --- | --- | --- | --- | --- | --- | --- | --- | 11 | 0 | 9 | 112 | 103 | 69 | 98 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2012-03-08 | 64 | 124 | 70 | 20 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 278 | 192 | 157 | 124 | 27 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | All recovered lamprey were mortalities.
LGS | 2012-03-15 | 5 | 65 | 9 | 4 | 1 | 1 | --- | --- | --- | --- | --- | --- | --- | --- | 85 | 164 | 143 | 117 | 69 | 19 | 15 | --- | --- | --- | --- | --- | --- | --- | --- | All recovered lamprey were mortalities.
LGS | 2012-03-21 | 3 | 20 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 23 | 142 | 144 | 144 | 106 | 46 | 25 | --- | --- | --- | --- | --- | --- | --- | --- | All recovered lamprey were mortalities.
LGS | 2012-03-27 | 13 | 27 | 20 | 32 | 16 | 8 | --- | --- | --- | --- | --- | --- | --- | --- | 116 | 132 | 137 | 137 | 138 | 100 | 51 | --- | --- | --- | --- | --- | --- | --- | --- | All recovered lamprey were mortalities.
LGS | 2012-04-04 | 1 | 30 | 13 | 6 | 5 | 8 | --- | --- | --- | --- | --- | --- | --- | --- | 63 | 192 | 192 | 192 | 187 | 129 | 110 | --- | --- | --- | --- | --- | --- | --- | --- | All recovered lamprey were mortalities.
LGS | 2012-04-09 | 20 | 5 | 4 | 4 | 3 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 36 | 113 | 119 | 119 | 119 | 52 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | All recovered lamprey were mortalities, 1 salmonid smolt mortality recovered from Unit 4.
LGS | 2012-04-17 | 1 | 3 | 2 | 0 | 2 | 1 | --- | --- | --- | --- | --- | --- | --- | --- | 9 | 192 | 192 | 192 | 192 | 67 | 1 | --- | --- | --- | --- | --- | --- | --- | --- | All lamprey were mortalities. Salmonid smolt mortalities: 1 ea U1 & U3; 3 from U2.
LGS | 2012-04-24 | 0 | 0 | 0 | 0 | 2 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 2 | 168 | 168 | 168 | 164 | 93 | 15 | --- | --- | --- | --- | --- | --- | --- | --- | 2 lamprey mortalities. Salmonid smolt mortalities: 2 ea U1 & U2, 1 in U3 and 3 in U4.
LGS | 2012-05-03 | 1 | 11 | 19 | 14 | 0 | 20 | --- | --- | --- | --- | --- | --- | --- | --- | 65 | 216 | 216 | 216 | 216 | 192 | 141 | --- | --- | --- | --- | --- | --- | --- | --- | Salmonid smolt mortalities: 2 ea U1, U3 & U4; 3 in U2 and 1 in U6.
LGS | 2012-05-09 | 1 | 1 | 1 | 0 | 5 | 5 | --- | --- | --- | --- | --- | --- | --- | --- | 13 | 136 | 141 | 138 | 115 | 15 | 13 | --- | --- | --- | --- | --- | --- | --- | --- | Salmonid smolt mortalities: 1 ea U1, U2, U3 & U6; 2 in U5.
LGS | 2012-05-13 | 5 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 5 | 96 | 96 | 96 | 93 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | Salmonid smolt mortalities: 2 in U1.
LGS | 2012-05-22 | 0 | 1 | 1 | 1 | 1 | 1 | --- | --- | --- | --- | --- | --- | --- | --- | 5 | 207 | 211 | 207 | 212 | 120 | 40 | --- | --- | --- | --- | --- | --- | --- | --- | Salmonid smolt mortalities: 1 ea in U2, U3 & U4.
LGS | 2012-05-29 | 0 | 0 | 2 | 1 | 1 | 1 | --- | --- | --- | --- | --- | --- | --- | --- | 5 | 168 | 168 | 168 | 163 | 66 | 28 | --- | --- | --- | --- | --- | --- | --- | --- | One smolt mortality found in U4.
LGS | 2012-06-06 | 0 | 1 | 1 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 2 | 192 | 84 | 192 | 176 | 125 | 19 | --- | --- | --- | --- | --- | --- | --- | --- | One smolt mortality each found in units 2 and 3, 1 smolt motality found in unit 5.
LGS | 2012-06-12 | 0 | 0 | 3 | 0 | 1 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 4 | 144 | 141 | 123 | 82 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | One smolt mortality each found in units 1 and 2..
LGS | 2012-06-21 | 0 | 0 | 0 | 0 | 4 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 4 | 207 | 209 | 201 | 130 | 20 | 7 | --- | --- | --- | --- | --- | --- | --- | --- | One smolt mortality each found in units 1 and 2.
LGS | 2012-06-27 | 0 | 2 | 1 | 0 | 1 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 4 | 144 | 144 | 137 | 93 | 4 | 0 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2012-07-11 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 336 | 297 | 188 | 5 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2012-07-18 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 168 | 120 | 36 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2012-07-25 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 168 | 137 | 6 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2012-07-28 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 74 | 54 | 3 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2012-08-08 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 264 | 155 | 1 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2012-08-16 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 192 | 34 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2012-08-22 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 144 | 9 | 4 | 0 | 1 | 0 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2012-08-29 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 168 | 5 | 0 | 0 | 1 | 0 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2012-09-06 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 189 | 95 | 0 | 0 | 7 | 10 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2012-09-12 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 144 | 94 | 0 | 0 | 11 | 0 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2012-09-19 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 168 | 85 | 0 | 0 | 7 | 1 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2012-10-01 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 243 | 28 | 5 | 10 | 1 | 15 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2012-10-11 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 224 | 2 | 69 | 6 | 0 | 2 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2012-10-16 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 120 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2012-10-23 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 168 | 0 | 57 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2012-10-29 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 144 | 0 | 30 | 15 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2012-11-06 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 192 | 0 | 75 | 43 | 0 | 1 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2012-11-14 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 192 | 0 | 59 | 16 | 3 | 1 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2012-11-20 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 144 | 0 | 1 | 50 | 11 | 0 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2012-11-26 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 144 | 0 | 0 | 63 | 0 | 4 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2013-12-05 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 205 | 0 | 0 | 95 | 52 | 55 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2013-12-11 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 90 | 0 | 0 | 113 | 125 | 11 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2013-12-19 | 0 | 0 | 0 | 0 | 29 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 29 | 163 | 0 | 0 | 99 | 63 | 37 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2013-12-27 | 0 | 17 | 0 | 9 | 0 | 19 | --- | --- | --- | --- | --- | --- | --- | --- | 45 | 68 | 0 | 0 | 27 | 76 | 138 | --- | --- | --- | --- | --- | --- | --- | ---
LGR | 2012-01-30 | 1 | 169 | --- | 17 | 40 | 11 | --- | --- | --- | --- | --- | --- | --- | --- | 238 | 46.3 | 442.9 | --- | 340.8 | 691.9 | 337.7 | --- | --- | --- | --- | --- | --- | --- | ---
LGR | 2012-02-28 | --- | 157 | --- | 82 | 254 | 3 | --- | --- | --- | --- | --- | --- | --- | --- | 496 | --- | 457.3 | --- | 358 | 473.5 | 165 | --- | --- | --- | --- | --- | --- | --- | ---
LGR | 2012-03-28 | 36 | 122 | --- | 82 | 254 | 3 | --- | --- | --- | --- | --- | --- | --- | --- | 497 | 368 | 656.3 | --- | 383.3 | 516 | 344.4 | --- | --- | --- | --- | --- | --- | --- | ---
LGR | 2012-04-30 | 15 | 23 | 34 | 4 | 64 | 35 | --- | --- | --- | --- | --- | --- | --- | --- | 175 | 794.7 | 796 | 758.8 | 303.5 | 722.4 | 581 | --- | --- | --- | --- | --- | --- | --- | --- | Smolts mortalities recovered: U 1, 3 & 6: 4 each; U2: 11 and U5: 9..
LGR | 2012-05-31 | 5 | 5 | 1 | --- | 10 | 11 | --- | --- | --- | --- | --- | --- | --- | --- | 32 | 748 | 748 | 739.1 | --- | 602.2 | 552.6 | --- | --- | --- | --- | --- | --- | --- | --- | U4 not inspected due to safety clearance.
LGR | 2012-06-27 | 0 | 4 | 3 | --- | 21 | 12 | --- | --- | --- | --- | --- | --- | --- | --- | 40 | 650.5 | 639.7 | 538.5 | --- | 265.5 | 226.7 | --- | --- | --- | --- | --- | --- | --- | --- | U4 not inspected due to safety clearance.
LGR | 2012-07-31 | 0 | 0 | 0 | --- | 4 | 5 | --- | --- | --- | --- | --- | --- | --- | --- | 9 | 293 | 705 | 364.1 | --- | 62.1 | 23.6 | --- | --- | --- | --- | --- | --- | --- | --- | U4 not inspected due to safety clearance.
LGR | 2012-08-29 | --- | 1 | 0 | --- | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 1 | --- | 655.2 | 21.3 | --- | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | U1 & U4 not inspected due to safety clearances (both out of service).
LGR | 2012-09-25 | 0 | 0 | 0 | --- | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 307.4 | 489.1 | 168 | --- | 0.3 | 0.4 | --- | --- | --- | --- | --- | --- | --- | ---
LGR | 2012-10-29 | --- | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | --- | 785.7 | 108.1 | 117.9 | 1.1 | 19.8 | --- | --- | --- | --- | --- | --- | --- | --- | U1 not inspected as unit was not operated.
LGR | 2012-11-28 | --- | 0 | 1 | 0 | --- | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 1 | --- | 510.6 | 385.5 | 171 | --- | 12.1 | --- | --- | --- | --- | --- | --- | --- | --- | U1 and U5 not inspected as these units were not operated.
LGR | 2012-12-31 | 10 | 1 | 87 | 47 | --- | 24 | --- | --- | --- | --- | --- | --- | --- | --- | 169 | 43.4 | 25.2 | 533.3 | 507.8 | --- | 414.5 | --- | --- | --- | --- | --- | --- | --- | --- | U5 not inspected as this unit was not operated.

## 2013 Lamprey Data
Turbine Unit Strainer Inspections 2013
Location | Date | Turbine Units (Number Lamprey Found) | [14 empty] | Turbine Units (Hours Run Time)
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Totals | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Notes
MCN | 2013-01-08 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | --- | 0 | 0 | 0 | --- | 1 | 829 | 826 | --- | 821 | 835 | 824 | 838 | 261 | 835 | --- | 812 | 820 | 815 | --- | U3, U10 & U14 OOS. Juvenile shad mortalities found in all inspected unit except U5.
MCN | 2013-02-05 | 1 | 2 | 0 | 1 | 1 | 0 | 2 | 2 | 0 | 0 | 0 | 2 | 0 | 0 | 11 | 631 | 670 | --- | 671 | 615 | 667 | 672 | 671 | 666 | --- | 663 | 672 | 663 | --- | U3, U10, U11 & U14 OOS. 1 lamprey was recovered live (each) in U4, U8 & U12.
IHR | 2013-01-30 | --- | 1 | 0 | --- | --- | 1 | --- | --- | --- | --- | --- | --- | --- | --- | 2 | --- | 251 | 832 | --- | --- | 110 | --- | --- | --- | --- | --- | --- | --- | --- | U5 OOS. Juv Shad Mortalities: 4 in U2, 149 in U3.
IHR | 2013-01-31 | 0 | --- | --- | 3 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 3 | 1122 | --- | --- | 880 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | U5 OOS. Juv shad Mortalities: 1 in U1, 40 in U4.
LMO | 2013-01-07 | 2 | 4 | 4 | 6 | 5 | 7 | --- | --- | --- | --- | --- | --- | --- | --- | 28 | 12.2 | 647.4 | 266.9 | 52.8 | 109.9 | 132.7 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2013-01-02 | 0 | 0 | 0 | 0 | 4 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 4 | 41 | 0 | 0 | 97 | 90 | 15 | --- | --- | --- | --- | --- | --- | --- | --- | U5: one juvenile salmonid mortality recovered.
LGS | 2013-01-09 | 10 | 0 | 0 | 0 | 2 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 12 | 56 | 0 | 0 | 16 | 60 | 119 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2013-01-15 | 0 | 0 | 0 | 0 | 1 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 1 | 0 | 0 | 0 | 60 | 53 | 142 | --- | --- | --- | --- | --- | --- | --- | ---
LGS | 2013-01-23 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 0 | 0 | 0 | 76 | 61 | 135 | --- | --- | --- | --- | --- | --- | --- | ---
LGR | 2013-01-29 | 0 | 0 | 0 | 0 | 0 | 1 | --- | --- | --- | --- | --- | --- | --- | --- | 1 | 3 | 48.6 | 165.4 | 472.5 | --- | 405.6 | --- | --- | --- | --- | --- | --- | --- | --- | U5 not operated over the past month..
LGR | 2013-02-26 | --- | 4 | 11 | 9 | --- | 5 | --- | --- | --- | --- | --- | --- | --- | --- | 29 | --- | 164.4 | 254.6 | 524.8 | --- | 349.8 | --- | --- | --- | --- | --- | --- | --- | --- | U1 & U5 not operated over the past month.