# FPP Change Request Form

Change Request Number & Title: 14JDA003 TSW End of Season Removal

Date Submitted:  08/08/13

Project: JDA

Requester Name, Agency: NWP Fisheries

Location of Change - FPP Project and Section:

JDA Section 2.2. Spill Management.

Proposed Changes (in track changes to existing section):

2.2. Spill Management.  See the Fish Operations Plan (Appendix E) for more information.  Spill patterns formulated with spillway deflectors in place are provided in Table JDA-8 for spill with temporary spillway weirs (TSWs) installed in bays 18 and 19 and Table JDA-9 for spill with no TSWs installed (bays 18 and 19 closed).  These will be used for both adult and juvenile patterns.  Minimum spill of 25% is to provide adequate tailrace egress for juvenile salmonids.  Spill from Bay 2 (1 stop=1.6K) is provided for adult attraction during daylight hours from September 1–November 30.  Provisions are in place for deviations from normal spill patterns for barge traffic entering the navigation lock and have been coordinated with the fish agencies and tribes through the proper fish regulatory forums (e.g., TMT, FPOM, FFDRWG).  Minimum spill rate is 30% from April 10–August 31.

2.2.1.  Both TSWs will be installed as early as possible on the first day of spring spill operations on April 10 and operated throughout the spring and summer spill seasons.  During high flow events, TSW removal is recommended prior to river flows exceeding 685 kcfs.   Both TSWs will be removed from service as late as possible on the last normal work day of the summer spill season (on or no later than August 31).

Justification for Change:

This language is to provide coverage for TSW closure at the end of spill season when August 31 falls outside the normal work week (Mon-Thurs).

Comments from others:

Record of Final Action: