CENWP-OD-TF								30 March 2017

MEMORANDUM FOR THE RECORD

SUBJECT: 17BON08 Modification of the Spill Table

The spill table has been modified starting at 293.1 Kcfs and carried up to just over 600 Kcfs; the FPP pattern appears to stop at 300 Kcfs.  The modification is necessary to start a crown pattern with the goal of reducing the shoreline velocities and prevent a failing of the shoreline.  This does not address the potential of moving rocks into the stilling basin.

At these river volumes, protecting our infrastructure for juvenile and adult passage during and beyond the spill event is critical.

Sincerely,

Portland District Fisheries