CENWP-OD-TF								30 March 2017

MEMORANDUM FOR THE RECORD

SUBJECT: 17TDA17 Modification of the Spill Table

In the event of high river flows that result in spill volumes around 300Kcfs, the COE proposes a few changes to the spill pattern.  The changes are to prevent an increase of energy on the north side of the wall which could potentially cause undercutting and start at a spill volume of 320.5 Kcfs.  The spill patterns have been updated to show when to open the restricted gates.  The spill pattern was revised up to approximately 600 Kcfs.

Sincerely,

Portland District Fisheries