# Fish Passage Plan (FPP) Change Request Form

**Change Form # & Title**: 17TDA005 –Sluiceway Operation during Involuntary Spill

**Date Submitted**: March 9, 2017

**Project**: TDA

**Requester Name, Agency**: Bob Cordie, The Dalles Fisheries

**Final Action:**

**FPP SECTION**:

TDA 2.2.2. Spill Management.

**JUSTIFICATION**:

No specification as to how many gates.

**PROPOSED CHANGE**: (edits to existing FPP text shown in “track changes”)

**2.2.2.** During spill that occurs December 16 through the end of February, the Ice & Trash Sluiceway (ITS) will be operated if available to provide a surface passage route. Operate 3 gates on Unit 1 and 3 gates on Unit 18.

**COMMENTS**:

**RECORD OF FINAL ACTION**: