# Fish Passage Plan (FPP) Change Request Form

**Change Form # & Title**: 18BON001 – Table BON-5 correction

**Date Submitted**: September 1, 2017

**Project**: BON

**Requester Name, Agency**: Erin Kovalchuk, COE

**Final Action:**

**FPP Section**: Under section 2.2.3, Table BON-5 Day/Night Spill Schedule

**Justification for Change**: Daytime start schedule for October 30- November 30 should say 0630 not 0600. This appears to be a typo.

**Proposed Change**: Change the start time to 0630.

Table BON-5. Day/Night Spill Schedule for Bonneville Dam.

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Date Range** | **Day Start Hour** | **Day End Hour\*** | **Night Start Hour \*** | **Night End Hour** |
| Jan 1–19 | 0700 | 1730 | 1730 | 0700 |
| Jan 20–Feb 14 | 0630 | 1800 | 1800 | 0630 |
| Feb 15–Mar 1 | 0600 | 1830 | 1830 | 0600 |
| Mar 2–Apr 2 | 0600 | 1930 | 1930 | 0600 |
| Apr 3–20 | 0500 | 2030 | 2030 | 0500 |
| Apr 21–May 16 | 0500 | 2100 | 2100 | 0500 |
| May 17–31 | 0430 | 2130 | 2130 | 0430 |
| Jun 1–30 | 0430 | 2130 | 2130 | 0430 |
| Jul 1–31 | 0430 | 2200 | 2200 | 0430 |
| Aug 1–15 | 0500 | 2145 | 2145 | 0500 |
| Aug 16–31 | 0500 | 2030 | 2030 | 0500 |
| Sep 1–16 | 0530 | 2000 | 2000 | 0530 |
| Sep 17–Oct 4 | 0600 | 1930 | 1930 | 0600 |
| Oct 5–19 | 0630 | 1900 | 1900 | 0630 |
| Oct 20–29 | 0630 | 1830 | 1830 | 0630 |
| Oct 30–Nov 30 | 0630 | 1700 | 1700 | 0600 |
| Dec 1–31 | 0630 | 1700 | 1700 | 0630 |

**Comments**:

**Record of Final Action**: