OFFICIAL COORDINATION REQUEST FOR

NON-ROUTINE OPERATIONS AND MAINTENANCE

COORDINATION TITLE- 20 DWO 02 Unit 3 Digital Exciter Commissioning

COORDINATION DATE- 22 September 2020

PROJECT- Dworshak Dam

RESPONSE DATE- 6 October 2020

Description of the problem- Replacement of Dworshak Dam digital exciters was completed for Units 2 and 3 in December of 2019.  The contractor had tentatively scheduled the partial recommissioning of unit 3 digital exciters for April/May 2020 but was delayed due to Covid-19. Unit 3 outage is scheduled for October 5-15 with commissioning scheduled for October 13-14.  Commissioning will require operating the units at speed no load for up to 2 hours October 13 with a second day available if needed.

LWG Project biologist will be onsite for biological monitoring of the tailrace during commissioning and will contact Sherman Sprague from NPT to participate.

Type of outage required- N/A

Impact on facility operation (FPP deviations) – N/A

Impact on unit priority- N/A

Impact on forebay/tailwater operation- Tailwater conditions will change based on turbine operations during the commissioning process.

Impact on spill- N/A

Dates of impacts/repairs- Commissioning will be over a two day period from October 13-14 with unit operated as outlined in the attached schedule.

Length of time for repairs- Commissioning is expected to take up to two days to complete.  Testing requiring the unit to be operated at speed no load is expected to last 1 to 2 hours October 13 and up to about 2 hours October 14 if needed.  Units will remain rolling during starts and stops to minimize potential impacts to fish.

Analysis of potential impacts to fish

- 10-year average passage by run during the period of impact for adults and juvenile listed species, as appropriate for the proposed action and time of year; NA.

- Statement about the current year’s run (e.g., higher or lower than 10-year average); The 2020 Fall Chinook and Steelhead returns at Lower Granite are below the 10-year average.  As of 18 September, adult steelhead passage is 35.4% of the 10-year average and fall Chinook is 91% of the ten year average at Lower Granite Dam.  Coho 2020 returns are about 87%.  Reduced fish passage at Lower Granite suggests that less adult steelhead will have migrated into the North Fork of the Clearwater River to hold prior to spawning.

- Estimated exposure to impact by species and age class (i.e., number or percentage of run exposed to an impact by the action); Information not accessible. Type of impact by species and age class (increased delay, exposure to predation, exposure to a route of higher injury/mortality rate, exposure to higher TDG, etc.); Information not accessible.

Summary statement - expected impacts on:

Downstream migrants: Minimal impacts are expected.

Upstream migrants (including Bull Trout): Minimal impacts are expected.

Lamprey: Minimal impacts are expected.

Comments from agencies:

Final coordination results:

After Action update (After action statement stating what the effect of the action was on listed species. This statement could simply state that the MOC analysis was correct and the action went as expected, or it could explain how the actual action changed the expected effect (e.g., you didn’t need to close that AWS valve after all, so there was no impact of the action).  List any actual mortality noted as a result of the action)

Please email or call with questions or concerns.

Thank you,

Elizabeth Holdren

Supervisory Fisheries Biologist

Lower Granite Lock and Dam

Ph. 1(509)843-2263

Elizabeth.a.holdren@usace.army.m