**CENWP-OD-B28 August 2023**

**MEMORANDUM FOR THE RECORD**

**SUBJECT: 23BON084 MFR Unit 12, 14, and 18 Forced Outage**

At 1416 on Friday 25 August, Units 12, 14, and 18 at Powerhouse 2 (PH2) tripped and were forced out of service (OOS) unexpectedly. Unit 16 was brought into service from 1425 to 1440 for power generation while U12, 14, and 18 were OOS. U12, 14, and 18 were all back in service by 1437 on 25 August.

The cause of the repeated PH2 Units tripping is still under investigation.

Bonneville Fisheries apologizes for the late reporting of this MFR. Project Biologists were not notified of the unit outage over the weekend during regular fishway inspections. The Bio’s received notification on the morning of Monday 28 August and generated this MFR for FPOM notification immediately.

Sincerely,

BON Project Fisheries