Change Request Number: 12BON004 2.5.1.1.m PH1 ITS winter ops

Date:  19 December 2011

Proposed by:  Project Fisheries

Location of Change:  BON section 2.5.1.1.m

Proposed Change:

2.5. Adult Fish Passage Facilities.

2.5.1. All Adult Fish Passage Facilities Operating Criteria.

2.5.1.1. December 01 through end of February (Winter Maintenance Period).

m.  Except when closed to facilitate maintenance activities, the PH1 ITS gates 1A, 1B, 3B, 6C and 10B should remain open from December 01 through the end of February.  This operation is intended to facilitate steelhead kelt passage.

1.  Set chain gate 1A at 71’ msl and 1B at 73’ msl.  Ensure gates 3B, 6C, and 10B are operating according to Table BON-6.

2.  From December 15 through the end of February the Project may close the ITS endgate or ITS gates to facilitate winter maintenance (including researcher equipment O&M) in the PH1 forebay.  Closures may not exceed six hours unless otherwise coordinated with FPOM.

Reason for Change: Incorporating the flexibility to close the ITS when needed for short durations or for maintenance activities will streamline the coordination process.  For instance, if researchers need to look at trolley pipes but the day originally coordinated is too windy, an alternate date may be chosen as the convenience of the Project and not require full FPOM coordination.

Comments from others:

Project Fisheries requested four hours be increased to six hours and 3C be changed to 3B.

FPOM requested gate opening be included.

Record of Final Action: approved at the 20 January 2012 FPP meeting.