# FPP Change Form

Change Request Number: 12BON012 Table BON-14 unit priority

Date:  12 January 2012

Proposed by:  NOAA Fisheries and FPOM

Location of Change:  Table BON- 14

Proposed Change:

Table BON-14. Turbine unit operating priorities,  Powerhouses One and Two.

| ## PERIOD | ## PRIORITY |
| --- | --- |
| March 1– April 09; kelt passage operations | 1,10,3,6,2,4,5,8,7,9 11,12,13,14,15,16,17,18 |
| April 10 – November 30; adult fish ladders are in service | 11,18,12,17,13,14,15,16, 1,10,3,6,2,4,5,8,7,9 |
| First Powerhouse Adult Fish Ladder out of service | 11,18,12,17,13,14,15,16, 1,10,3,6,2,4,5,8,7,9 |
| Second Powerhouse Adult Fish Ladder out of service | 1,10,3,6,2,4,5,8,7,9 11,18,12,17,13,14,15,16, |
| Split flows unit priority (all units available) | 1,10,11,18,12,17,13,14,15,16,3,6,2,4,5,8,7,9 |
| PH1 unit priority | 1,10,3,6,2,4,5,8,7,9 |
| PH2 unit priority | 11,18,12,17,13,14,15,16, |

See Appendix A, BON section, for unit priorities during FGE and survival tests.  Additional changes in unit priorities may occur and will be authorized in RCC teletypes as needed.

Reason for Change: This addresses PH1 priority for kelt operations from 1 March through 09 April.

Comments from others: FPOM wanted to adjust the PH2 unit priority from 1 March through 9 April.  The south units should be prioritized to try to maximize flow towards the B2CC.

Record of Final Action: approved at the 20 January 2012 FPP meeting with changes to the PH2 priority.