Change Request Number: 12JDA002 Spill Operations Relocated to Appendix E

Date:  June 30, 2011

Proposed by:  Doug Baus

Location of Change:  2.2. spill management.

Proposed Change:

2.2. Spill Management.  See the Fish Operations Plan (Appendix E) for more information.  Spill patterns formulated with spillway deflectors in place are provided in Table JDA-9.  These will be used for both adult and juvenile patterns.  Spill from Bay 2 (1 stop or 1.6K) is provided for adult attraction during daylight hours between September 1 through November 30.

Reason for Change: This section is inconsistent with the FOP.  Details regarding specific spill operations are addressed in “Appendix E: Operations Related to Project Spill for Fish Passage” in the FPP and not in the narrative portion of the FPP.

Comments from others: Fredricks suggested the FOP refer to the FPP rather than the language be moved from the FPP to the FOP.  FPOM doesn’t have control over the FOP and has limited ability to update the FOP.

FPOM recommends minimum spill be included in all the sections of the FPP.  It can also be in the FOP, but it needs to be in the FPP.

Record of Final Action: this change form was denied by FPOM at the 20 January 2012 FPP meeting.  Have check in at next FPOM on the outcome of this with the COE internal legal policy.