Change Request Number: 12JDA003 2.5.1.2.a.6

Date:  12-15-11

Proposed by:  David Benner, FPC

Location of Change: JDA 2.5.1.2 a6

Proposed Change:

6. Staff gages and water level indicators will be readable at all water levels encountered during the fish passage period, and calibration checked weekly.  . Instruments will be cleaned and/or recalibrated when necessary, and ASAP.

Reason for Change: Consistency with other projects.

Comments from others:

Record of Final Action: approved at the 20 January 2012 FPP meeting.