# FPP Change Form

Change Request Number:  12TDA001 Spill Table Revision

Date:  May 9, 2011

Proposed by: Greg Bowers, COE - NWD

Location of Change:  Section Table TDA-6 2010 Spill Pattern

Proposed Change:  Revised spill table for TDA.

Reason for Change: 2011 FPP Table TDA 6 - 2010 Spill Pattern, was misleading and needed clarification.  Spillway bay numbers: 10, 11, 13, 16, 18, 19, and 23 are highlighted as “operationally restricted because of structural or wire rope issues” yet gate openings are identified as if they would actually be operated during normal operating conditions.  This was misleading because these gates will not be operated under normal conditions due to these limitations.  The revised spill table deleted the gate openings for the spillway gates that will not be used during normal operating conditions in an effort clarify the actual spill pattern.

Comments from others:

12 May 2011- this pattern removes the openings in those bays that are not available for use to those that are available for use.

FPOM requests time to look at the patterns before approving.

Record of Final Action: approved at June 2011 FPOM meeting