Interoffice Memo

Date:	09/11/00

From:	TAMMY_M

RE:	Unit  6 draft tube dewatering

36 sturgeon were recovered from Unit 6 draft tube, 15 of which were dead.  They were stuck on the drain preventing the water from exiting the draft tube.  The drain was burped in an effort to push the dead fish off of the drain.  At that point a four foot sturgeon floated to the top of the water and could be seen from the draft tube hatch opening.   The two large sturgeon and their injuries were photographed and a file started.

TM