CENWP-OP-B

09 June 2004

MEMORANDUM FOR THE RECORD

SUBJECT: PH1 oil spill

The spill occurred on 05 June when a valve was left open to fill the governor oil tank for Main Unit 8.   Approximately 1400 gallons of turbine oil was spilled into PH 1.  The oil drained into the sump and pumped to the oil water separator where 25 gallons of emulsified oil was released into the water downstream of the old navigation lock.  Out of the 25 gallons released, 10 gallons were unrecoverable.   (These numbers are estimates until the final report is released)

Biologists did not see any dead fish or other negative impacts from the Oil spill.

Bonneville Fisheries