OFFICIAL NOTIFICATION FOR

NON-ROUTINE OPERATIONS AND MAINTENANCE

NOTIFICATION DATE-  26 April 2010

PROJECT-  Bonneville Lock and Dam

RESPONSE DATE- No response required, but comments are always welcome.

Description of the problem- The connection for a boat exclusion buoy, on the north side of the BGS, broke.  The Project needs to get a contractor in to repair the connection.  Until the repairs can be made, the B2CC must be shut for boater/public safety.

Type of outage required- The B2CC will be closed.  During the repairs, generation at PH2 will need to be reduced to two main units and the two fish units.

Impact on facility operation- The teletype restricting operations is below.

Length of time for repairs- The B2CC was closed at 1330 on 26 April and will remain closed until the boat exclusion buoys are repaired.  Repairs are expected to be completed by 28 April.

Expected impacts on fish passage- There are expected to be impacts on fish passage.  Juveniles will not have the B2CC as a passage route.  This is a successful passage route during the spring.  Fish that would normally have used the B2CC will need to use the JBS or go through the turbines.

Comments from agencies

Final results- A teletype was issued at 0920 on 26 April.

1. CLOSE THE BONNEVILLE TWO CORNER COLLECTOR (B2CC) IMMEDIATELY ON MONDAY, APRIL 26, 2010, UNTIL FURTHER NOTICE.

2. THIS OPERATION IS REQUESTED DUE TO SAFTEY CONCERNS ASSOCIATED WITH THE BROKEN BOAT EXCLUSION DEVICE THAT KEEPS BOATS OUT OF THE B2CC.

3. REPAIR WORK IS ESTIMATED TO BE COMPLETED BY WEDNESDAY, APRIL 28, AT 1900 HOURS. IF REPAIRS ARE NOT COMPLETED AT THIS TIME THEN CONTIUE THIS OPERATION UNTIL REPAIRS ARE COMPLETED.

4. LIMIT PH2 TO A 50 KCFS (TWO MAIN UNITS AND TWO FISH UNITS) OPERATION WHILE THE TUG IS REPAIRING THE BOAT EXCLUSION DEVICE.

5. ONCE THE BOAT EXCLUSION DEVICE IS REPAIRED REVERT BACK TO THE OPERATION SPECIFIED IN THE TELETYPE BON R 040910 1230 SPILL FOR JUVENILE FISH PASSAGE.

6. THIS OPERATION WAS REQUESTED BY BEN HAUSMANN (COE) AND WAS COORDINATED WITH DONAVAN MCNEALE (BON), SCOTT BETTIN (BPA), PAUL WAGNER AND GARY FREDRICKS (NOAA FISHERIES).

7. RCC POINT OF CONTACT IS DOUG BAUS. WORK (503) 808-3995. HOME (503) 351-3692.

DOUG BAUS

CENWD/RCC10

Please email or call with questions or concerns.

Thank you,

Tammy Mackey

NWP Operations Division Fishery Section

Tammy.m.mackey@usace.army.mil