OFFICIAL COORDINATION REQUEST FOR

NON-ROUTINE OPERATIONS AND MAINTENANCE

COORDINATION DATE-  18 November 2010

PROJECT-  Bonneville Lock and Dam, PH2

RESPONSE DATE- 19 November 2010

Description of the problem- Starting on 1 December, contractors will begin the removal of the B2 BGS.  PNNL has 4 node anchors with marker buoys that are positioned approximately 100’ upstream and running parallel to the BGS.  These bouys and floats need to removed prior to the BGS contractor starting work.

Type of outage required-  It allow the safe removal of these node and the associated cables, PNNL and BON project have requested that a maximum of 4 units plus 1 fish unit be operated at B2 from 0700-1600 on 22 November.  This reduced turbine operation will allow PNNL and their work boats to maneuver safety around the B2 Forebay and BGS area with less current

Impact on facility operation- The Second Powerhouse is currently still the priority powerhouse.  We are asking that 2 units worth of flow be transferred over to PH1 for the day.  With current river flow at or around 120K there is room to transfer flow to PH1 with no impact to generation.

Length of time for repairs/removal- Request that 2 units worth of flow be transferred to PH1 from 0700-1600 on 22 November.  PNNL anticipates that the work will only take between 4-5 hours.  If completed early, PH2 units will be brought back online when appropriate.

Expected impacts on fish passage- Fish impacts are expected to be minimal due to the low numbers of fish.  Adult fishway entrances are still in operation and 2/3 of the total river will still be passing at PH2.

Continuing to operate the DSM with screened units will provide normal passage conditions and thus no increased impacts to fish passage.

Comments from agencies-

-----Original Message-----

From: David_Wills@fws.gov [mailto:David_Wills@fws.gov]

Sent: Thursday, November 18, 2010 11:23 AM

To: Schwartz, Dennis E NWP

Subject: Re: Short Suspense Coordination Request (Friday Nov 19th, 2010) BON PH2 Unit Operational Shift for Acoustic Forebay Node Removal (UNCLASSIFIED)

Dennis,

Is a fish unit already down for service?  Any impacts to entrance/ladder criteria?  The form doesn't clearly address this.  If there are really no impacts to the entrance/ladder, then I would not object to the outage.  If the work will only take 4-5 hours, though, why not shorten the outage to 1000-1600?

David Wills

U.S. Fish & Wildlife Service

Columbia River Fisheries Program Office

1211 SE Cardinal Court, Suite 100

Vancouver, Washington  98683-9684

----- Original Message -----

From: Schwartz, Dennis E NWP

To: 'David_Wills@fws.gov' <David_Wills@fws.gov>

Sent: Thu Nov 18 11:41:12 2010

Subject: RE: Short Suspense Coordination Request (Friday Nov 19th, 2010) BON PH2 Unit Operational Shift for Acoustic Forebay Node Removal

Dave,

You are right.  One fish unit is out but BON is still meeting entrance criteria with one unit.  On the issue of shorter hours.  The cold and inclement weather may play a factor on Monday so I wanted to give them a bigger window if we need it.  Best case scenario is that they finish early and we can return sooner than planned.  Thanks Dave and let me know if these answers are sufficient for your support.  I have a call into Gary as well for his 2 cents.

Dennis

-----Original Message-----

From: Mackey, Tammy M NWP

Sent: Thursday, November 18, 2010 11:47 AM

To: Schwartz, Dennis E NWP; Rerecich, Jonathan G NWP

Subject: Re: Short Suspense Coordination Request (Friday Nov 19th, 2010) BON PH2 Unit Operational Shift for Acoustic Forebay Node Removal

Only comment would be, if the work cannot occur starting 1 Dec, then push it to as close to 1 Dec as possible.  This may reduce the need to return to PH2 priority since PH1 would be priority starting 1 Dec anyway.  Tam

-----Original Message-----
From: Schwartz, Dennis E NWP 
Sent: Thursday, November 18, 2010 12:23 PM
To: Mackey, Tammy M NWP; Rerecich, Jonathan G NWP
Subject: RE: Short Suspense Coordination Request (Friday Nov 19th, 2010) BON PH2 Unit Operational Shift for Acoustic Forebay Node Removal

Tammy,

Talked to James about this and compounding factors such as the Thanksgiving Holiday and AFEP the following week are driving this request for Monday.  I have concurrence from USFW so far.

Dennis

Final results-  Attempted anchor removal went forward as coordinated.  Found the anchors were 1000 lb ecology blocks.  Removal will be part of the BGS removal contract.

Please email or call with questions or concerns.

Thank you,

Dennis Schwartz

Dennis Schwartz, Fisheries Biologist

NWP Fish Passage Team, Environmental Resources

503-808-4779

Dennis.e.schwartz@usace.army.mil