CENWP-OD-B

07 February 2011

MEMORANDUM FOR THE RECORD

SUBJECT: Dead sturgeon associated with Unit 1 testing.

Bonneville Fisheries was informed of three sturgeon mortalities at 1600 and 1615 on 03 February by Fish Field Unit.  All mortalities were associated with Unit 1 testing.  The following information was provided by Fish Field Unit sea lion observers:

- 15:40 - had 2 large (4') sturgeon float up from the PH1 upwelling and float downstream - clearly dead - no obvious trauma

- 16:07 - one large (4-5') sturgeon floated up from upwelling - clearly dead - head 'sliced' (top down) (slice may have been gills)

Unit 1 wicket gate testing occurred from 1542 until 1603 on 03 February, the wicket gates were cycled between 30-70% open.  The unit was slow rolled 10 minutes prior to testing.  Wicket gates testing also occurred on 02 February.  Unit 1 remains out of service due to sticky wicket gates.

The Project will continue to slow roll all units as outlined in the Fish Passage Plan, section BON 5.7.

Bonneville Fisheries