OFFICIAL COORDINATION REQUEST

FOR

NON-ROUTINE OPERATIONS AND MAINTENANCE

COORDINATION DATE-  11/5/2008

PROJECT NAME-  John Day Dam

RESPONSE DATE-  As soon as possible.

Description of the problem

JDA Electrical crew is asking for an emergency outage of line 1 to clean cormorant poop from the 500Kv insulators.

They would like to perform this cleaning at 0630 on 15 November.

Type of outage required

The JDA line 1 outage will require Units 1-4 to be out of service.

Impact on facility operation

If this cleaning is not performed there is a high risk of arcing (which happened early this week).  This work needs to be performed before the inclement weather hits.  The Project needs approval as soon as possible to coordinate equipment and people.

Length of time for repairs

A total of four hours is requested.  This includes two hours for cleaning and time to hang and remove the clearance.

Expected impacts on fish passage

The fishway will have reduced attraction flow, but there are few adults passing this time of year so the impacts should be minimal during this outage.

Flushing flow will be reduced for the SMF outfall as well.  Given the time of year, there are very juveniles so there should be minimal impact to them as well.

Comments from agencies

NOAA Fisheries- No concerns other than I am getting concerned with the lack of a decent advance notification of the recent coordination requests.  I hope they are working on a plan for something that will keep cormorants out of the transformer area so that we don't see this one again.  I would like to hear more about this at O&M next week.

FPC- My only comment would be to shut the units off in the middle of the day.

Response from JDA- Is there other passage data on first light and last light passage? We've looked at it and that theory doesn’t always hold true. Check out the graph. (attached at the end of this document)

The north counts could have a delay, since the station is so high on the ladder, but the south station is pretty relatively close to the entrance.

IDFG-  no objections.

FWS- Go ahead.

Final results-

Until FPOM can further discuss the diel passage of fish at JDA, the Project will anticipate moving forward with the work, but plan for a start time of 0930 instead of 0630.

Please email or call with questions or concerns.

Thank you,

Tammy

Tammy Mackey

NWP Operations Division Fishery Section

Columbia River Coordination Biologist

541-374-4552 Bonneville Office

503-691-5733 Blackberry

Tammy.m.mackey@usace.army.mil