OFFICIAL COORDINATION REQUEST FOR

NON-ROUTINE OPERATIONS AND MAINTENANCE

Coordination Title: 13TDA04 BPA RAS testing

COORDINATION DATE- 16 Apr 2013

PROJECT- The Dalles Lock and Dam

RESPONSE DATE- 09 May 2013 (FPOM)

Description of the problem- Unit 18 is a fish priority unit due to its open sluicegates. BPA is requesting units 17-22 out of service for DC RAS testing on July 18 and July 22 for approximately 10 hours each.  Unit 16 will be the priority unit. Approximately 1 hour will be needed to close and open unit 16 chaingates each time.

Type of outage required- Unit 18 and associated sluicegates.

Impact on facility operation- Change to unit 16 as priority operating unit with associated chaingates open.

Length of time for repairs- 10 hours each day

Expected impacts on fish passage- No impact is expected because all units east of unit 16 will be off line, hence no turbine entrainment. Unit 16 will have its chaingates open for sluiceway passage.

Comments from agencies

09 May 2013 FPOM- approved.

Final results-  This testing will move forward as coordinated above.

Please email or call with questions or concerns.

Thank you,

Tammy

Tammy Mackey

NWP Operations Division Fishery Section

Columbia River Coordination Biologist

503-961-5733

Tammy.m.mackey@usace.army.mil