OFFICIAL COORDINATION REQUEST

FOR

NON-ROUTINE OPERATIONS AND MAINTENANCE

COORDINATION DATE-   Feb 13, 2009

PROJECT-  Lower Monumental dam

RESPONSE DATE-  Feb. 18, 2009

Description of the problem

BPA - TBL (Transmission Business Line) needs to conduct maintenance at the Lower Monumental substation.  Because this maintenance will require the disconnection of the substation from the power grid, causing a powerhouse outage.  The powerhouse outage is slated to place on 19 & 20 February, from 0800 hours to 1800 hours daily.  Turbine unit 5 will be run at “speed -no load” to provide station service, approx 5 kcfs.

Type of outage required:

Powerhouse outage except for unit 5 (station service).

Information from BPA, “…run LMN near minimum flow with a speed-no-load plus

spill during outage hours.”

Impact on facility operation:

Minimal as power is still available to operate fish pump etc.

Length of time for repairs

Repairs for transmission lines will start at 0800 and last until 1800 hrs on 19 and 20 Feb.

Expected impacts on fish passage

Minimal, due to the units 1-4 and 6 will be tagged out of operation and spill may occur.

Comments from agencies

Bill Hevlin – This time of year should not be a problem

Dave Wills – Outside of the fish passage period

Left message with 1045 hrs 13 Feb.

Gary Fredricks

Tom Lorz

Dave Benner

Final results:

Please email or call with questions or concerns.

Thank you,

Greg Moody

509-527-7124