OFFICIAL COORDINATION REQUEST

FOR

NON-ROUTINE OPERATIONS AND MAINTENANCE

COORDINATION DATE- 	Feb 24, 2009

PROJECT- 	Lower Granite Dam

RESPONSE DATE-

Description of the problem:	Lower Granite Dam watered up their ladder Feb 25.  It was immediately noted that the viewing room window leaked around the seals.  Leakage was enough to immediately dewater the ladder.  Plans for repairs to the window were finalized today.  The project needs to dry out the area one more day, bring in glass installers on Thursday and Friday.  Then a period of time is needed to fully cure the sealing compound.  The installer indicated that water up would be on March 2.

Type of outage required:  adult fish ladder outage to water up on March 2

Impact on facility operation:  1.  Delay in the startup operations of the adult fish ladder.

2.  The proposed testing of the adult fish trap was scheduled for Feb. 25 will also be delayed.  The new scheduled testing date for trap operations will be on March 4.

.

Length of time for repairs: The project reports that installation of the glass and curing of the seals will take until March 1.

Expected impacts on fish passage:    Adult passage will be delayed for one day.

Comments from agencies

Final results:

Please email or call with questions or concerns.

Thank you,

Greg Moody

509-527-7124