## Lower Granite
Lower Granite - Critical Fish-Related Equipment
Cranes |  |  | Adult Fishway
Intake Deck Crane
| Main Hoist |  | Fish Pumps 1, 2, 3
Spreader Bar
| Tugger |  | Bulkheads for dewatering fishway
Trash Rack Rake and hoist
Tailrace Deck Crane |  |  | Ladder
| Hoist |  |  | Exit trash racks
| Spreader Bar |  |  | Water Supply Trash Racks
Mobile Cranes |  |  |  | Difuser 14 Valves/Weir controls
| 50 Tone Crane |  |  | Count Window
| Boom Truck |  |  |  | Picketed Leads
| Lifts |  |  |  | Window Cleaning Brushes
Collection channel
Spillway |  |  |  | Fish Pumps 1, 2, 3
| RSW components PMs, stow - unstow tests. |  |  | Difusers 3 - 13 and sluice gates
| Hoists - PMs |  |  | SSE 1 & 2
| Stoplogs |  |  | NPE 1, 2 & 3
NSE 1, 2 & 3
Turbine Units |  |  |  | Floating Orifice Gates 1, 4, 7 and 10.
| 6 year Overhauls |  |  | Fall out fence
Annual Maintenance
| Trash Rack Cleaning |  | Adult Trap
Holding Tanks
ESBSs |  |  |  | Crowders
| Differential Measurements |  |  | Water Supply Valves and Diffuser 14.
Video Inspections
| Annual maintnenance |  | Barges
| Electrical Controls/cables |  |  | 2000
| Brush Linkages |  |  | 4000
| Release Cable |  |  | 8000
Flow Vanes
VBS
Differential Measurements
Regular in season video inspections
Dry Gatewell Inspections
Orifices
Lights
Grating/Platform
Wagner Horn Covers
Orifice Valves regular inspections/backflush
Make-up water valve
Transport Facility
Sluice Gates
42"
72"
Inclined Screen
Airburst System
Perforated Plate
Wet Separator
Fish distribution system
Crowders
Brushes
Screens
Valve, Slide Gate Switch Gates
Raceways
Supply Valves
Drain and Release Valves
Hoists
Gratings
Barge and Truck Loading Flumes and Pipes
Sample Facility and Equipment
Holding amd Sample Tanks
Sample Gates
Count Tunnels
PIT tag detection equipment
Sort by code / recapture gate
"Full Flow" Detector
Water Cannon/Bird Cannon
Bird Wires

## Little Goose
Little Goose - Critical Fish-Related Equipment
Cranes |  |  | Adult Fishway
Intake Deck Crane
| Main Hoist |  | Fish Pumps 1, 2, 3
Spreader Bar
| Tugger |  | Bulkheads for dewatering fishway
Trash Rack Rake and hoist
Tailrace Deck Crane |  |  | Ladder
| Hoist |  |  | Exit trash racks
| Spreader Bar |  |  | Water Supply Trash Racks
Mobile Cranes |  |  |  | Difuser 13 Valves/Weir controls
| 50 Tone Crane |  |  | Count Window
| Boom Truck |  |  |  | Picketed Leads
| Lifts |  |  |  | Window Cleaning Brushes
Collection channel
Spillway |  |  |  | Fish Pumps 1, 2, 3
| TSW components PMs, High & Low Crest Weir. |  |  | Difusers 3 - 12 and sluice gates
| Hoists - PMs |  |  | SSE 1 & 2
| Stoplogs |  |  | NPE 1, 2 & 3
NSE 1, 2 & 3
Turbine Units |  |  |  | Bulkheads sealed at floating orifice gates.
| 6 year Overhauls |  |  | Fall Out Fence
Annual Maintenance
Trash Rack Cleaning
ESBSs
Differential Measurements
Video Inspections
Annual maintnenance
Electrical Controls/cables
Brush Linkages
Release Cable
Flow Vanes
VBS
Differential Measurements
Regular in season video inspections
Dry Gatewell Inspections
Orifices
Lights
Grating/Platform
Orifice Valves regular inspections/backflush
Make-up water valve
Primary Dewaterer
36" Valve
24" Valves (3)
18" Valve
Overflow Weir Operation
Inclined Screen
Cleaning Brush
Airburst system
Stoplogs
Downstream Plate
Diversion Valve at base
Transport Facility
Perforated Plate
Wet Separator
Fish distribution system
Crowders
Brushes
Screens
Valve, Slide Gate Switch Gates
Raceways
Supply Valves
Drain and Release Valves
Hoists
Gratings
Barge and Truck Loading Flumes and Pipes
Sample Facility and Equipment
Holding amd Sample Tanks
Sample Gates
Count Tunnels
PIT tag detection equipment
Sort by code / recapture gate
"Full Flow" Detector
Water Cannon/Bird Cannon
Bird Wires

## Lower Monumental
Lower Monumental - Critical Fish-Related Equipment
Cranes |  |  | Adult Fishway
Intake Deck Crane
| Main Hoist |  | Fish Pumps 1, 2, 3
Spreader Bar
Bulkheads for dewatering fishway
Tugger
| Trash Rack Rake and hoist |  | Ladders (North & South)
Tailrace Deck Crane |  |  |  | Exit trash racks
| Hoist |  |  | Water Supply Trash Racks
| Spreader Bar |  |  | Difuser 13 Valves/Weir controls
Mobile Cranes |  |  |  | Count Windows
| 50 Ton Crane |  |  |  | Picketed Leads
| Boom Truck |  |  |  | Window Cleaning Brushes
| Lifts |  | Collection channel
Fish Pumps 1, 2, 3
Spillway |  |  |  | Difusers sluice gates
| RSW components PMs, stow - unstow tests. |  |  | NSE 1 & 2
| Hoists - PMs |  |  | SPE 1 & 2 (SPE-3 has Bulkhead)
| Stoplogs |  |  | SSE 1 & 2
Bulkheads sealed at floating orifice gates.
Turbine Units |  |  |  | Lights
6 year Overhauls
Annual Maintenance
Trash Rack Cleaning
STSs
Differential Measurements
Video Inspections
Annual maintnenance
Electrical Controls/cables
Release Cable
Drive Chains
Motor
Mesh
VBS
Differential Measurements
Regular in season video inspections
Dry Gatewell Inspections
Orifices
Lights
Grating/Platform
Orifice Valves regular inspections/backflush
Make-up water valve
Primary Dewaterer
Drain Valve
Supply Valve
Overflow Weir Operation
Inclined Screen
Cleaning Brush
Airburst system
Stoplogs
Downstream Plate
Diversion Valve at base
Transport Facility
Perforated Plate
Wet Separator
Fish distribution system
Crowders
Brushes
Screens
Valve, Slide Gate Switch Gates
Raceways
Supply Valves
Drain and Release Valves
Hoists
Gratings
Barge and Truck Loading Flumes and Pipes
Sample Facility and Equipment
Holding amd Sample Tanks
Sample Gates
Count Tunnels
PIT tag detection equipment
Sort by code / recapture gate
"Full Flow" Detector
Water Cannon/Bird Cannon
Bird Wires

## Ice Harbor
Ice Harbor - Critical Fish-Related Equipment
Cranes |  |  | Adult Fishway
Intake Deck Crane
| Main Hoist |  | Fish Pumps 1, 2, 3
Spreader Bar
Bulkheads for dewatering fishway
Tugger
| Trash Rack Rake and hoist |  | Ladders (North & South)
Tailrace Deck Crane |  |  |  | Exit trash racks
| Hoist |  |  | Water Supply Trash Racks
| Spreader Bar |  |  | Difuser 13 Valves/Weir controls
Mobile Cranes |  |  |  | Count Windows
| 50 Ton Crane |  |  |  | Picketed Leads
| Boom Truck |  |  |  | Window Cleaning Brushes
| Lifts |  | Collection channel
Fish Pumps 1, 2, 3 (North Ladder)
Spillway |  |  |  | Fish Pumps 1 - 8 (South Ladder)
| RSW components PMs, stow - unstow tests. |  |  | Difusers and sluice gates
| Hoists - PMs |  |  | NEW 1 & 2 (# 3 is a bulkhead)
| Stoplogs |  |  | NFW 1 & 2
SFE 1 & 2
Turbine Units |  |  |  | Floating orifice gates 1, 4, 10 & 12 operational - rest bulkheads or closed.
| 5 year Overhauls |  |  | Lights
Annual Maintenance
Trash Rack Cleaning
STSs
Differential Measurements
Video Inspections
Annual maintnenance
Electrical Controls/cables
Release Cable
Drive Chains
Motor
Mesh
VBS
Differential Measurements
Regular in season video inspections
Dry Gatewell Inspections
Orifices
Lights
Grating/Platform
Orifice Valves regular inspections/backflush
Make-up water valve
Primary Dewaterer
Drain Valve
Supply Valve
Overflow Weir Operation
Inclined Screen
Cleaning Brush
Airburst system
Stoplogs
Downstream Plate
Diversion Valve at base
Sample Facility
Perforated Plate
Flume
Lift Mechanism
Crowders
Brushes
Screens
Drop Gates
Bypass Pipe
Sample Facility and Equipment
Holding amd Sample Tanks
PIT tag detection equipment
"Full Flow" Detector
Water Cannon/Bird Cannon
Bird Wires

## McNary
McNary - Critical Fish-Related Equipment
Cranes |  |  | Adult Fishway
Powerhouse - Crane 5 |  |  | Fish Pumps 1, 2, 3
Main Hoist
| Spreader Bar |  | Bulkheads for dewatering fishway
| Tugger |  | Stoplogs for dewatering fishways
Trash Rack Rake and hoist
Spillway - Cranes 6 & 7 |  |  | Ladders (Oregon & Washington)
| Main Hoist |  |  | Exit trash racks
| Spreader Bar |  |  | Tilting Weirs
Tailrace Deck -Crane 4 |  |  |  | Water Supply Trash Racks
| Main Hoist |  |  | Difuser 13 Valves/Weir controls
| Spreader Bar |  |  | Count Windows
Oregon Shore Ladder - Crane 9 |  |  |  |  | Picketed Leads
| Main Hoist |  |  |  | Window Cleaning Brushes
| Spreader Bar |  | Collection channel
Washington Shore Ladder - Crane 10 |  |  |  | Fish Pumps 1, 2, 3
| Main Hoist |  |  | Difusers sluice gates
| Spreader Bar |  |  | WFE 2 & 3 (#1 normally closed as it is a shallower entrance, #4 has stoplogs - 30 years in place).
Fish Pumphouse - Crane 3 |  |  |  | NFE 2 & 3 (#1 normally closed as it is a shallower entrance, #4 new bulkheads last year).
| Main Hoist |  |  | SFE 1 & 2
| Spreader Bar |  |  | Floating Orifice Gates 1, 3, 4, 8, 14, 21, 26, 32, 37, 41, 43, and 44.
Upstream Navlock - Derrick Crane 3 (used to lower mobile crane to fishway) |  |  |  | Bulkheads sealed at unused floating orifice gates.
| Main Hoist |  |  | Lights
| Spreader Bar |  |  | Fence - auxillary water gravity feed.
Mobile Cranes
| 90 Ton Crane |  | WASCO Plant Bypass / Diverter Valves
Boom Truck
Lifts
Spillway
RSW components PMs, stow - unstow tests.
Hoists - PMs
Stoplogs
Turbine Units
9 year Overhauls
Annual Maintenance
Trash Rack Cleaning
ESBSs
Differential Measurements
Video Inspections
Annual maintnenance
Electrical Controls/cables
Release Cable
Drive Chains
Motor
Flow Vanes
VBS
Differential Measurements
Regular in season video inspections
Dry Gatewell Inspections
Orifices
Lights
Grating/Platform
Orifice Valves regular inspections/backflush
Make-up water valve
Primary Dewaterer
Drain Valve
Supply Valve
Overflow Weir Operation
Inclined Screen
Cleaning Brush
Airburst system
Stoplogs
Downstream Plate
Diversion Valve at base
Transport Facility
Perforated Plate
Wet Separator
Fish distribution system
| Crowders | Brushes
Screens
Valve, Slide Gate Switch Gates
| Raceways | Supply Valves
Drain and Release Valves
Hoists
Gratings
Barge and Truck Loading Flumes and Pipes
Sample Room and Equipment
Holding amd Sample Tanks
Sample Gates
Count Tunnels
PIT tag detection equipment
Sort by code / recapture gate
"Full Flow" Detector
Water Cannon/Bird Cannon
Bird Wires