## Sheet1
[6 empty] | Exp. Diffuser area |  | 1200000 | sq cm | diffuser width = | 24 | feet
Fish Criteria for Zinc Concetration = |  |  |  | 0.026 | mg/l | Leach rate = |  | 5 | mg/cm^2/day | diffuser length = | 10 | feet
[6 empty] | 1 cfs = | 86400 | ft^2/day = |  | bar spacing = | 0.75 | in
[6 empty] | 1ft^3 = | 28.32 | liters |  | Number of bar across Length |  | 160
[6 empty] | 1cfs = | 2446848 | liters/day = F |  | number of sides = |  | 2 |  | 6.4516 | cm^2/in^2
Salmon | [5 empty] | conc = Leach rate *Area/(Q(cfs) * F) |  |  |  | Depth of bars = | 2 | in
Flow |  | Ladder Flow = |  | 86 | cfs |  |  |  |  | Surface Area of bars exposed = |  | 184320 | sq in = | 1200000 | sq cm
(Ladder head = 1 foot)
| Exit* |  | Required |  | cumulative
FB | Channel | Conc | Diff. Q | Conc. | conc.
(ft) | Q (cfs) | mg/l | (cfs) | mg/l | mg/l
257 | 33 | 0 | 53 | 0.046267 | 0.028513
264 | 62 | 0 | 24 | 0.10217 | 0.028513
268 | 80 | 0 | 6 | 0.40869 | 0.028513
*Flow based on JDAS model results
Shad
Flow |  | Ladder Flow = |  | 115 | cfs
(Ladder head = 1.3 foot)
257 | 33 | 0 | 82 | 0.029904 | 0.021323
264 | 62 | 0 | 53 | 0.046267 | 0.021323
268 | 80 | 0 | 35 | 0.070061 | 0.021323