PSMFC McNary Dam, P.O. Box 1230, Umatilla, Oregon 97882

Phone (541) 922-3630 Fax (541) 922-4101

McNary Temperature Report #4

July 6 - 12, 2012

A total of 209,109 juvenile salmonids were collected at the McNary Juvenile Fish Facility (JFF) for this weekly period (Figure 1 and Table 1).  Subyearling fall chinook accounted for 99.7% of the total collection.  Daily flows for this week averaged 341.6kcfs.  Spill averaged 202.4kcfs (59.2%).  The system mortality averaged 0.01% for the week.  Sample tank mortality averaged 0.44%.  Mortalities are being enumerated from the separator, sample tanks and the recovery raceway before being returned to the river.

Fish are being sampled every other day with bypass return to the river.  Units 3 and 8 are off for rewinding.  All orifices are open.

Figure 1:  Collection and Mortality

Table 1:  Collection and Mortality With Daily and Weekly Averages

|  |  |  | Mortality |  | Flow |  |  | Air Temp |  | Wind Speed |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Collection | Sample | System | Total | Turbine | Spill | Avg. | Max. | Avg. | Max |
|  | 7/6/12 | 66,600 | 0.60% | 0.01% | 362.9 | 145.7 | 212.5 | 74.1 | 93.6 | 2.4 | 20.0 |
|  | 7/7/12 |  |  |  | 348.3 | 144.1 | 199.5 | 77.3 | 95.1 | 3.0 | 27.0 |
|  | 7/8/12 | 40,200 | 0.00% | 0.01% | 328.9 | 144.7 | 179.5 | 81.4 | 98.5 | 3.0 | 33.0 |
|  | 7/9/12 |  |  |  | 328.5 | 143.4 | 180.4 | 79.3 | 96.1 | 2.3 | 16.0 |
|  | 7/10/12 | 56,700 | 0.00% | 0.00% | 330.9 | 120.5 | 205.7 | 79.9 | 94.7 | 1.3 | 10.0 |
|  | 7/11/12 |  |  |  | 345.7 | 121.7 | 219.4 | 78.9 | 98.7 | 2.3 | 11.0 |
|  | 7/12/12 | 45,609 | 0.88% | 0.03% | 346.3 | 122.0 | 219.6 | 77.2 | 93.2 | 2.8 | 14.0 |
| Weekly Average |  | 52,277 | 0.44% | 0.01% | 341.6 | 134.6 | 202.4 | 78.3 | 98.7 | 2.4 | 33.0 |

Air temperatures at the McNary JFF averaged 78.3ºF for the week.  Maximum hourly air temperature was 98.7°F on July 11 (Figure 2).  The minimum temperature was 57.5ºF on July 6 from 5:00am to 6:00a.m.  Winds over the course of the week averaged 2.44mph with gust peaking up to 33.0mph on July 3.

Figure 2:  Weather and Forebay Water Temperature

There are 36 temperature probes located throughout the Project and the JFF.  These probes are set to record temperatures at 30-minute intervals.  These probes are located at the following locations:

- Forebay, near elevation 335 approximately 5 feet below the surface.  These are attached to the pier noses in front of turbine units 1, 3, 5, 7, 8, 10, 12, and 14.

- In front of spillbays 22, 17, 12, 7 and 2, approximately 5 feet below the surface.  These probes are hung in the center of the spillbay, on the tailrace side.

- Attached to the handrail in the center of the “B” turbine gatewell slots, approximately 2 to 3 feet below the surface, in all 14 turbine units.

- Tailwater locations are at turbine unit 1 and 14 (tailrace), and the wingwall of the navigation lock.  These were placed 5 feet below the water surface.

- The collection channel had probes installed below turbine units 12, 8 and past unit 1 at the beginning of the transition screen.

- The barge transportation dock.

- Fish separator.

- Transport holding raceway #1 at a depth of 2 – 3 feet.

Forebay water temperatures (Table 2) peaked this week with 71.8ºF on July 10 at 2:30p.m., in front of unit 12.  The average was 62.7ºF across the forebay.  Gatewell water temperatures for all units combined averaged 62.1ºF (Table 3).  Gatewell temperatures peaked at 69.98ºF on July 12 in unit 13 at 4:30p.m.

Table 2:  Forebay Water Temperatures

|  | Daily Average |  |  |  |  |  |  |  | Daily |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 1F | 3F | 5F | 7F | 8F | 10F | 12F | 14F | Max |
| 7/6/12 | 60.5 | 60.5 | 61.2 | 61.6 | 60.7 | 61.7 | 62.0 | 62.2 | 66.2 |
| 7/7/12 | 61.4 | 61.2 | 62.0 | 62.2 | 61.4 | 62.7 | 62.3 | 62.5 | 69.6 |
| 7/8/12 | 62.1 | 62.0 | 62.4 | 62.5 | 61.9 | 62.4 | 62.7 | 63.0 | 66.2 |
| 7/9/12 | 62.1 | 62.0 | 61.9 | 61.9 | 61.7 | 62.4 | 62.6 | 62.9 | 66.4 |
| 7/10/12 | 62.0 | 61.9 | 61.9 | 62.0 | 62.2 | 63.3 | 64.2 | 64.4 | 71.8 |
| 7/11/12 | 63.5 | 62.7 | 62.9 | 63.1 | 62.8 | 64.1 | 64.5 | 64.6 | 69.8 |
| 7/12/12 | 64.0 | 63.5 | 64.0 | 64.2 | 63.3 | 65.0 | 65.9 | 65.8 | 71.1 |
| Weekly Average | 62.2 | 62.0 | 62.3 | 62.5 | 62.0 | 63.1 | 63.5 | 63.6 | 71.8 |

Table 3:  Gatewell Water Temperatures for Units 1, 7 & 14

|  | Daily Avg. |  |  | Daily Max. |  |  | Daily Min. |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 1 | 7 | 14 | 1 | 7 | 14 | 1 | 7 | 14 |
| 7/6/12 | 60.3 | 60.7 | 61.1 | 61.2 | 62.8 | 62.8 | 59.9 | 59.9 | 60.4 |
| 7/7/12 | 60.8 | 61.1 | 61.8 | 62.2 | 62.6 | 64.0 | 60.4 | 60.6 | 61.2 |
| 7/8/12 | 61.6 | 61.6 | 62.6 | 63.7 | 63.5 | 64.4 | 60.6 | 60.8 | 61.3 |
| 7/9/12 | 61.9 | 61.8 | 62.6 | 62.8 | 62.8 | 63.7 | 61.3 | 61.3 | 62.2 |
| 7/10/12 | 61.8 | 62.0 | 63.2 | 63.3 | 62.4 | 65.3 | 61.3 | 61.5 | 62.6 |
| 7/11/12 | 62.7 | 62.6 | 63.3 | 64.6 | 64.0 | 65.3 | 61.9 | 61.9 | 62.6 |
| 7/12/12 | 63.2 | 63.8 | 64.8 | 64.0 | 66.2 | 68.0 | 63.0 | 63.0 | 63.7 |
| Weekly Average | 61.6 | 61.9 | 62.8 | 63.1 | 63.5 | 64.8 | 61.2 | 61.3 | 62.0 |

The differences in temperatures between the gatewell at unit 1 and the gatewell at unit 14 are illustrated in Figure 3.  This graph takes the temperature in the gatewell and subtracts unit 14 from that gatewell (unit 1 – 14).  It then continues down the powerhouse subtracting unit 14 from each consecutive unit.  A negative number indicates that unit 14 was the warmer unit.  Conversely, a positive number indicates that unit 1 was warmer.  This shows the reader the amount of variance from one end of the powerhouse to the other that can be seen through out a 24-hour period.

Figure 3:  Average Gatewell Temperature Differentials for Units 1 - 14

Forebay differentials (Figure 4) are calculated by taking the forbay temperature and subtracting the corresponding gatewell temperature from it (1F – unit 1).  A negative number would indicate that the gatewell was warmer.  Conversely, a positive number indicates that the forebay is warmer.  Again, this shows the reader the amount of variance that can be seen between the forebay and the gatewell throughout a 24-hour period.

Figure 4:  Average Temperature Differentials Between Forebay and Gatewell

Average water temperature in the collection channel was 62.3ºF (Table 4) for the week.  A maximum temperature of 67.8ºF was recorded at 6:00pm, below Unit 12.  Temperatures at the separator averaged 61.8ºF for the week with a maximum daily temperature of 65.5ºF (Table 5).  The temperature in raceway #1 averaged 62.4ºF with a high of 66.0ºF July 12 at 7:30pm.

Table 4:  Collection Channel Average and Maximum Water Temperatures

|  | Daily Avg. |  |  | Daily Max. |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | 1 | 8 | 12 | 1 | 8 | 12 |
| 7/6/12 | 60.3 | 60.9 | 61.0 | 61.2 | 62.2 | 62.8 |
| 7/7/12 | 60.9 | 61.4 | 61.7 | 62.1 | 63.3 | 64.2 |
| 7/8/12 | 61.5 | 62.0 | 62.4 | 62.4 | 63.1 | 64.2 |
| 7/9/12 | 61.7 | 62.3 | 62.5 | 62.2 | 63.0 | 63.7 |
| 7/10/12 | 62.0 | 62.6 | 63.0 | 63.0 | 64.8 | 66.6 |
| 7/11/12 | 62.4 | 62.9 | 63.1 | 63.3 | 64.2 | 65.1 |
| 7/12/12 | 63.7 | 64.4 | 64.8 | 65.3 | 67.3 | 67.8 |
| Weekly Average | 61.8 | 62.4 | 62.7 | 62.8 | 64.0 | 64.9 |

Table 5:  Raceway, Barge Dock and Separator Maximum and Average Water Temperatures

|  | Daily Avg. |  |  | Daily Max. |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Separator | Raceway 1 | Dock | Separator | Raceway 1 | Dock |
| 7/6/12 | 60.4 | 60.9 | 60.1 | 61.2 | 61.9 | 60.4 |
| 7/7/12 | 60.9 | 61.5 | 60.5 | 62.2 | 62.8 | 60.6 |
| 7/8/12 | 61.6 | 62.2 | 61.1 | 62.4 | 65.3 | 61.5 |
| 7/9/12 | 61.8 | 62.4 | 61.6 | 62.4 | 62.8 | 61.7 |
| 7/10/12 | 62.0 | 62.6 | 61.6 | 63.0 | 63.7 | 61.9 |
| 7/11/12 | 62.5 | 63.0 | 62.1 | 63.5 | 63.9 | 62.8 |
| 7/12/12 | 63.7 | 64.3 | 63.0 | 65.5 | 66.0 | 63.7 |
| Average | 61.8 | 62.4 | 61.4 | 62.9 | 63.8 | 61.8 |

Collection channel differentials (Table 6) are calculated by taking the forebay temperature and subtracting the collection channel temperature from it at the three corresponding points.  This is an average of the variances between the forebay and the collection channel.  A negative number indicates that the collection channel was warmer.  A positive number indicates the forebay was warmer.  The graph (Figure 5) shows the variance through out the week.

Table 6:  Average Differences between Forebay and Collection Channel

|  | 1 | 8 | 12 |
| --- | --- | --- | --- |
| 7/6/12 | 0.2 | -0.2 | 1.0 |
| 7/7/12 | 0.5 | 0.1 | 0.6 |
| 7/8/12 | 0.6 | -0.1 | 0.3 |
| 7/9/12 | 0.3 | -0.5 | 0.1 |
| 7/10/12 | 0.0 | -0.4 | 1.2 |
| 7/11/12 | 1.1 | -0.1 | 1.4 |
| 7/12/12 | 0.3 | -1.2 | 1.2 |
| Average | 0.4 | -0.3 | 0.8 |
| Maximum | 5.4 | 2.7 | 6.8 |
| Minimum | -1.6 | -4.1 | -1.3 |

Figure 5:  Average Temperature Differentials Between Forebay and Collection Channel