### CENWP-OP-B                                                                                                           8 May 2000

MEMORANDUM FOR CENWP-OP, ATTN:  Gary Johnson

SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for week 18 of 2000, which covers the period 30 April through 6 May.

- OPERATION SUMMARY.

1.1. Daily average river flow ranged from 280.0 to 314.7 kcfs.  Daily average spill ranged from 80.5 to 118.5 kcfs.  Daily average tailwater elevation for the project ranged from 22.1’ to 23.7’ msl.  River temperature ranged from 53 to 54° F.  Spill bays 1 and 18, which supply attraction flow for the Cascades Island ladder and Bradford Island ladder respectively, remain open 4”.

- Units 7, 8, and 9 were out of service from 0654 through approximately 1230 on 1 May for divers to repair transducers.  Units 13 and 6 were also out of service from 1148-1636 on 1 May and 0648-0854 on 3 May, respectively, for divers to repair transducers.

- The first powerhouse ice and trash sluiceway was closed for a portion of the week for maintenance crews to remove the main gate for repairs.  The sluiceway was reopened on 6 May.  PH1 chain gates are being operated according to PLC testing requirements.  The second powerhouse sluiceway remained closed this reporting week.

- Second powerhouse fish units remained in service this reporting week.  The units are being placed on standby from approximately 0000-0300 nightly if drawdown exceeds 1.0’.

- ACTIVITIES.

2.1. AWS Closures.  FV6-9 and FV3-7 were closed for cleaning from 1026-1033 and 1907-1928 on 1 May, respectively.

2.2. Dewaterings and Fish Salvage.  There was no dewaterings or fish salvage this reporting week.

2.3. STS Inspections.  Two units’ STS’s were inspected this reporting week.  All screens were in good condition unless otherwise noted below.  See Table 1.

| #### Unit | #### Date | #### Run Hours | #### Comments |
| --- | --- | --- | --- |
| 11 | 5/2 | 785 |  |
| 12 | 5/3 | 790 |  |

Table 1.  STS Inspection Data.

- RESEARCH.

3.1. AFC&MF Adult PIT-tag Interrogation.  NMFS ran test fish through the 26” orifices on 3 May this reporting week.  They will be leaving the 26” inserts installed an additional week thus, the 18” inserts will be installed on 16 May.  They are PIT-tagging adult chinook from the lab to get estimates of reading efficiencies for the two orifice sizes during testing.  They will be testing the 18” and 26” inserts several times throughout the season.

3.2. AFC&MF Adult Sampling and Tagging.  The University of Idaho continued radio tagging and tracking adult chinook for their adult telemetry research.  They are currently sampling 7 days per week.  CRITFC and ODFW are sampling approximately 2 days per week for their age composition research.  CRITFC has discontinued GBT monitoring due to funding however, will continue to look for evidence of GBT and Headburn.

3.3. Fisheries Field Unit Video Monitoring.  The Fisheries Field Unit is assisting NMFS adult PIT-tag interrogation work.  They are monitoring submerged orifice and overflow weir passage in the return ladder of the AFC&MF to assist NMFS in verifying passage of streamer-marked PIT-tag fish during their testing.  They are also periodically monitoring submerged orifice and overflow weir passage at Cascades Island and Washington shore ladders this year.

3.4. NMFS FGE and OPE Testing.  NMFS continued FGE and OPE testing in unit 8B and 9B slots this reporting week.  Testing was conducted nightly from approximately 1700-2330 on 30 April through 5 May.

3.5. PH2 Bypass System Evaluation.  NMFS resumed releasing PIT-tagged juvenile chinook and steelhead through the new bypass system on 1 May to determine if fish condition is adversely affected by system passage.  They released fish at unit 11 in the DSM and between the PDS and SDS at the JMF.  USGS is releasing PIT-tagged juvenile steelhead and chinook into the north and south ends of the DSM to monitor timing and stress levels of juveniles through the system.  They are working in conjunction with NMFS and recovering their fish at the JMF for observation.

3.6. PSMFC DSM1 and JMF Smolt Monitoring.  PSMFC continued 24-h/d PIT tag interrogation at DSM1 and PH2 JMF.  They are sampling daily from 1600-2400 at DSM1 and approximately 0800-1100 at PH2 JMF.

3.7. USGS Radio-Tracking.  USGS continued releasing and radio-tracking juveniles this reporting week.  They are tracking juveniles as part of the PH1 surface collector monitoring.

3.8. WDFW Fish Counting.  WDFW continued 16-h/d visual and 8-h/d video counting at Bradford Island and Washington shore.

3.9. WES/Battelle Hydroacoustic Monitoring.  WES and Battelle continued hydroacoustic monitoring of the PH1 surface collector this reporting week.  Battelle has anchored a small barge in front of the surface collector again this year with a multi-beam hydroacoustic system to monitor approach patterns.

4.  FISHWAYS.  Project biologists inspected on 1, 2, and 4 May this reporting week.

4.1. Fish Passage Plan Observations.

| DATE | ##### LOCATion | ##### FPP Deviation | ##### CAUSE | ##### RESPONSE |
| --- | --- | --- | --- | --- |
| All Week | PH1 collection channel. | Electronic velocity meter was not working and should register 1.5-4.0 fps per the FPP. | Broken cable. | Cable was repaired on 8 May of the subsequent reporting week. |
| All Week | Cascades Island diffuser FG6-18. | Diffuser is stuck partially open. | Unknown, gate binds-up when operated. | Valve can not be repaired until this winter maintenance season. |

4.2. Fish Ladder Temperatures.  Temperatures were unavailable this reporting week.

4.3. Sensor Calibration.  Water level sensors were checked for calibration on 5 May this reporting week.

4.4. Zebra Mussel Monitoring.  The zebra mussel monitoring station was inspected and showed no signs of colonization this reporting week.

DEBORAH L. CHENOWETH

# Operations Project Manager

//S//