### CENWP-OP-B                                                                                                                   05 March 2001

MEMORANDUM FOR CENWP-OP, ATTN: Gary Johnson

SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for week 09 of 2001, which covers the period 25February through 03 March.

- OPERATION SUMMARY.

  - Daily river flow averaged 125.0 to 131.9kcfs.  Daily project tailwater elevation averaged 11.5’ to 11.8 msl.  Daily project forebay elevation averaged 73.4’ to 75.5’ msl.  River temperature averaged 43 to 44° F.  Spill bays 1 and 18, which supply attraction flow for Cascades Island and Bradford Island ladders respectively, were closed to conserve water.

  - Unit 3 remained out of service for turbine rehab.   Unit 15 remained out of service for gate slot modifications.  Units 1 through 10 and 12 through 16 were out of service throughout the days of 26, 27, and 28 February for STS installation.

  - Fish Unit 1 returned to service at 1624 on 27 February following winter maintenance.  Fish Unit 1 went to standby from 1306 until 1706 on 28 February for testing by NHC.  Fish Unit 2 returned to service at 0906 on 28 February following winter maintenance.  The units are being placed on standby from approximately 0000-0300 nightly if drawdown exceeds 1.0’.

- ACTIVITIES.

  - AWS Closures.  With the start-up of Washington shore ladder, FV6-9 returned to auto at 1700 on 27 February.  FV5-3, FV5-4, and FV5-9 are operating in manual until the Cascades Island computer is reinstalled.

  - STS Inspections.  No STS, ESBS, or VBS inspections this week.  The screens were installed between 26 and 28 of February except for units 11, 17 and 18.  Those will be installed when DSM2 returns to service.

  - Dewatering and Fish Salvage.   No dewatering or fish salvage activities this reporting week.

3.   RESEARCH.

  - NMFS Lamprey Tagging and Radio Tracking.  NMFS completed trapping and tagging lamprey in the AFC&MF.  They are still tracking the fish back through the project in cooperation with the University of Idaho.

  - WDFW Fish Counting.  WDFW continues 24-h/d video counting at Bradford Island.  They resumed 24-h/d video counting at Washington Shore and Cascade Island ladders.

  - NMFS Saltwater rearing.  The Saltwater rearing facility is under construction.  Collection is expected to start in April.

  - USGS Adult Fallback.  USGS is taking GPS coordinate readings for placement of their antennas.

  - WDFW Winter Steelhead.  WDFW has resumed winter steelhead trapping and tagging at the AFC&MF.

  - PSMFC Adult PIT.  Installation is nearly complete at the Washington Shore ladder.  All in-water work is done, wiring of the office and the detector boxes remains.

4.  FISHWAYS.

  - Project biologists inspected on 26 February this reporting week.

  - Fish Passage Plan Observations.

| DATE | ##### LOCATion | ##### FPP Deviation | ##### CAUSE | ##### RESPONSE |
| --- | --- | --- | --- | --- |
| All week. | PH1 collection channel electronic velocity meter. | Meter was not working and should register 1.5-4.0 fps. | Unknown. | Waiting on new velocity meters. |
| Twice this week | Inspections | Only one out of three required was completed. | Project Biologists were understaffed. |  |
| Once this week. | Calibration | No inspection completed. | Project Biologists were understaffed. |  |

  - Fish Ladder Temperatures.  Temperatures are measured 3 weirs down from the count station at Bradford Island and at the junction of the UMT and the main ladder at Washington shore.  Thermometers are currently undergoing calibration.

  - Sensor Calibration.  Water level sensors were not checked for calibration this reporting week.

  - Zebra Mussel Monitoring.  The zebra mussel monitoring station was inspected and showed no signs of colonization this reporting week.

- MISCELLANEOUS

  - DSM2 remains out of service for winter maintenance and follow on contract work.  Powerhouse One will remain the priority powerhouse until DSM2 can be returned to service sometime during the week of 5 March.  Unscreened units will be operated first then the screened units will be last on first off.

  - Cascades Island and Washington Shore ladders returned to service at 1700 on 27 February.

  - DSM1 returned to service at 1000 on 26 February.

  - The Ice and Trash Sluiceway at the First Powerhouse was opened for maintenance activities from 1500 until 1604 on 27 February and from 0643 until 1111 on 01 March.  The ITS remains closed to conserve water, the chain gates remain closed as well.

DEBORAH L. CHENOWETH

# Operations Project Manager

//S//