### CENWP-OP-B                                                                                                                                  8 January 2003

MEMORANDUM FOR CENWP-OP, ATTN: Gary Johnson

SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for week 01 of 2003, which covers the period 29 December 2002 through 04 January 2003.

- OPERATION SUMMARY.

  - Daily river flow averaged 108.6 to 123.2 kcfs.  Daily project tailwater elevation averaged 11.5’ to 13.5’ msl.  Daily project forebay elevation averaged 74.9’ to 76.1’ msl.  River temperature averaged 42 to 43° F.  Daily turbidity measured 7.0’ on the secchi disk.

  - Spill Bays 1 and 18, which supply attraction flow for Cascades Island and Bradford Island ladders respectively, are now closed 24 hours.

  - Unit Operation

    - Unit 1 remains out of service for turbine rehab.

    - Unit 5 was out of service 0718-1030 on 30 December because of a leak in the upper guide bearing.

    - Unit 10 was out of service 1524-1636 and  0754-0854 on 2 and 3 January, respectively for trash raking.

    - Unit 11 was out of service 0700-1030 on 30 December for asbestos testing.

    - Unit 16 remains out of service for an overhaul.

  - Second Powerhouse fish units provide attraction flow for the Washington Shore fish ladder.  During fish passage season, the units are placed on standby from approximately 0000-0300 nightly if drawdown exceeds 1.0’.  Fish Unit 1 remains out of service for overhaul and stator rewind.  F2 went out of service for winter maintenance at 0700 on 16 December.

  - Gatewell drawdowns are measured on Wednesdays.

- ACTIVITIES.

  - AWS Closures.  The following AWS valves were closed for cleaning.

    - FV3-9: On 30 December 1012-1100.

  - STS/VBS Inspections.  No STS/VBSs were inspected this reporting week.

  - Dewatering and Fish Salvage.  There were no dewaterings this week.

- RESEARCH.

  - NMFS Lamprey.  Tracking continues.

  - WDFW Fish Counting.  24-hr video counts at Bradford Island.

4.  FISHWAYS

  - Project biologists inspected 30,31 December, and 02 January this week.

  - Fish Passage Plan Observations.

| DATE | ##### LOCATion | ##### FPP Deviation | ##### CAUSE | ##### RESPONSE | ##### TR/WAR |
| --- | --- | --- | --- | --- | --- |
| All week | Main dam, PH1, PH2 | Avian wires broken or removed | Vandalism and contractor work. | Will be repaired this winter. |  |
| All week | PH1 PCC velocity | Velocity <1.5 fps on electronic meter. | Unknown | No action taken. |  |

  - Fish Ladder Temperatures.  Temperatures are not recorded in the winter.

  - Sensor Calibration.  Calibration was checked on 02 January this reporting week.

  - Zebra Mussel Monitoring.  No signs of colonization were observed this reporting week.

- MISCELLANEOUS

  - B-branch and Cascade Island are in manual mode until tailwater stillwells can be installed this winter.

  - During low tailwater, the PH1 weir gates are unable to maintain greater than 8’ openings.

  - As of 13 November, and until further notice, the Project has a hard constraint tailwater elevation no less than 11.3’ msl during all hours and a soft constraint of 11.3’-11.7’msl between 0700-1900 hours.  This is for the protection of the chum redds around Ives Island.

  - To facilitate the B2 corner collector work, a teletype was issued on 18 December detailing operations.  Those operations include PH1 priority, PH1 may operate outside of the 1% peak efficiency, no more than 4 units (preferably northern units) operating at PH2, any additional generation at PH2 or any spill requires a two hour notice.  These operations will be in effect until 15 January and are the result of damage to the construction site when six units were online at PH2.

JAMES R. MAHAR

# Operations Manager

//S//