### CENWP-OP-B                                                                                                                                           18 May 2003

MEMORANDUM FOR CENWP-OP, ATTN: Gary Johnson

SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for week 20 of 2003, which covers the period 11 through 17 May 2003.

- OPERATION SUMMARY.

  - Daily river flow averaged 212.9 to 261.5 kcfs.  Daily project tailwater elevation averaged 16.8’ to 19.9’ msl.  Daily project forebay elevation averaged 73.3’ to 74.5’ msl.  River temperature averaged 51 to 52° F.  Daily turbidity measured 3.5’ to 6.0’ on the secchi disk.

  - Spill Bays 1 and 18, which supply attraction flow for Cascade Island and Bradford Island fishways respectively, are included in the spill pattern.  Spill averaged 95.6 to 148.7 kcfs.

  - Unit Operation

    - Unit 1 remains out of service for turbine rehab.

    - Unit 13 was out of service from 0700 until 1418 on 12 May for gap loss study equipment installation.  Unit 13 was out of service from 0706 until 1036 on 15 May for more gap loss study support.

    - Unit 15 remains out of service for governor work.

  - Second Powerhouse fish units provide attraction flow for the Washington Shore fish ladder.  During fish passage season, the units are placed on standby from approximately 0000-0300 nightly if drawdown exceeds 1.0’.

  - Gatewell drawdowns are measured on Wednesdays.

- ACTIVITIES.

  - AWS Closures.  No AWS valves were closed for cleaning this reporting week.

  - STS/VBS Inspections.  No STS/VBS inspections were conducted this reporting week.

  - Dewatering and Fish Salvage.  No dewatering or fish salvage activities this reporting week.

- RESEARCH.

  - CRITFC.  Sampling of chinook, sockeye, and coho continues until 31 October.

  - NMFS Lamprey.  Tracking continues once a month.  BI trap installed 13 May.  Trapping begins in June.

  - OCFWRU.  No fish collected this reporting week.

  - ODFW Steelhead.  Trapping to begin next week.

  - PSMFC at DSM1.  Continuous PIT tag interrogation continues.  GBT and monitoring continue.

  - PSMFC at the SMF.  Monitoring personnel observed one kelt stuck on the separator bars.  143 steelhead, 32 salmon, nine unknown salmonids and 583 smolts slide over the separator bars.

  - University of Idaho.  Adult tracking tagging and tracking continue.

  - U of I Transportation Study.  Evaluation of river run vs. barged Snake River juveniles to occur May-June.

  - University of Washington.  Northern pikeminnow tagging and tracking from May through July.  Will hold fish in the FERL raceways.

  - USGS Lamprey.  Collection to begin in June.

  - WDFW jaw tagging.  Tagging steelhead and spring chinook for tooth tangle net studies.

  - WDFW Fish Counting.  16-hr visual counts at Washington Shore and Bradford Island.

  - WES/Battelle/BAE systems Juvenile hydroacoustic monitoring.  Gap loss monitoring continues.

4.  FISHWAYS

  - Project biologists inspected 11 through 17 May this week.

  - Fish Passage Plan Observations.

| DATE | ##### LOCATion | ##### FPP Deviation | ##### CAUSE | ##### RESPONSE | ##### TR/WAR |
| --- | --- | --- | --- | --- | --- |
| 5/11-5/15, 5/16 | PH1 PCC | Velocity <1.5fps | Meter in slowest part of channel | No response at this time. |  |
| All week | PH2 PCC | No velocity measure. | Meter is missing | See misc. 5.1 |  |
| 5/11 | BI fishways | Reading <1.0’ | Unknown | Operators to check. |  |
| 5/12 | Weirs 37 & 38 | Reading >1.0’ | Unknown | No action taken |  |
| This week | Bonneville project | Calibration not checked | Training new staff |  |  |

  - Fish Ladder Temperatures.  Measurements are taken three weirs down from the count station at Bradford Island and at the junction of the UMT and the main ladder at Washington shore.  Temperatures are in Kelvin.  http://students.washington.edu/kyle/temptable.jpg

| Date | Wash. Shore | Bradford Is. |
| --- | --- | --- |
| 5/11 | 284.9 | 284.9 |
| 5/12 | 285.0 | 285.0 |
| 5/13 | 285.3 | 285.4 |
| 5/14 | 285.5 | 285.6 |
| 5/15 | 285.3 | 285.3 |
| 5/16 | 285.1 | 285.2 |
| 5/17 | 285.0 | 285.1 |

  - Sensor Calibration.  Calibration was checked not checked reporting week.

  - Zebra Mussel Monitoring.  No signs of colonization were observed this reporting week.

- MISCELLANEOUS

  - Divers discovered the PH2 velocity meter was missing from the collection channel.  A new meter will be installed during the mid season dives this summer.

  - Sea lions and harbor seals have been observed in the tailrace of both powerhouses and the spillway.  No action is being taken by the project to harass, harm, or otherwise annoy these animals.  FFU is monitoring and recording their activity.

  - Spillbay 6 was out of service from 0420 until 0755 on 12 May.  Bays 3 and 7 were opened instead.

  - The Project fishways are in shad bypass mode.  Ladders should read 1.3’ =/- .1’ over the weirs.

  - The AFF was not in trapping mode on 14 May due to modifications to the brail pool and repairs to the anesthetic tank.

  - On 15 May the ERG was tripped open from 1345 until 1400.  Unit 11 trashracks were raked just prior to the ERG opening.  It is believed the six Unit 11 orifices may have been opened all at once, thus flooding the system and tripping the ERG.  We will return only one gatewell (two orifices) to auto at a time to reduce the chances of this occurring in the future.

JAMES R. MAHAR, P.E.

Operations Manager

//S//