### CENWP-OP-B                                                                                                                        03 November 2003

MEMORANDUM FOR CENWP-OP, ATTN: Gary Johnson

SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for week 44 of 2003, which covers the period 26 October through 01 November 2003.

- OPERATION SUMMARY.

  - Daily river flow averaged 117.8 to 132.2 kcfs.  Daily project tailwater elevation averaged 11.3 to 12.1’ msl.  Daily project forebay elevation averaged 73.5’ to 75.7’ msl.  River temperature averaged 55 to 58° F.  Daily turbidity measured 5.0’ to 7.0’ on the secchi disk.

  - Spill Bays 1 and 18, which supply attraction flow for Cascade Island and Bradford Island fishways respectively, are open .5’ from 0530 until 1930 each day.  Spill averaged 2.1 to 2.5 kcfs.

  - Unit Operation

    - Unit 1 remains out of service for turbine rehab.

    - Units 2 through 4 remain out of service due to crane rail replacement.

    - Unit 5 returned to service at 1526 on 29 October.

    - Unit 6 returned to service at 1448 on 27 October.

    - Unit 7 returned to service at 1409 on 30 October.

    - Unit 8 returned to service at 1448 on 27 October.

    - Unit 10 was out of service from 2145 on 29 October until 0733 on 30 October due to STSs tripping.

    - Unit 11 remains out of service due to an emergency shutdown on 17 October.

    - Unit 14 returned to service at 1136 on 30 October.

  - Second Powerhouse fish units provide attraction flow for the Washington Shore fish ladder.  The units are placed on standby from approximately 0000-0300 nightly if drawdown exceeds 1.0’.

  - Gatewell drawdowns are measured on Wednesdays.

- ACTIVITIES.

  - AWS Closures.  The following AWS valves were closed for cleaning this reporting week.

FV1-1- closed for cleaning from 0740 until 0756 on 27 October.

FV3-7- closed for cleaning from 1030 until 1108 on 31 October.

FV3-9- closed for cleaning from 1500 until 1530 on 27 October and from 1030 until 1108 on 31 October.

FV6-9- closed for cleaning from 1222 until 1240 on 31 October.

  - STS/VBS Inspections.  The following STS/VBS inspections were conducted this reporting week.

| #### Unit | #### Date | #### Run Hours | #### Comments |
| --- | --- | --- | --- |
| 9 | 10/29 | 791 |  |
| 10 | 10/29 | 888 |  |

Table 1.  STS Inspection Dates.

  - Dewatering and Fish Salvage.  The following dewatering or fish salvage activities occurred this week.

    - Unit 7 tail logs were pulled on 27 October.  Salvaged catfish and sculpin.

- RESEARCH.

  - PSMFC at the SMF.  Nine steelhead and 70 fallback salmon slid off the separator bars.  Sampling concluded on 31 October.

  - WDFW Fish Counting.  16-hr visual counts at Washington Shore and Bradford Island concluded on 01 November.  16 hr video counts for both ladders began on 01 November.

  - WDFW Chum.  Chum trapping and tagging will begin on 04 November.

4.  FISHWAYS

  - Project biologists inspected 26 October through 01 November this reporting week.

  - Fish Passage Plan Observations.

| DATE | ##### LOCATion | ##### FPP Deviation | ##### CAUSE | ##### RESPONSE | ##### TR# |
| --- | --- | --- | --- | --- | --- |
| All week | PH1 PCC | Velocity <1.5fps | Meter in slowest part of channel | No response at this time. |  |
| All week | PH2 PCC | No velocity measure. | Logic board was short circuited | Sending in to mfr for repair |  |
| All week | FG3-3, FG3-4 | FG3-3 OOS | Mechanical binding. | FG3-4 to compensate. |  |

  - Fish Ladder Temperatures.  Measurements are taken three weirs down from the count station at Bradford Island and at the junction of the UMT and the main ladder at Washington shore.  Temperatures are in Kelvin this week.  http://students.washington.edu/kyle/temptable.jpg   (295.37K = 22.22C= 72F)

| Date | WA Shore | Bradford Is. |
| --- | --- | --- |
| 10/26 | 288.6 | 288.6 |
| 10/27 | 288.6 | 288.6 |
| 10/28 | 288.8 | 288.7 |
| 10/29 | 288.5 | 288.4 |
| 10/30 | 287.9 | 287.8 |
| 10/31 | 287.0 | 286.9 |
| 11/01 | 286.8 | 286.8 |

  - Sensor Calibration.  Calibration was checked on 31 October this week.

  - Zebra Mussel Monitoring.  No signs of colonization were observed this reporting week.

- CONSTRUCTION

  - PH 2 Corner Collector- Walk through scheduled for 05 November.

  - PH 1 Crane Rail Replacement- started on 01 August and will continue until 16 December.

    - Units 5 through 10 returned to service this week.

    - As a safety precaution, chain gate 7A (8B to compensate) and the ITS end gate are closed during construction.  Please see 5.2.4 for ITS closure times.

    - When Units 9 and 10 are in operation, the ITS will be opened and allowed to run for not less than four hours after the units have been shutdown (to flush fish that may have been attracted into PH1 forebay).

    - PH1 had units in operation all week.  The ITS was open the entire time.

- MISCELLANEOUS

  - Per a teletype sent on 31 October, Project tailwater will have a soft constraint of  11.2’ to 11.5’ msl between the hours of 0700 until 1900.  This constraint is for chum and the spawning habitat located below the dam.

JAMES R. MAHAR, P.E.

Operations Manager

//S//