### CENWP-OP-B                                                                                                                             20 August, 2006

MEMORANDUM FOR CENWP-OP, ATTN: Randy Bailey

SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for Week 33 of 2006, which covers the period from 13 through 19 August 2006.

- OPERATION SUMMARY

  - Daily average river flows ranged from 119.1 to 159.7 kcfs.  Daily average project tailwater elevation ranged from 10.7’ to 13.6’ msl.  Daily average powerhouse forebay elevation ranged from 73.7’ to 76.0 msl.  Daily average river temperature ranged between 70 and 71F.  Secchi disk measurements averaged 5.3 to 7.0 feet.

  - Spill Bays 1 and 18, which supply attraction flow for Cascades Island and B-Branch respectively, are included in the spill pattern.  Daily average spill ranged from 76.5 to 93.1 kcfs.

  - Unit Operation.

    - Unit 0 remains out of service due to governor trouble.

    - Unit 2 remains out of service for turbine rehab.

    - Unit 10 remains out of service for turbine rehab.

    - Unit 11 was out of service from 0429 until 1148 on 17 August and from 2146 on 17 August until 1735 on 18 August for governor calibration and tuning.  A 1% violation was reported from 1200 until 1225 on 17 August.

    - Unit 13 was out of service from 0918 until 1328 on 14 August for governor calibration and tuning.  A 1% violation was also reported for 14 August.

    - Unit 15 remains out of service while waiting for spare parts.

    - Unit 16 was out of service from 1302 on 17 August until 1013 on 18 August for governor calibration and tuning.

    - Unit 17 was out of service from 0400 until 1515 on 16 August for governor calibration and tuning.

    - Unit 18 was out of service from 0357 on 15 August until 1612 on 16 August for governor calibration and tuning.

  - Second Powerhouse fish units provide attraction flow for the Washington Shore fish ladder.  The units are placed on standby, as necessary, during nighttime hours to float debris.

    - F1 was out of service from 0355 until 1428 on 18 August for governor calibration and tuning.

  - Gatewell drawdowns are measured on Wednesdays; VBS drawdowns are measured daily on modified units.

- ACTIVITIES

  - AWS Closures.  The following AWS valves were closed.

    - FV1-1 from 0740 until 1058 on 16 August for ROV inspection.

    - FV3-7 from 0740 until 1058 on 16 August for ROV inspection.

    - FV3-9 from 1130 until 1400 on 16 August for ROV inspection and from 1445 until 1510 on 16 August for cleaning.

    - FV4-3 from 1130 until 1400 on 16 August for ROV inspection.

    - FV4-4 from 1130 until 1400 on 16 August for ROV inspection.

  - STS/VBS Inspections.  No STSs/VBSs were inspected this reporting week.

| #### Unit | #### Date | #### Run Hours | #### Comments |
| --- | --- | --- | --- |
| 11-18 | NA | NA | NA |

Table 1.  STS and VBS inspections.

  - Dewatering and Fish Salvage.  No dewatering activities occurred this reporting week.

- RESEARCH

  - CRITFC.  Sampling adult fish in the AFF.  Every other day restriction due to temperatures reaching 70F

  - ERDC TDG.  Sensors remain installed in the tailrace.

  - NOAA Fisheries- Gilbreath.  Salt water rearing subyearling chinook at the SMF continues.

  - NOAA Fisheries- Jacobson.   Collecting subyearling chinook for growth and survival work.

  - NOAA Fisheries- McComas.  Acoustic tagging in the SMF concluded in July.

  - NOAA Fisheries lamprey.  Sampling continues.

  - PSMFC smolt monitoring.  Adopted FPAC sampling protocols when water temps reached 70ºF.  Target sample size was reduced to 100 fish per day and processing every two hours throughout the day.  12 subyearling chinook were collected for NOAA researchers.

  - PSMFC PIT tag.  Monthly testing of the B2CC detectors June through October.

  - USGS lamprey.  Lamprey held in the FERL.

  - WDFW Fish Counting.  Visual fish counting continues.

- FISHWAYS

  - Project biologists inspected 13 through 19 August 2006.

  - Fish Passage Plan Observations.

| DATE | ##### LOCATion | ##### FPP Deviation | ##### CAUSE | ##### RESPONSE | ##### TR# |
| --- | --- | --- | --- | --- | --- |
| All week | DSM2 airburst | Five screens not working. | Electrical | See 4.6.2 | 06-40863 |
| All week | DSM2 | Orifice F2B-S stuck | Separated from the shaft. | Local/closed. F2B-N opened on 8/19 | 06-50979 |
| 8/13-14 | Weir 38 | Reading <1.3’> | Unknown | No action taken. |  |
| 8/14 | PH2 Unit 11 | Out of FPP priority | Governor calibrations |  |  |
| 8/16 | PH1 | Water elevations low | ROV inspection | Back in FPP criteria by end of the day |  |
| 8/18 | WS | F1 OOS | Governor calibration | Monoliths set for one fish unit operation. |  |
| 8/19 | B-branch | FG3-25/26 open | System in manual | Operators closed |  |
| 8/19 | Weir 37/38 | Reading <1.0’> | Unknown | Operators adjusted |  |
| 8/19 | Cascades Is. | FG6-11 open | Loss of power | See 4.5.7 |  |

Table 2.  FPP Out of Criteria items.

    - PH1 electronic velocity meter is in an eddy.  Due to this placement, the velocity meter reads less than 1.5 fps.  Readings to meet FPP criteria are taken from the south end mechanical meter.

    - PH2 electronic velocity meter was incorrectly installed in the winter of 04/05.

    - Cascades Island FG6-12 is closed due to a bent shaft.  Repairs can not be made until winter 06/07.  this diffuser is out of criteria when tailwater exceeds 13’

    - PH1 PCC diffusers FG2-22A and FG2-19 are closed or partially open.  Diffuser failure occurred during water up.  Repairs are scheduled for winter 07/08.  For now, the collection channel is operating within FPP criteria.

  - Fishway Temperatures.  Measurements are taken three weirs down from the count station at Bradford Island and at the junction of the UMT and the main ladder at Washington shore.

    - Due to a Palm Pilot malfunction, temperatures will not be reported this week.  We will include these missing temperatures next week.  Project river temps still read 70F.  Researchers should continue to use the guidelines for sampling at 70F.

| Date | WS avg. | BI avg. | AFF max | SMF max |
| --- | --- | --- | --- | --- |
| 8/6-12 | NA | NA | NA | NA |
| 8/13-19 | NA | NA | NA | NA |

Table 3.  Bonneville Fishway temperatures.

  - Zebra Mussel Monitoring.  No signs of colonization were observed this reporting week.

  - Adult Fishways.

    - Calibration is checked on the weekends.  B-branch tailwater and PH1 north and center collection channel are significantly out of calibration.

    - Cascades Island and B-Branch PLCs are in manual.

    - Due to temperatures at the AFF reaching 70F, trapping is limited to every other day.

    - On 16 August, the PH1 collection channel and B-Branch entrance ROV fishway inspections were completed.

    - Ladders returned to non-shad passage mode on 15 August.

    - BI exit was closed for cleaning from 1445 until 1510 on 16 August.

    - Cascades Island fishway computer system was without power on 19 August.  Electricians are working on the fishway power supply during weekends.  The ladder and diffusers are set to accommodate the anticipated water throughout the day.

  - Juvenile Fishways.

    - DSM1 remains out of service until 15 September.

    - DSM2 airburst screens 1, 4, 5, 11 and 12 do not operate consistently.  The Project is waiting on contractors before repairs may be completed.

    - Due to temperatures at the SMF reaching 70F or greater, personnel will process fish more often to reduce holding time.

- CONSTRUCTION

  - B1 ITS Wall Removal.  Plans are to remove the wall, slope the floor, and install three automated gates.

  - PH1 STS/VBS removal and TIES removal.  Six TIES and 23 PH1 STSs/VBSs will be scrapped.

  - PH2 VBS mods.  Unit 11 will go OOS in early Oct, followed by units 15 and 16.

  - SMF Full flow PIT Tag Detectors.  Testing ongoing.

- HAZMAT, SPILLS AND CLEANUP - Nothing to report.

- TELETYPES AND OTHER NOTEWORTHY ITEMS.

  - A teletype sent on 28 June requests that Bonneville start summer spill at or above 75 KCFS during daytime hours and spill to the 120% gas cap at night until further notice.

  - A teletype sent on 11 August requests that when the project is: unable to maintain 30 KCFS generation; spill at or above 75 KCFS during the day; spill to the gas cap at night; AND maintain the forebay soft constraint, then do the following-

    - Maintaining the forebay soft constraint is least important.

    - During daytime hours, spill at or above 75 KCFS and generate as needed (30 KCFS minimum).

    - During nighttime hours, generate 30 KCFS and spill a minimum of 50 KCFS.

    - If it is determined the project cannot maintain the 120% TDG spill level through the night then reduce spill as necessary to maintain forebay in the normal operating range but no not fill over the period.  Make best efforts to maintain constant spill across the period.

    - See Table Bon-6 on page BON-14 in the FPP dated March 2006 for specification of daytime hours.

  - A teletype sent on 15 August cancels the request for a soft forebay constraint of 75.0’ – 76.5’ from 0600 until 1800 Mon- Sat from 14 through 19 August.  SDS Lumber has completed their work.

  - A teletype sent on 18 August requests Bonneville pool be operated with a hard constraint 75.0 -76.5 feet, soft constraint 75.5 – 76.5 feet  to reduce wear and tear on tribal nets during the following times:

    - 0600 on 21 AUG - 1800 on 24 AUG

    - 0600 on 28 AUG - 1800 on 1 SEP

    - 0600 on 5 SEP - 1800 on 9 SEP

JAMES R. MAHAR, P.E.

Operations Manager