### CENWP-OP-B                                                                                                                          19 November, 2006

MEMORANDUM FOR CENWP-OP, ATTN: Randy Bailey

SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for Week 46 of 2006, which covers the period from 12 November through 18 November 2006.

- OPERATION SUMMARY

  - Daily average river flows ranged from 135.1 to 175.2 Kcfs.  Daily average project tailwater elevation ranged from 13.0’ to 16.3’ msl.  Daily average powerhouse forebay elevation ranged from 72.9’ to 75.1’ msl.  Daily average river temperature ranged between 52 and 53F.  Secchi disk measurements averaged .0 to 3.0 feet.

  - Spill Bays 1 and 18, which supply attraction flow for Cascades Island and B-Branch respectively, are included in the spill pattern.  Daily average spill averaged 1.1 to 1.2 kcfs.

    - Spill Bay 18 was closed from 1545 on 13 November until 0600 on 14 November so as not to attract fish to the Bradford Island fishway.  See 4.5.6

  - Unit Operation.

    - Unit 0 returned to service at 1604 on 16 November.

    - Unit 2 remains out of service for turbine rehab.

    - Unit 4 was out of service from 0355 on 14 November until 0954 on 15 November for governor calibration.

    - Unit 8 remains out of service for turbine rehab.

    - Unit 10 remains out of service for turbine rehab.

    - Unit 11 was out of service from 1506 on 14 November until 1600 on 15 November due to clogged trashracks and no crane available for raking.

    - Unit 12 was on standby from 1318 until 1521 on 14 November and from 0716 until 0914 on 17 November for VBS cleaning.

    - Unit 13 remains out of service for a four year overhaul.

    - Unit 16 remains out of service for VBS modifications.

  - Second Powerhouse fish units provide attraction flow for the Washington Shore fish ladder.  The units are placed on standby, as necessary, during nighttime hours to float debris.

    - F1 was on standby from 1233 until 1424 on 14 November for gland water leak repairs.

  - Gatewell drawdowns are measured on Wednesdays; VBS drawdowns are measured daily on modified units.

- ACTIVITIES

  - AWS Closures.  The following AWS valves were closed for cleaning for floating trash.

    - FV1-1- from 1720 on 12 November until 0530 on 13 November; 2010 on 15 November until 0525 on 16 November; 2000 on 16 November until 0520 on 17 November; 2120 on 17 November until 0512 on 18 November.

    - FV3-7- from 0837 on 13 November until 0530 on 14 November; 2010 on 15 November until 0525 on 16 November; 2000 on 16 November until 0520 on 17 November; 2120 on 17 November until 0512 on 18 November.

    - FV3-9- from 0837 on 13 November until 0530 on 14 November; 2248 on 15 November until 0215 on 16 November; 1855 on 16 November until 0520 on 17 November.

  - STS/VBS Inspections.  STSs/VBSs were inspected this reporting week.

| #### Unit | #### Date | #### Run Hours | #### Comments |
| --- | --- | --- | --- |
| 11 | NA | NA | NA |

Table 1.  STS and VBS inspections.

  - Dewatering and Fish Salvage.  No dewatering or fish salvage this week.

- RESEARCH

  - ERDC TDG.  Sensors remain installed in the tailrace.

  - NOAA Fisheries- Gilbreath.  Fish continue to be held.

  - USGS lamprey.  Lamprey held in the FERL for tagging evaluation.

  - WDFW Fish Counting.  Video counting at all three ladders.

- FISHWAYS

  - Project biologists inspected 12 through 18 November 2006.

  - Fish Passage Plan Observations.

| DATE | ##### LOCATion | ##### FPP Deviation | ##### CAUSE | ##### RESPONSE | ##### TR# |
| --- | --- | --- | --- | --- | --- |
| 11/12 | Weir 38 | Reading >1.0’ | Unknown | No action taken |  |
| 11/13-18 | Weir 37 | Reading >1.1’ | Clogged screen | Riggers/ops cleaning |  |
| 11/17 | Weir 67 | Reading >1.0’ | UMT closed | No action taken |  |
| 11/12-15 | FG6-12 | Incorrect position for TW elev. | System in manual | See 4.2.3 |  |
| 11/16-18 | CI exit gate | Gate in water | Forebay elev. | Operators raised gate |  |
| 11/12-14 | FG3-5 | Incorrect position for TW elev. | Mechanical failure | Operators TR’d |  |
| 11/12-14 | FG3-6 | Incorrect position for TW elev. | Mechanical or electrical failure | To be repaired in 07/08 |  |
| 11/13 | FV3-7/3-9 | Closed | High debris loads | Riggers cleaning |  |
| 11/13-15 | BI weirs | Reading <1.0’ | Fishway at orifice flow due to debris | See above |  |
| 11/13 | FV1-1 | Closed | High debris loads | Riggers cleaning |  |
| 11/13-15 | PH1 PCC | Differential low | FV1-1 closed | See above |  |
| 11/17 | A-branch weir | Reading >1.0’ | Unknown | No action taken |  |
| 11/18 | BI fishway | Head at picket leads | High debris loads | Riggers will clean on Monday. |  |

Table 2.  FPP Out of Criteria items.

    - PH1 electronic velocity meter is in an eddy.  Due to this placement, the velocity meter reads less than 1.5 fps.  Readings to meet FPP criteria are taken from the south end mechanical meter.

    - PH2 electronic velocity meter was incorrectly installed.  Will be corrected this winter.

    - CI FG6-12 is closed due to a bent shaft.  OOC when TW exceeds 13’.  Will be repaired this winter.

    - PH1 PCC diffusers FG2-22A and FG2-19 are closed or partially open.  Repairs scheduled for 07/08.

    - FG3-3 stuck partially open.  Repairs are scheduled for winter 07/08.  TR#07-2660

    - DSM2 airburst screens 1, 4, 5, 11 and 12 do not operate consistently.  TR#06-40863.

  - Fishway Temperatures.  Measurements are taken three weirs down from the count station at Bradford Island and at the junction of the UMT and the main ladder at Washington shore.

| Date | WS average | BI average |
| --- | --- | --- |
| 11/12 | 53.6 | 53.5 |
| 11/13 | 53.0 | 53.0 |
| 11/14 | 52.8 | 52.6 |
| 11/15 | 52.7 | 52.4 |
| 11/16 | 52.6 | 52.2 |
| 11/17 | 52.4 | 52.1 |
| 11/18 | 52.1 | 51.8 |

Table 3.  Bonneville Fishway temperatures.

  - Zebra Mussel Monitoring.  No signs of colonization were observed this reporting week.

  - Adult Fishways.

    - Calibration is checked on the weekends.  Cascades Island entrance is significantly out of calibration.

    - Cascades Island and B-Branch PLCs are in manual.

    - Stab plates remain installed in the PH2 FOGs.

    - Cascades Island exit remains open.

    - Due to the UMT closure, Weir 67 is reading greater than 1.0’ +/- .1’.

    - Due to high debris loads and clogged trashracks, Bradford Island fishway ended up at orifice flow.  Riggers were busy cleaning racks as quickly as possible.  To prevent attraction of fish to an out of criteria ladder, spill bay 18 was closed from 1545 on 13 November until 0600 on 14 November.

  - Juvenile Fishways.

    - DSM1 will continue to remain OOS until removal in winter 07/08.

    - There is an adult salmonid in DSM2 Add-in channel.  The screen and add-in bars are in proper position.  Biologists will attempt rescue whenever they are on inspection and able to see the fish.

    - The B2CC was opened at 1045 on 15 November to sluice debris from the forebay.  It is anticipated to remain open until 22 November.

  - Lamprey Fishways.

    - The Bradford Island lamprey ramp was found dewatered.  Operators restored the pumps to normal operation.

- CONSTRUCTION

  - B1 ITS Wall Removal.  Plans are to remove the wall, slope the floor, and install three automated gates.

  - PH1 STS/VBS removal and TIES removal.  Six TIES and 32 PH1 STSs/VBSs will be scrapped.

  - PH2 VBS mods.  Unit 16 is OOS.  Unit 11 will go OOS the first week of December and 15 will follow later.

- HAZMAT, SPILLS AND CLEANUP – nothing to report.

- TELETYPES AND OTHER NOTEWORTHY ITEMS

  - A teletype sent on 07 November requests a tailwater increase due to flow conditions.  Maintain a tailwater of 13’ or higher.  Provide as many pulses of water as possible, four to six hours in length.  The goal is to create undesirable spawning conditions for chum in the Ives/Hamilton area.  The Project should operate PH1 units outside 1% to minimize VBS and STS debris problems at PH2.  For this operation, PH1 will be the priority powerhouse.  This operation is necessary to accommodate the heavy flows caused by heavy rains.

  - A teletype sent on 13 November requests a tailwater of 12.5’ – 13.0’ msl from 0900 until 1500 on 14 November.  This is to facilitate chum survey activities.  Upon completion, tailwater restrictions should return to those outlined in a teletype sent on 07 November (see 7.1).

  - A teletype sent on 15 November, and effective until further notice, requests a hard constraint tailwater elevation of a minimum 12.0’.  Hard constraint elevation of 12.0’ – 12.5’ msl from 0700 until 1700 daily.  This teletype modifies the one sent on 07 November (see7.1).  This operation is expected to last through 17 November.

  - A teletype sent on 17 November replaces the 15 November (see 7.3) teletype.  It requests a hard constraint tailwater elevation minimum of 11.8’ msl during all hours and a hard constraint tailwater elevation of 11.8’ – 12.3’ msl at all hours, but with a priority from 0700 until 1900.  A note in the teletype outlines pulsing operations if needed due to high flows.  This request will remain in effect until after the TMT meeting on 22 November.

JAMES R. MAHAR, P.E.

Operations Manager