### CENWP-OP-B                                                                                                                          05 August 2007

MEMORANDUM FOR CENWP-OP, ATTN: Operations Biologist

SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for Week 31 of 2007, which covers the period from 29 July through 04 August 2007.

- OPERATION SUMMARY

  - Daily average river flows ranged from 135.5 to 194.7 kcfs.  Daily average project tailwater elevation ranged from 12.5’ to 16.4’ msl.  Daily average powerhouse forebay elevation ranged from 73.8’ to 75.1’ msl.  Daily average river temperature ranged from 71 to 72F.  Secchi disk measurements averaged 6.0’ to 7.0’.

  - Spill Bays 1 and 18, which supply attraction flow for Cascades Island and B-Branch respectively, are included in the spill pattern.  Daily average spill ranged from 88.7 to 100.4 kcfs.

  - Unit Operation. Powerhouse 2 is the priority powerhouse.

    - Unit 0 returned to service at 2200 on 02 August.

    - Unit 1 has remained out of service for headgate and fish screen removal since 26 July.

    - Unit 2 was out of service from 0630 until 1510 on 30 July, and from 0630 until 1530 on 31 July for barge movement in the forebay.

    - Unit 5 was out of service from 0025 on 30 July until 1111 on 02 August for bank 5/6 maintenance.

    - Unit 6 went out of service at 0025 on 30 July for bank 5/6 maintenance.

    - Unit 7 has remained out of service for turbine rehab since 04 June 2007.

    - Unit 8 has remained out of service for turbine rehab since 12 September 2006.

    - Unit 14 was out of service from 1322 until 1415 on 02 August for STS inspections.

    - Unit 15 has remained out of service since 09 July for exciter replacement.

    - Unit 18 was out of service from 1421 on 02 August until 0840 on 03 August for STS inspection and repair.

  - Second Powerhouse fish units provide attraction flow for the Washington Shore fish ladder.  The units are placed on standby, as necessary, during nighttime hours to float debris.

    - F1 was out of service from 0005 until 1741 on 31 July for slip ring maintenance and the ROV inspection.

    - F2 was out of service from 0007 until 1736 on 31 July for slip ring maintenance and the ROV inspection.

    - F1 and F2 had reduced loading for lamprey passage studies from:

2200 on 28 July until 0400 on 29 July.

2215 on 31 July until 0400 on 01 August.

2200 on 02 August until 0400 on 03 August.

2200 on 04 August

  - Gatewell drawdowns are measured on Wednesdays; VBS drawdowns are measured daily on modified units.

- ACTIVITIES

  - AWS Closures.  No AWS valves were closed this week.

  - STS/VBS Inspections.  STS/VBS inspections occurred this week.

Table 1.  STS and VBS inspections.

| #### Unit | #### Date | #### Run Hours | #### Comments |
| --- | --- | --- | --- |
| 11 | 8/3 | 889 |  |
| 12 | 8/3 | 695 |  |
| 13 | 8/3 | 261 |  |
| 14 | 8/3 | 432 |  |
| 15 | 8/3 | 263 |  |
| 16 | 8/3 | 165 |  |
| 17 | 8/3 | 599 |  |
| 18 | 8/3 | 895 | Repaired 24” X 88” rip in A-slot |

  - Dewatering and Fish Salvage.  No dewatering and fish salvage activities occurred this week.

- RESEARCH

  - CRITFC.  Due to temperatures exceeding 70F, sampling is restricted to once a week.  Sampling occurred on 30 July.

  - CTUIR- lamprey.  Lamprey sampling has been halted due to temperatures reaching 72F on 02 August.

  - NOAA-Gilbreath.  Salt water rearing at the Smolt Monitoring Facility.

  - NOAA- Ferguson.  B2CC detection evaluation underway.

  - NOAA- McComas. Tagging juvenile yearling chinook at the Smolt Monitoring Facility concluded mid July.

  - NOAA Lamprey.  Lamprey tagging for LPS and UI halted due to temperatures reaching 72F on 02 August .

  - PSMFC Smolt Monitoring.  No fallbacks crossed the separator bars.  65 adult shad were collected for USGS.  SbyC continues.  Modified sampling due to temperatures exceeding 70F.

  - University of Idaho- lamprey.  Block study for lamprey entrance evaluations at WS continues.

  - USDA Wildlife Services.  Avian hazing continues.

  - USGS – shad.   Collected 65 adult shad from the SMF.

  - WDFW Fish Counting.  Visual counting continues Bradford Island and Washington Shore

- FISHWAYS

  - Project biologists inspected daily from 29 July through 04 August.

  - Fish Passage Plan Observations.

Table 2.  FPP Out of Criteria items.

| DATE | ##### LOCATion | ##### FPP itEMS | ##### CAUSE | ##### RESPONSE | ##### TR# |
| --- | --- | --- | --- | --- | --- |
| BRADFORD ISLAND AND BRANCHES |  |  |  |  |  |
| 7/29-8/2 | PH1 ITS | Chaingate configuration or closure | Barge arrival and gantry 3 removal. | Please see 4.6.1 and 4.6.2 |  |
| 7/31, 8/4 | FG3-25 | Incorrect position for TW | System in manual | Operators corrected |  |
| 7/31 | BI fishway | Water elev. low. | ROV inspection | In criteria by lunch. |  |
| 8/4 | FG3-26 | Incorrect position for TW | System in manual | Operators corrected |  |
| CASCADES ISLAND |  |  |  |  |  |
| 7/30, 8/2, 8/4 | FG6-12 | Incorrect position for TW | System in manual | Operators corrected. |  |
| 7/31 | UMT Weir | Reading >1.3’ | Unknown | Operators adjusted. |  |
| 8/4 | FG6-13 | Incorrect position for TW | System in manual | Operators corrected. |  |
| All week | FG6-14 | ½ way open | Electricians need to do some rewiring. | Electricians and riggers working out scheduling. |  |
| WASHINGTON SHORE |  |  |  |  |  |
| 7/29, 8/1-4 | Weir 38 | Reading <1.3’ | Unknown. | No action taken. |  |
| 7/29 | N. monolith | Diffuser 1 open | Diffusers manually adjusted. | Operator closed the diffuser. |  |
| 7/31 | WA. Shore | head <1.5’ | ROV inspection and slip ring work. | Returned to criteria by 1741. |  |
| 8/4 | N. monolith | Diffusers 1 and 2 open | Diffusers manually adjusted. | Operators claim they are broken. |  |
| 8/4 | S. monolith | Diffusers 6 and 7 open. | Diffusers manually adjusted. | Operators closed. |  |
| All week | DSM2 Airburst | Screens 3, 6 and 9 not consistent. | Bad controls. | Will replace during winter maintenance. |  |

    - PH1 electronic velocity meter is in an eddy.  Due to this placement, the velocity meter reads less than 1.5 fps.  Readings to meet FPP criteria are taken from the south end mechanical meter.

    - PH1 PCC diffusers FG2-22A and FG2-19 are closed or partially open.  Repairs scheduled for 07/08.

    - FG3-3 stuck partially open.  Repairs are scheduled for winter 07/08.  TR#07-2660

    - FG3-5 has a damaged shaft and the valve won’t operate.  Repairs are scheduled for winter 07/08.

    - FG3-6 stuck partially open.  Repairs are scheduled for winter 07/08.

    - FG6-10 closed.  Only out of criteria when tailwater is above 19.0’ msl.

  - Fishway Temperatures.  Measurements are taken three weirs down from the count station at Bradford Island and at the junction of the UMT and the main ladder at Washington shore. Temperatures are in Fahrenheit.

Table 3.  Bonneville Fishway Temperatures.

| Date | WS average | BI average | AFF average | JMF average |
| --- | --- | --- | --- | --- |
| 7/29 | 71.5 | 71.4 | 71.6 | 70.7 |
| 7/30 | 71.0 | 70.9 | 71.1 | 70.3 |
| 7/31 | 71.0 | 70.9 | 71.1 | 70.1 |
| 8/1 | 71.3 | 71.2 | 71.5 | 70.5 |
| 8/2 | 72.1 | 71.7 | 72.1 | 71.1 |
| 8/3 | 72.1 | 71.9 | 72.2 | 71.2 |
| 8/4 | 71.9 | 71.7 | 71.9 | 70.9 |

  - Zebra Mussel Monitoring.  No signs of colonization were observed this reporting week.

  - Adult Fishways.

    - Calibration was checked on 03 August.

    - B-Branch and Cascades Island are in manual.

    - FV3-7 is in manual until the A-Branch diffusers are repaired and operating correctly.

    - Fish ladders remain in shad passage mode.

    - ROV inspections occurred on 31 July.

    - Governor testing to occur on all units from 06-10 August.  This includes the fish units.

  - Juvenile Fishways.

    - 6C remains at 70’ msl, 7A and 10C are open at 70.0’ msl.  This change is to facilitate the removal of Gantry 3, PH1 headgates, and PH1 fishscreens.  During barge arrival and departure, the ITS end gate will be closed.  This takes two to three hours.

    - On 02 August, the ITS was returned to normal configuration.  Chaingates 1C, 3C, and 6C were open at 70.0’msl.  This is to facilitate the removal of screens from Windy Welders.  The barge relocated to the north end of the powerhouse to unload the fish screens from trucks.  Anticipated return to the south end of the powerhouse, and the start of crane demolition, is 13 August.

    - Due to barge movement and relocation, the ITS was closed at the following times:

      - 1135 until 1300 on 30 July

      - 1156 until 1315 on 31 July

    - DSM1 remains OOS.

    - DSM2 orifice 18A was closed from 0634 until 0811 on 03 August for STS removal and repair.

  - Lamprey Fishways.

    - The Bradford Island lamprey ramp remains in service.

    - Washington Shore NDE lamprey ramp was put into service on 29 May.

    - The Washington shore FV6-9 lamprey ramp was put into service on 18 June.

- CONSTRUCTION

  - PH1 STS/VBS removal.  23PH1 STSs/VBSs have been scrapped.  Work started on 24 July.

  - PH1 ITS Wall Removal.  Plans are to remove the wall, slope the floor, and install three automated gates.

  - Bradford Island fish exit dredging.  Sediment sampling and sounding occurred on 31 July.

  - Bradford Island clean-up.  Removal of contaminated sediment scheduled to occur in October 2008.  Pre-removal sampling will occur in September.

  - PH2 VBS mods.  Units 14 and 18 are scheduled for winter 07/08.  U17 VBS monitoring equipment will be installed at this time as well.

- HAZMAT, SPILLS AND CLEANUP.   Nothing to report this week.

- TELETYPES AND OTHER NOTEWORTHY ITEMS

  - A teletype sent on 21 May requests that the Washington shore adult ladders be reduced to 0.5 feet head from 2200 until 0400 hours for a lamprey test running from 2 June until 1 October.

  - A teletype sent on 07 June requests that all Lower Snake and Columbia River FCRPS projects operate all turbine units within the 1% best efficiency standard during the best efficiency operating period (April 1 through October 31).  Operation outside of 1% is allowed for maintenance, start up/shut down and other instances as outlined in the Fish Passage Plan.  Operation outside of 1% is NOT allowed for any other reason unless a power emergency has been declared.

  - A teletype sent on 20 June details the start of summer spill for juvenile fish passage.

    - From 0001 on 21 June until 2400 on 15 July, Bonneville will spill 85K during daytime hours using the spill pattern provided by Dennis Schwartz, labeled “Bonneville Spill Patterns- 50-100kcfs”.  Bonneville will spill to the gas cap at night.  Refer to the 2007 FPP, page BON-14 Table BON-6 for daytime hours.

    - From 0001 on 16 July until 2400 on 31 August, Bonneville will spill 75K during daytime hours, using the spill pattern provided by Dennis Schwartz, and to the gas cap at night.

    - If it is necessary to spill above 110kcfs, the Control Room will use the spill pattern found in the 1007 FPP page Bon-51, Table Bon-15.

    - At no time will the Project voluntarily spill above the 120% gas cap.  The 120% spill cap level for Bonneville can be found in the teletype “SPILL PRIORITY LIST”.

    - At all times, maintain a minimum generation of 30kcfs and minimum spill of 50kcfs.

  - A teletype sent on 19 July provides guidance on project operation to provide voluntary and involuntary spill.  The teletype provided spill order by project, as well as spill caps for various TDG levels.

JAMES R. MAHAR, P.E.

Operations Manager