### CENWP-OP-B                                                                                                                         June 23, 2008

MEMORANDUM FOR CENWP-OP, ATTN: Operations Biologist

SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for Week 25 of 2008, which covers the period from 15 June through 21 June 2008.

- OPERATION SUMMARY

  - Daily average river flows ranged from 316.3 to 386.4 kcfs.  Daily average project tailwater ranged from 23.6’ to 26.7’ msl.  Daily average powerhouse forebay elevation ranged from 73.3’ to 74.5’ msl.  Daily average river temperature ranged from 57°F to 60°F.  Secchi disk measurements ranged from 3.0’ to 4.0’.

  - Spill Bays 1 and 18, which supply attraction flow for Cascades Island and B-branch, respectively, are included in the spill pattern.  Daily average spill ranged from 112.6 to 187.6 kcfs.

    - On 27 May, while opening Bay 15 to flush debris, the hoist failed and the gate fell to the sill.  It remains in the closed position.

  - Unit Operation.  Powerhouse 2 is the priority powerhouse.

    - Unit 7 has remained out of service since 04 June 2007 for turbine rehab.

    - Unit 8 has remained out of service since 12 September 2006 for turbine rehab.

    - Unit 11 went out of service at 0238 on 12 June due to a loose generator shroud, and remains out of service due to air housing noise.

    - Unit 12 was out of service from 1025 until 1212 on 16 June during STS installation.

    - Unit 13 was out of service from 1249 until 1433 on 18 June during STS installation.

    - Unit 14 was out of service from 1216 until 1708 on 16 June during STS installation.

    - Unit 15 was out of service from 25 November 2007 until 18 June 2008 due to exciter and pole failure, followed by a head gate hydraulic line rupture.  Was out of service from 1128 until 1358 on 19 June during STS installation.

    - Unit 16 was out of service from 1014 until 1244 on 18 June during STS installation.

    - Unit 17 was out of service from 0913 until 1122 on 19 June during STS installation.

    - Unit 18 was out of service from 0702 until 0907 on 19 June during STS installation.

  - Second Powerhouse fish units provide attraction flow for the Washington Shore fish ladder.  The units are placed on standby, as necessary, during nighttime hours to float debris.

  - Gatewell drawdowns are measured on Wednesdays.

    - On 14 May, operators discovered the VBS sensors were reading low by 0.1’-0.5’.  Additional errors in calibration were found.  The control room continues to check VBS differential manually.

- ACTIVITIES

  - AWS Closures.  The following AWS closures occurred this reporting week:

    - FV3-7 was closed for cleaning from 1250 until 1319 on 16 June.

  - STS/VBS Inspections.  No STS/VBS video inspections occurred this week.

Table 1.  STS and VBS inspections.

| #### Unit | #### Date | #### Run Hours | #### Comments |
| --- | --- | --- | --- |
| 11-18 | NA | NA | NA |

  - Dewatering and Fish Salvage. No dewatering or fish salvage activities occurred this reporting week.

- RESEARCH

  - Battelle.  BGS hydrophones are installed though not functional.  Attempts to repair the hydrophones are scheduled to occur the week of 23 June.

  - Battelle.  Spillway survival evaluation continues.

  - CRITFC.  Annual chinook, coho, sockeye and steelhead sampling in the AFF continues.

  - CTUIR.  Received seven lamprey collected by NOAA at the AFF to date for restoring lamprey to the Umatilla River.

  - NOAA – Gilbreath.  No gatewell releases occurred this week due to STS removal.

  - NOAA – Jacobson.  Collected 12 subyearling chinook from PSMFC for pathogen testing.

  - NOAA – McComas. Collected 573 subyearling chinook from PSMFC for JSATS and PIT tag testing.

  - NOAA – Moser.  Trapping and PIT tagging at the AFF continues.  No collection at WA shore north downstream entrance due to high tailwater elevation.

  - PSMFC Smolt Monitoring.  Condition, index, and gas bubble trauma monitoring at the SMF.  Please contact deanb@gorge.net for results.  Two adult steelhead were recorded crossing the separator bars.  585 subyearling chinook were collected for researchers.

  - University of Idaho.  Combining daytime, estimated nighttime, LPS counts and detections from radio and HD PIT sites to determine the best methods to estimate system wide passage of adult Pacific lamprey.  Working in the experimental flume at the AFF on lamprey passage improvements.

  - USDA Wildlife Services. Avian hazing continues.

  - WDFW Fish Counting.  Visual counts at Bradford Island and WA Shore continue.

- FISHWAYS

  - Project biologists inspected on 15-21 June.

  - Fish Passage Plan Observations.

Table 2.  FPP Out of Criteria items.

| DATE | ##### LOCATion | ##### FPP itEMS | ##### CAUSE | ##### RESPONSE | ##### TR# |
| --- | --- | --- | --- | --- | --- |
| BRADFORD ISLAND AND BRANCHES |  |  |  |  |  |
| All week | A-branch diffuser | FG 3-5 Incorrect position. | Diffuser broken. | See 4.2.4 | 08-38527 |
| 6/18 | A-branch staff gage | Water elevation >1.3 | Unknown |  |  |
| 6/18, 19 | B-branch staff gage | Water elevation >1.3 | Unknown |  |  |
| 6/18, 19, 21 | B-branch diffusers | Incorrect position | System in manual | Ops adjusted |  |
| 6/21 | B-branch entrance | Differential > 2.0 | System in manual | Ops adjusted |  |
| SPILLWAY |  |  |  |  |  |
| All week | Spillbay 15 | Gate on seal | Hoist failure | See 1.2.1 |  |
| CASCADES ISLAND |  |  |  |  |  |
| All week | FG 6-10 | Incorrect position | Diffuser broken | See 4.2.1 |  |
| 6/18 | FG 6-19 | Incorrect position | In manual | Ops adjusted |  |
| WASHINGTON SHORE |  |  |  |  |  |
| 6/16 | Weir 37 staff gage | Water elevation >1.3 | Shad on bleed off valve | Ops cleaned valve |  |

    - FG6-10 closed.  The motor was repaired on 15 August 2007.  The shaft and gate have separated and the diffuser will not be operational until repaired in winter 09/10.  It is OOC when TW is above 19.0’ msl.

    - PH1 elec. velocity meter is in an eddy.  Readings for FPP criteria are taken at the south end mechanical meter.

    - PH1 PCC diffusers FG2-22A and FG2-19 are closed or partially open.  Repairs scheduled for 09/10.

    - FG3-5 closed.  The shaft and gate have seperated.  Repairs scheduled for winter 09/10.  It’s OOC at TW 16.7’ msl and higher.

    - PH2 velocity meter.  The velocity meter is believed to be broken.  Repairs will not be made until winter 08/09.

  - Fishway Temperatures.  Measurements are taken three weirs down from the count station at Bradford Island and at the junction of the UMT and the main ladder at Washington shore. Temperatures are in Fahrenheit.

    - BI temperatures are not available at this time.   The new probe is installed but not yet programmed.

    - The WS fishway temperature probe has an upgraded power source as of 18 June.

    - The AFF temperature probe power source is being upgraded.

Table 3.  Bonneville Fishway Temperatures

| Date | WS average | AFF | BI average |
| --- | --- | --- | --- |
| 6/15 | NA | NA | NA |
| 6/16 | NA | NA | NA |
| 6/17 | NA | NA | NA |
| 6/18 | NA | NA | NA |
| 6/19 | 59.7 | NA | NA |
| 6/20 | 60.4 | NA | NA |
| 6/21 | 60.6 | NA | NA |

  - Zebra Mussel Monitoring.  No signs of colonization were observed this reporting week.

  - Adult Fishways.

    - Calibration was checked on 20 June.

    - B-Branch and Cascades Island fishway PLC are in manual.

    - Installation of the FOG sea lion exclusion bars has halted due to a broken lifting beam.  The four large orifices have bars (two at each end of the powerhouse). The stab plates remain installed in gates without exclusion bars.

    - SLEDs were removed from PH2 entrances on 10 June, from B-branch on 11 June, and from PH1 entrances on June 17.  They remain installed at Cascades Island fishway entrances.

    - Fishways remain in shad passage mode.

  - Juvenile Fishways.

    - On 21 May, a regional decision was made to pull STSs.  STSs were pulled from 21 – 23 May.  Unit 11 STSs were installed on 28 May to monitor debris accumulation on the VBSs.  Due to high VBS drawdowns after roughly 24 hours, U11 STSs were removed.  U11 STSs were re-installed on 2 June and, due to high drawdowns, were removed on 5 June.

    - All STSs were re-installed as of 19 June.

  - Lamprey Fishways.

    - WS AWS lamprey ramps remain in service.

    - BI AWS lamprey ramp returned to service on 18 June after repairs were made to the pumps.  It was taken out of service on 13 June due to pumps supplying insufficient water.

    - The WS NDE lamprey ramp remains deployed, the platform remains under water.

- CONSTRUCTION

  - PH1 ITS Wall Removal.  Three automated gates to be installed.  May slope the floor and remove the wall.

  - TIE crane.  The TIE crane boom repair is on hold until funding is secured.

- HAZMAT, SPILLS AND CLEANUP.   Nothing to report this week.

- TELETYPES AND OTHER NOTEWORTHY ITEMS

  - A teletype sent on 10 April requests the Project to begin juvenile fish spill beginning at 0001 on 10 April and continuing until further notice.  Spill will be 100Kcfs/ 24 hrs a day.  The current pattern can be found in the 2008 FPP at www.nwd-wc.usace.army.mil/tmt/documents/fpp/

  - A teletype sent on 21 May authorizes the Project remove PH2 STSs and operate the units at the upper end of the 1% efficiency band.  This action is required due to the high flows and debris building up on the VBSs and fishway trashracks.

  - A teletype sent on 16 June requests the project re-install Powerhouse 2 STS in Units 12 and 14, and operate Units 12 and 14 and all other Powerhouse 2 units according to the 2008 FPP.  As debris allows, re-install STSs in remaining Powerhouse 2 units.

  - A teletype sent on 17 June requests the Project operate Bonneville Pool with soft constraint of 1.0’ operating range, and a hard constraint operating range of 1.5.’  This operation is requested for treaty gillnet fishing.

  - A teletype sent on 17 June authorizes the Project to dog open Spillbay 14 at 2 stops (approx. 2.9’) beginning at 0700 on 18 June.  Spill shall be maintained as specified in the 041008 teletype (see 7.1).  This operation is necessary to repair the Spillbay 15 hoist.  Spillbay 14 will return to normal service once repairs are complete.

  - A teletype sent on 18 June requests the Project re-install Powerhouse 2 STS in Units 13 and 16 on 18 June, and Units 17 and 18 on 19 June.  Once STSs are installed, Powerhouse 2 units shall operate according to the 2008 FPP.

  - A teletype sent on 20 June details the start of summer spill for juvenile fish passage.  It supercedes the teletype sent on 10 April (see 7.1).

    - From 0001 on 21 June until 2400 on 20 July, Bonneville will spill 85K during daytime hours and to the gas cap at night.

    - From 0001 on 21 July until 2400 on 31 August, Bonneville will spill 75K during daytime hours and to the 120% gas cap at night.

    - The spill pattern is found in section 2, Table BON-15 of the 2008 FPP, and daytime hours are defined in section 2, Table BON-5 of the 2008 FPP.  www.nwd-wc.usace.army.mil/tmt/documents/fpp/

    - At no time will the Project voluntarily spill above the 120% gas cap.  The 120% spill cap level for Bonneville can be found in the teletype “SPILL PRIORITY LIST”.

    - At all times, maintain a minimum generation of 30kcfs and minimum spill of 50kcfs.

JAMES R. MAHAR, P.E.

Operations Manager