### CENWP-OD-B																								31 May 2009

MEMORANDUM FOR CENWP-OP, ATTN: Operations Biologist

SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for Week 22 of 2009, which covers the period from 24 through 30 May 2009.

- OPERATION SUMMARY

  - Daily average river flows ranged from 291.4 to 344.2 kcfs.  Daily average project tailwater ranged from 22.3’ to 25.1’ msl.  Daily average powerhouse forebay elevation ranged from 73.0’ to 74.6’ msl.  Daily average river temperature ranged from 56ºF to 58ºF.  Secchi disk measurements ranged from 3.0’ to 4.0’.

  - Daily average spill ranged from 104.3 to 149.6 kcfs.

    - Bay 17 remains set at two dogs (2.9 feet).

  - Unit Operation.  Powerhouse 2 remains the priority powerhouse.

    - Unit 7 has remained out of service since 04 June 2007 for turbine rehab.

    - Unit 9 has remained out of service since 04 August for turbine rehab.

    - Unit 11 has remained out of service since 12 June due to rotor damage.

    - Unit 16 has remained out of service since 09 May due to exciter troubles and a grounding issue.

  - Second Powerhouse fish units provide attraction flow for the Washington Shore (WS) fish ladder.  The units may be placed on standby, as necessary, during nighttime hours to float debris.

1.4.1	F2 was out of service on emergency shutdown from 1546 until 1841 on 30 May to replace 59G relay.

  - Gatewell drawdowns are measured on Wednesdays.

- ACTIVITIES

  - Auxiliary Water System Closures.  The following AWS valves were closed this reporting week:

    - FV 3-7 was closed for cleaning from 1325 until 1352 on 26 May.

    - FV 3-9 was closed for cleaning from 1325 until 1352 on 26 May.

  - STS/VBS inspections.  The following STS/VBS inspections occurred this reporting week:

Table 1.  STS and VBS inspections.

| #### Unit | #### Date | #### Run Hours | #### Comments |
| --- | --- | --- | --- |
| 1-2 | NA | NA | Remain out of service until 3 September. |
| 11 | NA | NA | Currently out of service |
| 14 | 5/26 | NA | Gatewell 14A visually inspected prior to NMFS gatewell fish releases |
| 12-13, 15-18 | NA | NA | No inspections this week |

2.2.1	Debris on VBSs has been increasing with increased river flows.  VBSs were cleaned over the weekend to keep drawdown within FPP criteria.

  - Dewatering and Fish Salvage.  No fish salvage or dewatering activities occurred this week.

- RESEARCH

  - CRITFC - Annual chinook, coho, sockeye and steelhead sampling in the AFF continues.

  - CRITFC- JMF video.  Waiting on new equipment for monitoring juvenile fish passage.

  - FFU- sea lion.  Sea lion observations have concluded for the year.

  - NOAA-FGE.  Test releases of PIT-tagged run of the river fish continued this week to assess passage conditions at two turbine operating ranges (middle and upper end of the 1% efficiency range).  Test fish were released at the intake into gatewell 14A.  1,968 yearling chinook collected from the JMF.

  - NOAA Lamprey.  Water-up for all lamprey passage structures occurred this week.

  - NOAA- pathogens. Determination of pathogen prevalence in juvenile salmonids.  Collected 25 yearling chinook and 25 coho from the JMF.

  - NOAA- PIT tag detectors.  Vibration sensors remain installed on Spill bay 6.

  - PNNL- BGS.  All hydrophones are installed and collecting data for the BGS evaluation.

  - PSMFC- Smolt monitoring.  Daily condition and index monitoring continues.  Fallbacks recorded crossing the separator bars included; 51 steelhead and 22 salmon.  Gas Bubble Trauma (GBT) exams occur two days per week at the JMF during spill; see www.fpc.org/CurrentDaily/Gbtsum.txt for further details.  PSMFC held 1,968 yearling chinook for NOAA gatewell 14A testing.  84 yearling chinook for University of Washington studies and 25 yearling chinook/ 25 coho for NOAA this week.

  - WDFW Fish Counting.  Visual counting continues at Bradford Island and Washington Shore fishways.

  - WDFW/ODFW/CRITFC Sea lion hazing.  Hazing from boats and trapping concluded.

  - USDA Wildlife Services. Hazing sea lions from shore concluded.  Avian hazing continues.

  - University of Idaho.  Tagging adult spring Chinook for evaluation of the Cascades Is. entrance weir.

  - University of Washington.  Barge versus bypass fish testing for latent mortality continues.  Collected 84 yearling chinook from the JMF.

- FISHWAYS

  - Project biologists inspected 24 through 30 May.

  - Fish Passage Plan Observations.

Table 2.  FPP Out of Criteria items.

| DATE | ##### LOCATion | ##### FPP itEMS | ##### CAUSE | ##### RESPONSE | ##### TR# |
| --- | --- | --- | --- | --- | --- |
| BRADFORD ISLAND (BI) – nothing out of criteria |  |  |  |  |  |
| 5/27 | BI gauges | Reading <1.3’ | Unknown | No action taken |  |
| 5/29 | FV3-9/FV3-7 | Trashrack differential | Debris | Ops to call riggers over the weekend. |  |
| CASCADES ISLAND (CI) – nothing out of criteria |  |  |  |  |  |
| 5/29 | UMT gauge | Reading <1.3’ | Unknown | No action taken. |  |
| WASHINGTON SHORE (WS) – nothing out of criteria |  |  |  |  |  |
| All week | NUE | Staff gauge missing | Not installed >24’ | Estimated elevation |  |
| 5/24 | Entrances | Open <13’ | In manual | Ops adjusted gates. |  |
| 5/27 | Weir 37 | Reading >1.3’ | Unknown | No action taken |  |
| ITS – nothing out of criteria |  |  |  |  |  |
| DSM2/ JMF- nothing out of criteria |  |  |  |  |  |

    - PH1 PCC diffusers FG2-22A and FG2-19 are closed or partially open.  Repairs scheduled for 09/10.

    - Design of a mechanical velocity meter at the PH2 south monolith is in progress.

    - CI south entrance gate remains broken and closed.  It is been OOS since 10 April.  It will remain in the closed position for all tailwater elevations during the modified entrance evaluation.

  - Fishway Temperatures.  Measurements are taken three weirs down from the count station at Bradford Island and at the junction of the UMT and the main ladder at Washington Shore.

    - The WS and BI. probes need calibrated; for now, the AFF probe is used as a surrogate.

Table 3.  Bonneville Fishway Temperatures

| Date | AFF average |
| --- | --- |
| 5/24 | 56.3 |
| 5/25 | 56.4 |
| 5/26 | 56.9 |
| 5/27 | 57.2 |
| 5/28 | 57.6 |
| 5/29 | 58.2 |
| 5/30 | 59.0 |

  - Zebra Mussel Monitoring.  No signs of colonization were observed this reporting week.

  - Adult Fishways.

    - Calibration was checked on 30 May.

    - The Washington Shore fishway entrances are in manual due to SA-24 board calibration issues.  The operators are adjusting the gates to maintain at least a 13’ opening.

    - There are currently 11 of 12 floating orifice gates (FOG) installed at Powerhouse 2.  The last gate was removed for maintenance and replaced with a bulkhead.

    - Bradford Island went to shad mode on 28 May.

    - Cascades Island went to shad mode by 25 May.

    - Washington Shore went to shad mode by 25 May.

  - Juvenile Fishways.

    - Spillbay 17 remains on two dogs (2.9’).  The bay should be at 3.5’ but due to a broken hoist it has to be dogged instead.  Flow is compensated through adjacent bays.

    - As per an FPOM request, the Project closed chain gate 1C and opened 1B as far as possible on 27 May.  Due to a problem with opening 1B, the Project decided to remove the gate completely.  With the top of the concrete sill at 68’ msl.; the opening at 1B will be 4 – 8’, depending on forebay elevation.  The channel has not yet flooded with this configuration.

  - Lamprey Fishways.

    - The CI entrance weir and bulkhead slot filler are installed.  The SLED was removed at this location on 28 May.

    - All lamprey passage structures were watered-up this week.  The NDE lamprey ramp was installed on 27 May.  NDE gate was closed from 1310 until 1345 to facilitate the ramp deployment.

- CONSTRUCTION

  - PH1 Ice and Trash Sluiceway Wall Removal.  Wall removal is scheduled for FY10.  Old DSM bypass equipment in the tailrace is scheduled for removal in FY10 as well.

    - The Program Logic Control (PLC) for the automated gates will be completed the week of 1 June.

  - TIE crane.  The new boom is to arrive in mid-June; load testing should occur by the first week in July.

- HAZMAT, SPILLS AND CLEANUP.   Nothing to report.

- TELETYPES AND OTHER NOTEWORTHY ITEMS

  - A teletype sent on 09 April requests spring spill to begin at 0001 on 10 April, continuing until further notice.

  - A teletype sent on 17 May and revised on 18 May provides guidance for voluntary and involuntary spill by project as well as spill caps per project for various total dissolved gas (TDG) levels.

  - A teletype sent on 26 May requests permission to flush debris from each end of the spillway before 1700 on 26 May.  Flushing took approximately 30 minutes for each end.

JAMES R. MAHAR, P.E.

Operations Manager