### CENWP-OD-B																								09 August 2009

MEMORANDUM FOR CENWP-OP, ATTN: Operations Biologist

SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for Week 32 of 2009, which covers the period from 02 through 08 August 2009.

- OPERATION SUMMARY

  - Daily average river flows ranged from 106.6 to 139.6 kcfs.  Daily average project tailwater ranged from 10.0’ to 12.6’ msl.  Daily average powerhouse forebay elevation ranged from 74.4’ to 76.3’ msl.  Daily average river temperature ranged from 71ºF to 75ºF.  Secchi disk measurements ranged from 5.5’ to 7.0’.

  - Daily average spill ranged from 64.0 to 81.6 kcfs.

    - Spillbay 17 remains on two dogs (2.9’).  The bay should be at 2.5’ during daytime hours, but due to a broken hoist it has to be dogged instead.  Spillbays are adjusted as necessary to maintain appropriate spill volume.

    - BPA requested reduced spill below 75 kcfs due to projected low flows.  Bonneville reduced spill to 60 kcfs with minimum generation at 1151 on 07 August.  Spill remained at 60 kcfs until it was increased to 65 kcfs at 0742 and again increased to 70 kcfs at 2230 on 08 August with minimum generation.  Please see 7.6

  - Unit Operation.  Powerhouse Two remains the priority powerhouse.

    - Unit 3 was out of service from 0130 until 1614 on 04 August for upper guide bearing oil leak repair.

    - Unit 5 was out of service from 1003 on 02 August until 1212 on 06 August for bank 5/6 bi-annual maintenance.

    - Unit 6 has remained out of service since 13 July for a five year overhaul.

    - Unit 7 has remained out of service since 04 June 2007 for turbine rehab.

    - Unit 8 was out of service from 1003 on 02 August until 1531 on 03 August for CT work.  Out of service from 1159 until 1212 on 06 August for switching.

    - Unit 9 has remained out of service since 04 August 2008 for turbine rehab.

    - Unit 11 has remained out of service since 12 June 2008 due to rotor damage.

    - Unit 14 was out of service from 1210 until 1445 on 04 August for research fish release pipe removal.

    - Unit 16 has remained out of service since 09 May due to exciter troubles and a grounding issue.

  - Second Powerhouse fish units provide attraction flow for the Washington Shore (WS) fish ladder.  The units may be placed on standby, as necessary, during nighttime hours to float debris.

    - F1 was out of service from 0305 until 1614 on 04 August for slip ring maintenance and Powerhouse Two fish ladder collection channel ROV inspection.

    - F2 was out of service from 0305 until 1606 on 04 August for slip ring maintenance and Powerhouse Two fish ladder collection channel ROV inspection.

  - Gatewell drawdowns are measured on Wednesdays.

- ACTIVITIES

  - Auxiliary Water System Closures.  The following AWS valves were closed this reporting week:

    - FV 3-9, 4-3, 4-4 were closed from 0830 until 1201 on 05 August for B-branch entrance ROV inspection.

    - FV 5-3, 5-4, 5-9 were closed from 1300 until 1554 on 05 August for Cascades Is. entrance ROV inspection.

    - FV 1-1 and 3-7 were closed from 0810 until 1430 on 06 August for Powerhouse One fish ladder collection channel ROV inspection.

  - STS/VBS inspections.  The following STS/VBS inspections occurred this reporting week:

Table 1.  STS and VBS inspections.

| #### Unit | #### Date | #### Run Hours | #### Comments |
| --- | --- | --- | --- |
| 1-2 | NA | NA | Remains out of service until 03 September. |
| 11, 16 | NA | NA | Out of service |
| 12-15, 17-18 | NA | NA | Scheduled for the week of 24 August |

    - Dewatering and Fish Salvage.  No fish salvage or dewatering activities occurred this week.

- RESEARCH

  - CRITFC - Annual chinook, coho, sockeye and steelhead sampling in the AFF is on hold until water temperatures drop to below 71.5 ºF.

  - CRITFC- JMF video.  Waiting on new equipment for monitoring juvenile fish passage.

  - NOAA Lamprey.  Trapping lamprey at the AFF for passage evaluations is on hold until water temperatures drop to below 71.5 ºF.

  - NOAA- pathogens. Determination of pathogen prevalence in juvenile salmonids concluded for season.

  - NOAA- PIT tag detectors.  Vibration sensors remain installed on Spill bay 6.

  - PNNL- BGS.  Data collection for the BGS evaluation complete.

  - PSMFC- Smolt monitoring.  Daily condition and index monitoring continues.  No fallbacks were recorded crossing the separator bars.  Gas Bubble Trauma (GBT) exams occur twice a week; see www.fpc.org/CurrentDaily/Gbtsum.txt for further details.  60 juvenile shad were held for USGS researchers.  Modified sampling protocols due to elevated river temperature continued this week.  Sampling occurs every other day and 100 fish are collected when river temp exceeds 70 ºF.

  - WDFW Fish Counting.  Visual counting continues at Bradford Island and Washington Shore fishways. Nighttime video counts began 15 June.

  - WDFW Tule counts.  Tule counting is scheduled to begin in mid-August.

  - USDA Wildlife Services. Avian hazing concluded on 31 July.

  - USGS Shad.  Collecting juvenile shad from the Juvenile Fish Monitoring Facility for ongoing research on impacts of American Shad on the Columbia River.

  - University of Idaho.  Tagging lamprey for evaluation of the Cascades Is. entrance weir.  Tagging lamprey is on hold until water temperatures drop to below 71.5 ºF.

- FISHWAYS

  - Project biologists inspected 02 through 08 August.

  - Fish Passage Plan Observations.

Table 2.  FPP Out of Criteria items.

| DATE | ##### LOCATion | ##### FPP itEMS | ##### CAUSE | ##### RESPONSE | ##### TR# |
| --- | --- | --- | --- | --- | --- |
| BRADFORD ISLAND (BI) |  |  |  |  |  |
| 8/06 | PH1 PCC | Differential < 1.0 | ROV inspection |  |  |
| 8/06 | B-branch | Differential < 1.0 | ROV inspection |  |  |
| CASCADES ISLAND (CI) |  |  |  |  |  |
| 8/03 | Cascades Is. | Differential > 2.0 | PLC failure | Ops adjusted |  |
| 8/05 | Cascades Is. | Differential < 1.0 | ROV inspection |  |  |
| WASHINGTON SHORE (WS) |  |  |  |  |  |
| 8/04 | PH2 monoliths | Differential < 1.0 | ROV inspection |  |  |
| 8/02, 04 | Weir 38 | Reading < 1.0 | Unknown | Adjusted valve 11 |  |
| 8/02-03 | DSM orifices | 13A-N, A-S closed | PLC issues | See 4.6.2 | 09-229038 |

    - PH1 PCC diffusers FG2-22A and FG2-19 are closed or partially open.  Repairs scheduled for 09/10.

    - Design of a mechanical velocity meter at the PH2 south monolith is in progress.

    - CI south entrance gate remains broken and closed.  It has been OOS since 10 April.  It will remain in the closed position for all tailwater elevations during the modified entrance evaluation.

  - Fishway Temperatures.  Measurements are taken three weirs down from the count station at Bradford Island, the junction of the UMT and the main ladder at Washington Shore, the Adult Fish Facility, and the Smolt Monitoring Facility.  The WA shore and SMF temperature loggers are experiencing technical difficulties.

Table 3.  Bonneville Fishway Temperatures

| Date | WS Ave | BI Ave | AFF Ave | SMF Ave |
| --- | --- | --- | --- | --- |
| 8/02 | 73.4 | 73.8 | 73.8 | 73.9 |
| 8/03 | 73.1 | 73.9 | 73.5 | 73.7 |
| 8/04 | 72.5 | 73.2 | 73.0 | 73.1 |
| 8/05 | NA | 72.4 | 72.1 | NA |
| 8/06 | NA | 71.3 | 71.1 | NA |
| 8/07 | NA | 70.2 | 70.1 | NA |
| 8/08 | NA | 69.4 | 69.3 | NA |

  - Zebra Mussel Monitoring.  No signs of colonization were observed this reporting week.

  - Adult Fishways.

    - Calibration was checked on 06 August.

    - The Washington Shore fishway entrances are in manual due to SA-24 board calibration issues.  The operators are adjusting the gates to maintain at least a 13’ opening, as tailwater allows.

    - There are currently 11 of 12 floating orifice gates (FOG) installed at Powerhouse 2.  One gate was removed for maintenance and replaced with a bulkhead.

  - Juvenile Fishways.

    - To provide the best flow possible, until the new gates can be automated, the PH1 ITS chaingates were set as follows:  1B- 72’msl and 9A- 72’.  The Project will monitor forebay elevations and adjust gates 3B and 6C to maintain >2.5’ depth.

    - From 0931 on 30 July until repairs were made on 03 August, 13A-S and 13A-N orifices were in manual and open.  The orifices were not functioning correctly due to bad proximity switches.

  - Lamprey Fishways.

    - The CI entrance weir and bulkhead slot filler are installed.

    - All lamprey passage structures remain watered-up.

- CONSTRUCTION

  - PH1 Ice and Trash Sluiceway Wall Removal.  Wall removal is scheduled for FY10.  Old DSM bypass equipment in the tailrace is scheduled for removal in FY10 as well.

    - The Program Logic Control (PLC) for the automated gates has not been completed.

  - TIE crane.  The crane is scheduled to be available by the 2010 fish passage season.

- HAZMAT, SPILLS AND CLEANUP.   Nothing to report.

- TELETYPES AND OTHER NOTEWORTHY ITEMS

  - A teletype sent on 17 May and revised on 18 May provides guidance for voluntary and involuntary spill by project as well as spill caps per project for various total dissolved gas (TDG) levels.

  - A teletype sent on 19 June requests the summer spill operations starting at 0001 on 21 June.  From 21 June until 2400 on 20 July, the Project will spill approximately 85 kcfs during daytime hours and to the 120% gas cap at night.  From 0001 on 21 July until 2400 on 31 August, the Project will spill approximately 75 kcfs during the day and up to the 120% gas cap at night.

  - A teletype sent on 16 July changes PH2 unit priority to: 12,18,15,17,14,13,16.  This change is effective from 1100 on 16 July until U11 returns to service.

  - A teletype sent on 27 July changes the unit operation for PH2.  PH2 units will operate at the low end to mid point of the 1% efficiency range.

  - A teletype sent on 28 July requests that the forebay be maintained between 75.5’ – 76.5’msl as a hard constraint and 76.0’ – 76.5’ msl as a soft constraint from 1500 until 2100 on 08 August.  This request is to allow Regatta sailboats to be pulled from the water at The Dalles boat ramp.

  - A teletype sent on 07 August revises the 19 June teletype for low flow summer spill operations for juvenile fish passage.  Due to low flows at Bon, maintain the minimum generation requirement of 30 kcfs.  There is a minimum spill level of 50 kcfs. Provide minimum generation and spill the remaining river, as flat as possible, 24 hours per day using the spill pattern in Section 2, Table Bon-14 of the 2009 FPP. Continue this operation until further notice.

RICK METTLER

Acting Operations Manager