### CENWP-OD-B																								16 August 2009

MEMORANDUM FOR CENWP-OP, ATTN: Operations Biologist

SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for Week 33 of 2009, which covers the period from 09 through 15 August 2009.

- OPERATION SUMMARY

  - Daily average river flows ranged from 102.6 to 125.8 kcfs.  Daily average project tailwater ranged from 9.4’ to 11.4’ msl.  Daily average powerhouse forebay elevation ranged from 75.4’ to 76.2’ msl.  Daily average river temperature ranged from 71ºF to 72ºF.  Secchi disk measurements ranged from 4.9’ to 7.0’.

  - Daily average spill ranged from 64.0 to 81.6 kcfs.

    - Spillbay 17 remains on two dogs (2.9’).  The bay should be at 2.5’ during daytime hours, but due to a broken hoist it has to be dogged instead.  Spillbays are adjusted as necessary to maintain appropriate spill volume.

  - Unit Operation.  Powerhouse Two remains the priority powerhouse.

    - Unit 1 was out of service from 0031 on 10 August until 1648 on 13 August due to Bank 1/2 maintenance.

    - Unit 2 had a 1% violation at 1529 on 13 August due to Bank 1/2 testing.

    - Unit 6 has remained out of service since 13 July for a five year overhaul.

    - Unit 7 has remained out of service since 04 June 2007 for turbine rehab.

    - Unit 9 has remained out of service since 04 August 2008 for turbine rehab.

    - Unit 11 has remained out of service since 12 June 2008 due to rotor damage.

    - Unit 12 was out of service from 0056 on 10 August until 1725 on 11 August for annual maintenance.

    - Unit 13 was out of service from 0110 until 2305 on 12 August for annual maintenance.

    - Unit 16 has remained out of service since 09 May due to exciter troubles and a grounding issue.

  - Second Powerhouse fish units provide attraction flow for the Washington Shore (WS) fish ladder.  The units may be placed on standby, as necessary, during nighttime hours to float debris.

    - F2 was on standby for lamprey testing from: 2306 on 09 August until 0400 on 10 August; 2200 on 11 August until 0407 on 12 August; 2205 on 13 August until 0456 on 14 August; 2143 on 15 August until 0403 on 16 August.

  - Gatewell drawdowns are measured on Wednesdays.

- ACTIVITIES

  - Auxiliary Water System Closures.  No AWS valves were closed this reporting week.

  - STS/VBS inspections.  The following STS/VBS inspections occurred this reporting week:

Table 1.  STS and VBS inspections.

| #### Unit | #### Date | #### Run Hours | #### Comments |
| --- | --- | --- | --- |
| 1-2 | NA | NA | Remains out of service until 01 September. |
| 11 | NA | NA | Out of service |
| 12-15 | NA | NA | Scheduled for the week of 24 August. |
| 16 | 8/13 | NA | STSs installed at 0955 |
| 17-18 | NA | NA | Scheduled for the week of 24 August |

    - Dewatering and Fish Salvage.  No fish salvage or dewatering activities occurred this week.

- RESEARCH

  - CRITFC - Annual chinook, coho, sockeye and steelhead sampling in the AFF is on hold until water temperatures drop to below 71.5 ºF.  Temperatures were reported below 71.5 ºF on 08 August.  Trapping resumed on 10 August.

  - CRITFC- JMF video.  New equipment scheduled for installation during week of 16 August for monitoring juvenile fish passage.

  - NOAA Lamprey.  Trapping lamprey at the AFF for passage evaluations is on hold until water temperatures drop to below 71.5 ºF.   Temperatures were reported below 71.5 ºF on 08 August.

  - NOAA- pathogens. Determination of pathogen prevalence in juvenile salmonids concluded for season.

  - NOAA- PIT tag detectors.  Vibration sensors remain installed on Spill bay 6.

  - NWW truck release site.  Trucking and release at BON is scheduled to begin on 16 August.

  - PSMFC- Smolt monitoring.  Daily condition and index monitoring continues.  No fallbacks were recorded crossing the separator bars.  Gas Bubble Trauma (GBT) exams occur twice a week; see www.fpc.org/CurrentDaily/Gbtsum.txt for further details.  62 juvenile shad were held for USGS researchers.  Modified sampling protocols due to elevated river temperature continued this week.  Sampling occurs every other day and 100 fish are collected when river temp exceeds 70 ºF.

  - WDFW Fish Counting.  Visual counting continues at Bradford Island and Washington Shore fishways. Nighttime video counts began 15 June.

  - WDFW Tule counts.  Tule counting is scheduled to begin 17 August.

  - USGS Shad.  Collecting juvenile shad from the Juvenile Fish Monitoring Facility for ongoing research on impacts of American Shad on the Columbia River.

  - University of Idaho.  Tagging lamprey for evaluation of the Cascades Is. entrance weir.  Tagging lamprey is on hold until water temperatures drop to below 71.5 ºF.  Temperatures were reported below 71.5 ºF on 08 August.

- FISHWAYS

  - Project biologists inspected 09 through 15 August.

  - Fish Passage Plan Observations.

Table 2.  FPP Out of Criteria items.

| DATE | ##### LOCATion | ##### FPP itEMS | ##### CAUSE | ##### RESPONSE | ##### TR# |
| --- | --- | --- | --- | --- | --- |
| BRADFORD ISLAND (BI) |  |  |  |  |  |
| 8/15 | BI exit | Needs cleaned | Aquatic debris | Ops cleaned |  |
| 8/15 | A-branch weir | Reading >1.0’ | Unknown | No action taken |  |
| CASCADES ISLAND (CI) nothing to report |  |  |  |  |  |
| WASHINGTON SHORE (WS) nothing to report |  |  |  |  |  |

    - PH1 PCC diffusers FG2-22A and FG2-19 are closed or partially open.  Repairs scheduled for 09/10.

    - Design of a mechanical velocity meter at the PH2 south monolith is in progress.

    - CI south entrance gate remains broken and closed.  It has been OOS since 10 April.  It will remain in the closed position for all tailwater elevations during the modified entrance evaluation.

  - Fishway Temperatures.  Measurements are taken three weirs down from the count station at Bradford Island; the junction of the UMT and the Washington Shore ladder; the Adult Fish Facility (AFF); and the Juvenile Monitoring Facility (JMF).

Table 3.  Bonneville Fishway Temperatures

| Date | WS Avg | BI Avg | AFF Avg | JMF Avg |
| --- | --- | --- | --- | --- |
| 8/09 | NA | 69.4 | 69.3 | NA |
| 8/10 | NA | 69.9 | 69.8 | NA |
| 8/11 | NA | 70.2 | 70.2 | NA |
| 8/12 | NA | 70.7 | 70.5 | NA |
| 8/13 | NA | 70.7 | 70.7 | NA |
| 8/14 | NA | 70.3 | 70.4 | NA |
| 8/15 | NA | 69.8 | 69.5 | NA |

  - Zebra Mussel Monitoring.  No signs of colonization were observed this reporting week.

  - Adult Fishways.

    - Calibration was checked on 14 August.

    - The Washington Shore fishway entrances are in manual due to SA-24 board calibration issues.  The operators are adjusting the gates to maintain at least a 13’ opening, as tailwater allows.

    - There are currently 11 of 12 floating orifice gates (FOG) installed at Powerhouse 2.  One gate was removed for maintenance and replaced with a bulkhead.

  - Juvenile Fishways.

    - To provide the best flow possible, until the new gates can be automated, the PH1 ITS chaingates were set as follows:  1B- 72’msl and 9A- 72’.  The Project will monitor forebay elevations and adjust gates 3B and 6C to maintain >2.5’ depth.

    - Chain gate 6C was re-positioned and 6B was closed at 1610 on 12 August.

  - Lamprey Fishways.

    - The CI entrance weir and bulkhead slot filler are installed.

    - All lamprey passage structures remain watered-up.

- CONSTRUCTION

  - PH1 Ice and Trash Sluiceway Wall Removal.  Wall removal and DSM1 outfall equipment scheduled for removal in FY10.

    - The Program Logic Control (PLC) for the automated gates has not been completed.

  - TIE crane.  The crane is scheduled to be available by the 2010 fish passage season.

- HAZMAT, SPILLS AND CLEANUP.   Nothing to report.

- TELETYPES AND OTHER NOTEWORTHY ITEMS

  - The teletype sent on 19 June requesting summer spill operations, was revised with a teletype on 07 August.  New summer spill operations, due to low flows, require minimum generation of 30 kcfs.  Minimum spill remains 50 kcfs.  The teletype requests BON provide minimum generation and spill the remaining river, as flat as possible, 24 hours per day using the spill pattern in Section 2, Table Bon-14 of the 2009 FPP.  This operation will continue until 13 August.

    - A teletype sent on 13 August requests BON spill 75 kcfs during daytime hours and spill up to the 120% TDG cap during nighttime hours, using the spill pattern in Table BON-14 of the 2009 FPP.  This action is effective from 13 August until 2400 on 31 August.

  - A teletype sent on 16 July changes PH2 unit priority to: 12,18,15,17,14,13,16.  This change is effective from 1100 on 16 July until U11 returns to service.

  - A teletype sent on 27 July changes the unit operation for PH2.  PH2 units will operate at the low end to mid point of the 1% efficiency range.

RICK METTLER

Acting Operations Manager