### CENWP-OD-B																								23 August 2009

MEMORANDUM FOR CENWP-OP, ATTN: Operations Biologist

SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for Week 34 of 2009, which covers the period from 16 through 22 August 2009.

- OPERATION SUMMARY

  - Daily average river flows ranged from 93.1 to 142.3 kcfs.  Daily average project tailwater ranged from 8.8’ to 13.0’ msl.  Daily average powerhouse forebay elevation ranged from 75.2’ to 75.9’ msl.  Daily average river temperature ranged from 70ºF to 72ºF.  Secchi disk measurements averaged 7.0’.

  - Daily average spill ranged from 64.0 to 81.6 kcfs.

    - Spillbay 17 remains on two dogs (2.9’).  The bay should be at 2.5’ during daytime hours, but due to a broken hoist it has to be dogged instead.  Spillbays are adjusted as necessary to maintain appropriate spill volume.

  - Unit Operation.  Powerhouse Two remains the priority powerhouse.

    - Unit 3 was out of service from 0448 on 20 August until 1028 on 22 August to facilitate the installation of the crow’s nest.

    - Unit 6 has remained out of service since 13 July for a five year overhaul.

    - Unit 7 has remained out of service since 04 June 2007 for turbine rehab.

    - Unit 9 has remained out of service since 04 August 2008 for turbine rehab.

    - Unit 11 has remained out of service since 12 June 2008 due to rotor damage.

    - Unit 14 was out of service from 1400 on 16 August until 1305 on 19 August for annual maintenance.

    - Unit 15 was out of service from 1328 on 19 August until 1706 on 20 August for annual maintenance.

    - Unit 16 has remained out of service since 09 May due to exciter troubles and a grounding issue.

  - Second Powerhouse fish units provide attraction flow for the Washington Shore (WS) fish ladder.  The units may be placed on standby, as necessary, during nighttime hours to float debris.

    - F2 was on standby for lamprey testing from: 2158 on 16 August until 0410 on 17 August; 2143 on 18 August until 0417 on 19 August; 2150 on 20 August until 0354 on 21 August.

  - Gatewell drawdowns are measured on Wednesdays.

- ACTIVITIES

  - Auxiliary Water System Closures.  The following  AWS valves were closed this reporting week:

    - FV3-7 was closed for cleaning from 1243 until 1301 on 20 August.

    - FV3-9 was closed for cleaning from 1243 until 1301 on 20 August.

  - STS/VBS inspections.  The following STS/VBS inspections occurred this reporting week:

Table 1.  STS and VBS inspections.

| #### Unit | #### Date | #### Run Hours | #### Comments |
| --- | --- | --- | --- |
| 1-2 | NA | NA | Remains out of service until 01 September. |
| 11, 16 | NA | NA | Out of service |
| 12-15, 17-18 | NA | NA | Scheduled for the week of 24 August. |

    - Dewatering and Fish Salvage.  The following fish salvage activity occurred this week:

      - On 18 August, Fisheries rescued five sturgeon, one catfish, and one carp from U16 draft tube.

- RESEARCH

  - CRITFC - Annual chinook, coho, sockeye and steelhead sampling in the AFF continues.  Due to water temperatures above 70ºF, trapping times are modified to meet FPP Appendix G guidelines.

  - CRITFC- JMF video.  New video equipment installed for monitoring juvenile fish passage.

  - NOAA Lamprey.  Trapping lamprey at the AFF for passage evaluations continues.

  - NOAA- PIT tag detectors.  Vibration sensors remain installed on Spill bay 6.

  - NWW truck release site.  Trucking and release at BON began on 16 August.

  - PSMFC- Smolt monitoring.  Modified sampling protocols due to elevated river temperature continued this week.  Sampling occurs every other day and 100 fish are collected when river temp exceeds 70 ºF.  No fallbacks were recorded crossing the separator bars.  Gas Bubble Trauma (GBT) exams occur twice a week; see www.fpc.org/CurrentDaily/Gbtsum.txt for further details.  No fish were held for researchers this week.

  - WDFW Fish Counting.  Visual counting continues at Bradford Island and Washington Shore fishways. Nighttime video counts began 15 June.

  - WDFW Tule counts.  Tule counting began on 17 August.

  - USGS Shad.  Collecting juvenile shad from the Juvenile Fish Monitoring Facility for ongoing research on impacts of American Shad on the Columbia River.

  - University of Idaho.  Tagging lamprey for evaluation of the Cascades Is. entrance weir continues.

- FISHWAYS

  - Project biologists inspected 16 through 22 August.  NOAA Fisheries inspected on 21 August.

  - Fish Passage Plan Observations.

Table 2.  FPP Out of Criteria items.

| DATE | ##### LOCATion | ##### FPP itEMS | ##### CAUSE | ##### RESPONSE | ##### TR# |
| --- | --- | --- | --- | --- | --- |
| BRADFORD ISLAND (BI) |  |  |  |  |  |
| 8/17 | A-Branch weir | Reading >1.0’ | Unknown | None taken |  |
| CASCADES ISLAND (CI) nothing to report |  |  |  |  |  |
| WASHINGTON SHORE (WS) |  |  |  |  |  |
| 8/16, 21 | Weir 38 | Reading < 1.0’ | Unknown | Adjusted valve 11 |  |
| PH1 ITS |  |  |  |  |  |
| 8/16-17 | Chaingates | Less than 2.5’ head | Gates in manual | Adjusted on 8/18 |  |

    - PH1 PCC diffusers FG2-22A and FG2-19 are closed or partially open.  Repairs scheduled for 09/10.

    - Design of a mechanical velocity meter at the PH2 south monolith is in progress.

    - CI south entrance gate remains broken and closed.  It has been OOS since 10 April.  It will remain in the closed position for all tailwater elevations during the modified entrance evaluation.

  - Fishway Temperatures.  Measurements are taken three weirs down from the count station at Bradford Island; the junction of the UMT and the Washington Shore ladder; the Adult Fish Facility (AFF); and the Juvenile Monitoring Facility (JMF).

Table 3.  Bonneville Fishway Temperatures

| Date | WS Avg | BI Avg | AFF Avg | JMF Avg |
| --- | --- | --- | --- | --- |
| 8/16 | NA | 69.2 | 68.9 | NA |
| 8/17 | NA | 69.2 | 69.1 | NA |
| 8/18 | NA | 69.7 | 69.4 | NA |
| 8/19 | NA | 70.1 | 69.9 | NA |
| 8/20 | NA | 70.4 | 70.4 | NA |
| 8/21 | NA | 70.6 | 70.5 | NA |
| 8/22 | NA | 70.5 | 70.3 | NA |

  - Zebra Mussel Monitoring.  No signs of colonization were observed this reporting week.

  - Adult Fishways.

    - Calibration was checked on 22 August.

    - The Washington Shore fishway entrances are in manual due to SA-24 board calibration issues.  The operators are adjusting the gates to maintain at least a 13’ opening, as tailwater allows.

    - There are currently 11 of 12 floating orifice gates (FOG) installed at Powerhouse 2.  One gate was removed for maintenance and replaced with a bulkhead.

  - Juvenile Fishways.

    - To provide the best flow possible, until the new gates can be automated, the PH1 ITS chaingates were set as follows:  1B- 72’msl and 9A- 72’.  The Project will monitor forebay elevations and adjust gates 3B and 6C to maintain >2.5’ depth.

  - Lamprey Fishways.

    - The CI entrance weir and bulkhead slot filler are installed.

    - All lamprey passage structures remain watered-up.

- CONSTRUCTION

  - PH1 Ice and Trash Sluiceway Wall Removal.  Wall removal and DSM1 outfall equipment scheduled for removal in FY10.

    - The Program Logic Control (PLC) for the automated gates has not been completed.

  - TIE crane.  The crane is scheduled to be available by the 2010 fish passage season.

- HAZMAT, SPILLS AND CLEANUP.   Nothing to report.

- TELETYPES AND OTHER NOTEWORTHY ITEMS

  - A teletype sent on 13 August requests BON spill 75 kcfs during daytime hours and spill up to the 120% TDG cap during nighttime hours, using the spill pattern in Table BON-14 of the 2009 FPP.  This action is effective from 13 August until 2400 on 31 August.

  - A teletype sent on 16 July changes PH2 unit priority to: 12,18,15,17,14,13,16.  This change is effective from 1100 on 16 July until U11 returns to service.

  - A teletype sent on 27 July changes the unit operation for PH2.  PH2 units will operate at the low end to mid point of the 1% efficiency range.

  - A teletype sent on 21 August requests the forebay be operated at 75.0 – 76.5’ msl as a hard constraint and 75.5’ – 76.5’ msl as a soft constraint from 0600 on 24 August until 1800 on 27 August.  This action is to limit pool fluctuation, during tribal fishing, to: reduce local currents that sweep debris into tribal fishing nets; reduce rapid water level changes that entangle nets; minimize boat access problems; avoid tearing nets from their anchors.

JERRY CARROLL

Acting Operations Manager