### CENWP-OD-B																						21 November 2010

MEMORANDUM FOR CENWP-OP, ATTN: Operations Biologist

SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for Week 47 of 2010, which covers the period from 14 through 20 November 2010.

- OPERATION SUMMARY

  - Daily average river flows ranged from 115.6 to 125.6 kcfs.  Daily average project tailwater ranged from 11.5’ to 12.5’ msl.  Daily average powerhouse forebay elevation ranged from 72.9’ to 75.0’ msl.  Daily average river temperature ranged from 53 to 54ºF.  Secchi disk measurements ranged from 5.0 to 7.0’.

  - Spill Bays 1 and 18, which provide attraction flow for Cascades Island and B-branch, respectively, are open 6” during daylight hours.  Daily average spill ranged from 1.1 to 1.2 kcfs.

  - Unit Operation.  Powerhouse Two is the priority powerhouse.

    - Unit 1 has remained out of service since 17 September due to sticking wicket gates.

    - Unit 2 has remained out of service since 05 October for five year overhaul.

    - Unit 11 has remained out of service since 12 June 2008 due to rotor damage.

    - Unit 12 has remained out of service since 13 September for four year overhaul.

  - Second Powerhouse fish units provide attraction flow for the Washington Shore (WS) fish ladder.  The units may be placed on standby, as necessary, during nighttime hours to float debris.

    - F2 went out of service at 0030 on 15 November for annual maintenance and headgate rehab.  PH2 fishway entrances and collection channel is configured for single fish unit operation.

  - Gatewell drawdowns are measured on Wednesdays.

- ACTIVITIES

  - Auxiliary Water System Closures.  The following AWS valves were closed this reporting week:

    - FV 1-1 was closed for cleaning from 0715 until 0726 on 15 November.

    - FV 3-9 was closed for cleaning from 0653 until 0708 on 15 November, from 1500 until 1643 on 16 November, from 0754 until 0804 on 17 November, from 0725 until 0737 on 18 November, from 0710 until 0723 on 19 November, and from 1305 until 1315 on 20 November.

  - STS/VBS inspections.  The following STS/VBS inspections occurred this reporting week:

Table 1.  STS and VBS inspections.

| #### Unit | #### Date | #### Run Hours | #### Comments |
| --- | --- | --- | --- |
| 11 | NA | OOS | U11 remains out of service. |
| 12 | NA | OOS | U12 remains out of service. |
| 13 | 11/15 | 654 | OK |
| 14 | 11/15 | 673 | OK |
| 15 | 11/15 | 673 | OK |
| 16 | 11/15 | 548 | OK |
| 17 | 11/15 | 673 | OK |
| 18 | 11/15 | 673 | OK |

  - Dewatering and Fish Salvage.

    - Biologists recovered five sturgeon, five sculpin, and one crawdad from Unit 2 tail logs on 17 September. All fish were released in good condition.

    - Biologists recovered approximately 30 suckers, two peamouth, and one common carp from the lower ladder section down to the entrance bulkhead of the AFF.   All fish were released in good condition.

- RESEARCH

  - WDFW- Fish Counting.  Video counting continues.

- FISHWAYS

  - Project biologists inspected 14 through 20 November.

  - Fish Passage Plan Observations.

Table 2.  FPP Out of Criteria items.

| DATE | ##### LOCATion | ##### FPP itEMS | ##### CAUSE | ##### RESPONSE | ##### TR# |
| --- | --- | --- | --- | --- | --- |
| BRADFORD ISLAND (BI) |  |  |  |  |  |
| 11/18 | ##### A-branch weir | ##### Reading > 1.0’ | ##### Unknown | ##### Operators adjusted. |  |
| 11/16 | ##### A & B-branch, & BI weir | ##### Reading < 1.0’ | ##### FV 3-9 needs cleaning | ##### Riggers cleaned. |  |
| 11/20 | ##### FV 3-9 picketleads | ##### Head > 0.3’ | ##### Debris | ##### Riggers to clean week of 21 Nov |  |
| CASCADES ISLAND (CI) – Nothing to report. |  |  |  |  |  |
| WASHINGTON SHORE (WS) |  |  |  |  |  |
| 11/15 | ##### PH2 entrances | ##### Differential < 1.0’ | ##### F1 reduced load for stab plate install | ##### Operators returned to normal operation. |  |

    - PH1 PCC diffuser FG2-19 is partially open.  Repairs scheduled for 2011/2012 in water work period.

    - The SA-24 board that controls the Powerhouse 2 adult ladder components is in need of replacement. A new programmable logic controller (PLC) system has been budgeted for.

  - Fishway Temperatures.  Temperatures are taken 01 March through 30 November.

Table 3.  Bonneville Fishway Temperatures

| Date | WA. Shore average | BI average |
| --- | --- | --- |
| 11/14 | 52.8 | 53.3 |
| 11/15 | 52.9 | 53.4 |
| 11/16 | 52.8 | 53.3 |
| 11/17 | 52.5 | 53.3 |
| 11/18 | 51.9 | 52.5 |
| 11/19 | 51.5 | 52.2 |
| 11/20 | 51.1 | 51.8 |

  - Zebra Mussel Monitoring.  No signs of colonization were observed this reporting week.

  - Adult Fishways.

    - Calibration was checked on 19 November.

    - The Washington Shore fishway entrances remain in manual due to SA-24 board calibration issues.  The operators are adjusting the gates to maintain at least a 13’ opening, as tailwater allows.

    - Stab plates were installed in 11 of 12 floating orifice gates (FOGs) on 15-17 November due to single fish unit operations.  One FOG remains out for maintenance, with a bulkhead installed in its place.

    - The remaining section of the AFF was dewatered on 18 November.

    - The Washington Shore and Cascades Island fish ladders are scheduled to go to orifice flow on 01 December, and will be dewatered to tailwater on 03 December.

  - Juvenile Fishways.

    - DSM2 remains in service.

    - B2CC remains closed for the season.

    - The PH1 ice and trash sluiceway (ITS) remains in service.  Chain gate 6C was closed and 7A opened on 04 August.  Chain gate 7A is set to 72’ msl.

    - 13 avian lines in the PH1 tailrace were removed to facilitate the removal of the DSM1 outfall pipe. All were replaced on 18 November. This removal was coordinated with FPOM.

  - Lamprey Fishways.

    - The Cascades Is. entrance weir and slot filler remain installed.  Cascade Is. LPS remains out of service for the season.

    - The PH2 NDE ramp remains in the lowered position and is not currently operating.

    - Bradford Island and WA Shore LPS’s remain out of service for the season.

- CONSTRUCTION

  - PH1 Gantry 4.  New crane in Spring, 2011.

  - Spillway Gate Repair Pit. Clean-up of hazardous material is complete.  Shoring of the walls within 50’ of the Cascades Island fishway resumed on 08 November.

  - BGS removal. Scheduled to begin on 01 December.

- HAZMAT, SPILLS AND CLEANUP. Nothing to report.

- TELETYPES AND OTHER NOTEWORTHY ITEMS

  - A teletype sent on 16 July 2009, changes PH2 unit priority to: 12,18,15,17,14,13,16.  This change is effective from 1100 on 16 July 2009 until U11 returns to service.

  - A teletype sent on 14 October requests BON project change PH1 unit priority as follows: 1, 10, 9, 3,7,2,6,4,5,8, effective immediately until further notice. This moves Unit 9 to third in priority, and replaces the teletype sent on 29 July that moved Unit 7 to third in priority. This operation is necessary to complete a 100 day operation per PH1 rehab contract.

  - A teletype sent on 26 October requests the following BON tailwater elevations for chum spawning:

    - Effective at 0630 on 01 November until further notice, hard constraint of no less than 11.3’ msl during all hours, and a hard constraint of 11.3’ to 11.7’ with a target of 11.5’, from 0630 until 1700 daily.

    - If needed, BON is authorized to pass water in excess of what is necessary to meet the 11.3’ to 11.7’ hard constraint by increasing tailwater elevation to 18.5’ msl between 1700 and 0600 hours.  Normal ramp rates apply.

    - If the actions in 7.3.2 are not sufficient, tailwater elevations may increase, as necessary, up to 12.5’ msl between 0600 and 1700 hours, daily.

    - The official tailwater gauge is located at river mile 144.5, on the Oregon shore.

  - A teletype sent on 19 November changes unit priority as follows: 18,15,12,17,14,1, 10,9,3,7,2,6,4,5,8, effective from 0700 until 1600 on 22 November, with a maximum of five PH2 units plus on fish unit during this time.  This operation is necessary to support removal of four node anchors upstream of the BGS.  Once this removal is complete, revert back to unit priority as specified in the teletype sent on 14 October (see 7.2).

  - A teletype sent on 19 November replaces the teletype sent on 26 October (see 7.3) and requests the following BON tailwater elevations for chum spawning:

    - Effective immediately until further notice, hard constraint of no less than 11.3’ msl during all hours, and a hard constraint of 11.3’ to 11.7’ with a target of 11.5’, from 0630 until 1700 daily.

    - If needed, BON is authorized to pass water in excess of what is necessary to meet the 11.3’ to 11.7’ hard constraint by increasing tailwater elevation to 18.5’ msl between 1700 and 0600 hours.  Normal ramp rates apply.  It is preferred to concentrate the highest tailwater around midnight without exceeding 16.5’ msl.

    - If the actions in 7.5.2 are not sufficient, tailwater elevations may increase incrementally by 0.5’, as necessary, up to 12.5’ msl between 0600 and 1700 hours, daily.  The bottom of the range will become the new tailwater minimum.

    - The official tailwater gauge is located at river mile 144.5, on the Oregon shore.

GLEN A. SMITH, P.E.

Operations Project Manager