### CENWP-OD-B																						21 August 2011

MEMORANDUM FOR CENWP-OP, ATTN: Operations Biologist

SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for Week 33 of 2011, which covers the period from 14 through 20 August 2011.

- OPERATION SUMMARY

  - Daily average river flows ranged from 165.9 to 217.3 kcfs.  Daily average project tailwater ranged from 14.8’ to 17.7’ msl.  Daily average powerhouse forebay elevation ranged from 73.0’ to 74.5’ msl.  Daily average river temperature ranged from 69 to 70ºF. Secchi disk measurements ranged from 5.0’ to 7.0’.

  - Spill Bays 1 and 18, which provide attraction flow for Cascades Island and B-branch, respectively, are open 6” during daylight hours.  Daily average spill ranged from 92.7 to 96.3 kcfs.

  - Unit Operation.  Powerhouse Two became the priority powerhouse on 18 August after diffuser gratings were repaired in the Washington Shore ladder. See teletype 7.7.

    - Unit 1 was out of service from 0001 on 08 August until 1430 on 17 August for Bank 1 & 2 outage.

    - Unit 2 was out of service from 0001 on 08 August until 1430 on 17 August for Bank 1 & 2 outage.

    - Unit 11 has remained out of service since 12 June 2008 due to rotor damage.

    - Unit 14 was out of service from 1200 on 14 August until 1620 on 16 August for annual maintenance.

    - Unit 15 went out of service at 0717 on 15 June for four year overhaul.

    - Unit 16 was out of service from 0000 until 1632 on 17 August for annual maintenance.

    - Unit 17 went out of service at 1010 on 09 August due to generator vibration.

  - Second Powerhouse fish units provide attraction flow for the Washington Shore (WS) fish ladder.  The units may be placed on standby, as necessary, during nighttime hours to float debris.

    - F1 was out of service from 1140 until 1639 on 15 August and from 0825 on 16 August until 1617 on 17 August for ladder dewatering to facilitate diffuser grating repair.

    - F2 was out of service from 1142 until 1641 on 15 August and from 0846 on 16 August until 1617 on 17 August for ladder dewatering to facilitate diffuser grating repair.

  - Gatewell drawdowns are measured on Tuesdays and more frequently as needed.

- ACTIVITIES

  - Auxiliary Water System Closures.  The following AWS closures occurred this reporting week.

    - FV 1-1 was closed for cleaning from 0815 until 0830 on 20 August.

    - FV 3-7 was closed for cleaning from 1002 until 1121 on 15 August and from 0815 until 0830 on 20 August.

    - FV 3-9 was closed for cleaning from 0815 until 0830 on 20 August.

    - FV 5-9 was closed for cleaning from 0745 until 0806 on 20 August.

    - FV 6-9 was closed for cleaning from 1337 until 1638 on 15 August and from 0745 until 0806 on 20 August. It was also closed from 1006 on 16 August until 1605 on 17 August while the WA shore ladder was dewatered for diffuser grating repair.

  - STS/VBS inspections.  No STS/VBS inspections occurred this reporting week.

  - Table 1.  STS and VBS inspections.

| #### Unit | #### Date | #### Run Hours | #### Comments |
| --- | --- | --- | --- |
| 11 | NA | OOS | U11 remains out of service. |
| 12-18 | NA | NA | Inspection scheduled for week of 28 Aug. |

  - Dewatering and Fish Salvage.

    - At 1000 hours on 16 August, project biologists dewatered the AFF, salvaging 2 chinook and 5 sturgeon. These fish were released at the Hamilton Island boat ramp in good condition. At 1500 hours project biologists with assistance from the garage crew and FFU dewatered the WA shore ladder from the north UMT bulkhead down to tailwater. All fish were successfully pushed to tailwater. This dewatering was to repair 6 blown diffuser gratings discovered in the WA shore adult ladder. The AFF and the ladder were watered up and returned to service by 1617 on 17 August.

- RESEARCH

  - Battelle - survival study.  Monitoring University of Idaho acoustic tagged adult lamprey.

  - CRITFC – AFF.  Annual chinook, coho, sockeye and steelhead sampling in the AFF continues.

  - CRITFC - Sea lion.  Acoustic receivers for sea lion tags remain anchored in the BRZ.

  - NOAA/PSMFC - lamprey.  LPS count network improvements moving forward.  Traps deployed at PH2 monoliths in tailrace and AFF.

  - PSMFC – Smolt Monitoring Program.  Juvenile fish condition and index monitoring continues.  Fallbacks recorded crossing the separator bars:  2 steelhead and 1 unknown salmonid.  Gas Bubble Trauma (GBT) examinations occur two days per week at the SMF during spill.  Please go to http://www.fpc.org/CurrentDaily/Gbtsum.txt for further details.

  - University of Idaho.  Tagging lamprey in the AFF continues.

  - University of Washington – JMF. Juvenile shad collections scheduled to begin in September.

  - WDFW - Fish Counting.  Visual counting continues.

  - WDFW – Tule Counting. Tule counting began 17 August.

  - WDFW – AFF. Modifications to the auxiliary sample flume and old sample tank complete. Sampling for alternative gear study control group scheduled to begin the week of 22 August.

  - Yakama Fisheries – AFF. Coho energy study scheduled to begin the week of 22 August.

- FISHWAYS

  - Project biologists inspected 14 through 20 August. NOAA fisheries inspected 19 August.

  - Fish Passage Plan Observations.

Table 2.  FPP Out of Criteria items.

| DATE | ##### LOCATion | ##### FPP itEMS | ##### CAUSE | ##### RESPONSE | ##### TR# |
| --- | --- | --- | --- | --- | --- |
| BRADFORD ISLAND (BI) – Nothing to report. |  |  |  |  |  |
| CASCADES ISLAND (CI) – Nothing to report. |  |  |  |  |  |
| WASHINGTON SHORE (WS) |  |  |  |  |  |
| 8/14 | PH2 SUE, SDE | Diff < 1.0’ | System in local | N/A |  |
| 8/18 | PH2 entrance gates | Submergence <13’ | System in local | Ops adjusted |  |
| 8/16-17 | WA shore ladder from north UMT bulkhead to tailwater | OOS | Dewatered to tailwater for diffuser grating repair | Returned to normal operations at 1630 on 8/17 |  |

    - PH1 PCC diffuser FG2-19 is partially open.  Repairs scheduled for 2011/2012 in water work period.

    - A new mechanical velocity meter has been fabricated for PH2 and is scheduled for installation.

    - The SA-24 board that controls the Powerhouse Two adult ladder components is in need of replacement. Work has begun on replacing the PLC to allow for fully automated operation of the PH2 adult fishway.

  - Fishway Temperatures.  Temperatures are taken 01 March through 30 November.

Table 3.  Bonneville Fishway Temperatures

| Date | WA. Shore average | BI average | AFF average | SMF Average* |
| --- | --- | --- | --- | --- |
| 8/14 | 67.4 | 67.7 | 67.5 | 68.1 |
| 8/15 | 67.3 | 67.6 | 67.4 | 68.0 |
| 8/16 | 67.3 | 67.6 | 68.1** | 68.0 |
| 8/17 | 67.4 | 67.7 | 65.5** | 68.1 |
| 8/18 | 67.4 | 67.7 | 67.5 | 68.1 |
| 8/19 | 67.6 | 67.9 | 67.7 | 68.3 |
| 8/20 | 68.0 | 68.3 | 68.1 | 68.7 |

*The temperature probe in the SMF may be malfunctioning and is being investigated.

**Temperature monitoring during the ladder dewatering

  - Zebra Mussel Monitoring.  No signs of colonization were observed this reporting week.

  - Adult Fishways.

    - Calibration was checked on 19 August.

    - 10 of 12 floating orifice gates (FOGs) are installed with sea lion barriers in place.  Two gates remain out for maintenance.

    - SLEDs were removed from all entrance gates as of 05 July.

    - The AFF remains watered up.

    - The WA shore ladder was dewatered from the north UMT bulkhead down to tailwater on 16 August to facilitate divers and project personnel repairing displaced diffuser grating.  See MFR dated 18 August for additional information.

  - Juvenile Fishways.

    - DSM2 remains in service.

    - The PH1 ice and trash sluiceway (ITS) remains in service.  Manual chaingates 1A and 1B remain open and are both set to 70’ msl. Automated chaingates 3B, 6C and 10B are open and functioning in auto.

    - The hydrocannon was returned to service on 06 July.

    - The B2CC remains in service.  Five avian lines are broken due to high tailwater and three remain.

    - Truck releases of summer out-migrants originating from McNary began on 03 August. Truck releases from Lower Granite, Little Goose and Lower Monumental dams commenced on 17 August.

  - Lamprey Fishways.

    - The Cascades Is. entrance weir remains installed.  The CI LPS is in operation 7 days a week.

    - The NDE ramp remains in the lowered position and was watered up on 27 July.

    - WA Shore and Bradford Island LPSs remain watered up.

- CONSTRUCTION

  - PH1 Gantry 4.  New crane in August, 2011.

  - B2CC Hoist. Construction scheduled to begin fall of 2011.

- HAZMAT, SPILLS AND CLEANUP. Nothing to report.

- TELETYPES AND OTHER NOTEWORTHY ITEMS

  - A teletype sent on 15 June requests summer spill for juvenile fish passage with two treatments of 85 kcfs during the day and 121 kcfs at night or 95 kcfs for 24 hours.  Effective 16 June at 0430 hours and continuing until 31 August at 2400 hours, spill in accordance with the 2011 Fish Passage Plan and the 2011 Summer Fish Operations Plan, Appendix E of the Fish Passage Plan.

  - A teletype sent on 10 August states that, effective immediately operate Powerhouse One as the priority powerhouse. Continue this operation until further notice. The goal of this operation is to reduce flow to Powerhouse Two to decrease attraction flow to the Washington shore fish ladder.

  - A teletype sent on 10 August states that, effective immediately; expand the 1% range at Powerhouse One until further notice to allow operation up to 11.7 kcfs per unit. The goal of this operation is to reduce flow to Powerhouse Two to decrease attraction flow to the Washington shore fish ladder.

  - A teletype sent on 11 August states that, effective immediately; operate in accordance with the modified Powerhouse Two turbine unit operating priority: 11, 12, 13, 14, 15, 16, 17, 18. Continue to operate in accordance with the reference teletype Summer Spill For Juvenile Fish Passage (7.1).

  - A teletype sent on 16 August requests that BON forebay be maintained between elevations 73.5-75.0 feet as a soft constraint from 1100 to 1800 hours Saturday 20 August, 2011. This operation is necessary for an amateur kite board event at Stevenson, Washington. The event organizer notes higher pool levels immerse rocks and provide safer take-off and landing conditions.

  - A teletype sent on 18 August requests that BON pool be operated as follows for treaty fishing: Operate within a 1.5 foot band, hard constraint for periods and times, over the next three weeks. From 0600 hours Monday 22 August - 1800 hours Thursday, 25 August, 2011; from 0600 hours Tuesday 30 August – 1800 hours Friday, 02 September 2011; from 0600 hours Tuesday 06 September – 1800 hours Friday, 09 September 2011.

  - A teletype sent on 18 August states that: The Washington shore fish ladder diffuser gratings have been repaired. The intent of this teletype is discontinue the temporary operations put in place for the repair and revert back to the operation prior to the diffuser grating becoming detached in the fish ladder. Effective immediately, discontinue operating in accordance with the teletypes listed in 7.2, 7.3, and 7.4.

JERRY CARROLL

Operations Project Manager