### CENWP-OD-B																						11 December 2011

MEMORANDUM FOR CENWP-OP, ATTN: Operations Biologist

SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for Week 49 of 2011, which covers the period from 04 through 10 December 2011.

- OPERATION SUMMARY

  - Daily average river flows ranged from 136.8 to 147.1 kcfs.  Daily average project tailwater ranged from 12.1’ to 13.1’ msl.  Daily average powerhouse forebay elevation ranged from 74.0’ to 74.3’ msl.  Daily average river temperature ranged from 45 to 46ºF. Secchi disk measurements ranged from 6.0’ to 7.0’.

  - Spill Bays 1 and 18 provide attraction flow for Cascades Island and B-branch, respectively. Spill bay 1 remains 12” open during daylight hours.  Spill bay 18 remains on sill.  Daily average spill remained at 1.0 kcfs all week.

  - Unit Operation.  Powerhouse One remains the priority powerhouse.

    - Unit 5 went out of service at 0903 on 05 December 2011 for a 5 year overhaul.

    - Unit 11 has remained out of service since 12 June 2008 due to rotor damage.

    - Unit 16 went out of service at 0452 on 04 September 2011 due to exciter failure.

    - Unit 18 went out of service at 1030 on 23 November 2011 due to water in the thrust bearing.

  - Second Powerhouse fish units provide attraction flow for the Washington Shore (WS) fish ladder.  The units may be placed on standby, as necessary, during nighttime hours to float debris.

    - F1 went out of service at 0003 on 14 October 2011 for WA shore repairs and headgate maintenance.

    - F2 went out of service at 0005 on 14 October 2011 for WA shore maintenance. It was returned to service at 1700 on 07 December 2011.

  - Gatewell drawdowns are measured on Tuesdays and more frequently as needed.

- ACTIVITIES

  - Auxiliary Water System Closures.  No AWS closures occurred this reporting week.

  - STS/VBS inspections.  No STS/VBS inspection occurred this reporting week.

    - Table 1.  STS and VBS inspection.

| #### Unit | #### Date | #### Run Hours | #### Comments |
| --- | --- | --- | --- |
| 11 | NA | OOS | U11 remains out of service. |
| 12-18 | NA | NA | STSs removed. |

  - Dewatering and Fish Salvage. On 08 December Project Biologists recovered 1 white sturgeon from the Unit 5 draft tube. The fish was released in good condition at the Hamilton Island boat launch.

- RESEARCH

  - WDFW - Fish Counting.  Video counting continues.

- FISHWAYS

  - Project biologists inspected 05, 06, and 08 December.

  - Fish Passage Plan Observations.

Table 2.  FPP Out of Criteria items.

| DATE | ##### LOCATion | ##### FPP itEMS | ##### CAUSE | ##### RESPONSE | ##### TR# |
| --- | --- | --- | --- | --- | --- |
| BRADFORD ISLAND (BI) – B-branch dewatered. |  |  |  |  |  |
| CASCADES ISLAND (CI) – Nothing to report. |  |  |  |  |  |
| WASHINGTON SHORE (WS) |  |  |  |  |  |
| 12/04-07 | Ladder dewatered from UMT confluence “Y” junction to TW |  | Emergency repairs | N/A |  |
| All week | DSM2 dewatered |  | Emergency WA shore repairs | N/A |  |

    - PH1CC diffuser FG2-19 is partially open.  Repairs scheduled for 2011/2012 in water work period.

    - A new mechanical velocity meter has been fabricated for PH2 and is scheduled for installation.

    - The SA-24 board that controls the Powerhouse Two adult ladder components is in need of replacement. Work replacing the PLC to allow for fully automated operation of the PH2 adult fishway is complete but some testing and adjustments are ongoing.

  - Fishway Temperatures.  Temperatures are taken 01 March through 30 November.

  - Zebra Mussel Monitoring.  No signs of colonization were observed this reporting week.

  - Adult Fishways.

    - Calibration was checked on 08 December.

    - 10 of 12 floating orifice gates (FOGs) are installed with sea lion barriers in place.  Two gates remain out for maintenance. Stab plates were installed on 07 and 08 December in accordance with the FPP for 1 Fish Unit operations.

    - SLEDs were installed at WA shore and Cascades Island entrance gates on 09 December.

    - B-branch remains dewatered. Bradford Island and A-branch are scheduled to be dewatered on 14 December.

    - The AFF remains dewatered.

    - WA shore ladder was taken out of service below the “Y” junction (UMT confluence) in facilitation of diffuser grating and AWS repairs. The ladder was fully returned to service on 08 December with 1 Fish Unit operations as outlined in table BON-13 in the FPP.

  - Juvenile Fishways.

    - DSM2 remains dewatered. STSs are removed.

    - The PH1 ice and trash sluiceway (ITS) remains in service. Manual chaingates 1A and 1B remain open and are both set to 70’ msl. Automated chaingates 3B, 6C and 10B are open and functioning in auto.

    - The hydrocannon remains winterized.

    - The B2CC remains closed.  All B2CC and Cascades Island avian lines were removed to facilitate barge access for B-branch emergency repairs. They will be reinstalled during winter maintenance 2011/12.

  - Lamprey Fishways.

    - The Cascades Is. entrance weir remains installed.

    - All LPS systems remain out of service for the season.

- CONSTRUCTION

  - B2CC Hoist. Construction continues.

- HAZMAT, SPILLS AND CLEANUP. Nothing to report.

- TELETYPES AND OTHER NOTEWORTHY ITEMS

  - A teletype sent on 23 Nov. states in order to keep the latest established Bon tailwater flow range for chum, total project flow may be decreased to as low as 58 kcfs as long as the estimated flow at the confluence of the Columbia and Willamette rivers is equal to or exceeds 77 kcfs.  The 58 kcfs and 77 kcfs is a hard constraint navigation requirement.

  - A teletype sent on 09 December updated and replaced previous teletypes concerning forebay operating range, PH unit priority, and operation of the spillway. Effective on 12 December:

    - Operate BON forebay with a maximum hard constraint of 75.5’ until 14 December when Bradford Island is completely dewatered. Then operate within full normal range.

    - Operate available turbine units according to priority order and operating ranges as defined in the 2011 FPP.

    - Operate the spillway in accordance with the 2011 FPP, i.e. open spill bay 1 6” during daytime hours. Keep spill bay 18 on sill.

  - A teletype sent on 28 November replaces a previous teletype for operation of BON tailwater to provide adequate spawning conditions for Chum salmon. Hard constraint 1: Maintain tailwater at a minimum of 11.7’ all hours. Hard constraint 2: Maintain tailwater within 0.8’ band of 11.7’-12.5’ daily from 0630-1700 hours.

  - A teletype sent on 09 December states that effective at 0700 hours on 12 December, close Powerhouse One Ice and Trash Sluiceway so that contractors can replace hydrophones at units 6 and 7. The expected duration of the work is 1-3 hours. If necessary, this operation may be repeated on 13 December.

JERRY CARROLL

Operations Project Manager